| Skeletal Pin |  |  |
| --- | --- | --- |
| Model | Name | Specification |
| FZ01 | Osseous pin | Φ2.0×60-7 |
| FZ01 | Osseous pin | Φ3.0×60-12 |
| FZ01 | Osseous pin | Φ4.0×80-18 |
| FZ01 | Osseous pin | Φ4.0×100-18 |
| FZ01 | Osseous pin | Φ5.0×100-30 |
| FZ01 | Osseous pin | Φ5.0×120-30 |
| FZ01 | Osseous pin | Φ5.0×110-30 |
| FZ01 | Osseous pin | Φ5.0×130-30 |
| FZ01 | Osseous pin | Φ6.0×110-35 |
| FZ01 | Osseous pin | Φ6.0×130-35 |
| FZ01 | Osseous pin | Φ6.0×150-45 |
| FZ01 | Osseous pin | Φ6.0×200-60 |
| FZ01 | Osseous pin | Φ6.0×200-70 |
| FZ01 | Osseous pin | Φ6.0×200-80 |
| FZ01 | Osseous pin | Φ6.0×220-60 |
| FZ01 | Osseous pin | Φ6.0×220-70 |
| FZ01 | Osseous pin | Φ6.0×220-80 |
| FZ01 | Osseous pin | Φ6.0×240-80 |
| FZ01 | Osseous pin | Φ6.0×180-45 |
| FZ01 | Osseous pin | Φ6.0×280-80 |
| FZ01 | Osseous pin | Φ6.0×260-80 |
| FZ01 | Osseous pin | Φ6.0×110-35 |
| FZ01 | Osseous pin | Φ6.0×130-35 |
| FZ01 | Osseous pin | Φ6.0×150-45 |
| FZ01 | Osseous pin | Φ6.0×180-60 |
| FZ02 | Osseous pin | Φ1.0×120-12 |
| FZ03 | Osseous pin | Φ1.5×120-12 |
| FZ04 | Osseous pin | Φ2.0×140-16 |
| FZ01 | Osseous pin | Φ2.5×140-25 |
| FZ01 | Osseous pin | Φ3.0×160-30 |
| FZ01 | Osseous pin | Φ3.5×160-30 |
| FZ01 | Osseous pin | Φ4.0×160-35 |
| FZ01 | Osseous pin | Φ4.5×160-35 |
| FZ01 | Osseous pin | Φ5.0×160-35 |
| FZ03 | Square Bone pin | Φ3.0×60-15 |
| FZ03 | Square Bone pin | Φ3.0×60-20 |
| FZ03 | Square Bone pin | Φ3.0×80-20 |
| FZ03 | Square Bone pin | Φ3.0×80-30 |
| FZ03 | Square Bone pin | Φ3.0×100-20 |
| FZ03 | Square Bone pin | Φ3.0×120-15 |
| FZ03 | Square Bone pin | Φ3.0×140-15 |
| FZ03 | Square Bone pin | Φ3.0×160-15 |
| FZ03 | Square Bone pin | Φ4.0×70-35 |
| FZ03 | Square Bone pin | Φ4.0×80-35 |
| FZ03 | Square Bone pin | Φ4.0×90-30 |
| FZ03 | Square Bone pin | Φ4.0×90-35 |
| FZ03 | Square Bone pin | Φ4.0×100-35 |
| FZ03 | Square Bone pin | Φ4.0×120-35 |
| FZ03 | Square Bone pin | Φ4.0×120-40 |
| FZ03 | Square Bone pin | Φ4.0×135-35 |
| FZ03 | Square Bone pin | Φ5.0×120-40 |
| FZ03 | Square Bone pin | Φ5.0×120-50 |
| FZ03 | Square Bone pin | Φ5.0×150-40 |
| FZ03 | Square Bone pin | Φ5.0×150-50 |
| FZ03 | Square Bone pin | Φ5.0×180-40 |
| FZ03 | Square Bone pin | Φ5.0×180-50 |
| FZ03 | Square Bone pin | Φ5.0×200-40 |
| FZ03 | Square Bone pin | Φ5.0×200-50 |
| FZ03 | Square Bone pin | Φ6.0×150-50 |
| FZ03 | Square Bone pin | Φ6.0×200-50 |
| FZ01 | Osseous pin | Φ3.0×60-15 |
| FZ01 | Osseous pin | Φ3.0×60-20 |
| FZ01 | Osseous pin | Φ3.0×80-20 |
| FZ01 | Osseous pin | Φ3.0×80-30 |
| FZ01 | Osseous pin | Φ3.0×100-20 |
| FZ01 | Osseous pin | Φ4.0×70-35 |
| FZ04 | Flat-hole Bone Pin | Φ2.0×200 |
| FZ04 | Flat-hole Bone Pin | Φ2.0×250 |
| FZ04 | Flat-hole Bone Pin | Φ2.0×300 |
| FZ04 | Flat-hole Bone Pin | Φ2.0×350 |
| FZ04 | Flat-hole Bone Pin | Φ2.5×200 |
| FZ04 | Flat-hole Bone Pin | Φ2.5×250 |
| FZ04 | Flat-hole Bone Pin | Φ2.5×300 |
| FZ04 | Flat-hole Bone Pin | Φ2.5×350 |
| FZ04 | Flat-hole Bone Pin | Φ3.0×200 |
| FZ04 | Flat-hole Bone Pin | Φ3.0×250 |
| FZ04 | Flat-hole Bone Pin | Φ3.0×300 |
| FZ06 | Flat-hole Bone Pin | Φ1.5×130-40 |
| FZ06 | Flat-hole Bone Pin | Φ1.5×135-45 |
| FZ06 | Flat-hole Bone Pin | Φ1.5×140-50 |
| FZ06 | Flat-hole Bone Pin | Φ1.5×145-55 |
| FZ06 | Flat-hole Bone Pin | Φ1.5×150-60 |
| FZ06 | Flat-hole Bone Pin | Φ1.5×155-65 |
| FZ06 | Flat-hole Bone Pin | Φ1.5×160-70 |
| FZ06 | Flat-hole Bone Pin | Φ2.0×130-40 |
| FZ06 | Flat-hole Bone Pin | Φ2.0×135-45 |
| FZ06 | Flat-hole Bone Pin | Φ2.0×140-50 |
| FZ06 | Flat-hole Bone Pin | Φ2.0×145-55 |
| FZ06 | Flat-hole Bone Pin | Φ2.0×150-60 |
| FZ06 | Flat-hole Bone Pin | Φ2.0×155-65 |
| FZ06 | Flat-hole Bone Pin | Φ2.0×160-70 |
| FZ06 | Flat-hole Bone Pin | Φ1.5×130-40 |
| FZ06 | Flat-hole Bone Pin | Φ1.5×135-45 |
| FZ06 | Flat-hole Bone Pin | Φ1.5×140-50 |
| FZ06 | Flat-hole Bone Pin | Φ1.5×145-55 |
| FZ06 | Flat-hole Bone Pin | Φ1.5×150-60 |
| FZ06 | Flat-hole Bone Pin | Φ1.5×155-65 |
| FZ06 | Flat-hole Bone Pin | Φ1.5×160-70 |
| FZ06 | Flat-hole Bone Pin | Φ2.0×130-40 |
| FZ06 | Flat-hole Bone Pin | Φ2.0×135-45 |
| FZ06 | Flat-hole Bone Pin | Φ2.0×140-50 |
| FZ06 | Flat-hole Bone Pin | Φ2.0×145-55 |
| FZ06 | Flat-hole Bone Pin | Φ2.0×150-60 |
| FZ06 | Flat-hole Bone Pin | Φ2.0×155-65 |
| FZ06 | Flat-hole Bone Pin | Φ2.0×160-70 |
| FZ06 | Flat-hole Bone Pin | Φ2.0×350-60 |
| FZ06 | Flat-hole Bone Pin | Φ2.0×350-150 |
| FZ06 | Flat-hole Bone Pin | Φ2.5×350-60 |
| FZ06 | Flat-hole Bone Pin | Φ2.5×350-150 |
| FZ05 | Thread bone pin | Φ2.0×60-7 |

| External Fixator |  |  |
| --- | --- | --- |
| Model | Name | Specification |
| FGW23 | Finger Fixator | Φ2 |
| FGW22 | Connecting Rod IV | Φ5 |
| FGW19 | Connecting Rod I | Φ8left |
| FGW19 | Connecting Rod I | Φ8right |
| FGW20 | Connecting Rod II | Φ8left |
| FGW20 | Connecting Rod II | Φ8right |
| FGW01 | Connecting Rod | 260 |
| FGW01 | Connecting Rod | 290 |
| FGW01 | Connecting Rod | 320 |
| FGW01 | Connecting Rod | 65 |
| FGW01 | Connecting Rod | 75 |
| FGW01 | Connecting Rod | 85 |
| FGW01 | Connecting Rod | 95 |
| FGW01 | Connecting Rod | 115 |
| FGW01 | Connecting Rod | 145 |
| FGW01 | Threaded Rod | 10 |
| FGW01 | Threaded Rod | 20 |
| FGW01 | Threaded Rod | 30 |
| FGW01 | Threaded Rod | 40 |
| FGW01 | Threaded Rod | 50 |
| FGW01 | Threaded Rod | 60 |
| FGW01 | Threaded Rod | 80 |
| FGW01 | Threaded Rod | 100 |
| FGW01 | Threaded Rod | 120 |
| FGW01 | Threaded Rod | 140 |
| FGW01 | Threaded Rod | 160 |
| FGW01 | Threaded Rod | 180 |
| FGW01 | Threaded Rod | 200 |
| FGW01 | Threaded Rod | 220 |
| FGW01 | Threaded Rod | 240 |
| FGW01 | Threaded Rod | 260 |
| FGW01 | Threaded Rod | 280 |
| FGW01 | Threaded Rod | 300 |
| FGW01 | Threaded Rod | 330 |
| FGW01 | Threaded Rod | 350 |
| FGW01 | Threaded Rod | 380 |
| FGW01 | Threaded Rod | 400 |
| FGW01 | Threaded Rod | 80 |
| FGW01 | Threaded Rod | 100 |
| FGW01 | Threaded Rod | 130 |
| FGW01 | Threaded Rod | 150 |
| FGW01 | Threaded Rod | 180 |
| FGW01 | Threaded Rod | 220 |
| FGW01 | Threaded Rod | 250 |
| FGW01 | Threaded Rod | 300 |
| FGW01 | Threaded Rod | 330 |
| FGW02 | Internal Thread Connector | 1holes |
| FGW02 | Internal Thread Connector | 2holes |
| FGW02 | Internal Thread Connector | 3holes |
| FGW02 | Internal Thread Connector | 4holes |
| FGW02 | Internal Thread Connector | 5holes |
| FGW02 | External Thread Connector | 1holes |
| FGW02 | External Thread Connector | 2holes |
| FGW02 | External Thread Connector | 3holes |
| FGW02 | External Thread Connector | 4holes |
| FGW02 | External Thread Connector | 5holes |
| FGW02 | External Thread Connector | 6holes |
| FGW16 | External Thread Connector | 1holes |
| FGW16 | External Thread Connector | 2holes |
| FGW16 | External Thread Connector | 3holes |
| FGW16 | External Thread Connector | 4holes |
| FGW16 | External Thread Connector | 5holes |
| FGW03 | Cardan Joint | 26 |
| FGW03 | Cardan Joint | 30 |
| FGW03 | Cardan Joint | 22 |
| FGW03 | Cardan Joint | 38 |
| FGW04 | Extension Rod | 65 |
| FGW04 | Extension Rod | 85 |
| FGW04 | Extension Rod | 95 |
| FGW04 | Extension Rod | 135 |
| FGW04 | Extension Rod | 155 |
| FGW05 | 2/3 Ring | Φ80 |
| FGW05 | 2/3 Ring | Φ90 |
| FGW05 | 2/3 Ring | Φ100 |
| FGW05 | 2/3 Ring | Φ110 |
| FGW05 | 2/3 Ring | Φ120 |
| FGW05 | 2/3 Ring | Φ130 |
| FGW05 | 2/3 Ring | Φ140 |
| FGW05 | 2/3 Ring | Φ150 |
| FGW05 | 2/3 Ring | Φ160 |
| FGW05 | 2/3 Ring | Φ180 |
| FGW05 | 2/3 Ring | Φ200 |
| FGW05 | 2/3 Ring | Φ220 |
| FGW05 | 2/3 Ring | Φ110 |
| FGW05 | 2/3 Ring | Φ120 |
| FGW05 | 2/3 Ring | Φ130 |
| FGW05 | 2/3 Ring | Φ150 |
| FGW05 | 2/3 Ring | Φ160 |
| FGW05 | 2/3 Ring | Φ180 |
| FGW05 | 2/3 Ring | Φ190 |
| FGW05 | 2/3 Ring | Φ110 |
| FGW05 | 2/3 Ring | Φ120 |
| FGW05 | 2/3 Ring | Φ130 |
| FGW05 | 2/3 Ring | Φ140 |
| FGW05 | 2/3 Ring | Φ150 |
| FGW05 | 2/3 Ring | Φ160 |
| FGW05 | 2/3 Ring | Φ180 |
| FGW05 | 2/3 Ring | Φ200 |
| FGW06 | Ring | Φ80 |
| FGW06 | Ring | Φ90 |
| FGW06 | Ring | Φ100 |
| FGW06 | Ring | Φ110 |
| FGW06 | Ring | Φ120 |
| FGW06 | Ring | Φ130 |
| FGW06 | Ring | Φ140 |
| FGW06 | Ring | Φ150 |
| FGW06 | Ring | Φ160 |
| FGW06 | Ring | Φ180 |
| FGW06 | Ring | Φ200 |
| FGW06 | Ring | Φ220 |
| FGW06 | Ring | Φ110 |
| FGW06 | Ring | Φ120 |
| FGW06 | Ring | Φ130 |
| FGW06 | Ring | Φ150 |
| FGW06 | Ring | Φ160 |
| FGW06 | Ring | Φ180 |
| FGW06 | Ring | Φ190 |
| FGW06 | Ring | Φ110 |
| FGW06 | Ring | Φ120 |
| FGW06 | Ring | Φ130 |
| FGW06 | Ring | Φ140 |
| FGW06 | Ring | Φ150 |
| FGW06 | Ring | Φ160 |
| FGW06 | Ring | Φ180 |
| FGW06 | Ring | Φ200 |
| FGW07 | Half Ring | Φ80 |
| FGW07 | Half Ring | Φ90 |
| FGW07 | Half Ring | Φ100 |
| FGW07 | Half Ring | Φ110 |
| FGW07 | Half Ring | Φ120 |
| FGW07 | Half Ring | Φ130 |
| FGW07 | Half Ring | Φ140 |
| FGW07 | Half Ring | Φ150 |
| FGW07 | Half Ring | Φ160 |
| FGW07 | Half Ring | Φ180 |
| FGW07 | Half Ring | Φ200 |
| FGW07 | Half Ring | φ220 |
| FGW07 | Half Ring | Φ110 |
| FGW07 | Half Ring | Φ120 |
| FGW07 | Half Ring | Φ130 |
| FGW07 | Half Ring | Φ150 |
| FGW07 | Half Ring | Φ110 |
| FGW07 | Half Ring | Φ120 |
| FGW07 | Half Ring | Φ130 |
| FGW07 | Half Ring | Φ140 |
| FGW07 | Half Ring | Φ150 |
| FGW07 | Half Ring | Φ160 |
| FGW07 | Half Ring | Φ180 |
| FGW07 | Half Ring | Φ200 |
| FGW08 | U-shaped Ring | 190 |
| FGW08 | U-shaped Ring | 170 |
| FGW08 | U-shaped Ring | 145 |
| FGW08 | U-shaped Ring | 135 |
| FGW08 | U-shaped Ring | 170 |
| FGW08 | U-shaped Ring | 145 |
| FGW08 | U-shaped Ring | 135 |
| FGW09 | Rod Clamp | 6 |
| FGW09 | Rod Clamp | 8 |
| FGW10 | Connecting Plate | 2holes |
| FGW10 | Connecting Plate | 3holes |
| FGW10 | Connecting Plate | 4holes |
| FGW10 | Connecting Plate | 5holes |
| FGW10 | Connecting Plate | 6holes |
| FGW10 | Connecting Plate | 7holes |
| FGW10 | Connecting Plate | 8holes |
| FGW10 | Connecting Plate | 9holes |
| FGW10 | Connector | 10holes |
| FGW10 | Connector | 11holes |
| FGW10 | Connector | 13holes |
| FGW10 | Connector | 14holes |
| FGW11 | L-shaped Connector | 1-2 |
| FGW11 | L-shaped Connector | 1-3 |
| FGW11 | L-shaped Connector | 1-4 |
| FGW11 | L-shaped Connector | 1-5 |
| FGW11 | L-shaped Connector | 1-12 |
| FGW11 | L-shaped Connector | 2-3 |
| FGW11 | L-shaped Connector | 2-5 |
| FGW12 | Adjustable Nut | 14 |
| FGW12 | Adjustable Nut | 30 |
| FGW13 | Sleeve | Φ8×30 |
| FGW13 | Sleeve | Φ8×40 |
| FGW14 | Universal Joint Device | 46 |
| FGW14 | Universal Joint Device | 54 |
| FGW14 | Universal Joint Device | 42 |
| FGW14 | Universal Joint Device | 30 |
| FGW14 | Universal Joint Device | 34 |
| FGW15 | Cross-shaped Connector | 2-1 |
| FGW15 | Cross-shaped Connector | 2-2 |
| FGW15 | Cross-shaped Connector | 2-3 |
| FGW15 | Cross-shaped Connector | 2-4 |
| FGW17 | Pin Clamp | 4/5 |
| FGW17 | Pin Clamp | 3/4 |
| FGW17 | Pin Clamp | 4/5 |
| FGW18 | Fixator Nut | 2×15 |
| FGW18 | Fixator Nut | 3×15 |
| FGW18 | Fixator Nut | 2.5×15 |
| FGW18 | Fixator Nut | 4 |
| FGW18 | Fixator Nut | 5 |
| FGW18 | Pin Clamp (Used with External Thread Connector) | 3 |
| FGW18 | Pin Clamp (Used with External Thread Connector) | 4 |
| FGW18 | Pin Clamp (Used with External Thread Connector) | 5 |
| FGW18 | Pin Clamp (Used with External Thread Connector) | 6 |
| FGW24 | Spring | Φ9 |
| FGW25 | Washer | Φ12 |
| FGW66 | Washer | Φ10A |
| FGW66 | Washer | Φ10B |
| FGW66 | Washer | Φ10C |
| FGW66 | Washer | Φ10D |
| FGW66 | Washer | Φ10E |
| FGW66 | Washer | Φ10F |
| FGW26 | Nut | 10 |
| FGW26 | Nut | 10 |
| FGW27 | Connecting Nut | 10 |
| FGW27 | Connecting Nut | 12 |
| FGW27 | Connecting Nut | 16 |
| FGW27 | Connecting Nut | 20 |

| Combination Orthopedic External Fixator |  |  |
| --- | --- | --- |
| Model | Name | Specification |
| FQ02 | Connecting Rod (Carbon Fiber) | Φ3×60 |
| FQ02 | Connecting Rod (Carbon Fiber) | Φ3×70 |
| FQ02 | Connecting Rod (Carbon Fiber) | Φ3×80 |
| FQ02 | Connecting Rod (Carbon Fiber) | Φ3×100 |
| FQ02 | Connecting Rod (Carbon Fiber) | Φ3×120 |
| FQ02 | Connecting Rod (Carbon Fiber) | Φ3×150 |
| FQ14 | Connecting Rod (Oblique) | Φ5 30° |
| FQ14 | Connecting Rod (Oblique) | Φ8 30° |
| FQ14 | Connecting Rod (Straight) | Φ5 0° |
| FQ14 | Connecting Rod (Straight) | Φ8 0° |
| FQ14 | Connecting Rod (Straight) | Φ5 90° |
| FQ14 | Connecting Rod (Straight) | Φ8 90° |
| FQ02 | Connecting Rod (Aluminium Alloy) | Φ5×80 |
| FQ02 | Connecting Rod (Aluminium Alloy) | Φ5×150 |
| FQ02 | Connecting Rod (Aluminium Alloy) | Φ5×200 |
| FQ02 | Connecting Rod (Aluminium Alloy) | Φ5×250 |
| FQ02 | Connecting Rod (Aluminium Alloy) | Φ8×150 |
| FQ02 | Connecting Rod (Aluminium Alloy) | Φ8×200 |
| FQ02 | Connecting Rod (Aluminium Alloy) | Φ8×250 |
| FQ02 | Connecting Rod (Aluminium Alloy) | Φ8×300 |
| FQ02 | Connecting Rod (Aluminium Alloy) | Φ8×350 |
| FQ02 | Connecting Rod (Aluminium Alloy) | Φ8×400 |
| FQ02 | Connecting Rod (Carbon Fiber) | Φ5×80 |
| FQ02 | Connecting Rod (Carbon Fiber) | Φ5×150 |
| FQ02 | Connecting Rod (Carbon Fiber) | Φ5×200 |
| FQ02 | Connecting Rod (Carbon Fiber) | Φ5×250 |
| FQ02 | Connecting Rod (Carbon Fiber) | Φ5×300 |
| FQ02 | Connecting Rod (Carbon Fiber) | Φ8×150 |
| FQ02 | Connecting Rod (Carbon Fiber) | Φ8×200 |
| FQ02 | Connecting Rod (Carbon Fiber) | Φ8×250 |
| FQ02 | Connecting Rod (Carbon Fiber) | Φ8×300 |
| FQ02 | Connecting Rod (Carbon Fiber) | Φ8×350 |
| FQ02 | Connecting Rod (Carbon Fiber) | Φ8×400 |
| FQ02 | Connecting Rod (stainless steel) | Φ5×80 |
| FQ02 | Connecting Rod (stainless steel) | Φ5×150 |
| FQ02 | Connecting Rod (stainless steel) | Φ5×200 |
| FQ02 | Connecting Rod (stainless steel) | Φ5×250 |
| FQ02 | Connecting Rod (stainless steel) | Φ5×300 |
| FQ02 | Connecting Rod (stainless steel) | Φ8×150 |
| FQ02 | Connecting Rod (stainless steel) | Φ8×200 |
| FQ02 | Connecting Rod (stainless steel) | Φ8×250 |
| FQ02 | Connecting Rod (stainless steel) | Φ8×300 |
| FQ02 | Connecting Rod (stainless steel) | Φ8×350 |
| FQ02 | Connecting Rod (stainless steel) | Φ8×400 |
| FQ15 | Connecting Rod | Φ8×150 |
| FQ15 | Connecting Rod | Φ8×200 |
| FQ15 | Connecting Rod | Φ8×150 |
| FQ15 | Connecting Rod | Φ8×200 |
| FQ16 | Connecting rods (Adjustable) | Φ5 |
| FQ16 | Connecting rods (Adjustable) | Φ8 |
| FQ08 | Open-Type Pin to Rod Clamp（Φ2/Φ3） | Φ2/Φ3 |
| FQ05 | Open-Type Rod to Rod Clamp（Φ3.0） | Φ3 |
| FQ08 | Open-Type Pin to Rod Clamp | Φ5/Φ8 |
| FQ05 | Open-Type Rod to Rod Clamp | Φ8 |
| FQ13 | Pin Clamp | Φ3/Φ8 |
| FQ05 | Open-Type Rod to Rod Clamp | Φ5 |
| FQ08 | Open-Type Pin to Rod Clamp | Φ4/Φ5 |
| FQ12 | Elbow Joint Clamp | Φ3 |
| FQ13 | Bone Pin Clamp | Φ4/Φ5 |
| FQ13 | Bone Pin Clamp | Φ5/Φ8 |

| Split Unilateral External Fixator |  |  |
| --- | --- | --- |
| Model | Name | Specification |
| WEF-1 | Separated External Fixator | Φ15.5 2Pin Clamps |
| WEF-1 | Separated External Fixator | Φ15.5 3 Pin Clamps |
| WEF-2 | Separated External Fixator | Φ12 |
| WEF-3 | Separated External Fixator | Φ5 |
| WEF-2 | Separated External Fixator | Φ16 |

| Unibody Unilateral External Fixator |  |  |
| --- | --- | --- |
| Model | Name | Specification |
| FG01/T | Small, Horizontal (Double Clamps) | 130mm |
| FG01 | Small, Straight (femoral intertrochanteric short type) | 145mm |
| FG01 | Small, Straight (Double Clamps) | 145mm |
| FG02/T | Medium, Horizontal | 150mm |
| FG02 | Medium, Straight | 170mm |
| FG05/X | Medium,Oblique | 215mm |
| FG03 | Large,Straight (No pin clamp in the middle) | 225mm |
| FG03/T | Large,Horizontal (No pin clamp in the middle) | 190mm |
| FG03/T | Large,Horizontal (Pin clamp in the middle) | 190mm |
| FG04/X | Large,Oblique | 245mm |
| FG04/T | Ankle Joint Fixator | 208mm |
| FG05/T | Pelvis Fixator (A-Type) | 360mm |
| FG05/T | Pelvis Fixator | 360mm |

| Rehabilitation Device |  |  |
| --- | --- | --- |
| Model | Name | Specification |
| FK01 | Rehabilitation Device | Large |
| FK01 | Rehabilitation Device | Medium |
| FK01 | Rehabilitation Device | Small |