| Model | Name | Specification | Code |
| --- | --- | --- | --- |
| FJQ-b | Anterior Cervical Plate | 35×17×2.2 6 holes | 833006035 |
| FJQ-b | Anterior Cervical Plate | 37.5×17×2.2 6 holes | 833006037 |
| FJQ-b | Anterior Cervical Plate | 20×17×2 4 holes | 805004020 |
| FJQ-b | Anterior Cervical Plate | 22.5×17×2 4 holes | 81001002 |
| FJQ-b | Anterior Cervical Plate | 25×17×2 4 holes | 81002002 |
| FJQ-b | Anterior Cervical Plate | 27.5×17×2 4 holes | 81003002 |
| FJQ-b | Anterior Cervical Plate | 30×17×2 4 holes | 81004002 |
| FJQ-b | Anterior Cervical Plate | 32.5×17×2 4 holes | 81005002 |
| FJQ-b | Anterior Cervical Plate | 35×17×2 4 holes | 81006002 |
| FJQ-b | Anterior Cervical Plate | 37.5×17×2 4 holes | 81007002 |
| FJQ-b | Anterior Cervical Plate | 40×17×2 6 holes | 81008002 |
| FJQ-b | Anterior Cervical Plate | 42.5×17×2 6 holes | 81009002 |
| FJQ-b | Anterior Cervical Plate | 45×17×2 6 holes | 81010002 |
| FJQ-b | Anterior Cervical Plate | 47.5×17×2 6 holes | 81011002 |
| FJQ-b | Anterior Cervical Plate | 50×17×2 6 holes | 81012002 |
| FJQ-b | Anterior Cervical Plate | 52.5×17×2 6 holes | 81013002 |
| FJQ-b | Anterior Cervical Plate | 55×17×2 6 holes | 81014002 |
| FJQ-b | Anterior Cervical Plate | 55×17×2.2 8 holes | 833008055 |
| FJQ-b | Anterior Cervical Plate | 57.5×17×2 8 holes | 81015002 |
| FJQ-b | Anterior Cervical Plate | 60×17×2 8 holes | 81016002 |
| FJQ-b | Anterior Cervical Plate | 62.5×17×2 8 holes | 81017002 |
| FJQ-b | Anterior Cervical Plate | 65×17×2 8 holes | 81018002 |
| FJQ-b | Anterior Cervical Plate | 67.5×17×2 8 holes | 81019002 |
| FJQ-b | Anterior Cervical Plate | 70×17×2 8 holes | 81020002 |
| FJQ-b | Anterior Cervical Plate | 72.5×17×2 8 holes | 81021002 |
| FJQ-b | Anterior Cervical Plate | 75×17×2 8 holes | 81022002 |
| FJQ-b | Anterior Cervical Plate | 77.5×17×2 10 holes | 81023002 |
| FJQ-b | Anterior Cervical Plate | 80×17×2 10 holes | 81024002 |
| FJQ-b | Anterior Cervical Plate | 82.5×17×2 10 holes | 81025002 |
| FJQ-b | Anterior Cervical Plate | 85×17×2 10 holes | 81026002 |
| FJQ-b | Anterior Cervical Plate | 87.5×17×2 10 holes | 81027002 |
| FJQ-b | Anterior Cervical Plate | 90×17×2 10 holes | 81028002 |
| FJQ-b | Anterior Cervical Plate | 95×17×2 10 holes | 81029002 |
| FJQ-b | Anterior Cervical Plate | 100×17×2 10 holes | 81030002 |
| FJQ-b | Anterior Cervical Plate | 105×17×2 10 holes | 81031002 |
| FJQ-b | Anterior Cervical Plate | 110×17×2 10 holes | 81032002 |
| FJQ-b | Anterior Cervical Plate | 52.5×17×2.2 8 holes | 12000546 |
| FJQ-b | Anterior Cervical Plate | 65×17×2.2 10 holes | 12000547 |
| FJQ-b | Anterior Cervical Plate | 67.5×17×2.2 10 holes | 12000548 |
| FJQ-b | Anterior Cervical Plate | 70×17×2.2 10 holes | 12000549 |
| FJQ-b | Anterior Cervical Plate | 72.5×17×2.2 10 holes | 12000550 |
| FJQ-b | Anterior Cervical Plate | 75×17×2.2 10 holes | 12000551 |
| FJQ-b | Anterior Cervical Plate | 32.5×17×2.2 6 holes | 12000736 |
| FJQ-b | Anterior Cervical Screw | Φ4.0×8 self tapping | 81101000 |
| FJQ-b | Anterior Cervical Screw | Φ4.0×10 self tapping | 81102000 |
| FJQ-b | Anterior Cervical Screw | Φ4.0×12 self tapping | 81103000 |
| FJQ-b | Anterior Cervical Screw | Φ4.0×14 self tapping | 81104000 |
| FJQ-b | Anterior Cervical Screw | Φ4.0×16 self tapping | 81105000 |
| FJQ-b | Anterior Cervical Screw | Φ4.0×18 self tapping | 81106000 |
| FJQ-b | Anterior Cervical Screw | Φ4.0×20 self tapping | 81107000 |
| FJQ-b | Anterior Cervical Screw | Φ4.5×10 self tapping | 81201000 |
| FJQ-b | Anterior Cervical Screw | Φ4.5×12 self tapping | 81202000 |
| FJQ-b | Anterior Cervical Screw | Φ4.5×14 self tapping | 81203000 |
| FJQ-b | Anterior Cervical Screw | Φ4.5×16 self tapping | 81204000 |
| FJQ-b | Anterior Cervical Screw | Φ4.5×18 self tapping | 81205000 |
| FJQ-b | Anterior Cervical Screw | Φ4.5×20 self tapping | 81206000 |
| FJQ-b | Anterior Cervical Screw | Φ4.0×8 self drilling | 803040008 |
| FJQ-b | Anterior Cervical Screw | Φ4.0×10 self drilling | 803040010 |
| FJQ-b | Anterior Cervical Screw | Φ4.0×12 self drilling | 803040012 |
| FJQ-b | Anterior Cervical Screw | Φ4.0×14 self drilling | 803040014 |
| FJQ-b | Anterior Cervical Screw | Φ4.0×16 self drilling | 803040016 |
| FJQ-b | Anterior Cervical Screw | Φ4.0×18 self drilling | 803040018 |
| FJQ-b | Anterior Cervical Screw | Φ4.0×20 self drilling | 803040020 |
| FJQ-b | Anterior Cervical Screw | Φ4.5×10 self drilling | 804045010 |
| FJQ-b | Anterior Cervical Screw | Φ4.5×12 self drilling | 804045012 |
| FJQ-b | Anterior Cervical Screw | Φ4.5×14 self drilling | 804045014 |
| FJQ-b | Anterior Cervical Screw | Φ4.5×16 self drilling | 804045016 |
| FJQ-b | Anterior Cervical Screw | Φ4.5×18 self drilling | 804045018 |
| FJQ-b | Anterior Cervical Screw | Φ4.5×20 self drilling | 804045020 |
| FJQ-d | Anterior Cervical Plate | 16×16×1.8 4 holes | 12000763 |
| FJQ-d | Anterior Cervical Plate | 18×16×1.8 4 holes | 12000764 |
| FJQ-dN | Anterior Cervical Plate | 20×16×1.8 4 holes | 12000765 |
| FJQ-dN | Anterior Cervical Plate | 22.5×16×1.8 4 holes | 12000766 |
| FJQ-dN | Anterior Cervical Plate | 25×16×1.8 4 holes | 12000767 |
| FJQ-dN | Anterior Cervical Plate | 27.5×16×1.8 4 holes | 12000768 |
| FJQ-d | Anterior Cervical Plate | 29×16×1.9 4 holes | 12000815 |
| FJQ-dN | Anterior Cervical Plate | 30×16×1.8 4 holes | 12000769 |
| FJQ-dN | Anterior Cervical Plate | 27.5×16×1.8 6 holes | 12000770 |
| FJQ-dN | Anterior Cervical Plate | 30×16×1.8 6 holes | 12000771 |
| FJQ-dN | Anterior Cervical Plate | 32.5×16×1.8 6 holes | 12000772 |
| FJQ-dN | Anterior Cervical Plate | 35×16×1.8 6 holes | 12000773 |
| FJQ-dN | Anterior Cervical Plate | 37.5×16×1.8 6 holes | 12000774 |
| FJQ-dN | Anterior Cervical Plate | 40×16×1.8 6 holes | 12000775 |
| FJQ-dN | Anterior Cervical Plate | 42.5×16×1.8 6 holes | 12000776 |
| FJQ-dN | Anterior Cervical Plate | 45×16×1.8 6 holes | 12000777 |
| FJQ-dN | Anterior Cervical Plate | 47.5×16×1.8 6 holes | 12000778 |
| FJQ-dN | Anterior Cervical Plate | 50×16×1.8 6 holes | 12000779 |
| FJQ-dN | Anterior Cervical Plate | 52.5×16×1.8 6 holes | 12000780 |
| FJQ-dN | Anterior Cervical Plate | 42.5×16×1.8 8 holes | 12000781 |
| FJQ-dN | Anterior Cervical Plate | 45×16×1.8 8 holes | 12000782 |
| FJQ-dN | Anterior Cervical Plate | 47.5×16×1.8 8 holes | 12000783 |
| FJQ-dN | Anterior Cervical Plate | 50×16×1.8 8 holes | 12000784 |
| FJQ-dN | Anterior Cervical Plate | 52.5×16×1.8 8 holes | 12000785 |
| FJQ-dN | Anterior Cervical Plate | 55×16×1.8 8 holes | 12000786 |
| FJQ-dN | Anterior Cervical Plate | 57.5×16×1.8 8 holes | 12000787 |
| FJQ-dN | Anterior Cervical Plate | 60×16×1.8 8 holes | 12000788 |
| FJQ-dN | Anterior Cervical Plate | 62.5×16×1.8 8 holes | 12000789 |
| FJQ-dN | Anterior Cervical Plate | 65×16×1.8 8 holes | 12000790 |
| FJQ-dN | Anterior Cervical Plate | 67.5×16×1.8 8 holes | 12000791 |
| FJQ-dN | Anterior Cervical Plate | 70×16×1.8 8 holes | 12000792 |
| FJQ-dN | Anterior Cervical Plate | 72.5×16×1.8 8 holes | 12000793 |
| FJQ-dN | Anterior Cervical Plate | 65×16×2 10 holes | 12000794 |
| FJQ-dN | Anterior Cervical Plate | 67.5×16×2 10 holes | 12000795 |
| FJQ-dN | Anterior Cervical Plate | 70×16×2 10 holes | 12000796 |
| FJQ-dN | Anterior Cervical Plate | 72.5×16×2 10 holes | 12000797 |
| FJQ-dN | Anterior Cervical Plate | 75×16×2 10 holes | 12000798 |
| FJQ-dN | Anterior Cervical Plate | 77.5×16×2 10 holes | 12000799 |
| FJQ-dN | Anterior Cervical Plate | 80×16×2 10 holes | 12000800 |
| FJQ-dN | Anterior Cervical Plate | 82.5×16×2 10 holes | 12000801 |
| FJQ-dN | Anterior Cervical Plate | 85×16×2 10 holes | 12000802 |
| FJQ-dN | Anterior Cervical Plate | 87.5×16×2 10 holes | 12000803 |
| FJQ-dN | Anterior Cervical Plate | 90×16×2 10 holes | 12000804 |
| FJQ-dN | Anterior Cervical Plate | 77.5×16×2 12 holes | 12000805 |
| FJQ-dN | Anterior Cervical Plate | 80×16×2 12 holes | 12000806 |
| FJQ-dN | Anterior Cervical Plate | 82.5×16×2 12 holes | 12000807 |
| FJQ-dN | Anterior Cervical Plate | 85×16×2 12 holes | 12000808 |
| FJQ-dN | Anterior Cervical Plate | 90×16×2 12 holes | 12000809 |
| FJQ-dN | Anterior Cervical Plate | 95×16×2 12 holes | 12000810 |
| FJQ-dN | Anterior Cervical Plate | 100×16×2 12 holes | 12000811 |
| FJQ-dN | Anterior Cervical Plate | 105×16×2 12 holes | 12000812 |
| FJQ-dN | Anterior Cervical Plate | 108×16×2 12 holes | 12000813 |
| FJQ-d | Anterior Cervical Plate | 108×16×2.1 12 holes | 12000814 |
| FJQ-dN | Anterior Cervical Screw | Φ3.5×12 self drilling | 12000743 |
| FJQ-dN | Anterior Cervical Screw | Φ3.5×14 self drilling | 12000742 |
| FJQ-dN | Anterior Cervical Screw | Φ3.5×16 self drilling | 12000741 |
| FJQ-dN | Anterior Cervical Screw | Φ3.5×18 self drilling | 12000740 |
| FJQ-dN | Anterior Cervical Screw | Φ3.5×20 self drilling | 12000762 |
| FJQ-dN | Anterior Cervical Screw | Φ3.5×12 self tapping | 12000744 |
| FJQ-dN | Anterior Cervical Screw | Φ3.5×14 self tapping | 12000745 |
| FJQ-dN | Anterior Cervical Screw | Φ3.5×16 self tapping | 12000746 |
| FJQ-dN | Anterior Cervical Screw | Φ3.5×18 self tapping | 12000747 |
| FJQ-dN | Anterior Cervical Screw | Φ3.5×20 self tapping | 12000761 |
| FJQ-d | Anterior Cervical Screw | Φ3.5×26 self tapping | 12000816 |
| FJQ-dN | Anterior Cervical Screw | Φ4.0×12 self drilling | 12000755 |
| FJQ-dN | Anterior Cervical Screw | Φ4.0×14 self drilling | 12000756 |
| FJQ-dN | Anterior Cervical Screw | Φ4.0×16 self drilling | 12000757 |
| FJQ-dN | Anterior Cervical Screw | Φ4.0×18 self drilling | 12000758 |
| FJQ-dN | Anterior Cervical Screw | Φ4.0×20 self drilling | 12000759 |
| FJQ-dN | Anterior Cervical Screw | Φ4.0×12 self tapping | 12000751 |
| FJQ-dN | Anterior Cervical Screw | Φ4.0×14 self tapping | 12000750 |
| FJQ-dN | Anterior Cervical Screw | Φ4.0×16 self tapping | 12000749 |
| FJQ-dN | Anterior Cervical Screw | Φ4.0×18 self tapping | 12000748 |
| FJQ-dN | Anterior Cervical Screw | Φ4.0×20 self tapping | 12000760 |
| FJQ-dN | Anterior Cervical Screw | Φ4.5×12 self drilling | 12000754 |
| FJQ-dN | Anterior Cervical Screw | Φ4.5×14 self drilling | 12000753 |
| FJQ-dN | Anterior Cervical Screw | Φ4.5×16 self drilling | 12000752 |
| FJQ-d | Anterior Cervical Screw | Φ4.5×17 self tapping | 12000817 |

| Model | Name | Specification | Code |
| --- | --- | --- | --- |
| FRA02 | ZPⅡ cage | 13.5×17.5×5 6°Arc | 12600067 |
| FRA02 | ZPⅡ cage | 13.5×17.5×6 6°Arc | 12600068 |
| FRA02 | ZPⅡ cage | 13.5×17.5×7 6°Arc | 12600069 |
| FRA02 | ZPⅡ cage | 13.5×17.5×8 6°Arc | 12600070 |
| FRA02 | ZPⅡ cage | 13.5×17.5×9 6°Arc | 12600071 |
| FRA02 | ZPⅡ cage | 13.5×17.5×10 6°Arc | 12600072 |
| FRA02 | ZPⅡ cage | 13.5×17.5×11 6°Arc | 12600073 |
| FRA02 | ZPⅡ cage | 13.5×17.5×12 6°Arc | 12600074 |
| FRS05 | DWS Locking Screw | Φ4.0×12 | 12600079 |
| FRS05 | DWS Locking Screw | Φ4.0×14 | 12600080 |
| FRS05 | DWS Locking Screw | Φ4.0×16 | 12600081 |
| FRS05 | DWS Locking Screw | Φ4.0×18 | 12600082 |
| FRS06 | DSS Fixing Screw | Φ3.5×12 | 12600095 |
| FRS06 | DSS Fixing Screw | Φ3.5×14 | 12600096 |
| FRS06 | DSS Fixing Screw | Φ3.5×16 | 12600097 |
| FRS06 | DSS Fixing Screw | Φ3.5×18 | 12600098 |

| Model | Name | Specification | Code |
| --- | --- | --- | --- |
| FRP02 | Anterior Cervical Interbody Fusion Cage | 12×14.5×5 8°Arc-shaped | 1112012005 |
| FRP02 | Anterior Cervical Interbody Fusion Cage | 12×14.5×6 8°Arc-shaped | 1112012006 |
| FRP02 | Anterior Cervical Interbody Fusion Cage | 12×14.5×7 8°Arc-shaped | 1112012007 |
| FRP02 | Anterior Cervical Interbody Fusion Cage | 12×14.5×8 8°Arc-shaped | 1112012008 |
| FRP02 | Anterior Cervical Interbody Fusion Cage | 12×14.5×9 8°Arc-shaped | 1112012009 |
| FRP02 | Anterior Cervical Interbody Fusion Cage | 12×14.5×4 4° Wedge-shaped | 1113012004 |
| FRP02 | Anterior Cervical Interbody Fusion Cage | 12×14.5×5 4° Wedge-shaped | 1113012005 |
| FRP02 | Anterior Cervical Interbody Fusion Cage | 12×14.5×6 4° Wedge-shaped | 1113012006 |
| FRP02 | Anterior Cervical Interbody Fusion Cage | 12×14.5×7 4° Wedge-shaped | 1113012007 |
| FRP02 | Anterior Cervical Interbody Fusion Cage | 12×14.5×8 4° Wedge-shaped | 1113012008 |
| FRP02 | Anterior Cervical Interbody Fusion Cage | 12×14.5×9 4° Wedge-shaped | 1113012009 |

| Model | Name | Specification | Code |
| --- | --- | --- | --- |
| FRP17 | T-PAL Posterior Lumbar Interbody Fusion Cage | 12×31×7 0° | 1142012007 |
| FRP17 | T-PAL Posterior Lumbar Interbody Fusion Cage | 12×31×8 5° | 1142012008 |
| FRP17 | T-PAL Posterior Lumbar Interbody Fusion Cage | 12×31×9 5° | 1142012009 |
| FRP17 | T-PAL Posterior Lumbar Interbody Fusion Cage | 12×31×10 5° | 1142012010 |
| FRP17 | T-PAL Posterior Lumbar Interbody Fusion Cage | 12×31×11 5° | 1142012011 |
| FRP17 | T-PAL Posterior Lumbar Interbody Fusion Cage | 12×31×12 5° | 1142012012 |
| FRP17 | T-PAL Posterior Lumbar Interbody Fusion Cage | 12×31×13 5° | 1142012013 |
| FRP17 | T-PAL Posterior Lumbar Interbody Fusion Cage | 12×31×15 5° | 1142012015 |
| FRP17 | T-PAL Posterior Lumbar Interbody Fusion Cage | 12×31×17 5° | 1142012017 |
| FRP17 | T-PAL Posterior Lumbar Interbody Fusion Cage | 10×28×7 0° | 1141010007 |
| FRP17 | T-PAL Posterior Lumbar Interbody Fusion Cage | 10×28×8 5° | 1141010008 |
| FRP17 | T-PAL Posterior Lumbar Interbody Fusion Cage | 10×28×9 5° | 1141010009 |
| FRP17 | T-PAL Posterior Lumbar Interbody Fusion Cage | 10×28×10 5° | 1141010010 |
| FRP17 | T-PAL Posterior Lumbar Interbody Fusion Cage | 10×28×11 5° | 1141010011 |
| FRP17 | T-PAL Posterior Lumbar Interbody Fusion Cage | 10×28×12 5° | 1141010012 |
| FRP17 | T-PAL Posterior Lumbar Interbody Fusion Cage | 10×28×13 5° | 1141010013 |
| FRP17 | T-PAL Posterior Lumbar Interbody Fusion Cage | 10×28×15 5° | 1141010015 |
| FRP17 | T-PAL Posterior Lumbar Interbody Fusion Cage | 10×28×17 5° | 1141010017 |
| FRP26 | OLIF Interbody Fusion Cage | 40×18×8 0° | 1132040008 |
| FRP26 | OLIF Interbody Fusion Cage | 40×18×10 0° | 1132040010 |
| FRP26 | OLIF Interbody Fusion Cage | 40×18×12 0° | 1132040012 |
| FRP26 | OLIF Interbody Fusion Cage | 40×18×14 0° | 1132040014 |
| FRP26 | OLIF Interbody Fusion Cage | 45×18×8 0° | 1132045008 |
| FRP26 | OLIF Interbody Fusion Cage | 45×18×10 0° | 1132045010 |
| FRP26 | OLIF Interbody Fusion Cage | 45×18×12 0° | 1132045012 |
| FRP26 | OLIF Interbody Fusion Cage | 45×18×14 0° | 1132045014 |
| FRP26 | OLIF Interbody Fusion Cage | 50×18×8 0° | 1132050008 |
| FRP26 | OLIF Interbody Fusion Cage | 50×18×10 0° | 1132050010 |
| FRP26 | OLIF Interbody Fusion Cage | 50×18×12 0° | 1132050012 |
| FRP26 | OLIF Interbody Fusion Cage | 50×18×14 0° | 1132050014 |
| FRP26 | OLIF Interbody Fusion Cage | 55×18×8 0° | 1132055008 |
| FRP26 | OLIF Interbody Fusion Cage | 55×18×10 0° | 1132055010 |
| FRP26 | OLIF Interbody Fusion Cage | 55×18×12 0° | 1132055012 |
| FRP26 | OLIF Interbody Fusion Cage | 55×18×14 0° | 1132055014 |
| FRP26 | OLIF Interbody Fusion Cage | 40×18×8 6° | 1133040008 |
| FRP26 | OLIF Interbody Fusion Cage | 40×18×10 6° | 1133045008 |
| FRP26 | OLIF Interbody Fusion Cage | 40×18×12 6° | 1133045010 |
| FRP26 | OLIF Interbody Fusion Cage | 40×18×14 6° | 1133045012 |
| FRP26 | OLIF Interbody Fusion Cage | 45×18×8 6° | 1133040010 |
| FRP26 | OLIF Interbody Fusion Cage | 45×18×10 6° | 1133045014 |
| FRP26 | OLIF Interbody Fusion Cage | 45×18×12 6° | 1133050008 |
| FRP26 | OLIF Interbody Fusion Cage | 45×18×14 6° | 1133050010 |
| FRP26 | OLIF Interbody Fusion Cage | 50×18×8 6° | 1133040012 |
| FRP26 | OLIF Interbody Fusion Cage | 50×18×10 6° | 1133050012 |
| FRP26 | OLIF Interbody Fusion Cage | 50×18×12 6° | 1133050014 |
| FRP26 | OLIF Interbody Fusion Cage | 50×18×14 6° | 1133055008 |
| FRP26 | OLIF Interbody Fusion Cage | 55×18×8 6° | 1133040014 |
| FRP26 | OLIF Interbody Fusion Cage | 55×18×10 6° | 1133055010 |
| FRP26 | OLIF Interbody Fusion Cage | 55×18×12 6° | 1133055012 |
| FRP26 | OLIF Interbody Fusion Cage | 55×18×14 6° | 1133055014 |
| FRP26 | OLIF Interbody Fusion Cage | 40×18×9 9° | 1134040009 |
| FRP26 | OLIF Interbody Fusion Cage | 40×18×11 9° | 1134040011 |
| FRP26 | OLIF Interbody Fusion Cage | 40×18×13 9° | 1134040013 |
| FRP26 | OLIF Interbody Fusion Cage | 40×18×15 9° | 1134040015 |
| FRP26 | OLIF Interbody Fusion Cage | 45×18×9 9° | 1134045009 |
| FRP26 | OLIF Interbody Fusion Cage | 45×18×11 9° | 1134045011 |
| FRP26 | OLIF Interbody Fusion Cage | 45×18×13 9° | 1134045013 |
| FRP26 | OLIF Interbody Fusion Cage | 45×18×15 9° | 1134045015 |
| FRP26 | OLIF Interbody Fusion Cage | 50×18×9 9° | 1134050009 |
| FRP26 | OLIF Interbody Fusion Cage | 50×18×11 9° | 1134050011 |
| FRP26 | OLIF Interbody Fusion Cage | 50×18×13 9° | 1134050013 |
| FRP26 | OLIF Interbody Fusion Cage | 50×18×15 9° | 1134050015 |
| FRP26 | OLIF Interbody Fusion Cage | 55×18×9 9° | 1134055009 |
| FRP26 | OLIF Interbody Fusion Cage | 55×18×11 9° | 1134055011 |
| FRP26 | OLIF Interbody Fusion Cage | 55×18×13 9° | 1134055013 |
| FRP26 | OLIF Interbody Fusion Cage | 55×18×15 9° | 1134055015 |

| Model | Name | Specification | Code |
| --- | --- | --- | --- |
| FRF07 | TA cage | 42×31×13 6° | 12600280 |
| FRF07 | TA cage | 42×31×13 10° | 12600281 |
| FRF07 | TA cage | 42×31×15 6° | 12600282 |
| FRF07 | TA cage | 42×31×15 10° | 12600283 |
| FRF07 | TA cage | 42×31×17 6° | 12600284 |
| FRF07 | TA cage | 42×31×17 10° | 12600285 |
| FRF07 | TA cage | 42×31×13 9° | 12600286 |
| FRF07 | TA cage | 42×31×13 12° | 12600287 |
| FRF07 | TA cage | 42×31×15 9° | 12600288 |
| FRF07 | TA cage | 42×31×15 12° | 12600289 |
| FRF07 | TA cage | 42×31×17 9° | 12600290 |
| FRF07 | TA cage | 42×31×17 12° | 12600291 |
| FRF07 | TA cage | 30×26×13 9° | 12600292 |
| FRF07 | TA cage | 30×26×13 12° | 12600293 |
| FRF07 | TA cage | 30×26×15 9° | 12600294 |
| FRF07 | TA cage | 30×26×15 12° | 12600295 |
| FRF07 | TA cage | 30×26×17 9° | 12600296 |
| FRF07 | TA cage | 30×26×17 12° | 12600297 |
| FXY-B | Vertebral screw | Φ5.0×24 | 12100022 |
| FXY-B | Vertebral screw | Φ5.0×29 | 12100023 |
| FXY-B | Vertebral screw | Φ5.0×34 | 12100024 |

| Model | Name | Specification | Code |
| --- | --- | --- | --- |
| FRY05Ⅳ | PVE Posterior Interbody Fusion Cage | 23×10×9 0° | 12700083 |
| FRY05Ⅳ | PVE Posterior Interbody Fusion Cage | 23×10×10 0° | 12700084 |
| FRY05Ⅳ | PVE Posterior Interbody Fusion Cage | 23×10×11 0° | 12700085 |
| FRY05Ⅳ | PVE Posterior Interbody Fusion Cage | 23×10×12 0° | 12700086 |
| FRY05Ⅳ | PVE Posterior Interbody Fusion Cage | 23×10×13 0° | 12700087 |
| FRY05Ⅷ | Power Posterior Interbody Fusion Cage | 26×8.5×8 6° | 12700082 |
| FRY05Ⅷ | Power Posterior Interbody Fusion Cage | 31×8.5×8 4° | 12700081 |

| Model | Name | Specification | Code |
| --- | --- | --- | --- |
| FAE10N | Circular End cap | Φ12-0º | 12900505 |
| FAE10N | Circular End cap | Φ12-2.5º | 12900506 |
| FAE10N | Circular End cap | Φ12-2.5º | 12900507 |
| FAE10N | Circular End cap | Φ14-0º | 12900508 |
| FAE10N | Circular End cap | Φ14-2.5º | 12900509 |
| FAE10N | Circular End cap | Φ14-2.5º | 12900510 |
| FAN03N | End cap | Φ18-0º | 12900540 |
| FAN03N | End cap | Φ18-3º | 12900541 |
| FAN03N | End cap | Φ18-8º | 12900542 |
| FAE10N | End cap | Φ21-0° | 12900231 |
| FAE10N | End cap | Φ21-2.5° | 12900232 |
| FAN03N | End cap | Φ22-0º | 12900551 |
| FAN03N | End cap | Φ22-3º | 12900552 |
| FAN03N | End cap | Φ22-8º | 12900553 |
| FAN01N | Adjustable Vertebral Body Replacement | Φ12×15 | 12900511 |
| FAN01N | Adjustable Vertebral Body Replacement | Φ12×18 | 12900512 |
| FAN01N | Adjustable Vertebral Body Replacement | Φ12×22 | 12900513 |
| FAN01N | Adjustable Vertebral Body Replacement | Φ12×30 | 12900514 |
| FAN01N | Adjustable Vertebral Body Replacement | Φ12×46 | 12900515 |
| FAN01N | Adjustable Vertebral Body Replacement | Φ18×20 | 12900536 |
| FAN01N | Adjustable Vertebral Body Replacement | Φ18×25 | 12900537 |
| FAN01N | Adjustable Vertebral Body Replacement | Φ18×32 | 12900538 |
| FAN01N | Adjustable Vertebral Body Replacement | Φ22×25 | 12900547 |
| FAN01N | Adjustable Vertebral Body Replacement | Φ22×32 | 12900548 |
| FAN01N | Adjustable Vertebral Body Replacement | Φ22×37 | 12900549 |
| FAN02N | Extended Column | Φ18×15 | 12900539 |
| FAN02N | Extended Column | Φ22×15 | 12900550 |

| Model | Name | Specification | Code |
| --- | --- | --- | --- |
| FQNK01 | Dilator | 3.5×141 | 13400094 |
| FQNK01 | Dilator | 3.1×141 | 13400095 |
| FQNG01 | Bone Guide | 3.5×189 | 1702935189 |
| FQNG01 | Bone Guide | 3.1×189 | 13400036 |
| FQNG02 | Bone Guide | 3.5×189 | 1703935189 |
| FQNG02 | Bone Guide | 3.1×189 | 13400037 |
| FQNG04 | Bone Guide | 3.1×189 | 13400134 |
| FQNG04 | Bone Guide | 3.5×189 | 13400135 |
| FQNZ03 | Bone drill | 3.5×208 | 13400141 |
| FQNZ03 | Bone drill | 3.1×208 | 13400140 |
| FQNC01 | Percutaneous Needle | 2.6×125 | 13400126 |
| FQNC01 | Percutaneous Needle | 3.0×125 | 13400128 |
| FQNC01 | Percutaneous Needle | 3.6×115 | 13400127 |
| FQNC01 | Percutaneous Needle | 4.0×115 | 13400125 |
| FQNC02 | Percutaneous Needle | 2.6×120 | 13400136 |
| FQNC02 | Percutaneous Needle | 3.0×120 | 13400137 |
| FQNC02 | Percutaneous Needle | 3.6×115 | 13400138 |
| FQNC02 | Percutaneous Needle | 4.0×115 | 13400139 |
| FQND01 | Guide Pin | 1.5×268 | 1711915268 |
| FQNS01 | Bone Cement Mixing and Delivery Device | 30 | 13400133 |
| FQNB02 | Sterile Balloon Expansion Pressure Pump | 20 | 13400003 |
| FQNN01 | Vertebroplasty Balloon Catheter | 15×4 | 13400005 |
| FQNN01 | Vertebroplasty Balloon Catheter | 20×6 | 13400006 |
| FQNN06 | Vertebroplasty Balloon Catheter | 10×4 | 13400004 |
| FQNN06 | Vertebroplasty Balloon Catheter | 15×4 | 13400010 |
| FQNN08 | Vertebroplasty Balloon Catheter | 10×4 | 13400011 |

| Model | Name | Specification | Code |
| --- | --- | --- | --- |
| FJH-A07 | Posterior Cervical Plate | 27×5×1 5 holes | 090501012 |
| FJH-A07 | Posterior Cervical Plate | 29×5×1 5 holes | 090502012 |
| FJH-A07 | Posterior Cervical Plate | 31×5×1 5 holes | 090503012 |
| FJH-A07 | Posterior Cervical Plate | 33×5×1 5 holes | 090504012 |
| FJH-A07 | Posterior Cervical Plate | 35×5×1 5 holes | 090505012 |
| FJH-A02 | Posterior Cervical Plate | 100×5×1 20 holes | 090506012 |
| FJH-A02 | Posterior Cervical Plate | 100×4.8×0.6 20 holes | 0925606100 |
| FJH-A05 | Posterior Cervical Plate | 31×4.6×1 4 holes | 091401012 |
| FJH-A05 | Posterior Cervical Plate | 33×4.6×1 4 holes | 091402012 |
| FJH-A05 | Posterior Cervical Plate | 35×4.6×1 4 holes | 091403012 |
| FJH-A05 | Posterior Cervical Plate | 31×5×1 4 holes | 091404012 |
| FJH-A05 | Posterior Cervical Plate | 33×5×1 4 holes | 091405012 |
| FJH-A05 | Posterior Cervical Plate | 35×5×1 4 holes | 091406012 |
| FJH-A06 | Posterior Cervical Plate | 31×4.6×1 4 holes | 091501012 |
| FJH-A06 | Posterior Cervical Plate | 33×4.6×1 4 holes | 091502012 |
| FJH-A06 | Posterior Cervical Plate | 35×4.6×1 4 holes | 091503012 |
| FJH-A06 | Posterior Cervical Plate | 31×5×1 4 holes | 091504012 |
| FJH-A06 | Posterior Cervical Plate | 33×5×1 4 holes | 091505012 |
| FJH-A06 | Posterior Cervical Plate | 35×5×1 4 holes | 091506012 |
| FJH-A06 | Posterior Cervical Plate | 31×4.6×1 3 holes | 091801002 |
| FJH-A06 | Posterior Cervical Plate | 33×4.6×1 3 holes | 091802002 |
| FJH-A06 | Posterior Cervical Plate | 35×4.6×1 3 holes | 091803002 |
| FJH-A06 | Posterior Cervical Plate | 31×5×1 3 holes | 091804002 |
| FJH-A06 | Posterior Cervical Plate | 33×5×1 3 holes | 091805002 |
| FJH-A06 | Posterior Cervical Plate | 35×5×1 3 holes | 091806002 |
| FJH-A05 | Posterior Cervical Plate | 31×4.6×1 3 holes | 091901002 |
| FJH-A05 | Posterior Cervical Plate | 33×4.6×1 3 holes | 091902002 |
| FJH-A05 | Posterior Cervical Plate | 35×4.6×1 3 holes | 091903002 |
| FJH-A05 | Posterior Cervical Plate | 31×5×1 3 holes | 091904002 |
| FJH-A05 | Posterior Cervical Plate | 33×5×1 3 holes | 091905002 |
| FJH-A05 | Posterior Cervical Plate | 35×5×1 3 holes | 091906002 |
| FJH-A03 | Posterior Cervical Plate | 40×4.8×1 5 holes | 092001002 |
| FJH-A03 | Posterior Cervical Plate | 45×4.8×1 5 holes | 092002002 |
| FJH-A03 | Posterior Cervical Plate | 50×4.8×1 5 holes | 092003002 |
| FJH-A03 | Posterior Cervical Plate | 55×4.8×1 5 holes | 092004002 |
| FJH-A05 | Posterior Cervical Plate | 31×4.6×0.6 4 holes | 0931604031 |
| FJH-A05 | Posterior Cervical Plate | 33×4.6×0.6 4 holes | 0931604033 |
| FJH-A05 | Posterior Cervical Plate | 35×4.6×0.6 4 holes | 0931604035 |
| FJH-A05 | Posterior Cervical Plate | 31×5×0.6 4 holes | 0932604031 |
| FJH-A05 | Posterior Cervical Plate | 33×5×0.6 4 holes | 0932604033 |
| FJH-A05 | Posterior Cervical Plate | 35×5×0.6 4 holes | 0932604035 |
| FJH-A06 | Posterior Cervical Plate | 31×4.6×0.6 4 holes | 0933604031 |
| FJH-A06 | Posterior Cervical Plate | 33×4.6×0.6 4 holes | 0933604033 |
| FJH-A06 | Posterior Cervical Plate | 35×4.6×0.6 4 holes | 0933604035 |
| FJH-A06 | Posterior Cervical Plate | 31×5×0.6 4 holes | 0934604031 |
| FJH-A06 | Posterior Cervical Plate | 33×5×0.6 4 holes | 0934604033 |
| FJH-A06 | Posterior Cervical Plate | 35×5×0.6 4 holes | 0934604035 |
| FJH-A13 | Posterior Cervical Plate | 21×4.6×0.6 4 holes | 11900324 |
| FJH-A12 | Posterior Cervical Plate | 27×4.5×1 4 holes | 11900125 |
| FJH-A12 | Posterior Cervical Plate | 29×4.5×1 4 holes | 11900126 |
| FJH-A12 | Posterior Cervical Plate | 31×4.5×1 4 holes | 11900127 |
| FJH-A07 | Posterior Cervical Plate | 27×5×0.6 5 holes | 11900325 |
| FJH-A07 | Posterior Cervical Plate | 29×5×0.6 5 holes | 11900326 |
| FJH-A07 | Posterior Cervical Plate | 31×5×0.6 5 holes | 11900327 |
| FJH-A07 | Posterior Cervical Plate | 33×5×0.6 5 holes | 11900328 |
| FJH-A07 | Posterior Cervical Plate | 35×5×0.6 5 holes | 11900329 |
| FJH-A02 | Posterior Cervical screw | Φ2.0×4 self tapping and self drilling | 090801000 |
| FJH-A02 | Posterior Cervical screw | Φ2.0×6 self tapping and self drilling | 090802000 |
| FJH-A02 | Posterior Cervical screw | Φ2.0×8 self tapping and self drilling | 090803000 |
| FJH-A02 | Posterior Cervical screw | Φ2.0×10 self tapping and self drilling | 090804010 |
| FJH-A02 | Posterior Cervical screw | Φ2.4×6 self tapping | 090805010 |
| FJH-A02 | Posterior Cervical screw | Φ2.4×8 self tapping | 090806010 |
| FJH-A02 | Posterior Cervical screw | Φ2.4×10 self tapping | 090807010 |
| FJH-A02 | Posterior Cervical screw | Φ2.4×12 self tapping | 090808010 |
| FJH-A02 | Posterior Cervical screw | Φ2.4×6 self tapping and self drilling | 091601012 |
| FJH-A02 | Posterior Cervical screw | Φ2.4×8 self tapping and self drilling | 091602012 |
| FJH-A02 | Posterior Cervical screw | Φ2.4×10 self tapping and self drilling | 091603012 |

| Model | Name | Specification | Code |
| --- | --- | --- | --- |
| FXY-A | Lumbar Fixation Screw | Φ7.0×30 | 081901000 |
| FXY-A | Lumbar Fixation Screw | Φ7.0×35 | 081902000 |
| FXY-A | Lumbar Fixation Screw | Φ7.0×40 | 081903000 |
| FXY-A | Lumbar Fixation Screw | Φ7.0×45 | 081904000 |
| FXY-A | Lumbar Fixation Screw | Φ7.0×50 | 081905000 |
| FXY-A | Lumbar Fixation Screw | Φ7.0×55 | 081906000 |
| FXY-A | Lumbar locking Screw | Φ6.0×30 | 081707000 |
| FXY-A | Lumbar locking Screw | Φ6.0×35 | 081708000 |
| FXY-A | Lumbar locking Screw | Φ6.0×40 | 081709000 |
| FXY-A | Lumbar locking Screw | Φ6.0×45 | 081710000 |
| FXY-A | Lumbar locking Screw | Φ6.0×50 | 081711000 |
| FXY-A | Lumbar locking Screw | Φ6.0×55 | 081712000 |
| FXY-A | Lumbar locking Screw | Φ6.0×60 | 081713000 |
| FXY-A | Lumbar locking Screw | Φ6.0×25 | 081714000 |
| FXY-A | Thoracic Locking Screw | Φ5.0×20 | 081701000 |
| FXY-A | Thoracic Locking Screw | Φ5.0×25 | 081702000 |
| FXY-A | Thoracic Locking Screw | Φ5.0×30 | 081703000 |
| FXY-A | Thoracic Locking Screw | Φ5.0×35 | 081704000 |
| FXY-A | Thoracic Locking Screw | Φ5.0×40 | 081705000 |
| FXY-A | Thoracic Locking Screw | Φ5.0×45 | 081706000 |
| FXY-A | Thoracic Fixation Screw | Φ6.0×50 | 081801000 |
| FXY-A | Thoracic Fixation Screw | Φ6.0×20 | 081802000 |
| FXY-A | Thoracic Fixation Screw | Φ6.0×25 | 081803000 |
| FXY-A | Thoracic Fixation Screw | Φ6.0×30 | 081804000 |
| FXY-A | Thoracic Fixation Screw | Φ6.0×35 | 081805000 |
| FXY-A | Thoracic Fixation Screw | Φ6.0×40 | 081806000 |
| FXY-A | Thoracic Fixation Screw | Φ6.0×45 | 081807000 |
| FXY-a | Anterior Lumbar Plate | 60×23×3 | 081901002 |
| FXY-a | Anterior Lumbar Plate | 65×23×3 | 081902002 |
| FXY-a | Anterior Lumbar Plate | 70×23×3 | 081903002 |
| FXY-a | Anterior Lumbar Plate | 75×23×3 | 081904002 |
| FXY-a | Anterior Lumbar Plate | 80×23×3 | 081905002 |
| FXY-a | Anterior Lumbar Plate | 85×23×3 | 081906002 |
| FXY-a | Anterior Lumbar Plate | 90×23×3 | 081907002 |
| FXY-a | Anterior Lumbar Plate | 95×23×3 | 081908002 |
| FXY-a | Anterior Lumbar Plate | 100×23×3 | 081909002 |
| FXY-a | Anterior Lumbar Plate | 110×23×3 | 081910002 |
| FXY-a | Anterior Lumbar Plate | 120×23×3 | 081911002 |
| FXY-a | Anterior Thoracic Plate | 45×21×3 | 082101002 |
| FXY-a | Anterior Thoracic Plate | 50×21×3 | 082102002 |
| FXY-a | Anterior Thoracic Plate | 55×21×3 | 082103002 |
| FXY-a | Anterior Thoracic Plate | 60×21×3 | 082104002 |
| FXY-a | Anterior Thoracic Plate | 65×21×3 | 082105002 |
| FXY-a | Anterior Thoracic Plate | 70×21×3 | 082106002 |
| FXY-a | Anterior Thoracic Plate | 75×21×3 | 082107002 |
| FXY-a | Anterior Thoracic Plate | 80×21×3 | 082108002 |
| FXY-a | Anterior Thoracic Plate | 85×21×3 | 082109002 |
| FXY-a | Anterior Thoracic Plate | 90×21×3 | 082110002 |
| FXY-a | Anterior Thoracic Plate | 95×21×3 | 082111002 |
| FXY-a | Anterior Thoracic Plate | 100×21×3 | 082112002 |
| FXY-a | Anterior Thoracic Plate | 110×21×3 | 082113002 |
| FXY-B | Anterior Thoracolumbar Plate | 40×18×2.5 4 holes | 12100016 |
| FXY-B | Anterior Thoracolumbar Plate | 40×20×2.5 4 holes | 12100017 |
| FXY-B | Anterior Thoracolumbar Plate | 40×22×2.5 4 holes | 12100018 |
| FXY-B | Anterior Thoracolumbar Plate | 40×24×2.5 4 holes | 12100019 |
| FXY-B | Anterior Thoracolumbar Plate | 40×25×2.5 4 holes | 12100020 |
| FXY-B | Anterior Thoracolumbar Plate | 40×18×2.5 2 holes | 12100040 |
| FXY-B | Anterior Thoracolumbar Plate | 40×20×2.5 2 holes | 12100041 |
| FXY-B | Anterior Thoracolumbar Plate | 40×22×2.5 2 holes | 12100042 |
| FXY-B | Anterior Thoracolumbar Plate | 40×24×2.5 2 holes | 12100043 |
| FXY-B | Anterior Thoracolumbar Plate | 40×25×2.5 2 holes | 12100044 |
| FXY-B | Vertebral screw | Φ5.5×30 | 12100006 |
| FXY-B | Vertebral screw | Φ5.5×35 | 12100015 |
| FXY-B | Vertebral screw | Φ5.5×40 | 12100014 |
| FXY-B | Vertebral screw | Φ5.5×45 | 12100013 |
| FXY-B | Vertebral screw | Φ5.5×50 | 12100012 |
| FXY-B | Vertebral screw | Φ5.5×55 | 12100011 |
| FXY-B | Vertebral screw | Φ5.5×60 | 12100009 |