Annex 1

Table 1 Type and specification list of Non-absorbable suture anchor

| Type |  |  | Specification |  |  |  |  | REF No. | Specification |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Type of anchor | Type of inserter | Type of suture | Anchor |  | Suture |  | Inserter |  |  |
|  |  |  | D±0.1 (mm) | L+0.1 0 (mm) | Specification of suture | Length of suture L1 (cm) | L2±2 (mm) |  |  |
| SAD | A | B | 2.0 | 6 | 2-0 | 90 | 172 | NT.Y.MD.0001 | D×L=2.0×6;2-0;L1=90 |
| SAD | A | B | 2.0 | 7 | 2-0 | 90 | 169 |  |  |
| SAB | A | L | 2.8 | 12 | 2 | 120 | 344 | NT.Y.MD.0109 | D×L=2.8×12;2;L1=120 |
| SAB | A | L | 2.8 | 8.8 | 2 | 120 | 341 |  |  |
| SAA | A | L | 3.5 | 12 | 2 | 100 | 233 | NT.Y.MD.0845 | D×L=3.5×12;2;L1=100 |
| SAC | C | S | 4.5 | 20 | 2 | 100 | 239 | NT.Y.MD.1604 | D×L=4.5×20;2;L1=100 |
| SAA | B | S | 4.5 | 15 | 2 | 100 | 230 |  |  |
| SAA | B | S | 5.0 | 16 | 2 | 100 | 233 | NT.Y.MD.0998 | D×L=5.0×16;2;L1=100 |
| SAA | B | S | 5.5 | 16.2 | 2 | 100 | 230 |  |  |
| SAC | C | S | 5.5 | 20 | 2 | 100 | 239 | NT.Y.MD.1698 | D×L=5.5×20;2;L1=100 |
| SAC | C | S | 6.5 | 20 | 2 | 100 | 239 |  |  |

Annex 2

Table 1 Type and specification list of Non-absorbable suture anchor

| Type | Specification | Description（D±0.1×L±0.2）mm |
| --- | --- | --- |
| SAA-A-L | 3.5×12 | 3.5×12anchor, Type C—w/ one #2 suture(white or blue/white, 100cm) |
| SAA-B-B | 5.0×16 | 5.0×16anchor, Type C—w/ one #2 suture(white or blue/white, 100cm) |
| NT.SP.T2020NDL | 2.0×6 | 2.0×6anchor, Type A—w/ one #2-0 suture (White, 90cm), w/ needle, w/drill |
| NT.SP.T2020DL | 2.0×6 | 2.0×6 anchor, Type A—w/ one #2-0 suture (White, 90cm), w/drill |
| NT.SP.T1020NDL | 2.0×7 | 2.0×7anchor, Type A—w/ one #2-0 suture (White, 90cm), w/ needle, w/drill |
| NT.SP.T1020DL | 2.0×7 | 2.0×7 anchor, Type A—w/ one #2-0 suture (White, 90cm), w/drill |
| NT.SP.T1028N | 2.8×12 | 2.8×12anchor, Type B—w/ one #2 suture(white or blue/white, 120cm), w/ needle |
| NT.SP.T1028 | 2.8×12 | 2.8×12anchor, Type B—w/ one #2 suture(white or blue/white, 120cm) |
| NT.SP.T2035N | 3.5×12 | 3.5×12anchor, Type C—w/ one #2 suture(white or blue/white, 100cm), w/ needle |
| NT.SP.T2035 | 3.5×12 | 3.5×12anchor, Type C—w/ one #2 suture(white or blue/white, 100cm) |
| NT.SP.T1035N | 3.5×13 | 3.5×13.3anchor, Type E—w/ one #2 suture(white or blue/white, 100cm), w/ needle |
| NT.SP.T1035 | 3.5×13 | 3.5×13.3anchor, Type E—w/ one #2 suture(white or blue/white, 100cm) |
| NT.SP.T1045NF | 4.5×20 | 4.5×20anchor, Type D—w/two #2 suture(white and blue/white, 100cm), w/needle |
| NT.SP.T1045F | 4.5×20 | 4.5×20anchor, Type D—w/two #2 suture(white and blue/white, 100cm) |
| NT.SP.T2050N | 5.0×16 | 5.0×16anchor, Type C—w/two #2 suture(white and blue/white, 100cm), w/needle |
| NT.SP.T2050 | 5.0×16 | 5.0×16anchor, Type C—w/two #2 suture(white and blue/white, 100cm) |
| NT.SP.T1050N | 5.4×15.8 | 5.4×15.8anchor, Type E—w/two #2 suture(white and blue/white, 100cm), w/needle |
| NT.SP.T1050 | 5.4×15.8 | 5.4×15.8 anchor, Type E—w/two #2 suture(white and blue/white, 100cm) |
| NT.SP.T1055NF | 5.5×20 | 5.5×20anchor, Type D—w/two #2 suture(white and blue/white, 100cm), w/needle |
| NT.SP.T1055F | 5.5×20 | 5.5×20anchor, Type D—w/two #2 suture(white and blue/white, 100cm) |
| NT.SP.T1065NF | 6.5×20 | 6.5×20anchor, Type D—w/two #2 suture(white and blue/white, 100cm), w/needle |
| NT.SP.T1065F | 6.5×20 | 6.5×20anchor, Type D—w/two #2 suture(white and blue/white, 100cm) |
| NT.SP.T1013N | 1.3×3.7 | 1.3×3.7anchor, Type F—w/one #2-0 suture(white, 90cm), w/needle |
| NT.SP.T1013NDL | 1.3×3.7 | 1.3×3.7anchor, Type F—w/one #2-0 suture(white, 90cm), w/needle, w/drill |
| NT.SP.T1018N | 1.8×5.4 | 1.8×5.4anchor, Type F—w/one #2-0 suture(white, 90cm), w/needle |
| NT.SP.T1018NDL | 1.8×5.4 | 1.8×5.4anchor, Type F—w/one #2-0 suture(white, 90cm), w/needle, w/drill |
| NT.SP.T1024N | 2.4×9.6 | 2.4×9.6 anchor, Type F—w/two #2 suture(white, 100cm), w/needle |
| NT.SP.T1024NDL | 2.4×9.6 | 2.4×9.6anchor, Type F—w/two #2 suture(white, 100cm), w/needle, w/drill |
| NT.SP.T1475FT2 | 4.75×15 | 4.75×15anchor, Type G-w/ one #2 suture(white or blue/white, 100cm), w/ No.2 Tape(white or blue/white) |
| NT.SP.T1475FT5 | 4.75×15 | 4.75×15anchor, Type G-w/ one #2 suture(white or blue/white, 100cm), w/No.5 Tape(white or blue/white) |
| NT.SP.T1475F | 4.75×15 | 4.75×15anchor, Type G-w/ one #2 suture(white or blue/white, 100cm)） |
| NT.SP.T2055FT2 | 5.5×15 | 5.5×15anchor, Type G-w/ one #2 suture(white or blue/white, 100cm), w/ No.2 Tape(white or blue/white) |
| NT.SP.T2055FT5 | 5.5×15 | 5.5×15anchor, Type G-w/ one #2 suture(white or blue/white, 100cm), w/No.5 Tape(white or blue/white) |
| NT.SP.T2055F | 5.5×15 | 5.5×15anchor, Type G-w/ one #2 suture(white or blue/white, 100cm)） |
| NT.SP.T3055NF | 5.5×20 | 5.5×20anchor, Type H-w/two #2 suture(white and blue/white, 100cm), w/needle |
| NT.SP.T3055F | 5.5×20 | 5.5×20anchor, Type H-w/two #2 suture(white and blue/white, 100cm) |

Table 2 Type and specification list of Non-absorbable suture anchor-Drills

| Type | Specification （D±0.05） | Description |
| --- | --- | --- |
| NT.SP.DL001 | 1.2mm | Drill of 2.0mm anchor |
| NT.SP.DL002 | 1.3mm | Drill of 1.3mm anchor |
| NT.SP.DL003 | 2.0mm | Drill of 1.8mm anchor |
| NT.SP.DL004 | 2.4mm | Drill of 2.4mm anchor |

Table 3 Type and specification list of Non-absorbable suture anchor-Suture/Tape

| Type | Specification | Description |
| --- | --- | --- |
| NT.SP.Tape00 | NO.0 | All-Suture(white or blue/white), Width（W）1.0-1.5mm, Length（L）100±5cm |
| NT.SP.Tape01 | NO.1 | All-Suture(white or blue/white), Width（W）1.5-2.0mm, Length（L）100±5cm |
| NT.SP.Tape02 | NO.2 | Tape(white or blue/white), Width（W）1.10-1.50mm, Length（L）76±5cm |
| NT.SP.Tape03 | NO.3 | All-Suture(white or blue/white), Width（W）2.0-2.5mm, Length（L）100±5cm |
| NT.SP.Tape04 | NO.4 | All-Suture(white or blue/white), Width（W）2.5-3.0mm, Length（L）100±5cm |
| NT.SP.Tape05 | NO.5 | Tape(white or blue/white), Width（W）1.50-2.00mm, Length（L）100±5cm |
| NT.SP.Tape06 | NO.6 | Tape(white or blue/white), Width（W）1.0-1.5mm, Length（L）100±5cm |
| NT.SP.Tape07 | NO.7 | Tape(white or blue/white), Width（W）1.5-2.0mm, Length（L）100±5cm |
| NT.SP.Tape08 | NO.8 | Tape(white or blue/white), Width（W）2.0-2.5mm, Length（L）100±5cm |
| NT.SP.Tape09 | NO.9 | Tape(white or blue/white), Width（W）2.5-3.0mm, Length（L）100±5cm |
| NT.SP.S0020 | NO.2-0 | Suture：White, Length 90cm |
| NT.SP.S0002 | NO.2 | Suture：White, Blue/White, Length 100cm |
| NT.SP.S0012 | NO.2 | Suture：White, Blue/White, Length 120cm |

Annex 3

Table 1 Specification List of All Suture Anchor                        Unit: mm

| Model | Specification: W×L(W±3, L±5) | Description |
| --- | --- | --- |
| NT.SP.AS1301WS | 4×25 | 1.3mm all suture anchor with one white 2# suture, type I inserter and O-ring |
| NT.SP.AS1301BS | 4×25 | 1.3mm all suture anchor with one blue and white 2# suture with type I inserter and O-ring |
| NT.SP.AS1301WT | 4×25 | 1.3mm all suture anchor with one white type 1 tape, type I inserter and O-ring |
| NT.SP.AS1301BT | 4×25 | 1.3mm all suture anchor with one blue and white type 1 tape, type I inserter and O-ring |
| NT.SP.AS1802S | 5×25 | 1.8mm all suture anchor with one white and one blue-white 2# suture, type I inserter and O-ring |
| NT.SP.AS1802T | 5×25 | 1.8mm all suture anchor with one white and one blue-white type 1 tape, type I inserter and O-ring |
| NT.SP.AS2802S | 7×30 | 2.8mm all suture anchor with one white and one blue-white 2# suture , type II inserter and O-ring |
| NT.SP.AS2802T | 7×30 | 2.8mm all suture anchor with one white and one blue-white type 1 tape, type II inserter and O-ring |
| NT.SP.AS2802BSWT | 7×30 | 2.8mm all suture anchor with one blue and white 2# suture, one white type 2 tape, type II inserter and O-ring |
| NT.SP.AS2802WSBT | 7×30 | 2.8mm all suture anchor with one white 2# suture, one blue and white type 2 tape, type II inserter and O-ring |

Annex 4

Appendix A  Model and Specification List

Model and Specification List of Arthroscopic Approach Cannula

| Model | Specification (mm) | Innner Diameter Φ±0.5 (mm) | Length L±1.5 (mm) | Washer Thickness a±0.5(mm) |
| --- | --- | --- | --- | --- |
| NT.SP.G0620 | 6×20 | 6.0 | 20 | 5 |
| NT.SP.G0630 | 6×30 | 6.0 | 30 | 5 |
| NT.SP.G0640 | 6×40 | 6.0 | 40 | 5 |
| NT.SP.G0650 | 6×50 | 6.0 | 50 | 5 |
| NT.SP.G0820 | 8×20 | 8.0 | 20 | 5 |
| NT.SP.G0830 | 8×30 | 8.0 | 30 | 5 |
| NT.SP.G0840 | 8×40 | 8.0 | 40 | 5 |
| NT.SP.G0850 | 8×50 | 8.0 | 50 | 5 |
| NT.SP.G0860 | 8×60 | 8.0 | 60 | 5 |
| NT.SP.G0890 | 8×90 | 8.0 | 90 | 5 |
| NT.SP.G1020 | 10×20 | 10.0 | 20 | 5 |
| NT.SP.G1030 | 10×30 | 10.0 | 30 | 5 |
| NT.SP.G1040 | 10×40 | 10.0 | 40 | 5 |
| NT.SP.G1050 | 10×50 | 10.0 | 50 | 5 |

Annex 5

Appendix A Model and Specification List

Model and Specification List of Graft Preparation System

| Model | Specifications | Packaging form | Components and component specifications |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Suture | Suture Supporter | Twister |
| NT.SP.K1001 | WB-1000×50L | 1 pcs/box | #2 Blue and white suture, 1000mm long | Flat suture, 1.5mm wide and 50mm long | 45×19 |
| NT.SP.K1002 | WB-1000×40S |  | #2 Blue and white sutures, 1000mm long | Flat suture, 1.5mm wide and 40mm long | 33×19 |
| NT.SP.K1003 | W-1000×50L |  | #2 White sutures, 1000mm long | Flat suture, 1.5mm wide and 50mm long | 45×19 |
| NT.SP.K1004 | W-1000×40S |  | #2 White sutures, 1000mm long | Flat suture, 1.5mm wide and 40mm long | 33×19 |
| NT.SP.K2001 | WB-1000×50L | 2 pcs/box | #2 Blue and white sutures, 1000mm long | Flat suture, 1.5mm wide and 50mm long | 45×19 |
| NT.SP.K2002 | WB-1000×40S |  | #2 Blue and white sutures, 1000mm long | Flat suture, 1.5mm wide and 40mm long | 33×19 |
| NT.SP.K2003 | W-1000×50L |  | #2 White sutures, 1000mm long | Flat suture, 1.5mm wide and 50mm long | 45×19 |
| NT.SP.K2004 | W-1000×40S |  | #2 White suture, 1000mm long | Flat suture, 1.5mm wide and 40mm long | 33×19 |
| NT.SP.K4001 | WB-1000×50L | 4 pcs/box | #2 Blue and white sutures, 1000mm long | Flat suture, 1.5mm wide and 50mm long | 45×19 |
| NT.SP.K4002 | WB-1000×40S |  | #2 Blue and white sutures, 1000mm long | Flat suture, 1.5mm wide and 40mm long | 33×19 |
| NT.SP.K4003 | W-1000×50L |  | #2 White suture, 1000mm long | Flat suture, 1.5mm wide and 50mm long | 45×19 |
| NT.SP.K4004 | W-1000×40S |  | #2 White sutures, 1000mm long | Flat suture, 1.5mm wide and 40mm long | 33×19 |
| NT.SP.K1001-C | WB-1000×50L-C | 1 pcs/box | #2 Blue and white sutures, 1000mm long, with suture needle specifications for Circle 1/2 arc ·11×20-31 | Flat suture, 1.5mm wide and 50mm long | 45×19 |
| NT.SP.K1002-C | WB-1000×40S-C |  | #2 Blue and white sutures, 1000mm long, with suture needle specifications Circle 1/2 arc ·11×20-31 | Flat suture, 1.5mm wide and 40mm long | 33×19 |
| NT.SP.K1003-C | W-1000×50L-C |  | #2 White sutures, 1000mm long, with suture needle specifications for Circle 1/2 arc ·11×20-31 | Flat suture, 1.5mm wide and 50mm long | 45×19 |
| NT.SP.K1004-C | W-1000×40S-C |  | #2 White sutures, 1000mm long, with suture needle specifications Circle 1/2 arc ·11×20-31 | Flat suture, 1.5mm wide and 40mm long | 33×19 |
| NT.SP.K2001-C | WB-1000×50L-C | 2 pcs/box | #2 Blue and white sutures, 1000mm long, with suture needle specifications for Circle 1/2 arc ·11×20-31 | Flat suture, 1.5mm wide and 50mm long | 45×19 |
| NT.SP.K2002-C | WB-1000×40S-C |  | #2 Blue and white sutures, 1000mm long, with suture needle specifications Circle 1/2 arc ·11×20-31 | Flat suture, 1.5mm wide and 40mm long | 33×19 |
| NT.SP.K2003-C | W-1000×50L-C |  | #2 White suture, 1000mm long, with suture needle specification Circle 1/2 arc ·11×20-31 | Flat suture, 1.5mm wide and 50mm long | 45×19 |
| NT.SP.K2004-C | W-1000×40S-C |  | #2 White sutures, 1000mm long, with suture needle specifications Circle 1/2 arc ·11×20-31 | Flat suture, 1.5mm wide and 40mm long | 33×19 |
| NT.SP.K4001-C | WB-1000×50L-C | 4 pcs/box | #2 Blue and white sutures, 1000mm long, with suture needle specifications for Circle 1/2 arc ·11×20-31 | Flat suture, 1.5mm wide and 50mm long | 45×19 |
| NT.SP.K4002-C | WB-1000×40S-C |  | #2 Blue and white sutures, 1000mm long, with suture needle specifications Circle 1/2 arc ·11×20-31 | Flat suture, 1.5mm wide and 40mm long | 33×19 |
| NT.SP.K4003-C | W-1000×50L-C |  | #2 White sutures, 1000mm long, with suture needle specifications for Circle 1/2 arc ·11×20-31 | Flat suture, 1.5mm wide and 50mm long | 45×19 |
| NT.SP.K4004-C | W-1000×40S-C |  | #2 White sutures, 1000mm long, with suture needle specifications Circle 1/2 arc ·11×20-31 | Flat suture, 1.5mm wide and 40mm long | 33×19 |

Annex 6

Attachment 2

Model and specification list of Arthroscopic Approach Cannula              Unit: mm

| Model | Specification | Inner Diameter ɸd | Outer Diameter ɸD | Length L | Note |
| --- | --- | --- | --- | --- | --- |
| NT.SP.5075S | 5.0×75 | 5.0 | 7.7 | 75 | Smooth |
| NT.SP.6575S | 6.5×75 | 6.5 | 9.3 | 75 | Smooth |
| NT.SP.8075S | 8.0×75 | 8.0 | 10.9 | 75 | Smooth |
| NT.SP.8575S | 8.5×75 | 8.5 | 11.1 | 75 | Smooth |
| NT.SP.5075T | 5.0×75 | 5.0 | 9.2 | 75 | Fully threaded |
| NT.SP.6575T | 6.5×75 | 6.5 | 10.3 | 75 | Fully threaded |
| NT.SP.8075T | 8.0×75 | 8.0 | 11.9 | 75 | Fully threaded |
| NT.SP.8575T | 8.5×75 | 8.5 | 12.7 | 75 | Fully threaded |
| NT.SP.5090T | 5.0×90 | 5.0 | 9.2 | 90 | Fully threaded |
| NT.SP.6590T | 6.5×90 | 6.5 | 10.7 | 90 | Fully threaded |
| NT.SP.8090T | 8.0×90 | 8.0 | 10.7 | 90 | Fully threaded |
| NT.SP.8590T | 8.5×90 | 8.5 | 12.6 | 90 | Fully threaded |
| NT.SP.8511H | 8.5×110 | 8.5 | 12.6 | 110 | Partially threaded |

Annex 7

| Model | Specification（L*W） |  | Color | Perimeter of applicable parts (cm) | Applicable systolic blood pressure (mmHg) | Length of applicable part (cm) |
| --- | --- | --- | --- | --- | --- | --- |
|  | The length of the woven sleeve is L (not less than 95% of length L) | Width of woven sleeve W (mm±10) |  |  |  |  |
| NT.SP.QZXSZX.S | 400 | 75 | Blue | 20~28 | ﹤130 | 10~40 |
| NT.SP.QZXSZX.M | 800 | 85 | Yellow | 24~40 | ﹤130 | 20~80 |
| NT.SP.QZXSZX.L | 800 | 95 | Orange | 24~40 | ﹤160 | 20~80 |
| NT.SP.QZXSZX.XL | 800 | 110 | Black | 24~40 | ﹤190 | 20~80 |
| NT.SP.QZXXZX.S | 1000 | 85 | Green | 30~55 | ﹤130 | 40~95 |
| NT.SP.QZXXZX.M | 1400 | 95 | Red | 30~55 | ﹤160 | 40~110 |
| NT.SP.QZXXZX.L | 1800 | 110 | Pink | 30~55 | ﹤190 | 40~110 |
| NT.SP.QZXXZX.XL | 2200 | 130 | White | 50~85 | ﹤160 | 60~120 |

Model and Specification List of Disposable Exsanguination and Hemostatic Ring