附件 (Attachment)

- 产品名称 (Products)：下肢内固定手术器械包 (Large Fragment Fixation Instrument Sets)

备案号(Certificate No.): 京昌械备20220036号

| （1）7.3空心钉手术器械包 (7.3mm Cannulated Screws Instrument Set) |  |  |  |
| --- | --- | --- | --- |
| 序号 No. | 产品编号 Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B40103001 | Cannulated Drill Bit, 5.0mm/2.8mm dia. | d: 5.0 |
| 2 | B40103002 | Parallel Wire Guide | d1、d2: 3.0 |
| 3 | B40103003 | Protection Sleeve | d: 1.0-9.0 |
| 4 | B40103004 | Screwdriver, Hexagonal, for 7.3mm Cannulated Screws (for Screw removal) | B: 4.5 |
| 5 | B40103005 | Cannulated Screwdriver, Hexagonal | B: 4.5 |
| 6 | B40103006 | Depth Gauge | L: 280 |
| 7 | B40103007 | Cleaning Stylet | d: 2.8 |
| 8 | B40103008 | Sterilizing Tray, for 7.3mm Cannulated Screws | d: 7.3 |
| 9 | B40103010 | Guide Wire, 2.8*250mm, Threaded | d: 2.8 |
| 10 | B40103009 | 7.3mm Cannulated Screws Instrument Case | B: 4.5 |
| 11 | B40103011 | 7.3mm Cannulated Screws Instrument Set | B: 4.5 |
|  | Optional |  |  |
| 12 | B40103015 | Screwdriver, Hexagonal, Cannulated, for 7.3mm Cannulated Screws | B: 4.5 |
| 13 | B40103016 | Screwdriver, Hexagonal, for 7.3mm Cannulated Screws (for Screw removal) | B: 4.5 |
| 14 | B40103012 | AO Cannulated Screwdriver, Hexagonal | B: 4.5 |
| 15 | B40103013 | AO Holding Sleeve | d: 7.2 |
| 16 | B90100005 | Guide Wire, 3.2*230mm, Threaded | d: 3.2 |
| （2）PFNAγ绞锁髓内钉手术工具器械包 (Femoral Gamma Intramedullary Nails-II System Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B40300001 | Entry Awl, Cannulated | d: 8.1 |
| 2 | B40302002 | Guide Wire, Φ3.2*400mm, Threaded | d: 3.2 |
| 3 | B40300002 | Guide Wire, Φ3.2mm*400mm | d: 3.2 |
| 4 | B40300003 | Entry Portal Guide | d: 17.5 |
| 5 | B40300010 | Protection Sleeve, for Blade | d: 11.2 |
| 6 | B40300004 | Guide Sleeve, for 3.2mm dia. Guide Wire | d: 3.3 |
| 7 | B40300030 | Guide Sleeve, 8.1mm dia. | d: 8.2 |
| 8 | B40300006 | Guide Bolt | d: 11 |
| 9 | B40300005 | Dill Bit, Cannulated, 17mm dia. | d: 17 |
| 10 | B40300013 | Drill Bit, 11mm dia. | d: 11 |
| 11 | B40300014 | Drill Bit, 10mm dia. | d: 9.8 |
| 12 | B40300025 | Drill Guide Handle | d: 16.5 |
| 13 | B40300007 | Wrench, Hexagonal Ball | B: 8 |
| 14 | B40400022 | L-wrench, 3.0mm dia. | B: 3.0 |
| 15 | B40300008 | Pin Wrench | d: 4 |
| 16 | B40300021 | Wrench, Hexagonal Ball | B: 4.8 |
| 17 | B40300018 | Key for Blade | L: 132 |
| 18 | B40300026 | Insert Handle | L: 160 |
| 19 | B40300009 | Hammer | L: 253 |
| 20 | B40300027 | Proximal Aiming Arm | L: 37 |
| 21 | B40300029 | Distal Aiming Arm | L: 37 |
| 22 | B40300028 | Compression Nut | M: M16×1.5 |
| 23 | B40300011 | Drill Sleeve, for Blade | d: 3.5 |
| 24 | B40300012 | Blade Length Gauge | L: 60 |
| 25 | B40300015 | Fixation Sleeve, 10mm dia. | D: 10.1 |
| 26 | B40300016 | Impact for Blade | d: 7 |
| 27 | B40300033 | Depth Gauge | L: 0～155 |
| 28 | B40302048 | Tap, 5.0mm dia. | d: 3.5 |
| 29 | B40302049 | Wrench, for Removing the End Cap | B: 4.8 |
| 30 | B40302053 | T-Screwdriver, Final Tightening, for 5.0mm Screws | B: 4.8 |
| 31 | B40302052 | Hanging Tight Wrench | B: 0.9 |
| 32 | B40302045 | T-handle Connector | d: 8.4 |
| 33 | B40302046 | Entry Portal Handle (Hudson) | d: 8.4 |
| 34 | B40002005 | T-Handle with Quick Coupling | d: 4.5 |
| 35 | B40300017 | Extraction Screw for Blade | L: 433 |
| 36 | B40300019 | Nail Extractor | L: 117.1 |
| 37 | B40300020 | Impactor Device | L: 410 |
| 38 | B40302029 | Tap, for 5.0mm Locking Screws | d: 5.0 |
| 39 | B40300031 | Protection Sleeve, for 4.0mm dia. Drill Bit | d: 4.0 |
| 40 | B40300032 | Trocal, 4.0mm dia. | L: 202 |
| 41 | B40400020 | Drill Bit, 4.0mm dia. | d: 4.0 |
| 42 | B40400021 | Fixation Sleeve, for 4.0mm Drill Bit | d: 4.2 |
| 43 | B40300024 | Femoral Gamma Intramedullary Nails-II System Instrument Case | N/A |
| 44 | B40300023 | Femoral Gamma Intramedullary Nails-II (Long) System Instrument Set | N/A |
|  | Optional |  |  |
| 45 | B40301014 | Protection Sleeve, for 4.2mm Drill Bit | d: 4.2 |
| 46 | B40301016 | Drill Bit, 4.2mm dia. | d: 4.2 |
| 47 | B40302030 | Wrench, for Removing the End Cap | d: 3.5 |
| 48 | B40302031 | Hanging Tight Wrench | d: 3.45 |
| 49 | B40301015 | Trocar, 4.2mm dia. | L: 202 |
| 50 | B40301017 | Fixation Sleeve, for 4.2mm Drill Bit | d: 4.5 |
| 51 | B90100007 | Sharp Threaded Guide Wire,3.2*400mm | d: 3.2 |
| 52 | B49000029 | Sharp Threaded Guide Wire,3.2*450mm | d: 3.2 |
| 53 | B49000031 | Sharp Threaded Guide Wire,3.2*500mm | d: 3.2 |
| 54 | B49000012 | T type Holding Sleeve, for Cannulated drill | L: 170 |
| （3）PFNA加长γ绞锁髓内钉手术工具器械包 (Femoral Gamma Intramedullary Nails-II (Long) System Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B40300001 | Entry Awl, Cannulated | d: 8.1 |
| 2 | B40302002 | Guide Wire, Φ3.2*400mm, Threaded | d: 3.2 |
| 3 | B40300002 | Guide Wire, Φ3.2mm*400mm | d: 3.2 |
| 4 | B40302005 | Gripper for Guide Wire | d: 5.0 |
| 5 | B40302006 | Guide Wire, Ball-tipped, Φ3.0*1000mm | d: 3.0 |
| 6 | B40302007 | Reamer Set (9-13mm dia.) | d: 9 (Drill bit d: 9-15) |
| 7 | B40302008 | Obturator | d: 3 |
| 8 | B40300003 | Entry Portal Guide | d: 17.5 |
| 9 | B40300004 | Guide Sleeve, for 3.2mm dia. Guide Wire | d: 3.3 |
| 10 | B40300005 | Dill Bit, Cannulated, 17mm dia. | d: 17 |
| 11 | B40301001 | Drill Guide Handle | d: 16.5 |
| 12 | B40300006 | Guide Bolt | d: 11 |
| 13 | B40300007 | Wrench, Hexagonal Ball | d: 8 |
| 14 | B40301002 | Insert Handle | L: 140 |
| 15 | B40300008 | Pin Wrench | d: 4 |
| 16 | B40300009 | Hammer | L: 253 |
| 17 | B40301003 | Aiming Arm, Proximal | d: 16 |
| 18 | B40300010 | Protection Sleeve, for Blade | d: 11.2 |
| 19 | B40301004 | Compression Nut | d: 16 |
| 20 | B40300011 | Drill Sleeve, for Blade | d: 3.5 |
| 21 | B40300012 | Blade Length Gauge | L: 60 |
| 22 | B40300013 | Drill Bit, 11mm dia. | d: 11 |
| 23 | B40300014 | Drill Bit, 10mm dia. | d: 9.8 |
| 24 | B40300015 | Fixation Sleeve, 10mm dia. | d: 10.1 |
| 25 | B40300016 | Impact for Blade | d: 7 |
| 26 | B40301005 | Aiming Arm, Distal | d: 11 |
| 27 | B40301006 | Distal Guide Bar | L: 239 |
| 28 | B40301007 | Distal Guide Block | L: 240 |
| 29 | B40301008 | Distal Target Device | L: 165.5 |
| 30 | B40301009 | Distal Target Bar | L: 221 |
| 31 | B40301010 | Locking Block | L: 72 |
| 32 | B40301011 | Connecting Nut, for Guide Bar | d: 8 |
| 33 | B40301012 | Connecting Nut, for Guide Bar | d: 8 |
| 34 | B40302014 | L-wrench, 5.0mm dia. | B: 5 |
| 35 | B40301013 | Protection Sleeve, for Locking Screws, 8.1mm dia. | d: 8.2 |
| 36 | B40301014 | Protection Sleeve, for 4.2mm Drill Bit | d: 4.2 |
| 37 | B40301015 | Trocar, 4.2mm dia. | d: 4.2 |
| 38 | B40301016 | Drill Bit, 4.2mm dia. | d: 4.2 |
| 39 | B40301017 | Fixation Sleeve, for 4.2mm Drill Bit | d: 4.5 |
| 40 | B40400022 | L-wrench, 3.0mm dia. | B: 3 |
| 41 | B40301018 | Guide Sleeve, for Locking Screw, 8.1mm dia. | d: 8.1 |
| 42 | B40301019 | Trocar, 8.1mm dia. | d: 12 |
| 43 | B40301020 | Drill Sleeve, 5.2mm dia. | d: 5.3 |
| 44 | B40301021 | Drill Bit, 5.2mm dia. | d: 5.2 |
| 45 | B40301022 | Drill Bit, T-handle, 5.2mm dia. | d: 5.2 |
| 46 | B40301023 | Depth Gauge, for Locking Screw | L: 100 |
| 47 | B40302027 | Right Angle Locking Rod | L: 232 |
| 48 | B40302029 | Tap, for 5.0mm Locking Screws | d: 5 |
| 49 | B40302030 | Wrench, for Removing the End Cap | d: 3.5 |
| 50 | B40302031 | Hanging Tight Wrench | d: 3.45 |
| 51 | B40302053 | T-Screwdriver, Final Tightening, for 5.0mm Screws | B: 4.8 |
| 52 | B40302046 | Entry Portal Handle (Hudson) | d: 8.4 |
| 53 | B40300017 | Extraction Screw for Blade | L: 433 |
| 54 | B40300018 | Key for Blade | L: 132 |
| 55 | B40300019 | Nail Extractor | 117.1 |
| 56 | B40300020 | Impactor Device | L: 410 |
| 57 | B40300021 | Wrench, Hexagonal Ball | B: 4.8 |
| 58 | B40002005 | T-Handle with Quick Coupling | d: 4.5 |
| 59 | B40301024 | Femoral Gamma Intramedullary Nails-Ⅱ (Long) System Instrument Case | N/A |
| 60 | B40301025 | Femoral Gamma Intramedullary Nails-Ⅱ (Long) System Instrument Set | N/A |
|  | Optional |  |  |
| 61 | B40302044 | T-Reduction Shaft | L: 480 |
| 62 | B40302045 | T-handle Connector | d: 8.4 |
| （4）TFN-Ⅱ股骨\γ绞锁髓内钉手术工具器械包 (TFN Femoral Intramedullary Nails-Ⅱ System Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B40302001 | Entry Awl | d: 10 |
| 2 | B40302002 | Guide Wire, Φ3.2*400mm, Threaded | d: 3.2 |
| 3 | B40302004 | Entry Portal Guide | d: 15.8 |
| 4 | B40302003 | Drill Bit, Cannulated | d: 14 |
| 5 | B40302005 | Gripper for Guide Wire | d: 5.0 |
| 6 | B40302006 | Guide Wire, Ball-tipped, Φ3.0*1000mm | d: 3 |
| 7 | B40302007 | Reamer Set (9-13mm dia.) | d: 9, (Drill bit d:9-15) |
| 8 | B40302008 | Obturator | d: 3 |
| 9 | B40303001 | Drill Guide Handle | d: 13 |
| 10 | B40303003 | Guide Bolt | d: 8 |
| 11 | B40302011 | Wrench, Hexagonal ball | B: 6.5 |
| 12 | B40303004 | Proximal Guide Bar | d: 8 |
| 13 | B40303005 | Distal Guide Bar | L: 265 |
| 14 | B40302013 | Connecting Screw, for Proximal Guide Bar | d: M6-M10 |
| 15 | B40302017 | Connecting Screw, for Distal Guide Bar | d: M6-M10 |
| 16 | B40302014 | L-wrench, 5.0mm dia. | B: 5 |
| 17 | B40303006 | Distal Target Device | d: 5 |
| 18 | B40303007 | Guide Sleeve | d: 8.5 |
| 19 | B40303008 | Trocar | d: 8.4 |
| 20 | B40303009 | Positioning Rod | d: 8 |
| 21 | B40303010 | Locking Block, 9.4/10mm | L: 66.4 |
| 22 | B40303011 | Locking Block, 11/12mm | L: 67 |
| 23 | B40303012 | Guide Sleeve, 8.5mm dia. | D: 8.5 |
| 24 | B40303013 | Trocar, 8.5mm dia. | D: 8.4 |
| 25 | B40301020 | Drill Sleeve, 5.2mm dia. | D: 5.3 |
| 26 | B40301021 | Drill Bit, 5.2mm dia. | D: 5.2 |
| 27 | B40301022 | Drill Bit, T-handle, 5.2mm dia. | D: 5.2 |
| 28 | B40303014 | Drill Sleeve, 4.2mm dia. | D: 4.3 |
| 29 | B40301016 | Drill Bit, 4.2mm dia. | d: 4.2 |
| 30 | B40301017 | Fixation Sleeve, for 4.2mm Drill Bit | d: 4.5 |
| 31 | B40400022 | L-wrench, 3.0mm dia. | B: 3.0 |
| 32 | B40301023 | Depth Gauge, for Locking Screw | L: 100 |
| 33 | B40303024 | Right Angle Locking Rod | L: 232 |
| 34 | B40302028 | T-handle Trocar | d: 5 |
| 35 | B40302029 | Tap, for 5.0mm Locking Screws | d: 5 |
| 36 | B40302030 | Wrench, for Removing the End Cap | d: 3.5 |
| 37 | B40302031 | Hanging Tight Wrench | d: 3.45 |
| 38 | B40303018 | Drill Sleeve, for 6.8mm Drill Bit | D: 6.9 |
| 39 | B40303019 | Guide Wire, Φ2.8*320mm, Threaded | d: 2.8 |
| 40 | B40303020 | Guide Wire, Φ2.8*350mm, Threaded | d: 2.8 |
| 41 | B40303015 | Guide Wire Sleeve, for 2.8mm Guide Wire | d: 2.9 |
| 42 | B40303016 | Drill Bit, 6.8mm dia. | d: 6.8 |
| 43 | B40303021 | Tap, 6.8mm dia. | d: 6.7 |
| 44 | B40302038 | Kirschner Wire, Φ2.5*450mm | d: 2.5 |
| 45 | B40303017 | Lag Screw Length Gauge | L: 82 |
| 46 | B40302040 | Impactor Rod | L: 140 |
| 47 | B40302041 | Impactor Device | L: 418 |
| 48 | B40302042 | Nail Extractor | L: 117.1 |
| 49 | B40302053 | T-Screwdriver, Final Tightening, for 5.0mm Screws | B: 4.8 |
| 50 | B40303022 | TFN Femoral Intramedullary Nails-Ⅱ System Instrument Case | N/A |
| 51 | B40303023 | TFN Femoral Intramedullary Nails-Ⅱ System Instrument Set | N/A |
|  | Optional |  |  |
| 52 | B40302044 | T-Reduction Shaft | L: 480 |
| 53 | B40302045 | T-handle Connector | d: 8.4 |
| 54 | B40300001 | Entry Awl, Cannulated | d: 8.1 |
| 55 | B40302046 | Entry Portal Handle (Hudson) | d: 8.4 |
| 56 | B40303002 | Distal Guide Bar, for Gamma Nails | L: 285 |
| 57 | B40302055 | Reduction Shaft | L: 480 |
| 58 | B49000050 | Implants Case For Femoral Intramedullary Nails-ⅡSystem | N/A |
| (5) TFN股骨倒打髓内钉工具器械包 (Retrograde Femoral Intramedullary Nails System Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B40302001 | Entry Awl | d: 10 |
| 2 | B40302002 | Guide Wire, Φ3.2*400mm, Threaded | d: 3.2 |
| 3 | B40500001 | Drill Bit, Cannulated | d: 12.6 |
| 4 | B40500002 | Entry Portal Guide | d: 14 |
| 5 | B40302005 | Gripper for Guide Wire | d: 5 |
| 6 | B40302006 | Guide Wire, Ball-tipped, Φ3.0*1000mm | d: 3 |
| 7 | B40302007 | Reamer Set (9-13mm dia.) | d: 9, (Drill bit d: 9-15) |
| 8 | B40302008 | Obturator | d: 3 |
| 9 | B40500003 | Drill Guide Handle | d: 8 |
| 10 | B40500004 | Guide Bolt | d: 8-11 |
| 11 | B40500005 | Guide Bar | L: 323 |
| 12 | B40500006 | Connecting Screw | M6 |
| 13 | B40302014 | L-wrench, 5.0mm dia. | B: 5.0 |
| 14 | B40500007 | Distal Target Device | d: 10 |
| 15 | B40500008 | Guide Sleeve, for Locking Screw | d: 8.1 |
| 16 | B40500009 | Trocar | d: 8.1 |
| 17 | B40500010 | Drill Sleeve | d: 4.2 |
| 18 | B40500011 | Positioning Rod | d: 8.1 |
| 19 | B40500012 | Locking Block, 9mm dia. & 10mm dia. | L: 70 |
| 20 | B40500013 | Locking Block, 11mm dia. | L: 67.5 |
| 21 | B40500014 | Guide Sleeve, for 3.2mm Kirschner Wire | d: 3.3 |
| 22 | B40400020 | Drill Bit, 4.0mm dia. | d: 4 |
| 23 | B40400021 | Fixation Sleeve, for 4.0mm Drill Bit | d: 4.2 |
| 24 | B40400022 | L-wrench, 3.0mm dia. | B: 3.0 |
| 25 | B40302024 | T-Drill, 4.0mm dia. | d: 4 |
| 26 | B40500015 | Positioning Rod, Assisting (Φ9.5mm, Φ10mm, Φ11 mm) | L: 118.75/118.5/118 |
| 27 | B40500016 | Depth Gauge, for Locking Screws | L: 260 |
| 28 | B40302027 | Right Angle Locking Rod | L: 232 |
| 29 | B40302028 | T-handle Trocar | d: 5 |
| 30 | B40302029 | Tap, for 5.0mm Locking Screws | d: 5 |
| 31 | B40302030 | Wrench, for Removing the End Cap | d: 3.5 |
| 32 | B40302031 | Hanging Tight Wrench | d: 3.45 |
| 33 | B40302033 | Guide Wire, Φ4.0*320mm, Threaded | d: 4.0 |
| 34 | B40302038 | Kirschner Wire, Φ2.5*450mm | d: 2.5 |
| 35 | B40302041 | Impactor Device | L: 418 |
| 36 | B40302042 | Nail Extractor | L: 117.1 |
| 37 | B40500017 | Retrograde Femoral Intramedullary Nails System Instrument Case | N/A |
| 38 | B40500018 | Retrograde Femoral Intramedullary Nails System Instrument Set | N/A |
| (6) TFN胫骨空心绞锁髓内钉手术工具器械包 (Tibial Intramedullary Cannulated Nails System Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B40400001 | Entry Awl | d: 10 |
| 2 | B40400002 | Reaming, 8mm dia. | d: 8 |
| 3 | B40400003 | Reaming, 9mm dia. | d: 9 |
| 4 | B40400004 | Reaming, 10mm dia. | d: 10 |
| 5 | B40400005 | Reaming, 11mm dia. | d: 11 |
| 6 | B40302005 | Gripper for Guide Wire | d: 5.0 |
| 7 | B40302006 | Guide Wire, Ball-tipped, Φ3.0*1000mm | d: 3.0 |
| 8 | B40302008 | Obturator | d: 3 |
| 9 | B40302007 | Reamer Set (9-13mm dia.) | d: 9, (Drill bit d: 9-15) |
| 10 | B40401001 | Drill Guide Handle | d: 11 |
| 11 | B40401002 | Guide Bolt | L: 21 |
| 12 | B40401022 | Compression Driver | d: 10 |
| 13 | B40401003 | Guide Bar | L: 260.7 |
| 14 | B40401004 | Proximal Target Device | L: 168.1 |
| 15 | B40401005 | Distal Target Device | L: 106.9 |
| 16 | B40401006 | Connecting Screw, for Guide Bar | D: 8 |
| 17 | B40401008 | Locking Block, 8.4/9mm | L: 18 |
| 18 | B40401009 | Locking Block, 10/11mm | L: 18 |
| 19 | B40303014 | Drill Sleeve, 4.2mm dia. | d: 4.3 |
| 20 | B40401010 | Long Guide Sleeve | d: 8 |
| 21 | B40401011 | Trocar | L: 197 |
| 22 | B40301016 | Drill Bit, 4.2mm dia. | d: 4.2 |
| 23 | B40301017 | Fixation Sleeve, for 4.2mm Drill Bit | d: 4.5 |
| 24 | B40303024 | Right Angle Locking Rod | L: 232 |
| 25 | B40302030 | Wrench, for Removing the End Cap | d: 3.5 |
| 26 | B40302031 | Hanging Tight Wrench | d: 3.45 |
| 27 | B40401012 | Depth Gauge | d: 1.5 |
| 28 | B40400022 | L-wrench, 3.0mm dia. | B: 3.0 |
| 29 | B40302014 | L-wrench, 5.0mm dia. | B: 5.0 |
| 30 | B40303012 | Guide Sleeve, 8.5mm dia. | d: 8.5 |
| 31 | B40303013 | Trocar, 8.5mm dia. | d: 8.4 |
| 32 | B40301020 | Drill Sleeve, 5.2mm dia. | d: 5.3 |
| 33 | B40301021 | Drill Bit, 5.2mm dia. | d: 5.2 |
| 34 | B40301022 | Drill Bit, T-handle, 5.2mm dia. | d: 5.2 |
| 35 | B40302029 | Tap, for 5.0mm Locking Screws | d: 5 |
| 36 | B40401013 | Short Guide Sleeve | d: 8 |
| 37 | B40401014 | Positioning Rod | d: 5 |
| 38 | B40401015 | Impactor | L: 418 |
| 39 | B40401016 | Impactor Bolt | L: 140 |
| 40 | B40302053 | T-Screwdriver, Final Tightening, for 5.0mm Screws | B: 4.8 |
| 41 | B40401021 | Tap, for 4.5mm Locking Screws | d: 4.5 |
| 42 | B40302002 | Guide Wire, Φ3.2*400mm, Threaded | d: 3.2 |
| 43 | B40302003 | Drill Bit, Cannulated | d: 14 |
| 44 | B40302004 | Entry Portal Guide | d: 15.8 |
| 45 | B40401017 | Tibial Intramedullary Cannulated Nails System Instrument Case | N/A |
| 46 | B40401018 | Tibial Intramedullary Cannulated Nails System Instrument Set | N/A |
|  | Optional |  |  |
| 47 | B40401019 | Long Drill, 4.0mm dia. | d: 4.0 |
| 48 | B40400021 | Fixation Sleeve, for 4.0mm Drill Bit | d: 4.2 |
| 49 | B40401020 | Drill Sleeve | d: 4.1 |
| 50 | B40302042 | Nail Extractor | L: 117.1 |
| (7) 下肢钢板螺钉手术工具器械包 (Large Fragment Standard Plates Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B40002001 | Drill Bit, 3.2mm dia. | d: 3.2 |
| 2 | B40002002 | Drill Bit, 4.5mm dia. | d: 4.5 |
| 3 | B40002003 | Tap, for 4.5mm Cortical Screws | d: 4.5 |
| 4 | B40002004 | Tap, for 6.5mm Cancellous Screws | d: 6.0 |
| 5 | B40002005 | T-Handle with Quick Coupling | d: 4.5 |
| 6 | B40002006 | Countersink Shaft | d: 9 |
| 7 | B40002007 | Double Drill Sleeve, 4.5mm/3.2mm dia. | d1: 4.6; d2:3.3 |
| 8 | B40002008 | Insert Drill Sleeve, 4.5mm/3.2mm dia. | d: 3.3 |
| 9 | B40002009 | Double Drill Sleeve, 6.5mm/3.2mm dia. | d1: 3.3; d2:6.1 |
| 10 | B40002010 | Screwdriver, Hexagonal, with Groove | B: 3.5 |
| 11 | B40002011 | Holding Sleeve, for Screwdriver | d: 7.1 |
| 12 | B40002012 | LC-DCP Drill Guide | d: 3.3 |
| 13 | B40002013 | Bending Templates, for LC-DCP Plates | B: 17.5 |
| 14 | B40002014 | Depth Gauge | L: 231 |
| 15 | B40002015 | Reduction Forceps with Points | L: 135~280 |
| 16 | B40002016 | Self-centering Bone Holding Forceps, for Large Fragment | L: 135~280 |
| 17 | B40002017 | Screw Forceps, Self-holding | L: 0~8 |
| 18 | B40002018 | Bending lron for Plates (1) | L: 2~8 |
| 19 | B40002019 | Bending lron for Plates (2) | L: 2~8 |
| 20 | B40002020 | Sterilizing Tray, for 4.5mm Screws | d: 4.5 |
| 21 | B40002021 | Sterilizing Tray, for 6.5mm Screws | d: 6.5 |
| 22 | B40002022 | Large Fragment Standard Plates Instrument Case | N/A |
| 23 | B40002023 | Large Fragment Standard Plates Instrument Set | N/A |
| (8) 下肢锁定板手术工具器械包 (Large Fragment Locking Plates Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B40002001 | Drill Bit, 3.2mm dia. | d: 3.2 |
| 2 | B40002003 | Tap, for 4.5mm Cortical Screws | d: 4.5 |
| 3 | B40002005 | T-Handle with Quick Coupling | d: 4.5 |
| 4 | B40002010 | Screwdriver, Hexagonal, with Groove | B: 3.5 |
| 5 | B40002011 | Holding Sleeve, for Screwdriver | d: 7.1 |
| 6 | B40002014 | Depth Gauge | L: 231 |
| 7 | B40002015 | Reduction Forceps with Points | L: 135~280 |
| 8 | B40002016 | Self-centering Bone Holding Forceps, for Large Fragment | L: 135~280 |
| 9 | B40002018 | Bending lron for Plates (1) | L: 2~8 |
| 10 | B40002019 | Bending lron for Plates (2) | L: 2~8 |
| 11 | B40202001 | Drill Bit, 4.3mm dia. | d: 4.3 |
| 12 | B40202002 | Drill Guide, 4.3mm dia. | d: 4.5 |
| 13 | B40202003 | Universal Drill Sleeve, 4.5mm/3.2mm dia. | d1: 3.3; d2:4.6 |
| 14 | B40202004 | Tap, for 5.0mm Locking Screws | d: 5.0 |
| 15 | B40202005 | Extraction Screw, 3.5mm dia. | d: 5.2 |
| 16 | B40202007 | Screwdriver Shaft, Hexagonal, 3.5mm dia. | B: 3.5 |
| 17 | B40202008 | Torque-Limiting Screwdriver, 4.0 Nm | B: 3.5 |
| 18 | B40202009 | Sterilizing Tray, for 5.0mm Screws | d: 5.0 |
| 19 | B40202010 | Guide for 2.8mm Guide Wire, Length 50mm | d: 3.0 |
| 20 | B40202011 | Guide for 2.8mm Guide Wire, Length 90mm | d: 3.0 |
| 21 | B40202012 | Extraction Screw, 4.5mm dia. | d: 6.0 |
| 22 | B40202013 | Screwdriver Shaft, Hexagonal, 4.5mm dia. | B: 4.5 |
| 23 | B40103001 | Cannulated Drill Bit, 5.0mm/2.8mm dia. | d: 5.0 |
| 24 | B40103005 | Cannulated Screwdriver, Hexagonal | B: 4.5 |
| 25 | B40103006 | Depth Gauge | L: 280 |
| 26 | B40103010 | Guide Wire, 2.8*250mm, Threaded | d: 2.8 |
| 27 | B40202014 | Large Fragment Locking Plates Instrument Case | N/A |
| 28 | B40202015 | Large Fragment Locking Plates Instrument Set | N/A |
|  | Optional |  |  |
| 29 | B40002020 | Sterilizing Tray, for 4.5mm Screws | d: 4.5 |
| 30 | B40002021 | Sterilizing Tray, for 6.5mm Screws | d: 6.5 |
| 31 | B40202006 | Torque Limiter, 4.0N.M, for AO Quick Coupling | d: 4.5 |
| 32 | B90000009 | Osteotome, R35 | R: 35 |
| 33 | B90000010 | Osteotome, R40 | R: 40 |
| 34 | B90000011 | Osteotome, R45 | R: 45 |
| 35 | B90000012 | Osteotome, 6mm | B: 6 |
| 36 | B90000020 | Osteotome, 8mm | B: 8 |
| 37 | B90000013 | Osteotome, 10mm | B: 10 |
| 38 | B90000014 | Osteotome, 15mm | B: 15 |
| 39 | B90000015 | Osteotome, 20mm | B: 20 |
| 40 | B90000016 | Osteotome, 25mm | B: 25 |
| 41 | B90000017 | Osteotome (Long), 10mm | B: 10 |
| 43 | B90000018 | Emei chisel, 7mm | d: 7 |
| 44 | B49000051 | Container For Trays | N/A |
| 45 | B09000001 | Trays For Proximal Femoral Plates |  |
| 46 | B09000002 | Trays For Distal Femoral Plates | N/A |
| 47 | B09000003 | Trays For Proximal Tibial Plates | N/A |
| 48 | B09000004 | Trays For Distal Tibial Plates | N/A |
| 49 | B09000005 | Tray For Plates (Small) | N/A |
| 50 | B09000006 | Tray For Plates (Large) | N/A |
| (9) DH\DC手术工具器械包 (D-H-S/D-C-S Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B40003001 | D-H-S/D-C-S Reamer-inside | d: 8 |
| 2 | B40003002 | D-H-S Reamer-outside | d: 12.8 |
| 3 | B40003003 | D-H-S/D-C-S Tap | L: 70 |
| 4 | B40003004 | Sleeve, for D-H-S/D-C-S Tap | L: 25 |
| 5 | B40003019 | Sleeve, for D-H-S/D-C-S Tap | L: 25 |
| 6 | B40003005 | D-H-S/D-C-S Cannulated Screwdriver | B: 5mm |
| 7 | B40003006 | D-H-S Angle Guide | d: 3.5 |
| 8 | B40003007 | Large T-handle with Quick Coupling | d: 8 |
| 9 | B40003008 | D-H-S/D-C-S Direct Measuring Device | L: 60～110 |
| 10 | B40003009 | D-H-S/D-C-S Impactor | L: 245 |
| 11 | B40003010 | Long Drill Bit, 3.2mm dia. | d: 3.2 |
| 12 | B40003011 | D-C-S Angle Guide | d: 3.3 |
| 13 | B40003012 | D-H-S/D-C-S Wrench(for insertion and removal of D-H-S/D-C-S Screws) | L: 218 |
| 14 | B40003013 | Long Coupling Screw (for the removal D-H-S/D-C-S Screws) | d: 3.9 |
| 15 | B40003014 | D-C-S Reamer-Inside | d: 8 |
| 16 | B40003015 | D-H-S/D-C-S Reamer-Outside | d: 12.8 |
| 17 | B40003017 | D-H-S/D-C-S Instrument Case | N/A |
| 18 | B40002003 | Tap, for 4.5mm Cortical Screws | d: 4.5 |
| 19 | B40002005 | T-Handle with Quick Coupling | d: 4.5 |
| 20 | B40002010 | Screwdriver, Hexagonal, with Groove | B: 4mm |
| 21 | B40002011 | Holding Sleeve, for Screwdriver | d: 7.1 |
| 22 | B40002012 | LC-DCP Drill Guide | d: 3.2 |
| 23 | B40002014 | Depth Gauge | L: 0～107 |
| 24 | B40002017 | Screw Forceps, Self-holding | d: 0～8.0 |
| 25 | B40003018 | D-H-S/D-C-S Instrument Set | N/A |
|  | Optional |  |  |
| 26 | B40003016 | Inserter | L: 53.5 |
| 27 | B90100005 | Guide wire, 3.2*230mm, Threaded | d: 3.2 |
| (10) 下肢外固定架Ⅰ型手术工具器械包 (Lower Limb External Fixator Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B40701001 | Drill Bit, 3.5mm dia. | d: 3.5 |
| 2 | B40701002 | Wrench, Hexagonal | B: 10 |
| 3 | B40701003 | Simple T-Handle | d: 5.1 |
| 4 | B40701005 | Drill Sleeve, Length 85mm | d: 5.1, 3.55 |
| 5 | B40701006 | Drill Sleeve, Length 120mm | d: 5.1, 3.55 |
| 6 | B40701008 | Lower Limb External Fixator Instrument Set | N/A |
|  | Optional |  |  |
| 7 | B40701004 | Open Compressor | L: 0～80 |
| 8 | B40701007 | Rod Cutter | d: 5.0, 6.0 |
| (11) 下肢外固定架Ⅱ型手术工具器械包 (Lower Limb External Fixator-Ⅱ System Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B40701001 | Drill Bit, 3.5mm dia. | d: 3.5 |
| 2 | B40703001 | Drill Bit, 4.8mm dia. | d: 4.8 |
| 3 | B40703002 | Drill Guide, for 6.0mm Schanz Screws | D: 6.2 |
| 4 | B40703003 | Drill Guide, for 4.8mm dia. Drill Bit | D: 5 |
| 5 | B40703004 | Drill Guide, for 3.5mm dia. Drill Bit | D: 3.7 |
| 6 | B40703005 | Trocar | L: 227 |
| 7 | B40703006 | Quick Connect with T-Handle | B: 6.8 |
| 8 | B40703007 | Multi L-wrench, 3.0mm/5.0mm dia. | B: 3mm、5mm |
| 9 | B40705002 | Handling Tongs | L: 287 |
| 10 | B40705001 | Dynamic Compressor/Tensioner | L: 85～170 |
| 11 | B40705003 | Needle Sleeve | D: 8 |
| 12 | B40703010 | Lower Limb External Fixator-Ⅱ System Instrument Case | N/A |
| 13 | B40703013 | Lower Limb External Fixator-Ⅱ System Instrument Set | N/A |
| (12) LISS微创系统手术工具器械包 (Less Invasive Stabilization System Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B40203001 | Insertion Guide, for Proximal Tibia, Left, Radiolucent | d: 14.9 |
| 2 | B40203002 | Insertion Guide, for Proximal Tibia, Right, Radiolucent | d: 14.9 |
| 3 | B40203015 | Insertion Guide, for Distal Femoral, Left, Radiolucent | d: 11 |
| 4 | B40203016 | Insertion Guide, for Distal Femoral, Right, Radiolucent | d: 11 |
| 5 | B40300008 | Pin Wrench | d: 4 |
| 6 | B40202007 | Screwdriver Shaft, Hexagonal, 3.5mm dia. | B: 3.5 |
| 7 | B40202008 | Torque-Limiting Screwdriver, 4.0 Nm | M≤4.0N·m |
| 8 | B40203003 | Fixation Bolt, for Insertion Guide | L: 154.8 |
| 9 | B40203020 | Drill Bit, 4.3mm dia. | d: 4.3 |
| 10 | B40203004 | Drill Guide, for 4.3mm Drill Bit | d: 4.5 |
| 11 | B40203005 | Drill Sleeve, for Insertion Guide | d: 7.5 |
| 12 | B40203011 | Locking Bolt | d: 2.1 |
| 13 | B40203010 | Centering Sleeve for Kirschner Wire | d: 2.2 |
| 14 | B40203006 | Depth Gauge | L: 18～85 |
| 15 | B40002005 | T-Handle with Quick Coupling | d: 4.5 |
| 16 | B40203007 | 3.5 mm Hex Screwdriver Shaft, Self-retaining | B: 3.5 |
| 17 | B40203008 | Trocar | d: 7.3 |
| 18 | B40203009 | Cleaning Instrument for Screws | L: 202/160 |
| 19 | B40203012 | Pulling Device | L: 239 |
| 20 | B40203023 | Kirschner Wire, Φ2.0mm*280mm | d: 2.0 |
| 21 | B40203024 | Kirschner Wire, Φ2.0mm*280mm, Threaded | d: 2.0 |
| 22 | B40203022 | Handle with Quick Coupling | L: 85mm |
| 23 | B40202005 | Extraction Screw, 3.5mm dia. | L: 140mm |
| 24 | B40203019 | Less Invasive Stabilization System Instrument Case | N/A |
| 25 | B40203017 | Less Invasive Stabilization System Instrument Set | N/A |

2. 产品名称 (Products): 上肢内固定手术器械包 (Small Fragment Fixation Instrument Sets)

备案号 (Certificate No.): 京昌械备20220010号

| (1) 上肢锁定钢板器械包 (Small Fragment Locking Plates Instrument Set) |  |  |  |
| --- | --- | --- | --- |
| 序号 No. | 产品编号 Product No. | 类型描述 Product Description (In English) | 关键尺寸 Key Size |
| 1 | B40001001 | Drill Bit, 2.5mm dia. | d: 2.5 |
| 2 | B40001003 | Tap, for 3.5mm Cortical Screws | d: 3.5 |
| 3 | B40002005 | T-Handle with Quick Coupling | d: 4.5 |
| 4 | B40001008 | Screwdriver, Hexagonal, with Groove | B: 2.5 |
| 5 | B40001009 | Holding Sleeve, for Screwdriver | d: 6.5 |
| 6 | B40001010 | Depth Gauge | L: 2～500 |
| 7 | B40001012 | Bending lron for Plates(1) | B: 2.6 |
| 8 | B40001013 | Bending lron for Plates(2) | B: 4.1 |
| 9 | B40001016 | Bending Templates, for LC-DCP | B: 11 |
| 10 | B40001017 | Bending Templates, for Straight Reconstruction Plates 3.5 | B: 10 |
| 11 | B40001018 | Bending Templates, for Curved Reconstruction Plates 3.5 | B: 10 |
| 12 | B40001020 | Bending lron, for Reconstruction Plates 3.5, left | B: 4.5 |
| 13 | B40001021 | Bending lron, for Reconstruction Plates 3.5, right | B: 4.5 |
| 14 | B40001022 | Reduction Forceps with Points | L: 135~280 |
| 15 | B40001023 | Self-centering Bone Holding Forceps | L: 135~280 |
| 16 | B40201001 | Drill Bit, 2.8mm dia. | d: 2.8 |
| 17 | B40201002 | Drill Guide, 2.8mm dia, Length 60mm | L: 60 |
| 18 | B40201003 | Drill Guide, 2.8mm dia, Length 85mm | L: 85 |
| 19 | B40201004 | Universal Drill Sleeve, 3.5mm/2.5mm dia. | d1: 3.5; d2: 2.5 |
| 20 | B40201005 | Tap, for 3.5mm Locking Screws | d: 3.5 |
| 21 | B40201006 | 2.5mm Hex Extraction Screw | d: 4.5 |
| 22 | B40201007 | Torque, 1.5N.m, for AO Quick Coupling | 1.5 NM |
| 23 | B40201008 | 2.5mm Hex Screwdriver Shaft | B: 2.5 |
| 24 | B40201009 | T15 Screwdriver | T: 3.3 |
| 25 | B40201010 | T15 Screwdriver Shaft, for Quick Coupling | T: 3.3 |
| 26 | B40201015 | Drill Bit, 2.0mm dia. | d: 2.0 |
| 27 | B40201016 | Tap, for 2.7mm Cortical Screws | d: 2.7 |
| 28 | B40201017 | Drill Bit, 1.8mm dia. | d: 1.8 |
| 29 | B40201018 | Drill Guide, for 1.8mm Drill Bit | d: 2 |
| 30 | B40201019 | Universal Drill Sleeve, 1.8mm/2.4mm dia. | d1: 1.9; d2: 2.5 |
| 31 | B40201020 | Universal Drill Sleeve, 2.0mm/2.7mm dia. | d1: 2.1; d2: 2.8 |
| 32 | B40201021 | Depth Gauge, for 2.0mm/2.4mm Screws | L: 188.5 |
| 33 | B40201022 | T8 Screwdriver | T: 2.4 |
| 34 | B40201023 | Holding Sleeve, for Screwdriver (working with T8 Screwdriver) | d: 2.77 |
| 35 | B40201024 | T8 Screwdriver Shaft, for Quick Coupling | T: 2.4 |
| 36 | B40201025 | Torque,0.8N.m | 0.8 NM |
| 37 | B40001024 | Sterilizing Tray, for 3.5mm/4.0mm Screws | d: 3.5/4.0 |
| 38 | B40201011 | Sterilizing Tray, for 3.5mm Locking Screws | d: 3.5 |
| 39 | B40201027 | Sterilizing Tray, for 2.4mm/2.7mm Locking Screws | d: 2.4/2.7 |
| 40 | B40201014 | Small Fragment Locking Plates Instrument Case | N/A |
| 41 | B40201028 | Small Fragment Locking Plates Instrument Set | N/A |
|  | Optional |  |  |
| 42 | B40201012 | Holding Sleeve, for 3.5mm Locking Screws | d: 4.52 |
| 43 | B40201026 | Tap, for 2.4 mm Cortical Screws | d: 2.4 |
| 44 | B49000009 | Screwdriver, Quincuncial, with Groove | T: 3.3 |
| 45 | B40201034 | Drill Bit, 2.9mm dia. | d: 2.9 |
| 46 | B40201030 | Drill Sleeve, for Variable Angle Plate | d: 3 |
| (2)上肢普通钢板器械包 (Small Fragment Standard Plates Instrument Set) |  |  |  |
| 序号 No. | 产品编号 Product No. | 产品描述 Product Description (In English) | 关键尺寸 Key Size |
| 1 | B40001001 | Drill Bit, 2.5mm dia. | d: 2.5 |
| 2 | B40001002 | Drill Bit, 3.5mm dia. | d: 3.5 |
| 3 | B40001003 | Tap, for 3.5mm Cortical Screws | d: 3.5 |
| 4 | B40001004 | Tap, for 4.0mm Cortical Screws | d: 4.0 |
| 5 | B40002005 | T-Handle with Quick Coupling | d: 4.5 |
| 6 | B40001005 | Countersink Shaft | d: 6.6 |
| 7 | B40001006 | Double Drill Sleeve, 3.5mm/2.5mm dia. | d1: 3.6; d2: 2.6 |
| 8 | B40001007 | Insert Drill Sleeve, 3.5mm/2.5mm dia. | d: 2.6 |
| 9 | B40001008 | Screwdriver, Hexagonal, with Groove | B: 2.5 |
| 10 | B40001009 | Holding Sleeve, for Screwdriver | d: 6.5 |
| 11 | B40001010 | Depth Gauge | L: 2-150mm |
| 12 | B40001011 | LC-DCP Drill Guide | d: 2.5 |
| 13 | B40001012 | Bending lron for Plates(1) | B: 2.6 |
| 14 | B40001013 | Bending lron for Plates(2) | B: 4.1 |
| 15 | B40001014 | Retractor,Width 8mm | B: 8 |
| 16 | B40001015 | Retractor,Width 15mm | B: 15 |
| 17 | B40001016 | Bending Templates, for LC-DCP | B: 11 |
| 18 | B40001017 | Bending Templates, for Straight Reconstruction Plates 3.5 | B: 10 |
| 19 | B40001018 | Bending Templates, for Curved Reconstruction Plates 3.5 | B: 10 |
| 20 | B40001019 | Periosteal Elevator, Width 6mm | B: 6 |
| 21 | B40001020 | Bending lron, for Reconstruction Plates 3.5, left | B: 4.5 |
| 22 | B40001021 | Bending lron, for Reconstruction Plates 3.5, right | B: 4.5 |
| 23 | B40001022 | Reduction Forceps with Points | L: 135~280 |
| 24 | B40001023 | Self-centering Bone Holding Forceps | L: 135~280 |
| 25 | B40001024 | Sterilizing Tray, for 3.5mm/4.0mm Screws | d: 3.5/4.0 |
| 26 | B40002017 | Screw Forceps, Self-holding | d: 2 |
| 27 | B40001025 | Small Fragment Standard Plates Instrument Case | N/A |
| 28 | B40001026 | Small Fragment Standard Plates Instrument Set | N/A |
| (3) 2.0手外器械包 (2.0mm Hand & Foot Locking Plates Instrument Set) |  |  |  |
| 序号 No. | 产品编号 Product No. | 产品描述 Product Description (In English) | 关键尺寸 Key Size |
| 1 | B40205001 | Drill Guide, 1.5mm dia. | d: 1.6 |
| 2 | B40000009 | Double Drill Sleeve, 1.5mm/2.0mm dia. | d1: 1.5; d2: 2.0 |
| 3 | B40000002 | Drill Bit, 1.5mm dia. | d: 1.5 |
| 4 | B40201015 | Drill Bit, 2.0mm dia. | d: 2.0 |
| 5 | B40205002 | Depth Gauge | L: 2～500 |
| 6 | B40000014 | Handle with Quick Coupling, AO Type | d: 4.5 |
| 7 | B40205003 | T6 Shaft | T: 1.75 |
| 8 | B40205005 | Torque-Limiting Screwdriver, 0.4N.M | 0.4 NM |
| 9 | B50101007 | T6 Self-holding Screwdriver, Stardrive | T: 1.7 |
| 10 | B40205006 | Bending/Cutting Pliers, Left | B: 0-10 |
| 11 | B40205007 | Bending/Cutting Pliers, Right | B: 0-10 |
| 12 | B40205008 | Reduction Forceps with Points | L: 85~185 |
| 13 | B40205009 | Plate Holder | L: 154 |
| 14 | B40205010 | Sterilizing Tray, for 2.0mm Screws | d: 2.0 |
| 15 | B40205011 | 2.0mm Hand & Foot Locking Plates Instrument Case | N/A |
| 16 | B40205012 | 2.0mm Hand & Foot Locking Plates Instrument Set | N/A |
| (4) 3.0无头空心钉手术器械包 (3.0mm Headless Compression Cannulated Screws Instrument Set) |  |  |  |
| 序号 No. | 产品编号 Product No. | 产品描述 Product Description (In English) | 关键尺寸 Key Size |
| 1 | B40108008 | Guide Wire, 1.1mm dia. | d: 1.1 |
| 2 | B40100001 | Cannulated Drill Bit, 2.0mm/1.1mm dia. | d: 2.0 |
| 3 | B40101004 | Handle with Quick Coupling | d: 4.5 |
| 4 | B40104001 | Compression Sleeve | d: 3.0 |
| 5 | B40100006 | Double Drill Sleeve, 1.1mm/2.0mm dia. | d1: 1.2; d2: 2.1 |
| 6 | B40002017 | Screw Forceps, Self-holding | d: 2 |
| 7 | B40104002 | Compression Sleeve Handle | B: SW5 |
| 8 | B40100005 | Depth Gauge | L: 150 |
| 9 | B40104003 | T8 Shaft | T: 2.4 |
| 10 | B40104004 | T8 Shaft, Cannulated | T: 2.4 |
| 11 | B40100009 | Cleaning Stylet | d: 1.1 |
| 12 | B40104005 | Sterilizing Tray, for 3.0mm Headless Compression Cannulated Screws | d: 3.0 |
| 13 | B40104006 | 3.0mm Headless Compression Cannulated Screws Instrument Case | N/A |
| 14 | B40104007 | 3.0mm Headless Compression Cannulated Screws Instrument Set | N/A |
| (5) 4.5无头空心钉手术器械包 (4.5mm Headless Compression Cannulated Screws Instrument Set) |  |  |  |
| 序号 No. | 产品编号 Product No. | 产品描述 Product Description (In English) | 关键尺寸 Key Size |
| 1 | B40102010 | Guide Wire, 1.6*150mm | d: 1.6 |
| 2 | B40102001 | Cannulated Drill Bit, 3.2mm/1.6mm dia. | d: 3.2 |
| 3 | B40105001 | Cannulated Countersink | d: 4.2 |
| 4 | B40101004 | Handle with Quick Coupling | d: 4.5 |
| 5 | B40105002 | Compression Sleeve | d: 4.1 |
| 6 | B40002017 | Screw Forceps, Self-holding | d: 1.0～6.4 |
| 7 | B40105003 | Compression Sleeve Handle | B: 5 |
| 8 | B40102006 | Protection Sleeve | d: 1.0～7; 7～16 |
| 9 | B40102007 | Depth Gauge | L: 150 |
| 10 | B40105004 | T15 Shaft | T: 3.3 |
| 11 | B40105005 | T15 Shaft, Cannulated | T: 3.3 |
| 12 | B40102009 | Cleaning Stylet | d: 1.6 |
| 13 | B40105006 | Sterilizing Tray, for 4.5mm Headless Compression Cannulated Screws | d: 4.5 |
| 14 | B40105007 | 4.5mm Headless Compression Cannulated Screws Instrument Case | N/A |
| 15 | B40105009 | 4.5mm Headless Compression Cannulated Screws Instrument Set | N/A |
|  | Optional |  |  |
| 17 | B40102014 | Cannulated Drill Bit, 3.2mm/1.6mm dia. (for export) | d: 3.2 |
| (6) 3.5空心钉手术器械包 (3.5mm Cannulated Screws Instrument Set) |  |  |  |
| 序号 No. | 产品编号 Product No. | 产品描述 Product Description (In English) | 关键尺寸 Key Size |
| 1 | B40101001 | Drill Bit, 2.7mm/1.25mm dia. | d: 1.5 |
| 2 | B40101002 | Countersink, for 3.5mm Cannulated Screws | d: 5.8 |
| 3 | B40101003 | Tap, for 3.5mm Cannulated Screws | d: 3.5 |
| 4 | B40101004 | Handle with Quick Coupling | d: 4.5 |
| 5 | B40101005 | Double Drill Sleeve, 2.7mm/1.25mm dia. | d: 2.7/1.25 |
| 6 | B40101006 | Screwdriver, for 3.5mm Cannulated Screws | B: 2.5 |
| 7 | B40102007 | Depth Gauge | L: 0-80 |
| 8 | B40101007 | Cleaning Stylet | d: 1.25 |
| 9 | B40101008 | Sterilizing Tray, for 3.5mm Cannulated Screws | d: 3.5 |
| 10 | B40101009 | Guide Wire, Φ1.25*150mm | d: 1.25 |
| 11 | B40101010 | 3.5mm Cannulated Screws Instrument Case | N/A |
| 12 | B40101011 | 3.5mm Cannulated Screws Instrument Set | N/A |
| (7) 4.5空心钉手术器械包 (4.5mm Cannulated Screws Instrument Set) |  |  |  |
| 序号 No. | 产品编号 Product No. | 产品描述 Product Description (In English) | 关键尺寸 Key Size |
| 1 | B40102001 | Cannulated Drill Bit, 3.2mm/1.6mm dia. | d: 3.2 |
| 2 | B40102002 | Countersink, for 4.5mm Cannulated Screws | d: 7.0 |
| 3 | B40102003 | Tap, for 4.5mm Cannulated Screws | d: 4.1 |
| 4 | B40102004 | T-Handle with Quick Coupling | d: 4.5 |
| 5 | B40102005 | Parallel Wire Guide | d: 1.8 |
| 6 | B40102006 | Protection Sleeve | d: 7.3, 3.3, 1.8 |
| 7 | B40102007 | Depth Gauge | L: 0～80 |
| 8 | B40102008 | Screwdriver, for 4.5mm Cannulated Screws | B: 3.5 |
| 9 | B40102009 | Cleaning Stylet | d: 1.6 |
| 10 | B40102010 | Guide Wire, 1.6*150mm | d: 1.6 |
| 11 | B40102011 | Sterilizing Tray, for 4.5mm Cannulated Screws | d: 4.5 |
| 12 | B40102012 | 4.5mm Cannulated Screws Instrument Case | N/A |
| 13 | B40102013 | 4.5mm Cannulated Screws Instrument Set | N/A |
|  | Optional |  |  |
| 14 | B40102014 | Cannulated Drill Bit, 3.2mm/1.6mm dia. (for export) | d: 3.2 |
| (8) 手外手术器械包 (Hand & Foot Standard Plates Instrument Set) |  |  |  |
| 序号 No. | 产品编号 Product No. | 产品描述 Product Description (In English) | 关键尺寸 Key Size |
| 1 | B40000001 | Drill Bit, 1.1mm dia. | d: 1.1 |
| 2 | B40000002 | Drill Bit, 1.5mm dia. | d: 1.5 |
| 3 | B40201015 | Drill Bit, 2.0mm dia. | d: 2.0 |
| 4 | B40000003 | Drill Bit, 2.7mm dia. | d: 2.7 |
| 5 | B40000004 | Countersink Shaft, 1.5mm/2.0mm dia. | d: 4.5 |
| 6 | B40000005 | Countersink Shaft, 2.7mm dia. | d: 5.5 |
| 7 | B40000006 | Tap, for 1.5mm Cortical Screws | d: 1.5 |
| 8 | B40000007 | Tap, for 2.0mm Cortical Screws | d: 2.0 |
| 9 | B40201016 | Tap, for 2.7mm Cortical Screws | d: 2.7 |
| 10 | B40000008 | Double Drill Sleeve, 1.1mm/1.5mm dia. | d: 1.2, 1.6 |
| 11 | B40000009 | Double Drill Sleeve, 1.5mm/2.0mm dia. | d: 1.6, 2.0 |
| 12 | B40000010 | Double Drill Sleeve, 2.0mm/2.7mm dia. | d: 2.1, 2.8 |
| 13 | B40000011 | Screwdriver, for Removing Screws, 1.5mm/2.0mm | B: 0.5 |
| 14 | B40000012 | Screwdriver Shaft, Cruciform, 1.5mm/2.0mm, with Holding Sleeve | B: 0.5 |
| 15 | B40002005 | T-Handle with Quick Coupling | B: 4.5 |
| 16 | B40000013 | Handle with Quick Coupling, 1.5mm/2.0mm | d: 2.3 |
| 17 | B40000014 | Handle with Quick Coupling, AO Type | B: 4.5 |
| 18 | B40000015 | Depth Gauges, for 1.5mm/2.0mm Cortical Screws | L: 1～55 |
| 19 | B40000016 | Bender, Kirschner Wire | 0.8mm, 1.25mm |
| 20 | B40000017 | Periosteal Elevator, Width 3mm | B: 3mm |
| 21 | B40000018 | Bending lron, for Plates 1.5mm/2.0mm | B: 1.5, 2.0 |
| 22 | B40000019 | Bending Pliers, for Plates 1.5mm/2.7mm | d: 0-10 |
| 23 | B40000020 | Reduction Forceps with Points | L: 85～185 |
| 24 | B40000021 | Plate Holder | L: 135～280 |
| 25 | B40001008 | Screwdriver, Hexagonal, with Groove | B: 2.5 |
| 26 | B40001009 | Holding Sleeve, for Screwdriver | d: 6.5 |
| 27 | B40001010 | Depth Gauge | L: 1～85 |
| 28 | B40002017 | Screw Forceps, Self-holding | d: 1.0～8.0 |
| 29 | B40000022 | Sterilizing Tray, for 1.5mm/2.7mm Cortical Screws | d: 1.5/2.7 |
| 30 | B40000023 | Hand & Foot Standard Plates Instrument Case | N/A |
| 31 | B40000026 | Hand & Foot Standard Plates Instrument Set | N/A |
| (9) 断钉取出器械包 (Bolt Extractor Basic Instrument Set) |  |  |  |
| 序号 No. | 产品编号 Product No. | 产品描述 Product Description (In English) | 关键尺寸 Key Size |
| 1 | B40204014 | Sharp Hook | L: 50～300 |
| 2 | B40204015 | Forceps, for Screw Removal | L: 1.0～6.4 |
| 3 | B40204016 | Drill Bit, 4mm dia., Left | d: 1～7.0; d: 7.0～14 |
| 4 | B40204017 | Drill Bit, 6mm dia., Left | d: 1～7.0; d: 7.0～14 |
| 5 | B40204018 | Remover of Damaged Screw | d: 1.5~7.3 |
| 6 | B40204025 | Extraction Bolt, 3.5mm dia. | d: 3.7 |
| 7 | B40204026 | Extraction Bolt, 4.5mm dia. | d: 4.7 |
| 8 | B40204027 | Extraction Bolt, 6.5mm dia. | d: 6.8 |
| 9 | B40204029 | Centering Pin, 4.5mm dia. | d: 4.5 |
| 10 | B40204030 | Centering Pin, 6.5mm dia. | d: 6.5 |
| 11 | B40204031 | Centering Pin, 3.5mm dia. | d: 3.5 |
| 12 | B40204038 | Connecting End, 3.5mm dia. | AO Connect |
| 13 | B40204032 | Connecting End, 4.5mm dia. | AO Connect |
| 14 | B40204033 | Connecting End, 6.5mm dia. | AO Connect |
| 15 | B40204034 | SW3.5mm Hex Screwdriver Shaft | B: 3.5 |
| 16 | B40204035 | SW2.5mm Hex Screwdriver Shaft | B: 2.5 |
| 17 | B40204028 | Reamers Tube, for φ6.5mm Screws | d: 7.3 |
| 18 | B40204036 | Reamers Tube, for φ4.5mm Screws | d: 5.1 |
| 19 | B40204037 | Reamers Tube, for φ3.5mm Screws | d: 4.6 |
| 20 | B40204039 | Conical Extraction Screw, for SW2.5 | d: 4.5 |
| 21 | B40204040 | Conical Extraction Screw, for SW2.5, Long Thread | d: 4.5 |
| 22 | B40204046 | Conical Extraction Screw, for SW3.5 | d: 4.5 |
| 23 | B40204041 | Sharp Awl | L: 50～300 |
| 24 | B40204042 | Quick Connect Handle | 2.0～8.0 |
| 25 | B40204043 | T-Handle with Quick Coupling | 2.0～8.0 |
| 26 | B40204044 | T-Handle with Universal Connector | 2.0～8.0 |
| 27 | B40204045 | Chisel | L: 50-300 |
| 28 | B40204048 | Bolt Extractor Basic Instrument Mini Case | N/A |
| 29 | B40204021 | Bolt Extractor Basic Instrument Case | N/A |
| 30 | B40204022 | Bolt Extractor Basic Instrument Set | N/A |
| (10) 无头加压螺钉标准型手术器械包 (Headless Compression Cannulated Screws Instrument Set, Standard) |  |  |  |
| 序号 No. | 产品编号 Product No. | 产品描述 Product Description (In English) | 关键尺寸 Key Size |
| 1 | B40108014 | Guide Wire, 1.4mm dia. | d: 1.4 |
| 2 | B40108015 | Wire Guide, 1.4mm dia. | d: 1.4 |
| 3 | B40108016 | Profile Drill Bit, 2.5mm dia. | d: 2.5 |
| 4 | B40108017 | Long Drill Bit, 2.5mm dia. | d: 2.5 |
| 5 | B40108018 | Screwdriver, Hexagonal, Cannulated, for 2.5mm Cannulated Screws | B: 2.5 |
| 6 | B40108033 | Sterilizing Tray, Standard | d: 4.0 |
| 7 | B40108021 | Handle with Quick Coupling | L: 134.8 |
| 8 | B40108022 | Depth Gauge | Max. L: 60 |
| 9 | B40108023 | Screw Forceps | D: 1.0～8.0 |
| 10 | B40108026 | Headless Compression Cannulated Screws Instrument Case, Standard | N/A |
| 11 | B40108031 | Headless Compression Cannulated Screws Instrument Set, Standard | N/A |
|  | Optional |  |  |
| 12 | B40108032 | Handle with Quick Coupling | L: 134 |
| (11) 无头加压螺钉迷你型手术器械包 (Headless Compression Cannulated Screws Instrument Set, Mini) |  |  |  |
| 序号 No. | 产品编号 Product No. | 产品描述 Product Description (In English) | 关键尺寸 Key Size |
| 1 | B40108008 | Guide wire, 1.1mm dia. | d: 1.1 |
| 2 | B40108009 | Wire Guide, 1.1mm dia. | d: 1.1 |
| 3 | B40108010 | Profile Drill Bit, 2.0mm dia. | d: 2.0 |
| 4 | B40108011 | Long Drill Bit, 2.0mm dia. | d: 2.0 |
| 5 | B40108012 | T8 Cannulated Shaft | T: 2.4 |
| 6 | B40108013 | Sterilizing Tray, Mini | d: 3.5 |
| 7 | B40108021 | Handle with Quick Coupling | L: 134.8 |
| 8 | B40108022 | Depth Gauge | Max. L: 60 |
| 9 | B40108023 | Screw Forceps | d: 1.0～8.0 |
| 10 | B40108027 | Headless Compression Cannulated Screws Instrument Case, Mini | N/A |
| 11 | B40108030 | Headless Compression Cannulated Screws Instrument Set, Mini | N/A |
|  | Optional |  |  |
| 12 | B40108032 | Handle with Quick Coupling | L: 134 |
| (12) 无头加压螺钉微型手术器械包 (Headless Compression Cannulated Screws Instrument Set, Micro) |  |  |  |
| 序号 No. | 产品编号 Product No. | 产品描述 Product Description (In English) | 关键尺寸 Key Size |
| 1 | B40108001 | Guide Wire, 0.88mm dia. | d: 0.88 |
| 2 | B40108002 | Wire Guide, 0.88mm dia. | d: 0.88 |
| 3 | B40108003 | Profile Drill Bit, 1.5mm dia. | d: 1.5 |
| 4 | B40108004 | Long Drill Bit, 1.5mm dia. | d: 1.5 |
| 5 | B40108005 | Screwdriver, Hexagonal, for 1.5mm Cannulated Screws | B: 1.5 |
| 6 | B40108006 | Forceps | L: 125.1 |
| 7 | B40108007 | Sterilizing Tray, Micro | d: 2.5 |
| 8 | B40108021 | Handle with Quick Coupling | L: 134.8 |
| 9 | B40108022 | Depth Gauge | Max. L: 60 |
| 10 | B40108023 | Screw Forceps | d: 1.0～8.0 |
| 11 | B40108028 | Headless Compression Cannulated Screws Instrument Case, Micro | N/A |
| 12 | B40108029 | Headless Compression Cannulated Screws Instrument Set, Micro | N/A |
|  | Optional |  |  |
| 13 | B40108032 | Handle with Quick Coupling | L: 134 |
| (13) 骨针钢丝器械包 (Pin & Wire Instrument Set) |  |  |  |
| 序号 No. | 产品编号 Product No. | 产品描述 Product Description (In English) | 关键尺寸 Key Size |
| 1 | B40800001 | Medium Cable Passer, Curved | L: 50～300 |
| 2 | B40800002 | Lage Cable Passer, Curved | L: 50～300 |
| 3 | B40800003 | Medium Cable Passer, Curved | L: 50～300 |
| 4 | B40800004 | Lage Cable Passer | L: 50～300 |
| 5 | B40800005 | Attachment Bit | L: 50～300 |
| 6 | B40800006 | Provisional Tensioning Device | L: 50～300 |
| 7 | B40800015 | Cable Tensioner-Ⅲ | 0~50Kg |
| 8 | B40800008 | Cable Crimper | d: 1～14 |
| 9 | B40800009 | Cable Cutter, Standard | B: 2～6 |
| 10 | B40800010 | Cable Cutter, Large | B: 2～6 |
| 11 | B40800011 | Pin & Wire Instrument Case | N/A |
| 12 | B40800012 | Pin & Wire Instrument Set | N/A |
|  | Optional |  |  |
| 13 | B40800007 | Cable Tensioner | 0~50Kg |
| (14) 上肢外固定架器械包 (Upper Limb External Fixator System Instrument Set) |  |  |  |
| 序号 No. | 产品编号 Product No. | 产品描述 Product Description (In English) | 关键尺寸 Key Size |
| 1 | B40700001 | Drill Bit, 2.5mm dia., 2 Grooves | d: 2.5 |
| 2 | B40700003 | Double Drill Sleeve, 2.0mm/2.5mm dia. | d: 2.0, 2.5 |
| 3 | B40700004 | Drill Sleeve | d: 2.7 |
| 4 | B40701003 | Simple T-Handle | B: 7 |
| 5 | B40700005 | Upper Limb External Fixator System Instrument Set | N/A |
|  | Optional |  |  |
| 6 | B00800008 | Combination Wrench, 7mm | B: 7 |
| 7 | B40700002 | Drill Bit, 2.5mm dia., 3 Grooves | d: 2.5 |
| (15) 上肢外固定架Ⅱ型器械包 (Upper Limb External Fixator-Ⅱ System Instrument Set) |  |  |  |
| 序号 No. | 产品编号 Product No. | 产品描述 Product Description (In English) | 关键尺寸 Key Size |
| 1 | B40702001 | Drill Bit, 2.7mm dia. | d: 2.7 |
| 2 | B40702002 | Drill Sleeve with Handle | d: 4.1 |
| 3 | B40702003 | Drill Sleeve | d: 2.8 |
| 4 | B40702005 | Wrench, T-handle | B: 3.4 |
| 5 | B40706001 | Distractor | L: 15～200mm |
| 6 | B40702004 | L-wrench, 4.0mm dia. | B: 4 |
| 7 | B40706002 | Double Drill Sleeve | d: 4.1 |
| 8 | B40702006 | Upper Limb External Fixator -ⅡSystem Instrument Case | N/A |
| 9 | B40702007 | Upper Limb External Fixator -ⅡSystem Instrument Set | N/A |
| (16) 1.5/2.0钢板螺钉手足工具器械包 (1.5/2.0mm Hand & Foot Locking Plates Instrument Set) |  |  |  |
| 序号 No. | 产品编号 Product No. | 产品描述 Product Description (In English) | 关键尺寸 Key Size |
| 1 | B40206003 | Drill Guide, 1.1mm dia. | d: 1.2 |
| 2 | B40206004 | Drill Guide, 1.5mm dia. | d: 1.6 |
| 3 | B40000008 | Double Drill Sleeve, 1.1mm/1.5mm dia. | d: 1.2, 1.6 |
| 4 | B40000009 | Double Drill Sleeve, 1.5mm/2.0mm dia. | d: 1.6, 2.1 |
| 5 | B40206001 | Drill Bit, 1.1mm dia. | d: 1.1 |
| 6 | B40206002 | Drill Bit, 1.5mm dia. | d: 1.5 |
| 7 | B40201015 | Drill Bit, 2.0mm dia. | d: 2.0 |
| 8 | B40205002 | Depth Gauge | L: 2～500 |
| 9 | B40000014 | Handle with Quick Coupling, AO Type | d: 4.5 |
| 10 | B40206005 | T6 Shaft | T: 1.75 |
| 11 | B50101007 | T6 Self-holding Screwdriver, Stardrive | T: 1.75 |
| 12 | B40205006 | Bending/Cutting Pliers, Left | B: 0-10mm |
| 13 | B40205007 | Bending/Cutting Pliers, Right | B: 0-10mm |
| 14 | B40205008 | Reduction Forceps with Points | L: 85~185 |
| 15 | B40205009 | Plate Holder | L: 154 |
| 16 | B40206006 | Sterilizing Tray, for 1.5/2.0mm Screws | d: 1.5/2.0 |
| 17 | B40206007 | 1.5/2.0mm Hand & Foot Locking Plates Instrument Case | N/A |
| 18 | B40206008 | 1.5/2.0mm Hand & Foot Locking Plates Instrument Set | N/A |
|  | Optional |  |  |
| 19 | B40205005 | Torque-Limiting Screwdriver, 0.4N.M | 0.4 NM |
| 20 | B40206009 | Retractor,width 6mm | B: 6 |
| 21 | B40206010 | Retractor,width 8mm | B: 8 |
| 22 | B40206011 | Sharp Hook | L: 160 |
| 23 | B40206012 | Periosteal Elevator, width 5mm | L: 160 |
| 24 | B40206013 | Reduction Forceps with Four Points | L: 85-185 |

3. 产品名称 (Products): 脊柱内固定手术器械包 (Spinal Fixation Instrument Sets)

备案号 (Certificate No.): 京昌械备20220037号

| (1) ZZFEE颈椎前路手术器械包 (ZZFEE Anterior Cervical Plate System Instrument Set) |  |  |  |
| --- | --- | --- | --- |
| 序号 No. | 产品编号 Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B50000001 | Retainer Screw | d: 3.5 |
| 2 | B50000002 | Driver for Retainer Screw | d: 4.0 |
| 3 | B50000003 | Distractor | L: 0～140 |
| 4 | B50000004 | Plate Holder | W: 0-30 |
| 5 | B50000005 | Temporary Fixation Pin | d: 1.14 |
| 6 | B50301009 | Holder, for Pedicle Marker | d: 3.0 |
| 7 | B50000006 | Fixed Angle Drill Guide | d: 2.6 |
| 8 | B50000007 | Variable Angle Drill Guide | d: 2.6 |
| 9 | B50000008 | Drill Bit, 2.4mm dia. | d: 2.4 |
| 10 | B50000009 | Screwdriver, Hexagonal | B: 2.3 |
| 11 | B50000010 | Screwdriver, Hexagonal | B: 0.7 |
| 12 | B50000011 | French Bender | d: 25 |
| 13 | B50000012 | Implants Tray | N/A |
| 14 | B50000013 | ZZFEE Anterior Cervical Plate System Instrument Case | N/A |
| 15 | B40000014 | Handle with Quick Coupling | d: 4.5 |
| 16 | B50000014 | Anterior Cervival Awl | d: 2.5 |
| 17 | B50000015 | ZZFEE Anterior Cervical Plate System Instrument Set | N/A |
|  | Optional |  |  |
| 18 | B50000021 | Distractor II | L: 0～140 |
| (2) Soprano颈椎后路手术器械包 (Soprano Posterior Cervical Screw-rod System Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B50100001 | Awl | d: 2.2 |
| 2 | B50100002 | Drill Guide, for 2.4mm dia. | d: 6 |
| 3 | B50100003 | Drill Bit, 2.4mm/12mm dia. | D: 2.4 |
| 4 | B50100004 | Drill Bit, 2.4mm/14mm dia. | D: 2.4 |
| 5 | B50100005 | Drill Bit, 2.4mm/16mm dia. | D: 2.4 |
| 6 | B50100006 | Drill Bit, Adjustable | D: 2.4 |
| 7 | B50100007 | Straight Probe | d: 4.9 |
| 8 | B50100008 | Sounding/Feeler Probe | d: 1.6 |
| 9 | B50100009 | Tap, 3.5mm dia. | L: 6.2 |
| 10 | B50100010 | Depth Gauge | L: 0～50 |
| 11 | B50100011 | Multiaxial Screwdriver, Inserter | d: 5.9 |
| 12 | B50100012 | Multiaxial Screwdriver, Remover | B: 2 |
| 13 | B50100013 | Rod Template | D: 3.0 |
| 14 | B50100014 | Rod Clamp | d: 3 |
| 15 | B50100015 | Rod Cutter | d: 3 |
| 16 | B50100016 | Rod Bender, 3.0mm | d: 3 |
| 17 | B50100017 | Bending Iron(set), Left | B: 3.1 |
| 18 | B50100018 | Bending Iron(set), Right | B: 3.1 |
| 19 | B50100019 | Rod Holder, 3.0～6.0mm dia. | d: 3.0～6.0 |
| 20 | B50100020 | Self-Retaining Set Driver | B: 3 |
| 21 | B50100022 | Screwdriver, Final Fastening | B: 3 |
| 22 | B50100023 | Counter Torque | D: 14.3 |
| 23 | B50100024 | Lamilar Hooks Probe | d: 4.9 |
| 24 | B50100025 | Lamilar Hooks Holder | L: 6.6 |
| 25 | B50100026 | Distractor | L: 0～52 |
| 26 | B50100027 | Compressor | L: 12～36 |
| 27 | B50100028 | Reduction Forceps, with Pistol Grip | L: 12 |
| 28 | B50100029 | Pedicle Marker, Spherical | d: 2 |
| 29 | B50100030 | Pedicle Marker, Cylindrical | d: 2 |
| 30 | B50301009 | Holder, for Pedicle Marker | d: 3 |
| 31 | B50100031 | Multi Axial Screwdriver | B: 3 |
| 32 | B40002005 | T-Handle with Quick Coupling | d: 4.5 |
| 33 | B40000014 | Handle with Quick Coupling | d: 4.5 |
| 34 | B50100032 | Drill Bit, 3.0mm dia. | d: 3 |
| 35 | B50100033 | Tap, 4.0mm dia. | d: 4 |
| 36 | B50100034 | Guide Sleeve, for Drill/Tap, 6mm/8mm | 6mm-L:34; 8mm-L:32 |
| 37 | B50100035 | Guide Sleeve, for Drill/Tap, 10mm/12mm | 10mm-L:30; 12mm-L:28 |
| 38 | B50100036 | Rod Pusher | d: 6.56 |
| 39 | B50100038 | Screw Tray | N/A |
| 40 | B50100039 | Soprano Posterior Cervical Screw-rod System Instrument Case | N/A |
| 41 | B50100040 | Soprano Posterior Cervical Screw-rod System Instrument Set | N/A |
|  | Optional |  |  |
| 45 | B50100053 | 3N·M Torque Driver, Final Fastening | d: 3 |
| 46 | B50100054 | Counter Torque (Sleeve type) | d: 12.4 |
| 47 | B50100059 | Rod Clamp | B: 3 |
| 48 | B50100060 | Flex Shaft Drill | d: 3 |
| 49 | B59000032 | Plate Bender | d: 3 |
| 50 | B59000033 | Side Plate Bender | B: 1.5 |
| (3) 椎板成形术工具器械包 (Soprano Posterior Cervical Mini-plates Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B50101001 | Trail Spacer, 4mm | L: 4 |
| 2 | B50101002 | Trail Spacer, 6mm | L: 6 |
| 3 | B50101003 | Trail Spacer, 8mm | L: 8 |
| 4 | B50101004 | Trail Spacer, 10mm | L: 10 |
| 5 | B50101005 | Trail Spacer, 12mm | L: 12 |
| 6 | B50101006 | Curette | L: 8.5 |
| 7 | B50101007 | T6 Self-holding Screwdriver, Stardrive | T: 1.75 |
| 8 | B50101008 | Plate Holder | D: 0～15 |
| 9 | B50101009 | Mini Quick Connect Handle | D: 1.8 |
| 10 | B50101010 | Drill Bit, φ1.5mm*4mm | L: 4 |
| 11 | B50101011 | Drill Bit, φ1.5mm*6mm | L: 6 |
| 12 | B50101012 | Drill Bit, φ1.5mm*8mm | L: 8 |
| 13 | B50101013 | Drill Bit, φ1.5mm*10mm | L: 10 |
| 14 | B50101014 | Drill Bit, φ1.5mm*12mm | L: 12 |
| 15 | B50101015 | Lamina Elevator | L: 0～75 |
| 16 | B50101016 | Rongeur | L: 0～30 |
| 17 | B50101017 | Combination Bending/Cutting Plier, Right | L: 0～10 |
| 18 | B50101022 | Combination Bending/Cutting Plier, Left | L: 0～10 |
| 19 | B50101021 | Screw Guide | D: 2.5 |
| 20 | B50101018 | Implant Tray | N/A |
| 21 | B50101019 | Soprano Posterior Cervical Mini-plates Instrument Case | N/A |
| 22 | B50101020 | Soprano Posterior Cervical Mini-plates Instrument Set | N/A |
| (4) Uspine胸腰椎后路手术器械包 (Uspine Posterior Thoracolumbar Screw-Rod System Instrument Set) |  |  |  |
| 序号 No. | 产品编号 Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B50301001 | In-Line Round Awl | B: 2.6 |
| 2 | B50301002 | Dual End Probe | d: 2.1 |
| 3 | B50301003 | Sounding/Feeler Probe | d: 2.1 |
| 4 | B50308009 | Thoracic Ball Handle Probe, Straight | W: 2～4 |
| 5 | B50399008 | Lumbar Ball Handle Probe, Straight | W: 2～5 |
| 6 | B50401008 | T-handle, Square Connector | B: 6.35 |
| 7 | B50399005 | Quick Connect Straight Handle, Ratchet | B: 6.35 |
| 8 | B50301007 | Pedicle Marker, Spherical | d: 2.5 |
| 9 | B50301008 | Pedicle Marker, Cylindrical | d: 2.5 |
| 10 | B50301009 | Holder, for Pedicle Marker | d: 3.0 |
| 11 | B50301010 | Tap, 5.0mm dia. | d: 4.8 |
| 12 | B50301011 | Tap, 5.5mm dia. | d: 5.3 |
| 13 | B50301012 | Tap, 6.0mm dia. | d: 5.8 |
| 14 | B50301013 | Tap, 6.5mm dia. | d: 6.3 |
| 15 | B50300051 | Screwdriver, for Monoaxial Pedicle Screws | W: 5.7 |
| 16 | B50300052 | Screwdriver, for Multiaxial Pedicle Screws | W: 5.7 |
| 17 | B50300053 | Screwdriver, for Multiaxial Reduction Pedicle Screws | W: 5.7 |
| 18 | B50300054 | Screwdriver, for Monoaxial Reduction Pedicle Screws | W: 5.7 |
| 19 | B50301018 | Rod Template, 5.5mm dia. | d: 5.5 |
| 20 | B50307019 | Rod Bender | d: 4.5～6.5 |
| 21 | B50309001 | Rod Holding Forceps, 6.0mm dia. | d: 4.0～8.0 |
| 22 | B50300018 | Rod Holder, 3.0～6.0mm dia. | d: 3.0～6.0 |
| 23 | B50300058 | Rod Pusher, 6.0mm dia. | W: 6.2 |
| 24 | B50300055 | Nuts Screwdriver, Pre-screwing | B: 4.55 |
| 25 | B50300056 | M9 Screwdriver, Final Fastening | B: 4.5 |
| 26 | B50300057 | Counter Torque | B: 6.2 |
| 27 | B50300023 | Rod Rotation Wrench | d: 5 |
| 28 | B50308010 | Curved Compressor | L: 285 |
| 29 | B50308011 | Curved Distractor | L: 265 |
| 30 | B50300026 | Bending Iron, Left | W: 6.05 |
| 31 | B50300027 | Bending Iron, Right | W: 6.05 |
| 32 | B50300028 | Break-off Iron, for Reduction Screw | W: 0～13 |
| 33 | B50300029 | Reduction Forceps, with Pistol Grip | d: 18.3 |
| 34 | B50300030 | Crosslink Holder | W: 9～50 |
| 35 | B50301031 | 3.5mm Hex. Screwdriver Shaft, Square Connector | B: 3.5 |
| 36 | B50300060 | Uspine Posterior Thoracolumbar Screw-Rod System Instrument Case | N/A |
| 37 | B50300062 | Uspine Posterior Thoracolumbar Screw-Rod System Instrument Set | N/A |
|  | Optional |  |  |
| 38 | B50300036 | Distracter | L: 140 |
| 39 | B50300037 | Screwdriver, for Monoaxial Pedicle Screws, T-handle | W: 5.7 |
| 40 | B50300038 | Screwdriver, for Monoaxial Reduction Pedicle Screws, T-handle | W: 5.7 |
| 41 | B50300039 | Screwdriver, for Multiaxial Pedicle Screws, T-handle | W: 5.7 |
| 42 | B50300040 | Screwdriver, for Multiaxial Reduction Pedicle Screws, T-handle | W: 5.7 |
| 43 | B50300041 | Nuts Sleeve | D: 12.6 |
| 44 | B50300043 | Funnel, 5mm dia. | d: 5 |
| 45 | B50300044 | Funnel, 6mm dia. | d: 6 |
| 46 | B50300045 | Funnel, 7mm dia. | d: 7 |
| 47 | B50300046 | In-Line Round Awl, for 4.0～5.0mm Screws | B: 2.03 |
| 48 | B50300047 | Rod Cutter | d: 5.0; 5.75; 6.25 |
| 49 | B50300032 | Socket Wrench | B: 7.5 |
| 50 | B50300033 | Screws Holder | M5 |
| 51 | B50300061 | Counter Torque | B: 6.2 |
| 52 | B50300035 | Screws Holder | M5 |
| 53 | B50300020 | Nuts Screwdriver, Pre-screwing | B: 4.55 |
| 54 | B50300021 | M9 Screwdriver, Final Fastening | B: 4.5 |
| 55 | B50300048 | Sterilizing Case, for Impants of Uspine/Rekha/SCS | N/A |
| 56 | B50300001 | In-Line Round Awl (for 5.5-7.0 screw) | B: 2.6 |
| 57 | B50300002 | Ball Handle Probe, Straight, Large (for 5.5-7.0 screw) | W: 2～5 |
| 58 | B50300003 | Ball Handle Probe, Straight, Small (for 4.0-4.5 screw) | W: 2～5 |
| 59 | B50300006 | Pedicle Marker, Spherical | d: 2 |
| 60 | B50300007 | Pedicle Marker, Cylindrical | d: 2 |
| 61 | B50300008 | Handle with Quick Coupling | D: 12 |
| 62 | B50300009 | Tap, 5.0mm dia. | d: 4.8 |
| 63 | B50300010 | Tap, 6.0mm dia. | d: 5.8 |
| 64 | B50300034 | Rekha/SCS (locking) Counter Torque | B: 3.5 |
| 65 | B50300051 | Screwdriver, for Monoaxial Pedicle Screws | W: 5.7 |
| 66 | B50300052 | Screwdriver, for Multiaxial Pedicle Screws | W: 5.7 |
| 67 | B50300053 | Screwdriver, for Multiaxial Reduction Pedicle Screws | W: 5.7 |
| 68 | B50300054 | Screwdriver, for Monoaxial Reduction Pedicle Screws | W: 5.7 |
| 69 | B50301005 | Thoracic Ball Handle Probe, Straight | d: 2 |
| 70 | B50301004 | Lumbar Ball Handle Probe, Straight | d: 2 |
| 71 | B50301006 | Quick Connect Straight Handle | B: 6.35 |
| 72 | B50300016 | Rod Bender, 6.0mm dia. | d: 4.5～6.5 |
| 73 | B50300017 | Rod Holding Forceps, 6.0mm dia. | d: 4.0～8.0 |
| 74 | B50301022 | Parallel Compressor, Medium | W: 20～60 |
| 75 | B50301023 | Parallel Distractor | W: 0～44 |
| (5) UspineⅡ胸腰椎后路手术器械包 (Uspine Ⅱ Posterior Thoracolumbar Screw-Rod System Instrument Set) |  |  |  |
| 序号 No. | 产品编号 Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B50301001 | In-Line Round Awl | B: 2.6 |
| 2 | B50301002 | Dual End Probe | d: 2.1 |
| 3 | B50301003 | Sounding/Feeler Probe | d: 2.1 |
| 4 | B50308009 | Thoracic Ball Handle Probe, Straight | W: 2～4 |
| 5 | B50399008 | Lumbar Ball Handle Probe, Straight | W: 2～5 |
| 6 | B50399009 | Lumbar Ball Handle Probe, Curved | W: 2～5 |
| 7 | B50399005 | Quick Connect Straight Handle, Ratchet | B: 6.35 |
| 8 | B50401008 | T-handle, Square Connector | B: 6.35 |
| 9 | B50301007 | Pedicle Marker, Spherical | d: 2.5 |
| 10 | B50301008 | Pedicle Marker, Cylindrical | d: 2.5 |
| 11 | B50301009 | Holder, for Pedicle Marker | d: 3.0 |
| 12 | B50301010 | Tap, 5.0mm dia. | d: 4.8 |
| 13 | B50301011 | Tap, 5.5mm dia. | d: 5.3 |
| 14 | B50301012 | Tap, 6.0mm dia. | d: 5.8 |
| 15 | B50301013 | Tap, 6.5mm dia. | d: 6.3 |
| 16 | B50301049 | Screwdriver, for Monoaxial Pedicle Screws | W: 5.4 |
| 17 | B50301050 | Screwdriver, for Multiaxial Pedicle Screws | W: 5.4 |
| 18 | B50301051 | Screwdriver, for Monoaxial Reduction Pedicle Screws | W: 5.4 |
| 19 | B50301052 | Screwdriver, for Multiaxial Reduction Pedicle Screws | W: 5.4 |
| 20 | B50301018 | Rod Template, 5.5mm dia. | d: 5.5 |
| 21 | B50307019 | Rod Bender | d: 4.5～6.5 |
| 22 | B50301019 | Rod Pusher, 5.5mm dia. | W: 5.7 |
| 23 | B50300018 | Rod Holder, 3.0～6.0mm dia. | d: 3.0～6.0 |
| 24 | B50301020 | Forceps Rocker, 5.5mm dia. | W: 9.5～15 |
| 25 | B50301021 | Reduction Forceps, with Pistol Grip, 5.5mm | d: 18.3 |
| 26 | B50308012 | Rod Holding Forceps | d: 4.0～8.0 |
| 27 | B50308010 | Curved Compressor | L: 285 |
| 28 | B50308011 | Curved Distractor | L: 265 |
| 29 | B50301024 | T27 Nuts Screwdriver, Pre-screwing | d: 5.1 |
| 30 | B50301061 | Counter Torque | B: 5.9 |
| 31 | B50301027 | T27 Shaft | T27, Stardrive |
| 32 | B50301053 | Torque-Limiting Driver, 10N·m | B: 6.35 |
| 33 | B50301029 | Rod Rotation Wrench | d: 3.125 |
| 34 | B50399006 | Reduction Screw Tab Breaker | d: 14 |
| 35 | B50301031 | 3.5mm Hex. Screwdriver Shaft, Square Connector | B: 3.5 |
| 36 | B50301036 | Uspine Ⅱ Posterior Thoracolumbar Screw-Rod System Instrument Case | N/A |
| 37 | B50301037 | Uspine Ⅱ Posterior Thoracolumbar Screw-Rod System Instrument Set | N/A |
|  | Optional |  |  |
| 38 | B50301032 | Screwdriver, for Multiaxial Pedicle Screws, T-handle | W: 5.4 |
| 39 | B50301033 | Screwdriver, for Monoaxial Pedicle Screws, T-handle | W: 5.4 |
| 40 | B50301034 | Screwdriver, for Multiaxial Reduction Pedicle Screws, T-handle | W: 5.4 |
| 41 | B50301035 | Screwdriver, for Monoaxial Reduction Pedicle Screws, T-handle | W: 5.4 |
| 42 | B50399010 | Straight Rod Pusher | d: 4.5～6.5 |
| 43 | B50301026 | Ring Counter Torque | B: 5.7 |
| 44 | B50301030 | Reduction Screw Tab Breaker | d: 14 |
| 45 | B50301014 | Screwdriver, for Multiaxial Pedicle Screws | W: 5.4 |
| 46 | B50301015 | Screwdriver, for Monoaxial Pedicle Screws | W: 5.4 |
| 47 | B50301016 | Screwdriver, for Multiaxial Reduction Pedicle Screws | W: 5.4 |
| 48 | B50301017 | Screwdriver, for Monoaxial Reduction Pedicle Screws | W: 5.4 |
| 49 | B50301056 | Screwdriver, for Monoaxial Pedicle Screws | W: 5.4 |
| 50 | B50301057 | Screwdriver, for Multiaxial Pedicle Screws | W: 5.4 |
| 51 | B50301058 | Screwdriver, for Monoaxial Reduction Pedicle Screws | W: 5.4 |
| 52 | B50301059 | Screwdriver, for Multiaxial Reduction Pedicle Screws | W: 5.4 |
| 53 | B50399007 | Thoracic Ball Handle Probe, Straight | W: 2～4 |
| 54 | B50301004 | Lumbar Ball Handle Probe, Straight | W: 2～5 |
| 55 | B50301006 | Quick Connect Straight Handle | B: 6.35 |
| 56 | B50302001 | Tap, 4.0mm dia. | d: 3.8 |
| 57 | B50302002 | Tap, 4.5mm dia. | d: 4.3 |
| 58 | B50302004 | Bending Iron, Left | W: 5.6 |
| 59 | B50302005 | Bending Iron, Right | W: 5.6 |
| 60 | B50302006 | Bending Iron, Left | W: 5.6 |
| 61 | B50302007 | Bending Iron, Right | W: 5.6 |
| 62 | B50300047 | Rod Cutter | W: 3.7-4.4 |
| 63 | B50301005 | Thoracic Ball Handle Probe, Straight | d: 1.6 |
| 64 | B50300016 | Rod Bender, 6.0mm dia. | d: 4.0～8.0 |
| 65 | B50300017 | Rod Holding Forceps, 6.0mm dia. | d: 4.0～8.0 |
| 66 | B50302012 | Rod Holder Forceps | d: 4.0～8.0 |
| 67 | B50301022 | Parallel Compressor, Medium | W: 20～60 |
| 68 | B50301023 | Parallel Distractor | W: 0～44 |
| (6) UspineⅡ胸腰椎后路（矫形）手术器械包 (Uspine Ⅱ Posterior Thoracolumbar Screw-Rod System (Deformity) Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B50401008 | T-handle, Square Connector | B: 6.35 |
| 2 | B50302001 | Tap, 4.0mm dia. | d: 3.8 |
| 3 | B50302002 | Tap, 4.5mm dia. | d: 4.3 |
| 4 | B50302003 | Lateral Translator | d: 5.5 |
| 5 | B50302004 | Bending Iron, Left | W: 5.6 |
| 6 | B50302005 | Bending Iron, Right | W: 5.6 |
| 7 | B50302006 | Bending Iron, Left | W: 5.6 |
| 8 | B50302007 | Bending Iron, Right | W: 5.6 |
| 9 | B50302008 | Wrench | d: 11 |
| 10 | B50302009 | Screwdriver | T27, Stardrive |
| 11 | B50302010 | T27 Nuts Screwdriver, Pre-screwing | d: 5.1 |
| 12 | B50302015 | Counter Torque | B: 5.7 |
| 13 | B50308012 | Rod Holding Forceps | d: 2.0～8.0 |
| 14 | B50302013 | Beale Rod Reducer | d: 19 |
| 15 | B50302011 | Uspine Ⅱ Posterior Thoracolumbar Screw-Rod System (Deformity) Instrument Case | N/A |
| 16 | B50302014 | Uspine Ⅱ Posterior Thoracolumbar Screw-Rod System (Deformity) Instrument Set | N/A |
|  | Optional |  |  |
| 17 | B50302012 | Rod Holder Forceps | d: 4.0～8.0 |
| (7) Ospine胸腰椎后路手术器械包 (Ospine Posterior Thoracolumbar Screw-Rod System Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B50301001 | In-Line Round Awl | B: 2.6 |
| 2 | B50301002 | Dual End Probe | d: 2.1 |
| 3 | B50301003 | Sounding/Feeler Probe | d: 2.1 |
| 4 | B50308009 | Thoracic Ball Handle Probe, Straight | W: 2～4 |
| 5 | B50399008 | Lumbar Ball Handle Probe, Straight | W: 2～5 |
| 6 | B50399005 | Quick Connect Straight Handle, Ratchet | B: 6.35 |
| 7 | B50301007 | Pedicle Marker, Spherical | d: 2.5 |
| 8 | B50301008 | Pedicle Marker, Cylindrical | d: 2.5 |
| 9 | B50301009 | Holder for Marker | d: 3.0 |
| 10 | B50301010 | Tap, 5.0mm dia. | d: 4.8 |
| 11 | B50301011 | Tap, 5.5mm dia. | d: 5.3 |
| 12 | B50301012 | Tap, 6.0mm dia. | d: 5.8 |
| 13 | B50301013 | Tap, 6.5mm dia. | d: 6.3 |
| 14 | B50303022 | Screwdriver, for Monoaxial Pedicle Screws | W: 5.7 |
| 15 | B50303023 | Screwdriver, for Multiaxial Pedicle Screws | W: 5.7 |
| 16 | B50303024 | Screwdriver, for Monoaxial Reduction Pedicle Screws | W: 5.7 |
| 17 | B50303025 | Screwdriver, for Multiaxial Reduction Pedicle Screws | W: 5.7 |
| 18 | B50301018 | Rod Template, 5.5mm dia. | d: 5.5 |
| 19 | B50307019 | Rod Bender | d: 4.5～6.5 |
| 20 | B50309001 | Rod Holding Forceps, 6.0mm dia. | d: 4.0～8.0 |
| 21 | B50300058 | Rod Pusher, 6.0mm dia. | W: 6.2 |
| 22 | B50300018 | Rod Holder, 3.0～6.0mm dia. | d: 3.0～6.0 |
| 23 | B50301020 | Forceps Rocker, 5.5mm dia. | W: 9.5～15 |
| 24 | B50303009 | Reduction Forceps, with Pistol Grip, Ospine | d: 18.3 |
| 25 | B50308010 | Curved Compressor | L: 285 |
| 26 | B50308011 | Curved Distractor | L: 265 |
| 27 | B50303010 | T27 Nuts Screwdriver, Pre-screwing | d: 5.1 |
| 28 | B50303011 | Counter Torque | B: 6.4 |
| 29 | B50301027 | T27 Shaft | T27, Stardrive |
| 30 | B50301053 | Torque-Limiting Driver, 10N•m | B: 6.35 |
| 31 | B50300023 | Rod Rotation Wrench | d: 5 |
| 32 | B50303012 | Reduction Screw Tab Breaker | B: 14 |
| 33 | B50306031 | Nuts Screwdriver, Pre-screwing | B: 7 |
| 34 | B50306045 | T30 Shaft Driver, Final Tightening | d: 8.8 |
| 35 | B50301031 | 3.5mm Hex. Screwdriver Shaft, Square Connector | B: 3.5 |
| 36 | B50303013 | Ospine Posterior Thoracolumbar Screw-Rod System Instrument Case | N/A |
| 37 | B50303014 | Ospine Posterior Thoracolumbar Screw-Rod System Instrument Set | N/A |
|  | Optional |  |  |
| 38 | B50303005 | Screwdriver, for Multiaxial Pedicle Screws, T-handle | W: 5.7 |
| 39 | B50303006 | Screwdriver, for Monoaxial Pedicle Screws, T-handle | W: 5.7 |
| 40 | B50303007 | Screwdriver, for Multiaxial Reduction Pedicle Screws, T-handle | W: 5.7 |
| 41 | B50303008 | Screwdriver, for Monoaxial Reduction Pedicle Screws, T-handle | W: 5.7 |
| 42 | B50300047 | Rod Cutter | d: 5.0; 5.75; 6.25 |
| 43 | B50301028 | Torque-Limiting Driver | B: 6.35 |
| 44 | B50303026 | Screwdriver, for Monoaxial Pedicle Screws | W: 5.7 |
| 45 | B50303027 | Screwdriver, for Multiaxial Pedicle Screws | W: 5.7 |
| 46 | B50303028 | Screwdriver, for Monoaxial Reduction Pedicle Screws | W: 5.7 |
| 47 | B50303029 | Screwdriver, for Multiaxial Reduction Pedicle Screws | W: 5.7 |
| 48 | B50303001 | Screwdriver, for Multiaxial Pedicle Screws | W: 5.7 |
| 49 | B50303002 | Screwdriver, for Monoaxial Pedicle Screws | W: 5.7 |
| 50 | B50303003 | Screwdriver, for Multiaxial Reduction Pedicle Screws | W: 5.7 |
| 51 | B50303004 | Screwdriver, for Monoaxial Reduction Pedicle Screws | W: 5.7 |
| 52 | B50301005 | Thoracic Ball Handle Probe, Straight | W: 2～4 |
| 53 | B50301004 | Lumbar Ball Handle Probe, Straight | W: 2～5 |
| 54 | B50301006 | Quick Connect Straight Handle | B: 6.35 |
| 55 | B50300016 | Rod Bender, 6.0mm dia. | d: 4.5～6.5 |
| 56 | B50300017 | Rod Holding Forceps, 6.0mm dia. | d: 4.0～8.0 |
| 57 | B50301022 | Parallel Compressor, Medium | W: 20～60 |
| 58 | B50301023 | Parallel Distractor | W: 0～44 |
| (8) Uspine Ⅲ (空心)胸腰椎后路手术 (Uspine Ⅲ Minimally Invasive Spinal System Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B50307001 | Positioning Slice | T: 1.5 |
| 2 | B50307002 | Puncturer | D: 3.3 |
| 3 | B50307003 | Guide Wire, 1.4mm dia. | D: 1.4 |
| 4 | B50307004 | Hammer | L: 210 |
| 5 | B50307005 | Dilator I | D: 7.0 |
| 6 | B50307006 | Dilator II | D: 13.4 |
| 7 | B50307007 | Dilator III | D: 15.5 |
| 8 | B50307008 | Hollow Awl | D: 3.3 |
| 9 | B50307009 | Reamer | D: 7.0 |
| 10 | B50399005 | Quick Connect Straight Handle，Ratchet | B: 6.35 |
| 11 | B50307011 | Tap, 5.0mm dia. | D: 5.0 |
| 12 | B50307012 | Tap, 5.5mm dia. | D: 5.5 |
| 13 | B50307013 | Tap, 6.0mm dia. | D: 6.0 |
| 14 | B50307014 | Tap, 6.5mm dia. | D: 6.5 |
| 15 | B50307016 | Screwdriver, for Monoaxial and Multiaxial Pedicle Screws | D: 8.8 |
| 16 | B50307017 | Adjusting Screwdriver | D: 9.3 |
| 17 | B50307018 | Rod Measuring device | D: 7.5 |
| 18 | B50307019 | Rod Bender | d: 4.5～6.5 |
| 19 | B50307020 | Rod Holder Ⅰ | D: 6 |
| 20 | B50307021 | Rod Holder Ⅱ | D: 6 |
| 21 | B50307022 | Rod Holder Bolt | D: 5.5 |
| 22 | B50307023 | Rod Holder Screwdriver | D: 8.8 |
| 23 | B50307024 | Nuts Screwdriver, Pre-screwing | D: 8.8 |
| 24 | B50307025 | Hinged Retractor Frame | D: 16 |
| 25 | B50307026 | Retractor Sleeve | D: 14 |
| 26 | B50307036 | Retractor Extend Sleeve | D: 16 |
| 27 | B50307034 | Vertebral Distractor | B: 5.7 |
| 28 | B50307035 | Vertebral Compressor | B: 5.7 |
| 29 | B50307028 | Shaft Driver, Final Fastening (Long) | D: 8.8 |
| 30 | B50307029 | Shaft Driver, Final Fastening | D: 8.8 |
| 31 | B50301053 | Torque-Limiting Driver, 10N•m | D: 6.35 |
| 32 | B50307030 | Counter Torque | L: 130 |
| 33 | B50307031 | Break-off Wrench | W: 14 |
| 34 | B50401008 | T-handle, Square Connector | B: 6.35 |
| 35 | B50307032 | Uspine Ⅲ Minimally Invasive Spinal System Instrument Set Case | N/A |
| 36 | B50307033 | Uspine Ⅲ Minimally Invasive Spinal System Instrument Set | N/A |
|  | Optional |  |  |
| 37 | B50307010 | Tap, 4.5mm dia. | D: 4.5 |
| 38 | B50307015 | Tap, 7.0mm dia. | D: 7.0 |
| (9) Uspine Ⅲ Midline标准手术 (MIDLINE-LBE™ Cortical Bone Fixation System Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B50306001 | Speculum | W: 0～34 |
| 2 | B50306002 | Midline Blade Left 7cm | L: 73.5 |
| 3 | B50306003 | Midline Blade Left 8cm | L: 83.5 |
| 4 | B50306006 | Midline Blade Right 7cm | L: 73.5 |
| 5 | B50306007 | Midline Blade Right 8cm | L: 83.5 |
| 6 | B50306010 | Weitlaner Retractor | W: 0～40 |
| 7 | B50306011 | Retractor | W: 0～40 |
| 8 | B50306012 | In-Line Round Awl | W: 2～5 |
| 9 | B50306013 | 2.4mm Drill Bit | d: 2.4 |
| 10 | B50306037 | Drill Guider | d: 6 |
| 11 | B50306038 | Depth Adjuster | D: 10.6 |
| 12 | B50306014 | Quick Connect Handle | d: 4 |
| 13 | B50306015 | Dual Ended Feeler Probe | d: 2.1 |
| 14 | B50306016 | Lumbar Ball Handle Probe, Straight | W: 2.5 |
| 15 | B50306017 | Quick Connect Ratch Handle | B: 6.35 |
| 16 | B50401008 | T-handle, Square Connector | B: 6.35 |
| 17 | B50306019 | Pedicle Marker, Spherical | d: 2.5 |
| 18 | B50306020 | Pedicle Marker, Cylindrical | d: 2.5 |
| 19 | B50306021 | Holder, for Pedicle Marker | d: 3.0 |
| 20 | B50306022 | Midline Tap 4.0mm | d: 3.8 |
| 21 | B50306023 | Midline Tap 4.5mm | d: 4.3 |
| 22 | B50306024 | Midline Tap 5.0mm | d: 4.8 |
| 23 | B50306025 | Midline Tap 5.5mm | d: 5.3 |
| 24 | B50306039 | Screwdriver, for Multiaxial Pedicle Screws | B: 3.5 |
| 25 | B50306028 | Rod Bender | d: 4.5～6.5 |
| 26 | B50306029 | Rod Holder | d: 3.0～6.0 |
| 27 | B50306030 | Curved Compressor | W: 10～60 |
| 28 | B50306031 | Nuts Screwdriver, Pre-screwing | B: 7 |
| 29 | B50306032 | Counter Torque | B: 17 |
| 30 | B50306045 | T30 Shaft Driver, Final Tightening | B: 8 |
| 31 | B50301053 | Torque-Limiting Driver, 10N•m | B: 6.35 |
| 32 | B50306035 | MIDLINE-LBE™ Cortical Bone Fixation System Instrument Case | N/A |
| 33 | B50306036 | MIDLINE-LBE™ Cortical Bone Fixation System Instrument Set | N/A |
|  | Optional |  |  |
| 34 | B50306004 | Midline Blade Left 9cm | L: 93.5 |
| 35 | B50306005 | Midline Blade Left 10cm | L: 103.5 |
| 36 | B50306008 | Midline Blade Right 9cm | L: 93.5 |
| 37 | B50306009 | Midline Blade Right 10cm | L: 103.5 |
| (10) Uspine Ⅲ 胸腰椎后路手术器械包 (Uspine Ⅲ Posterior Thoracolumbar Screw-Rod System Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B50301001 | In-Line Round Awl | B: 2.6 |
| 2 | B50301002 | Dual End Probe | d: 2.1 |
| 3 | B50301003 | Sounding/Feeler Probe | d: 2.1 |
| 4 | B50308009 | Thoracic Ball Handle Probe, Straight | W: 2～4 |
| 5 | B50399008 | Lumbar Ball Handle Probe, Straight | W: 2～5 |
| 6 | B50399009 | Lumbar Ball Handle Probe, Curved | W: 2～5 |
| 7 | B50399005 | Quick Connect Straight Handle, Ratchet | B: 6.35 |
| 8 | B50401008 | T-handle, Square Connector | B: 6.35 |
| 9 | B50301007 | Pedicle Marker, Spherical | d: 2.5 |
| 10 | B50301008 | Pedicle Marker, Cylindrical | d: 2.5 |
| 11 | B50301009 | Holder for marker | d: 3.0 |
| 12 | B50308003 | Tap, 5.0mm dia. | d: 4.8 |
| 13 | B50308004 | Tap, 5.5mm dia. | d: 5.3 |
| 14 | B50308005 | Tap, 6.0mm dia. | d: 5.8 |
| 15 | B50308006 | Tap, 6.5mm dia. | d: 6.3 |
| 16 | B50308007 | Screwdriver, for Monoaxial and Multiaxial Pedicle Screws | L: 269 |
| 17 | B50301018 | Rod Template, 5.5mm dia. | d: 5.5 |
| 18 | B50307019 | Rod Bender | d: 4.5～6.5 |
| 19 | B50301019 | Rod Pusher, 5.5mm dia. | W: 5.7 |
| 20 | B50300018 | Rod Holder, 3.0～6.0mm dia. | d: 3.0～6.0 |
| 21 | B50301020 | Forceps Rocker, 5.5mm dia. | W: 9.5～15 |
| 22 | B50301021 | Reduction Forceps, with Pistol Grip, 5.5mm | d: 18.3 |
| 23 | B50308012 | Rod Holding Forceps | d: 4.0～8.0 |
| 24 | B50308010 | Curved Compressor | L: 285 |
| 25 | B50308011 | Curved Distractor | L: 265 |
| 26 | B50306031 | Nuts Screwdriver, Pre-screwing | B: 7 |
| 27 | B50301061 | Counter Torque | B: 5.7 |
| 28 | B50308008 | T30 Extended Quick Connect Shaft Driver | T30, Stardrive |
| 29 | B50306045 | T30 Shaft Driver, Final Tightening | d: 8.8 |
| 30 | B50301029 | Rod Rotation Wrench | d: 3.125 |
| 31 | B50399006 | Reduction Screw Tab Breaker | d: 14 |
| 32 | B50301031 | 3.5mm Hex. Screwdriver Shaft, Square Connector | B: 3.5 |
| 33 | B50308013 | Uspine Ⅲ Posterior Thoracolumbar Screw-Rod System Instrument Set Case | N/A |
| 34 | B50308014 | Uspine Ⅲ Posterior Thoracolumbar Screw-Rod System Instrument Set | N/A |
|  | Optional |  |  |
| 35 | B50399010 | Straight Rod Pusher | W: 6.2 |
| 36 | B50308001 | Tap, 4.0mm dia. | d: 3.8 |
| 37 | B50308002 | Tap, 4.5mm dia. | d: 4.5 |
| 38 | B50301022 | Parallel Compressor, Medium | W: 20～60 |
| 39 | B50301023 | Parallel Distractor | W: 0～44 |
| 40 | B50302004 | Bending Iron, Left | W: 5.6 |
| 41 | B50302005 | Bending Iron, Right | W: 5.6 |
| 42 | B50302006 | Bending Iron, Left | W: 5.6 |
| 43 | B50302007 | Bending Iron, Right | W: 5.6 |
| 44 | B50300047 | Rod Cutter | d: 5.0; 5.75; 6.25 |
| (11) CARGO颈椎前路CAGE手术器械包 (Cargo Cervical Cage Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B50400001 | Implant Inserter Ⅱ, Main Part | M: 2.5 |
| 2 | B50400002 | Implant Inserter Ⅱ | B: 11 |
| 3 | B50400003 | Implant Inserter, Adjustable | B: 10 |
| 4 | B50400004 | Trail Spacer, 5*12*14mm | H: 5 |
| 5 | B50400005 | Trail Spacer, 6*12*14mm | H: 6 |
| 6 | B50400006 | Trail Spacer, 7*12*14mm | H: 7 |
| 7 | B50400007 | Trail Spacer, 8*12*14mm | H: 8 |
| 8 | B50400008 | Trail Spacer, 9*12*14mm | H: 9 |
| 9 | B50400009 | Trail Spacer, 5*14*16mm | H: 5 |
| 10 | B50400010 | Trail Spacer, 6*14*16mm | H: 6 |
| 11 | B50400011 | Trail Spacer, 7*14*16mm | H: 7 |
| 12 | B50400012 | Trail Spacer, 8*14*16mm | H: 8 |
| 13 | B50400013 | Trail Spacer, 9*14*16mm | H: 9 |
| 14 | B50400014 | Packing Block, for Cargo | L: 0～11.5 |
| 15 | B50400016 | Protection Sleeve | D: 8.3 |
| 16 | B50400017 | Trocar, for Hollow Drill | D: 6.4 |
| 17 | B50400018 | Inner Stylet, for Hollow Drill | D: 6 |
| 18 | B50400019 | Awl | d: 8.1 |
| 19 | B50400015 | Implant Tray | N/A |
| 20 | B50400020 | Cargo Cervical Cage Instrument Case | N/A |
| 21 | B50400021 | Cargo Cervical Cage Instrument Set | N/A |
| (12) BULLET腰椎后路CAGE手术器械包 (Bullet Lumbar Cage Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B50403046 | Curved-tip Scraper, 7mm | B: 7 |
| 2 | B50403047 | Curved-tip Scraper, 9mm | B: 9 |
| 3 | B50403048 | Curved-tip Scraper, 11mm | B: 11 |
| 4 | B50403049 | Curved-tip Scraper, 13mm | B: 13 |
| 5 | B50403050 | Rotary scraper, 7mm | B: 7 |
| 6 | B50403051 | Rotary scraper, 9mm | B: 9 |
| 7 | B50403052 | Rotary scraper, 11mm | B: 11 |
| 8 | B50403053 | Rotary scraper, 13mm | B: 13 |
| 9 | B50401008 | T-handle, Square Connector | B: 6.35 |
| 10 | B50403039 | Dual-edge Distractor, 7mm | B: 7 |
| 11 | B59000045 | Dual-edge Distractor, 8mm | B: 8 |
| 12 | B59000046 | Dual-edge Distractor, 9mm | B: 9 |
| 13 | B59000047 | Dual-edge Distractor, 10mm | B: 10 |
| 14 | B59000048 | Dual-edge Distractor, 11mm | B: 11 |
| 15 | B59000049 | Dual-edge Distractor, 12mm | B: 12 |
| 16 | B59000050 | Dual-edge Distractor, 13mm | B: 13 |
| 17 | B50403054 | Straight Curette | B: 5.5 |
| 18 | B50403056 | Slide Hammer Ⅱ | L: 190 |
| 19 | B50401017 | Bone Graft Inserter | B: 8 |
| 20 | B50401018 | Bone Graft Cage | W: 0～17.5 |
| 21 | B50401019 | Implant Holder, Pistol Grip | B: 6.1 |
| 22 | B50401020 | Implant Holder, Straight | B: 6.1 |
| 23 | B50401021 | Cage Inserter | D: 3 |
| 24 | B50401022 | Trail Spacer, 8mm | B: 8 |
| 25 | B50401023 | Trail Spacer, 9mm | B: 9 |
| 26 | B50401024 | Trail Spacer, 10mm | B: 10 |
| 27 | B50401025 | Trail Spacer, 11mm | B: 11 |
| 28 | B50401026 | Trail Spacer, 12mm | B: 12 |
| 29 | B50401027 | Trail Spacer, 13mm | B: 13 |
| 30 | B50401029 | Implant Sterilizing Tray | N/A |
| 31 | B50401030 | Bullet Lumbar Cage Instrument Case | N/A |
| 32 | B50401031 | Bullet Lumbar Cage Instrument Set | N/A |
|  | Optional |  |  |
| 33 | B50401009 | Curved-tip Scraper, Large | B: 7.9 |
| 34 | B50401010 | Curved-tip Scraper, Medium | B: 7.9 |
| 35 | B50401011 | Curved-tip Scraper, Small | B: 7 |
| 36 | B50401012 | Rotary scraper, Large | d: 10.6 |
| 37 | B50401013 | Rotary scraper, Medium | d: 9.6 |
| 38 | B50401014 | Rotary scraper, Small | d: 6 |
| 39 | B50401001 | Distractor, 7mm | d: 7 |
| 40 | B50401002 | Distractor, 8mm | d: 8 |
| 41 | B50401003 | Distractor, 9mm | d: 9 |
| 42 | B50401004 | Distractor, 10mm | d: 10 |
| 43 | B50401005 | Distractor, 11mm | d: 11 |
| 44 | B50401006 | Distractor, 12mm | d: 12 |
| 45 | B50401007 | Distractor, 13mm | d: 13 |
| 46 | B50401039 | Trail Spacer, 14mm | B: 14 |
| 47 | B50401038 | Trail Spacer, 15mm | B: 15 |
| 48 | B50401015 | Straight Curette, long | B: 5.5 |
| 49 | B50401016 | Slide Hammer | L: 190 |
| (13) Banana胸腰椎CAGE手术器械包 (Banana Lumbar Cage Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B50403046 | Curved-tip Scraper, 7mm | B: 7 |
| 2 | B50403047 | Curved-tip Scraper, 9mm | B: 9 |
| 3 | B50403048 | Curved-tip Scraper, 11mm | B: 11 |
| 4 | B50403049 | Curved-tip Scraper, 13mm | B: 13 |
| 5 | B50403050 | Rotary scraper, 7mm | B: 7 |
| 6 | B50403051 | Rotary scraper, 9mm | B: 9 |
| 7 | B50403052 | Rotary scraper, 11mm | B: 11 |
| 8 | B50403053 | Rotary scraper, 13mm | B: 13 |
| 9 | B50403054 | Straight Curette | B: 5.5 |
| 10 | B50403055 | Curved Curette | B: 5.5 |
| 11 | B50403039 | Dual-edge Distractor, 7mm | B: 7 |
| 12 | B59000045 | Dual-edge Distractor, 8mm | B: 8 |
| 13 | B59000046 | Dual-edge Distractor, 9mm | B: 9 |
| 14 | B59000047 | Dual-edge Distractor, 10mm | B: 10 |
| 15 | B59000048 | Dual-edge Distractor, 11mm | B: 11 |
| 16 | B59000049 | Dual-edge Distractor, 12mm | B: 12 |
| 17 | B59000050 | Dual-edge Distractor, 13mm | B: 13 |
| 18 | B50403040 | Dual-edge Distractor, 14mm | B: 14 |
| 19 | B50403041 | Dual-edge Distractor, 15mm | B: 15 |
| 20 | B50401008 | T-handle, Square Connector | B: 6.35 |
| 21 | B50403002 | Trail Spacer, 7mm | H: 7 |
| 22 | B50403003 | Trail Spacer, 8mm | H: 8 |
| 23 | B50403004 | Trail Spacer, 9mm | H: 9 |
| 24 | B50403005 | Trail Spacer, 10mm | H: 10 |
| 25 | B50403006 | Trail Spacer, 11mm | H: 11 |
| 26 | B50403007 | Trail Spacer, 12mm | H: 12 |
| 27 | B50403008 | Trail Spacer, 13mm | H: 13 |
| 28 | B50403009 | Trail Spacer, 14mm | H: 14 |
| 29 | B50403010 | Trail Spacer, 15mm | H: 15 |
| 30 | B50403067 | Bone Graft Inserter | B: 6 |
| 31 | B50401018 | Bone Graft Cage | L: 0～17.5 |
| 32 | B50403029 | Implant Holder, Straight | B: 12 |
| 33 | B50403030 | Implant Holder, Pistol Grip | B: 12 |
| 34 | B50403031 | Straight Tamp | B: 8 |
| 35 | B50403032 | Angled Tamp | B: 8 |
| 36 | B50403056 | Slide Hammer Ⅱ | L: 190 |
| 37 | B50403033 | Hammer | H: 50 |
| 38 | B50403065 | 6mm Bone Graft Funnel (Long) | d: 6 |
| 39 | B50403066 | 6mm Bone Graft Bar | d: 6 |
| 40 | B50403042 | Implant Sterilizing Tray | N/A |
| 41 | B50403043 | Banana Lumbar Cage Instrument Case | N/A |
| 42 | B50403044 | Banana Lumbar Cage Instrument Set | N/A |
|  | Optional |  |  |
| 43 | B50403057 | Curved-tip Scraper, 8mm | B: 8 |
| 44 | B50403058 | Curved-tip Scraper, 10mm | B: 10 |
| 45 | B50403059 | Curved-tip Scraper, 12mm | B: 12 |
| 46 | B50403060 | Curved-tip Scraper, 14mm | B: 14 |
| 47 | B50403061 | Rotary scraper, 8mm | B: 8 |
| 48 | B50403062 | Rotary scraper, 10mm | B: 10 |
| 49 | B50403063 | Rotary scraper, 12mm | B: 12 |
| 50 | B50403064 | Rotary scraper, 14mm | B: 14 |
| (14) Otwins腰椎CAGE手术器械包 (Otwins Lumbar Cage Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B50403046 | Curved-tip Scraper, 7mm | B: 7 |
| 2 | B50403047 | Curved-tip Scraper, 9mm | B: 9 |
| 3 | B50403048 | Curved-tip Scraper, 11mm | B: 11 |
| 4 | B50403049 | Curved-tip Scraper, 13mm | B: 13 |
| 5 | B50403050 | Rotary scraper, 7mm | B: 7 |
| 6 | B50403051 | Rotary scraper, 9mm | B: 9 |
| 7 | B50403052 | Rotary scraper, 11mm | B: 11 |
| 8 | B50403053 | Rotary scraper, 13mm | B: 13 |
| 9 | B50403054 | Straight Curette | B: 5.5 |
| 10 | B50403055 | Curved Curette | B: 5.5 |
| 11 | B59000045 | Dual-edge Distractor, 8mm | B: 8 |
| 12 | B59000046 | Dual-edge Distractor, 9mm | B: 9 |
| 13 | B59000047 | Dual-edge Distractor, 10mm | B: 10 |
| 14 | B59000048 | Dual-edge Distractor, 11mm | B: 11 |
| 15 | B59000049 | Dual-edge Distractor, 12mm | B: 12 |
| 16 | B59000050 | Dual-edge Distractor, 13mm | B: 13 |
| 17 | B50403040 | Dual-edge Distractor, 14mm | B: 14 |
| 18 | B50401008 | T-handle, Square Connector | B: 6.35 |
| 19 | B50405001 | Trail Spacer, 8*23 | B: 8 |
| 20 | B50405002 | Trail Spacer, 8*26 | B: 8 |
| 21 | B50405003 | Trail Spacer, 9*23 | B: 9 |
| 22 | B50405004 | Trail Spacer, 9*26 | B: 9 |
| 23 | B50405005 | Trail Spacer, 10*23 | B: 10 |
| 24 | B50405006 | Trail Spacer, 10*26 | B: 10 |
| 25 | B50405007 | Trail Spacer, 11*23 | B: 11 |
| 26 | B50405008 | Trail Spacer, 11*26 | B: 11 |
| 27 | B50405009 | Trail Spacer, 12*23 | B: 12 |
| 28 | B50405010 | Trail Spacer, 12*26 | B: 12 |
| 29 | B50405011 | Trail Spacer, 13*23 | B: 13 |
| 30 | B50405012 | Trail Spacer, 13*26 | B: 13 |
| 31 | B50405013 | Trail Spacer, 14*23 | B: 14 |
| 32 | B50405014 | Trail Spacer, 14*26 | B: 14 |
| 33 | B50401017 | Bone Graft Inserter | B: 8 |
| 34 | B50401018 | Bone Graft Cage | L: 0～17.5 |
| 35 | B50405015 | Implant Holder, Pistol Grip | B: 9 |
| 36 | B50402024 | Cage Inserter | D: 2 |
| 37 | B50403056 | Slide Hammer Ⅱ | L: 190 |
| 38 | B50403065 | 6mm Bone Graft Funnel (Long) | d: 6 |
| 39 | B50403066 | 6mm Bone Graft Bar | d: 6 |
| 40 | B50405019 | Implant Sterilizing Tray | N/A |
| 41 | B50405020 | Otwins Lumbar Cage Instrument Case | N/A |
| 42 | B50405021 | Otwins Lumbar Cage Instrument Set | N/A |
|  | Optional |  |  |
| 43 | B50403057 | Curved-tip Scraper, 8mm | B: 8 |
| 44 | B50403058 | Curved-tip Scraper, 10mm | B: 10 |
| 45 | B50403059 | Curved-tip Scraper, 12mm | B: 12 |
| 46 | B50403061 | Rotary scraper, 8mm | B: 8 |
| 47 | B50403062 | Rotary scraper, 10mm | B: 10 |
| 48 | B50403063 | Rotary scraper, 12mm | B: 12 |
| 49 | B50405017 | 8mm Bone Graft Funnel | d: 8 |
| 50 | B50405018 | 8mm Bone Graft Bar | d: 8 |
| (15) 钛网手术器械 (Titanium Mesh Instruments) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B50500006 | Bone Graft Inserter | d: 7.0 |
| 2 | B50500001 | Cutter for Titanium Mesh | W: 0-20 |
| 3 | B50500009 | Holder for Titanium Mesh | W: 5-15 |
| 4 | B50500004 | Lumbar Titanium Mesh Inserter | W: 13.5 |
| 5 | B50500003 | Cervical Titanium Mesh Inserter | W: 10 |
| 6 | B50500005 | Bone Graft Cage | D: 10.5; 13.5; 16.5; 19.5; 21.5; 25.5 |
| 7 | B50500010 | Cutter for Titanium Mesh, Small | L: 170 |
| (16) ROTA胸腰椎后路矫形手术器械包 (ROTA Vertebral Column Manipulation Instrument Set) |  |  |  |
| 序号 No. | 产品编号Product No. | 产品描述 Product Description | 关键尺寸 Key Size |
| 1 | B50305001 | Derotation sleeve | L: 250 |
| 2 | B50305002 | Derotator Implant Holder | W: 9.7 |
| 3 | B50305003 | Derotator Bridge, Small, 130mm | L: 130 |
| 4 | B50305004 | Derotator Bridge, Medium, 180mm | L: 180 |
| 5 | B50305005 | Derotator Bridge, Large, 230mm | L: 230 |
| 6 | B50305006 | Derotator Interlink | D: 13 |
| 7 | B50305007 | Derotator Bridge Handle | B: 7.0 |
| 8 | B50305008 | Derotator Inline Handle | SR: 6.5 |
| 9 | B50305009 | Derotator Bridge Nut | B: 7.0 |
| 10 | B50305010 | Hex Driver | B: 7.0 |
| 11 | B50305011 | ROTA Vertebral Column Manipulation Instrument Case | N/A |
| 12 | B50305012 | ROTA Vertebral Column Manipulation Instrument Set | N/A |
|  |  |  | 列表结束 (End) |