


附件 (Attachment)	
1． 产品名称 (Products)：下肢内固定手术器械包 (Large Fragment Fixation Instrument Sets)
备案号(Certificate No.): 京昌械备20220036号

	（1）7.3空心钉手术器械包 (7.3mm Cannulated Screws Instrument Set)

	序号
No.
	产品编号
Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B40103001
	Cannulated Drill Bit, 5.0mm/2.8mm dia.
	d: 5.0

	2
	B40103002
	Parallel Wire Guide
	d1、d2: 3.0

	3
	B40103003
	Protection Sleeve
	d: 1.0-9.0

	4
	B40103004
	Screwdriver, Hexagonal, for 7.3mm Cannulated Screws (for Screw removal)
	B: 4.5

	5
	B40103005
	Cannulated Screwdriver, Hexagonal
	B: 4.5

	6
	B40103006
	Depth Gauge
	L: 280

	7
	B40103007
	Cleaning Stylet
	d: 2.8

	8
	B40103008
	Sterilizing Tray, for 7.3mm Cannulated Screws
	d: 7.3

	9
	B40103010
	Guide Wire, 2.8*250mm, Threaded
	d: 2.8

	10
	B40103009
	7.3mm Cannulated Screws Instrument Case
	B: 4.5

	11
	B40103011
	7.3mm Cannulated Screws Instrument Set
	B: 4.5

	
	Optional
	
	

	12
	B40103015
	Screwdriver, Hexagonal, Cannulated, for 7.3mm Cannulated Screws
	B: 4.5

	13
	B40103016
	Screwdriver, Hexagonal, for 7.3mm Cannulated Screws (for Screw removal)
	B: 4.5

	14
	B40103012
	AO Cannulated Screwdriver, Hexagonal
	B: 4.5

	15
	B40103013
	AO Holding Sleeve
	d: 7.2

	16
	B90100005
	Guide Wire, 3.2*230mm, Threaded
	d: 3.2

	
	
	
	

	
（2）PFNAγ绞锁髓内钉手术工具器械包 (Femoral Gamma Intramedullary Nails-II System Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B40300001
	Entry Awl, Cannulated
	d: 8.1

	2
	B40302002
	Guide Wire, Φ3.2*400mm, Threaded
	d: 3.2

	3
	B40300002
	Guide Wire, Φ3.2mm*400mm
	d: 3.2

	4
	B40300003
	Entry Portal Guide
	d: 17.5

	5
	B40300010
	Protection Sleeve, for Blade
	d: 11.2

	6
	B40300004
	Guide Sleeve, for 3.2mm dia. Guide Wire
	d: 3.3

	7
	B40300030
	Guide Sleeve, 8.1mm dia.
	d: 8.2

	8
	B40300006
	Guide Bolt
	d: 11

	9
	B40300005
	Dill Bit, Cannulated, 17mm dia.
	d: 17

	10
	B40300013
	Drill Bit, 11mm dia.
	d: 11

	11
	B40300014
	Drill Bit, 10mm dia.
	d: 9.8

	12
	B40300025
	Drill Guide Handle
	d: 16.5

	13
	B40300007
	Wrench, Hexagonal Ball
	B: 8

	14
	B40400022
	L-wrench, 3.0mm dia.
	B: 3.0

	15
	B40300008
	Pin Wrench
	d: 4

	16
	B40300021
	Wrench, Hexagonal Ball
	B: 4.8

	17
	B40300018
	Key for Blade
	L: 132

	18
	B40300026
	Insert Handle
	L: 160

	19
	B40300009
	Hammer
	L: 253

	20
	B40300027
	Proximal Aiming Arm
	L: 37

	21
	B40300029
	Distal Aiming Arm
	L: 37

	22
	B40300028
	Compression Nut
	M: M16×1.5

	23
	B40300011
	Drill Sleeve, for Blade
	d: 3.5

	24
	B40300012
	Blade Length Gauge
	L: 60

	25
	B40300015
	Fixation Sleeve, 10mm dia.
	D: 10.1

	26
	B40300016
	Impact for Blade
	d: 7

	27
	B40300033
	Depth Gauge
	L: 0～155

	28
	B40302048
	Tap, 5.0mm dia.
	d: 3.5

	29
	B40302049
	Wrench, for Removing the End Cap
	B: 4.8

	30
	B40302053
	T-Screwdriver, Final Tightening, for 5.0mm Screws
	B: 4.8

	31
	B40302052
	Hanging Tight Wrench
	B: 0.9

	32
	B40302045
	T-handle Connector
	d: 8.4

	33
	B40302046
	Entry Portal Handle (Hudson)
	d: 8.4

	34
	B40002005
	T-Handle with Quick Coupling
	d: 4.5

	35
	B40300017
	Extraction Screw for Blade
	L: 433

	36
	B40300019
	Nail Extractor
	L: 117.1

	37
	B40300020
	Impactor Device
	L: 410

	38
	B40302029
	Tap, for 5.0mm Locking Screws
	d: 5.0

	39
	B40300031
	Protection Sleeve, for 4.0mm dia. Drill Bit
	d: 4.0

	40
	B40300032
	Trocal, 4.0mm dia.
	L: 202

	41
	B40400020
	Drill Bit, 4.0mm dia.
	d: 4.0

	42
	B40400021
	Fixation Sleeve, for 4.0mm Drill Bit
	d: 4.2

	43
	B40300024
	Femoral Gamma Intramedullary Nails-II System Instrument Case
	N/A

	44
	B40300023
	Femoral Gamma Intramedullary Nails-II (Long) System Instrument Set
	N/A

	
	Optional
	
	

	45
	B40301014
	Protection Sleeve, for 4.2mm Drill Bit
	d: 4.2

	46
	B40301016
	Drill Bit, 4.2mm dia.
	d: 4.2

	47
	B40302030
	Wrench, for Removing the End Cap
	d: 3.5

	48
	B40302031
	Hanging Tight Wrench
	d: 3.45

	49
	B40301015
	Trocar, 4.2mm dia.
	L: 202

	50
	B40301017
	Fixation Sleeve, for 4.2mm Drill Bit
	d: 4.5

	51
	B90100007
	Sharp Threaded Guide Wire,3.2*400mm
	d: 3.2

	52
	B49000029
	Sharp Threaded Guide Wire,3.2*450mm
	d: 3.2

	53
	B49000031
	Sharp Threaded Guide Wire,3.2*500mm
	d: 3.2

	54
	B49000012
	T type Holding Sleeve, for Cannulated drill
	L: 170

	
	
	
	

	
（3）PFNA加长γ绞锁髓内钉手术工具器械包 (Femoral Gamma Intramedullary Nails-II (Long) System Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B40300001
	Entry Awl, Cannulated
	d: 8.1

	2
	B40302002
	Guide Wire, Φ3.2*400mm, Threaded
	d: 3.2

	3
	B40300002
	Guide Wire, Φ3.2mm*400mm
	d: 3.2

	4
	B40302005
	Gripper for Guide Wire
	d: 5.0

	5
	B40302006
	Guide Wire, Ball-tipped, Φ3.0*1000mm
	d: 3.0

	6
	B40302007
	Reamer Set (9-13mm dia.)
	d: 9 (Drill bit d: 9-15)

	7
	B40302008
	Obturator
	d: 3

	8
	B40300003
	Entry Portal Guide
	d: 17.5

	9
	B40300004
	Guide Sleeve, for 3.2mm dia. Guide Wire
	d: 3.3

	10
	B40300005
	Dill Bit, Cannulated, 17mm dia.
	d: 17

	11
	B40301001
	Drill Guide Handle
	d: 16.5

	12
	B40300006
	Guide Bolt
	d: 11

	13
	B40300007
	Wrench, Hexagonal Ball
	d: 8

	14
	B40301002
	Insert Handle
	L: 140

	15
	B40300008
	Pin Wrench
	d: 4

	16
	B40300009
	Hammer
	L: 253

	17
	B40301003
	Aiming Arm, Proximal
	d: 16

	18
	B40300010
	Protection Sleeve, for Blade
	d: 11.2

	19
	B40301004
	Compression Nut
	d: 16

	20
	B40300011
	Drill Sleeve, for Blade
	d: 3.5

	21
	B40300012
	Blade Length Gauge
	L: 60

	22
	B40300013
	Drill Bit, 11mm dia.
	d: 11

	23
	B40300014
	Drill Bit, 10mm dia.
	d: 9.8

	24
	B40300015
	Fixation Sleeve, 10mm dia.
	d: 10.1

	25
	B40300016
	Impact for Blade
	d: 7

	26
	B40301005
	Aiming Arm, Distal
	d: 11

	27
	B40301006
	Distal Guide Bar
	L: 239

	28
	B40301007
	Distal Guide Block
	L: 240

	29
	B40301008
	Distal Target Device
	L: 165.5

	30
	B40301009
	Distal Target Bar
	L: 221

	31
	B40301010
	Locking Block
	L: 72

	32
	B40301011
	Connecting Nut, for Guide Bar
	d: 8

	33
	B40301012
	Connecting Nut, for Guide Bar
	d: 8

	34
	B40302014
	L-wrench, 5.0mm dia.
	B: 5

	35
	B40301013
	Protection Sleeve, for Locking Screws, 8.1mm dia.
	d: 8.2

	36
	B40301014
	Protection Sleeve, for 4.2mm Drill Bit
	d: 4.2

	37
	B40301015
	Trocar, 4.2mm dia.
	d: 4.2

	38
	B40301016
	Drill Bit, 4.2mm dia.
	d: 4.2

	39
	B40301017
	Fixation Sleeve, for 4.2mm Drill Bit
	d: 4.5

	40
	B40400022
	L-wrench, 3.0mm dia.
	B: 3

	41
	B40301018
	Guide Sleeve, for Locking Screw, 8.1mm dia.
	d: 8.1

	42
	B40301019
	Trocar, 8.1mm dia.
	d: 12

	43
	B40301020
	Drill Sleeve, 5.2mm dia.
	d: 5.3

	44
	B40301021
	Drill Bit, 5.2mm dia.
	d: 5.2

	45
	B40301022
	Drill Bit, T-handle, 5.2mm dia.
	d: 5.2

	46
	B40301023
	Depth Gauge, for Locking Screw
	L: 100

	47
	B40302027
	Right Angle Locking Rod
	L: 232

	48
	B40302029
	Tap, for 5.0mm Locking Screws
	d: 5

	49
	B40302030
	Wrench, for Removing the End Cap
	d: 3.5

	50
	B40302031
	Hanging Tight Wrench
	d: 3.45

	51
	B40302053
	T-Screwdriver, Final Tightening, for 5.0mm Screws
	B: 4.8

	52
	B40302046
	Entry Portal Handle (Hudson)
	d: 8.4

	53
	B40300017
	Extraction Screw for Blade
	L: 433

	54
	B40300018
	Key for Blade
	L: 132

	55
	B40300019
	Nail Extractor
	117.1

	56
	B40300020
	Impactor Device
	L: 410

	57
	B40300021
	Wrench, Hexagonal Ball
	B: 4.8

	58
	B40002005
	T-Handle with Quick Coupling
	d: 4.5

	59
	B40301024
	Femoral Gamma Intramedullary Nails-Ⅱ (Long) System Instrument Case
	N/A

	60
	B40301025
	Femoral Gamma Intramedullary Nails-Ⅱ (Long) System Instrument Set
	N/A

	
	Optional
	
	

	61
	B40302044
	T-Reduction Shaft
	L: 480

	62
	B40302045
	T-handle Connector
	d: 8.4

	
	
	
	

	
（4）TFN-Ⅱ股骨\γ绞锁髓内钉手术工具器械包 (TFN Femoral Intramedullary Nails-Ⅱ System Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B40302001
	Entry Awl
	d: 10

	2
	B40302002
	Guide Wire, Φ3.2*400mm, Threaded
	d: 3.2

	3
	B40302004
	Entry Portal Guide
	d: 15.8

	4
	B40302003
	Drill Bit, Cannulated
	d: 14

	5
	B40302005
	Gripper for Guide Wire
	d: 5.0

	6
	B40302006
	Guide Wire, Ball-tipped, Φ3.0*1000mm
	d: 3

	7
	B40302007
	Reamer Set (9-13mm dia.)
	d: 9, (Drill bit d:9-15)

	8
	B40302008
	Obturator
	d: 3

	9
	B40303001
	Drill Guide Handle
	d: 13

	10
	B40303003
	Guide Bolt
	d: 8

	11
	B40302011
	Wrench, Hexagonal ball
	B: 6.5

	12
	B40303004
	Proximal Guide Bar
	d: 8

	13
	B40303005
	Distal Guide Bar
	L: 265

	14
	B40302013
	Connecting Screw, for Proximal Guide Bar
	d: M6-M10

	15
	B40302017
	Connecting Screw, for Distal Guide Bar
	d: M6-M10

	16
	B40302014
	L-wrench, 5.0mm dia.
	B: 5

	17
	B40303006
	Distal Target Device
	d: 5

	18
	B40303007
	Guide Sleeve
	d: 8.5

	19
	B40303008
	Trocar
	d: 8.4

	20
	B40303009
	Positioning Rod
	d: 8

	21
	B40303010
	Locking Block, 9.4/10mm
	L: 66.4

	22
	B40303011
	Locking Block, 11/12mm
	L: 67

	23
	B40303012
	Guide Sleeve, 8.5mm dia.
	D: 8.5

	24
	B40303013
	Trocar, 8.5mm dia.
	D: 8.4

	25
	B40301020
	Drill Sleeve, 5.2mm dia.
	D: 5.3

	26
	B40301021
	Drill Bit, 5.2mm dia.
	D: 5.2

	27
	B40301022
	Drill Bit, T-handle, 5.2mm dia.
	D: 5.2

	28
	B40303014
	Drill Sleeve, 4.2mm dia.
	D: 4.3

	29
	B40301016
	Drill Bit, 4.2mm dia.
	d: 4.2

	30
	B40301017
	Fixation Sleeve, for 4.2mm Drill Bit
	d: 4.5

	31
	B40400022
	L-wrench, 3.0mm dia.
	B: 3.0

	32
	B40301023
	Depth Gauge, for Locking Screw
	L: 100

	33
	B40303024
	Right Angle Locking Rod
	L: 232

	34
	B40302028
	T-handle Trocar
	d: 5

	35
	B40302029
	Tap, for 5.0mm Locking Screws
	d: 5

	36
	B40302030
	Wrench, for Removing the End Cap
	d: 3.5

	37
	B40302031
	Hanging Tight Wrench
	d: 3.45

	38
	B40303018
	Drill Sleeve, for 6.8mm Drill Bit
	D: 6.9

	39
	B40303019
	Guide Wire, Φ2.8*320mm, Threaded
	d: 2.8

	40
	B40303020
	Guide Wire, Φ2.8*350mm, Threaded
	d: 2.8

	41
	B40303015
	Guide Wire Sleeve, for 2.8mm Guide Wire
	d: 2.9

	42
	B40303016
	Drill Bit, 6.8mm dia.
	d: 6.8

	43
	B40303021
	Tap, 6.8mm dia.
	d: 6.7

	44
	B40302038
	Kirschner Wire, Φ2.5*450mm
	d: 2.5

	45
	B40303017
	Lag Screw Length Gauge
	L: 82

	46
	B40302040
	Impactor Rod
	L: 140

	47
	B40302041
	Impactor Device
	L: 418

	48
	B40302042
	Nail Extractor
	L: 117.1

	49
	B40302053
	T-Screwdriver, Final Tightening, for 5.0mm Screws
	B: 4.8

	50
	B40303022
	TFN Femoral Intramedullary Nails-Ⅱ System Instrument Case
	N/A

	51
	B40303023
	TFN Femoral Intramedullary Nails-Ⅱ System Instrument Set
	N/A

	
	Optional
	
	

	52
	B40302044
	T-Reduction Shaft
	L: 480

	53
	B40302045
	T-handle Connector
	d: 8.4

	54
	B40300001
	Entry Awl, Cannulated
	d: 8.1

	55
	B40302046
	Entry Portal Handle (Hudson)
	d: 8.4

	56
	B40303002
	Distal Guide Bar, for Gamma Nails
	L: 285

	57
	B40302055
	Reduction Shaft
	L: 480

	58
	B49000050
	Implants Case For Femoral Intramedullary Nails-ⅡSystem
	N/A

	
	
	
	

	
(5) TFN股骨倒打髓内钉工具器械包 (Retrograde Femoral Intramedullary Nails System Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B40302001
	Entry Awl
	d: 10

	2
	B40302002
	Guide Wire, Φ3.2*400mm, Threaded
	d: 3.2

	3
	B40500001
	Drill Bit, Cannulated
	d: 12.6

	4
	B40500002
	Entry Portal Guide
	d: 14

	5
	B40302005
	Gripper for Guide Wire
	d: 5

	6
	B40302006
	Guide Wire, Ball-tipped, Φ3.0*1000mm
	d: 3

	7
	B40302007
	Reamer Set (9-13mm dia.)
	d: 9, (Drill bit d: 9-15)

	8
	B40302008
	Obturator
	d: 3

	9
	B40500003
	Drill Guide Handle
	d: 8

	10
	B40500004
	Guide Bolt
	d: 8-11

	11
	B40500005
	Guide Bar
	L: 323

	12
	B40500006
	Connecting Screw
	M6

	13
	B40302014
	L-wrench, 5.0mm dia.
	B: 5.0

	14
	B40500007
	Distal Target Device
	d: 10

	15
	B40500008
	Guide Sleeve, for Locking Screw
	d: 8.1

	16
	B40500009
	Trocar
	d: 8.1

	17
	B40500010
	Drill Sleeve
	d: 4.2

	18
	B40500011
	Positioning Rod
	d: 8.1

	19
	B40500012
	Locking Block, 9mm dia. & 10mm dia.
	L: 70

	20
	B40500013
	Locking Block, 11mm dia.
	L: 67.5

	21
	B40500014
	Guide Sleeve, for 3.2mm Kirschner Wire
	d: 3.3

	22
	B40400020
	Drill Bit, 4.0mm dia.
	d: 4

	23
	B40400021
	Fixation Sleeve, for 4.0mm Drill Bit
	d: 4.2

	24
	B40400022
	L-wrench, 3.0mm dia.
	B: 3.0

	25
	B40302024
	T-Drill, 4.0mm dia.
	d: 4

	26
	B40500015
	Positioning Rod, Assisting (Φ9.5mm, Φ10mm, Φ11 mm)
	L: 118.75/118.5/118

	27
	B40500016
	Depth Gauge, for Locking Screws
	L: 260

	28
	B40302027
	Right Angle Locking Rod
	L: 232

	29
	B40302028
	T-handle Trocar
	d: 5

	30
	B40302029
	Tap, for 5.0mm Locking Screws
	d: 5

	31
	B40302030
	Wrench, for Removing the End Cap
	d: 3.5

	32
	B40302031
	Hanging Tight Wrench
	d: 3.45

	33
	B40302033
	Guide Wire, Φ4.0*320mm, Threaded
	d: 4.0

	34
	B40302038
	Kirschner Wire, Φ2.5*450mm
	d: 2.5

	35
	B40302041
	Impactor Device
	L: 418

	36
	B40302042
	Nail Extractor
	L: 117.1

	37
	B40500017
	Retrograde Femoral Intramedullary Nails System Instrument Case
	N/A

	38
	B40500018
	Retrograde Femoral Intramedullary Nails System Instrument Set
	N/A

	
	
	
	

	
(6) TFN胫骨空心绞锁髓内钉手术工具器械包 (Tibial Intramedullary Cannulated Nails System Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B40400001
	Entry Awl
	d: 10

	2
	B40400002
	Reaming, 8mm dia.
	d: 8

	3
	B40400003
	Reaming, 9mm dia.
	d: 9

	4
	B40400004
	Reaming, 10mm dia.
	d: 10

	5
	B40400005
	Reaming, 11mm dia.
	d: 11

	6
	B40302005
	Gripper for Guide Wire
	d: 5.0

	7
	B40302006
	Guide Wire, Ball-tipped, Φ3.0*1000mm
	d: 3.0

	8
	B40302008
	Obturator
	d: 3

	9
	B40302007
	Reamer Set (9-13mm dia.)
	d: 9, (Drill bit d: 9-15)

	10
	B40401001
	Drill Guide Handle
	d: 11

	11
	B40401002
	Guide Bolt
	L: 21

	12
	B40401022
	Compression Driver
	d: 10

	13
	B40401003
	Guide Bar
	L: 260.7

	14
	B40401004
	Proximal Target Device
	L: 168.1

	15
	B40401005
	Distal Target Device
	L: 106.9

	16
	B40401006
	Connecting Screw, for Guide Bar
	D: 8

	17
	B40401008
	Locking Block, 8.4/9mm
	L: 18

	18
	B40401009
	Locking Block, 10/11mm
	L: 18

	19
	B40303014
	Drill Sleeve, 4.2mm dia.
	d: 4.3

	20
	B40401010
	Long Guide Sleeve
	d: 8

	21
	B40401011
	Trocar
	L: 197

	22
	B40301016
	Drill Bit, 4.2mm dia.
	d: 4.2

	23
	B40301017
	Fixation Sleeve, for 4.2mm Drill Bit
	d: 4.5

	24
	B40303024
	Right Angle Locking Rod
	L: 232

	25
	B40302030
	Wrench, for Removing the End Cap
	d: 3.5

	26
	B40302031
	Hanging Tight Wrench
	d: 3.45

	27
	B40401012
	Depth Gauge
	d: 1.5

	28
	B40400022
	L-wrench, 3.0mm dia.
	B: 3.0

	29
	B40302014
	L-wrench, 5.0mm dia.
	B: 5.0

	30
	B40303012
	Guide Sleeve, 8.5mm dia.
	d: 8.5

	31
	B40303013
	Trocar, 8.5mm dia.
	d: 8.4

	32
	B40301020
	Drill Sleeve, 5.2mm dia.
	d: 5.3

	33
	B40301021
	Drill Bit, 5.2mm dia.
	d: 5.2

	34
	B40301022
	Drill Bit, T-handle, 5.2mm dia.
	d: 5.2

	35
	B40302029
	Tap, for 5.0mm Locking Screws
	d: 5

	36
	B40401013
	Short Guide Sleeve
	d: 8

	37
	B40401014
	Positioning Rod
	d: 5

	38
	B40401015
	Impactor
	L: 418

	39
	B40401016
	Impactor Bolt
	L: 140

	40
	B40302053
	T-Screwdriver, Final Tightening, for 5.0mm Screws
	B: 4.8

	41
	B40401021
	Tap, for 4.5mm Locking Screws
	d: 4.5

	42
	B40302002
	Guide Wire, Φ3.2*400mm, Threaded
	d: 3.2

	43
	B40302003
	Drill Bit, Cannulated
	d: 14

	44
	B40302004
	Entry Portal Guide
	d: 15.8

	45
	B40401017
	Tibial Intramedullary Cannulated Nails System Instrument Case
	N/A

	46
	B40401018
	Tibial Intramedullary Cannulated Nails System Instrument Set
	N/A

	
	Optional
	
	

	47
	B40401019
	Long Drill, 4.0mm dia.
	d: 4.0

	48
	B40400021
	Fixation Sleeve, for 4.0mm Drill Bit
	d: 4.2

	49
	B40401020
	Drill Sleeve
	d: 4.1

	50
	B40302042
	Nail Extractor
	L: 117.1

	
	
	
	

	
(7) 下肢钢板螺钉手术工具器械包 (Large Fragment Standard Plates Instrument Set)
	

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B40002001
	Drill Bit, 3.2mm dia.
	d: 3.2

	2
	B40002002
	Drill Bit, 4.5mm dia.
	d: 4.5

	3
	B40002003
	Tap, for 4.5mm Cortical Screws
	d: 4.5

	4
	B40002004
	Tap, for 6.5mm Cancellous Screws
	d: 6.0

	5
	B40002005
	T-Handle with Quick Coupling
	d: 4.5

	6
	B40002006
	Countersink Shaft
	d: 9

	7
	B40002007
	Double Drill Sleeve, 4.5mm/3.2mm dia.
	d1: 4.6; d2:3.3

	8
	B40002008
	Insert Drill Sleeve, 4.5mm/3.2mm dia.
	d: 3.3

	9
	B40002009
	Double Drill Sleeve, 6.5mm/3.2mm dia.
	d1: 3.3; d2:6.1

	10
	B40002010
	Screwdriver, Hexagonal, with Groove
	B: 3.5

	11
	B40002011
	Holding Sleeve, for Screwdriver
	d: 7.1

	12
	B40002012
	LC-DCP Drill Guide
	d: 3.3

	13
	B40002013
	Bending Templates, for LC-DCP Plates
	B: 17.5

	14
	B40002014
	Depth Gauge
	L: 231

	15
	B40002015
	Reduction Forceps with Points
	L: 135~280

	16
	B40002016
	Self-centering Bone Holding Forceps, for Large Fragment
	L: 135~280

	17
	B40002017
	Screw Forceps, Self-holding
	L: 0~8

	18
	B40002018
	Bending lron for Plates (1)
	L: 2~8

	19
	B40002019
	Bending lron for Plates (2)
	L: 2~8

	20
	B40002020
	Sterilizing Tray, for 4.5mm Screws
	d: 4.5

	21
	B40002021
	Sterilizing Tray, for 6.5mm Screws
	d: 6.5

	22
	B40002022
	Large Fragment Standard Plates Instrument Case
	N/A

	23
	B40002023
	Large Fragment Standard Plates Instrument Set
	N/A

	
	
	
	

	
(8) 下肢锁定板手术工具器械包 (Large Fragment Locking Plates Instrument Set)
	

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B40002001
	Drill Bit, 3.2mm dia.
	d: 3.2

	2
	B40002003
	Tap, for 4.5mm Cortical Screws
	d: 4.5

	3
	B40002005
	T-Handle with Quick Coupling
	d: 4.5

	4
	B40002010
	Screwdriver, Hexagonal, with Groove
	B: 3.5

	5
	B40002011
	Holding Sleeve, for Screwdriver
	d: 7.1

	6
	B40002014
	Depth Gauge
	L: 231

	7
	B40002015
	Reduction Forceps with Points
	L: 135~280

	8
	B40002016
	Self-centering Bone Holding Forceps, for Large Fragment
	L: 135~280

	9
	B40002018
	Bending lron for Plates (1)
	L: 2~8

	10
	B40002019
	Bending lron for Plates (2)
	L: 2~8

	11
	B40202001
	Drill Bit, 4.3mm dia.
	d: 4.3

	12
	B40202002
	Drill Guide, 4.3mm dia.
	d: 4.5

	13
	B40202003
	Universal Drill Sleeve, 4.5mm/3.2mm dia.
	d1: 3.3; d2:4.6

	14
	B40202004
	Tap, for 5.0mm Locking Screws
	d: 5.0

	15
	B40202005
	Extraction Screw, 3.5mm dia.
	d: 5.2

	16
	B40202007
	Screwdriver Shaft, Hexagonal, 3.5mm dia.
	B: 3.5

	17
	B40202008
	Torque-Limiting Screwdriver, 4.0 Nm
	B: 3.5

	18
	B40202009
	Sterilizing Tray, for 5.0mm Screws
	d: 5.0

	19
	B40202010
	Guide for 2.8mm Guide Wire, Length 50mm
	d: 3.0

	20
	B40202011
	Guide for 2.8mm Guide Wire, Length 90mm
	d: 3.0

	21
	B40202012
	Extraction Screw, 4.5mm dia.
	d: 6.0

	22
	B40202013
	Screwdriver Shaft, Hexagonal, 4.5mm dia.
	B: 4.5

	23
	B40103001
	Cannulated Drill Bit, 5.0mm/2.8mm dia.
	d: 5.0

	24
	B40103005
	Cannulated Screwdriver, Hexagonal
	B: 4.5

	25
	B40103006
	Depth Gauge
	L: 280

	26
	B40103010
	Guide Wire, 2.8*250mm, Threaded
	d: 2.8

	27
	B40202014
	Large Fragment Locking Plates Instrument Case
	N/A

	28
	B40202015
	Large Fragment Locking Plates Instrument Set
	N/A

	　
	Optional
	
	

	29
	B40002020
	Sterilizing Tray, for 4.5mm Screws
	d: 4.5

	30　
	B40002021
	Sterilizing Tray, for 6.5mm Screws
	d: 6.5

	31
	B40202006
	Torque Limiter, 4.0N.M, for AO Quick Coupling
	d: 4.5

	32
	B90000009
	Osteotome, R35
	R: 35

	33　
	B90000010
	Osteotome, R40
	R: 40

	34　
	B90000011
	Osteotome, R45
	R: 45

	35
	B90000012
	Osteotome, 6mm
	B: 6

	36　
	B90000020
	Osteotome, 8mm
	B: 8

	37
	B90000013
	Osteotome, 10mm
	B: 10

	38
	B90000014
	Osteotome, 15mm
	B: 15

	39
	B90000015
	Osteotome, 20mm
	B: 20

	40
	B90000016
	Osteotome, 25mm
	B: 25

	41
	B90000017
	Osteotome (Long), 10mm
	B: 10

	43
	B90000018
	Emei chisel, 7mm
	d: 7

	44
	B49000051
	Container For Trays
	N/A

	45
	B09000001
	Trays For Proximal Femoral Plates
	

	46
	B09000002
	Trays For Distal Femoral Plates
	N/A

	47
	B09000003
	Trays For Proximal Tibial Plates
	N/A

	48
	B09000004
	Trays For Distal Tibial Plates
	N/A

	49
	B09000005
	Tray For Plates (Small)
	N/A

	50
	B09000006
	Tray For Plates (Large)
	N/A

	
	
	
	

	
(9) DH\DC手术工具器械包 (D-H-S/D-C-S Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B40003001
	D-H-S/D-C-S Reamer-inside
	d: 8

	2
	B40003002
	D-H-S Reamer-outside
	d: 12.8

	3
	B40003003
	D-H-S/D-C-S Tap
	L: 70

	4
	B40003004
	Sleeve, for D-H-S/D-C-S Tap
	L: 25

	5
	B40003019
	Sleeve, for D-H-S/D-C-S Tap
	L: 25

	6
	B40003005
	D-H-S/D-C-S Cannulated Screwdriver
	B: 5mm

	7
	B40003006
	D-H-S Angle Guide
	d: 3.5

	8
	B40003007
	Large T-handle with Quick Coupling
	d: 8

	9
	B40003008
	D-H-S/D-C-S Direct Measuring Device
	L: 60～110

	10
	B40003009
	D-H-S/D-C-S Impactor
	L: 245

	11
	B40003010
	Long Drill Bit, 3.2mm dia.
	d: 3.2

	12
	B40003011
	D-C-S Angle Guide
	d: 3.3

	13
	B40003012
	D-H-S/D-C-S Wrench(for insertion and removal of D-H-S/D-C-S Screws)
	L: 218

	14
	B40003013
	Long Coupling Screw (for the removal D-H-S/D-C-S Screws)
	d: 3.9

	15
	B40003014
	D-C-S Reamer-Inside
	d: 8

	16
	B40003015
	D-H-S/D-C-S Reamer-Outside
	d: 12.8

	17
	B40003017
	D-H-S/D-C-S Instrument Case
	N/A

	18
	B40002003
	Tap, for 4.5mm Cortical Screws
	d: 4.5

	19
	B40002005
	T-Handle with Quick Coupling
	d: 4.5

	20
	B40002010
	Screwdriver, Hexagonal, with Groove
	B: 4mm

	21
	B40002011
	Holding Sleeve, for Screwdriver
	d: 7.1

	22
	B40002012
	LC-DCP Drill Guide
	d: 3.2

	23
	B40002014
	Depth Gauge
	L: 0～107

	24
	B40002017
	Screw Forceps, Self-holding
	d: 0～8.0

	25
	B40003018
	D-H-S/D-C-S Instrument Set
	N/A

	
	Optional
	
	

	26
	B40003016
	Inserter
	L: 53.5

	27
	B90100005
	Guide wire, 3.2*230mm, Threaded
	d: 3.2

	
	
	
	

	
(10) 下肢外固定架Ⅰ型手术工具器械包 (Lower Limb External Fixator Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B40701001
	Drill Bit, 3.5mm dia.
	d: 3.5

	2
	B40701002
	Wrench, Hexagonal
	B: 10

	3
	B40701003
	Simple T-Handle
	d: 5.1

	4
	B40701005
	Drill Sleeve, Length 85mm
	d: 5.1, 3.55

	5
	B40701006
	Drill Sleeve, Length 120mm
	d: 5.1, 3.55

	6
	B40701008
	Lower Limb External Fixator Instrument Set
	N/A

	
	Optional
	
	

	7
	B40701004
	Open Compressor
	L: 0～80

	8
	B40701007
	Rod Cutter
	d: 5.0, 6.0

	
	
	
	

	(11) 下肢外固定架Ⅱ型手术工具器械包 (Lower Limb External Fixator-Ⅱ System Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B40701001
	Drill Bit, 3.5mm dia.
	d: 3.5

	2
	B40703001
	Drill Bit, 4.8mm dia.
	d: 4.8

	3
	B40703002
	Drill Guide, for 6.0mm Schanz Screws
	D: 6.2

	4
	B40703003
	Drill Guide, for 4.8mm dia. Drill Bit
	D: 5

	5
	B40703004
	Drill Guide, for 3.5mm dia. Drill Bit
	D: 3.7

	6
	B40703005
	Trocar
	L: 227

	7
	B40703006
	Quick Connect with T-Handle
	B: 6.8

	8
	B40703007
	Multi L-wrench, 3.0mm/5.0mm dia.
	B: 3mm、5mm

	9
	B40705002
	Handling Tongs
	L: 287

	10
	B40705001
	Dynamic Compressor/Tensioner
	L: 85～170

	11
	B40705003
	Needle Sleeve
	D: 8

	12
	B40703010
	Lower Limb External Fixator-Ⅱ System Instrument Case
	N/A

	13
	B40703013
	Lower Limb External Fixator-Ⅱ System Instrument Set
	N/A

	
	
	
	

	
(12) LISS微创系统手术工具器械包 (Less Invasive Stabilization System Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B40203001
	Insertion Guide, for Proximal Tibia, Left, Radiolucent
	d: 14.9

	2
	B40203002
	Insertion Guide, for Proximal Tibia, Right, Radiolucent
	d: 14.9

	3
	B40203015
	Insertion Guide, for Distal Femoral, Left, Radiolucent
	d: 11

	4
	B40203016
	Insertion Guide, for Distal Femoral, Right, Radiolucent
	d: 11

	5
	B40300008
	Pin Wrench
	d: 4

	6
	B40202007
	Screwdriver Shaft, Hexagonal, 3.5mm dia.
	B: 3.5

	7
	B40202008
	Torque-Limiting Screwdriver, 4.0 Nm 
	M≤4.0N·m

	8
	B40203003
	Fixation Bolt, for Insertion Guide
	L: 154.8

	9
	B40203020
	Drill Bit, 4.3mm dia.
	d: 4.3

	10
	B40203004
	Drill Guide, for 4.3mm Drill Bit
	d: 4.5

	11
	B40203005
	Drill Sleeve, for Insertion Guide
	d: 7.5

	12
	B40203011
	Locking Bolt
	d: 2.1

	13
	B40203010
	Centering Sleeve for Kirschner Wire
	d: 2.2

	14
	B40203006
	Depth Gauge
	L: 18～85

	15
	B40002005
	T-Handle with Quick Coupling 
	d: 4.5

	16
	B40203007
	3.5 mm Hex Screwdriver Shaft, Self-retaining
	B: 3.5

	17
	B40203008
	Trocar
	d: 7.3

	18
	B40203009
	Cleaning Instrument for Screws
	L: 202/160

	19
	B40203012
	Pulling Device
	L: 239

	20
	B40203023
	Kirschner Wire, Φ2.0mm*280mm 
	d: 2.0

	21
	B40203024
	Kirschner Wire, Φ2.0mm*280mm, Threaded
	d: 2.0

	22
	B40203022
	Handle with Quick Coupling
	L: 85mm

	23
	B40202005
	Extraction Screw, 3.5mm dia.
	L: 140mm

	24
	B40203019
	Less Invasive Stabilization System Instrument Case
	N/A

	25
	B40203017
	Less Invasive Stabilization System Instrument Set
	N/A

	
	
	
	




2. 产品名称 (Products): 上肢内固定手术器械包 (Small Fragment Fixation Instrument Sets)
备案号 (Certificate No.): 京昌械备20220010号

	(1) 上肢锁定钢板器械包 (Small Fragment Locking Plates Instrument Set)
	

	序号
No.
	产品编号
Product No.
	类型描述
Product Description (In English)
	关键尺寸
Key Size

	1
	B40001001
	Drill Bit, 2.5mm dia.
	d: 2.5

	2
	B40001003
	Tap, for 3.5mm Cortical Screws
	d: 3.5

	3
	B40002005
	T-Handle with Quick Coupling
	d: 4.5

	4
	B40001008
	Screwdriver, Hexagonal, with Groove
	B: 2.5

	5
	B40001009
	Holding Sleeve, for Screwdriver
	d: 6.5

	6
	B40001010
	Depth Gauge
	L: 2～500

	7
	B40001012
	Bending lron for Plates(1)
	B: 2.6

	8
	B40001013
	Bending lron for Plates(2)
	B: 4.1

	9
	B40001016
	Bending Templates, for LC-DCP
	B: 11

	10
	B40001017
	Bending Templates, for Straight Reconstruction Plates 3.5
	B: 10

	11
	B40001018
	Bending Templates, for Curved Reconstruction Plates 3.5
	B: 10

	12
	B40001020
	Bending lron, for Reconstruction Plates 3.5, left
	B: 4.5

	13
	B40001021
	Bending lron, for Reconstruction Plates 3.5, right
	B: 4.5

	14
	B40001022
	Reduction Forceps with Points
	L: 135~280

	15
	B40001023
	Self-centering Bone Holding Forceps
	L: 135~280

	16
	B40201001
	Drill Bit, 2.8mm dia.
	d: 2.8

	17
	B40201002
	Drill Guide, 2.8mm dia, Length 60mm
	L: 60

	18
	B40201003
	Drill Guide, 2.8mm dia, Length 85mm
	L: 85

	19
	B40201004
	Universal Drill Sleeve, 3.5mm/2.5mm dia.                                                                                      
	d1: 3.5; d2: 2.5

	20
	B40201005
	Tap, for 3.5mm Locking Screws
	d: 3.5

	21
	B40201006
	2.5mm Hex Extraction Screw
	d: 4.5

	22
	B40201007
	Torque, 1.5N.m, for AO Quick Coupling
	1.5 NM

	23
	B40201008
	2.5mm Hex Screwdriver Shaft
	B: 2.5

	24
	B40201009
	T15 Screwdriver
	T: 3.3

	25
	B40201010
	T15 Screwdriver Shaft, for Quick Coupling
	T: 3.3

	26
	B40201015
	Drill Bit, 2.0mm dia.
	d: 2.0

	27
	B40201016
	Tap, for 2.7mm Cortical Screws
	d: 2.7

	28
	B40201017
	Drill Bit, 1.8mm dia.
	d: 1.8

	29
	B40201018
	Drill Guide, for 1.8mm Drill Bit
	d: 2

	30
	B40201019
	Universal Drill Sleeve, 1.8mm/2.4mm dia.
	d1: 1.9; d2: 2.5

	31
	B40201020
	Universal Drill Sleeve, 2.0mm/2.7mm dia.
	d1: 2.1; d2: 2.8

	32
	B40201021
	Depth Gauge, for 2.0mm/2.4mm Screws
	L: 188.5

	33
	B40201022
	T8 Screwdriver
	T: 2.4

	34
	B40201023
	Holding Sleeve, for Screwdriver (working with T8 Screwdriver)
	d: 2.77

	35
	B40201024
	T8 Screwdriver Shaft, for Quick Coupling
	T: 2.4

	36
	B40201025
	Torque,0.8N.m
	0.8 NM

	37
	B40001024
	Sterilizing Tray, for 3.5mm/4.0mm Screws
	d: 3.5/4.0

	38
	B40201011
	Sterilizing Tray, for 3.5mm Locking Screws
	d: 3.5

	39
	B40201027
	Sterilizing Tray, for 2.4mm/2.7mm Locking Screws
	d: 2.4/2.7

	40
	B40201014
	Small Fragment Locking Plates Instrument Case
	N/A

	41
	B40201028
	Small Fragment Locking Plates Instrument Set
	N/A

	
	Optional
	
	

	42
	B40201012
	Holding Sleeve, for 3.5mm Locking Screws
	d: 4.52

	43
	B40201026
	Tap, for 2.4 mm Cortical Screws
	d: 2.4

	44
	B49000009
	Screwdriver, Quincuncial, with Groove
	T: 3.3

	45
	B40201034
	Drill Bit, 2.9mm dia.
	d: 2.9

	46
	B40201030
	Drill Sleeve, for Variable Angle Plate
	d: 3

	
	
	
	

	(2)上肢普通钢板器械包 (Small Fragment Standard Plates Instrument Set)
	

	序号
No.
	产品编号
Product No.
	产品描述
Product Description (In English)
	关键尺寸
Key Size

	1
	B40001001
	Drill Bit, 2.5mm dia.
	d: 2.5

	2
	B40001002
	Drill Bit, 3.5mm dia.
	d: 3.5

	3
	B40001003
	Tap, for 3.5mm Cortical Screws
	d: 3.5

	4
	B40001004
	Tap, for 4.0mm Cortical Screws
	d: 4.0

	5
	B40002005
	T-Handle with Quick Coupling
	d: 4.5

	6
	B40001005
	Countersink Shaft
	d: 6.6

	7
	B40001006
	Double Drill Sleeve, 3.5mm/2.5mm dia.
	d1: 3.6; d2: 2.6

	8
	B40001007
	Insert Drill Sleeve, 3.5mm/2.5mm dia.
	d: 2.6

	9
	B40001008
	Screwdriver, Hexagonal, with Groove
	B: 2.5

	10
	B40001009
	Holding Sleeve, for Screwdriver
	d: 6.5

	11
	B40001010
	Depth Gauge
	L: 2-150mm

	12
	B40001011
	LC-DCP Drill Guide
	d: 2.5

	13
	B40001012
	Bending lron for Plates(1)
	B: 2.6

	14
	B40001013
	Bending lron for Plates(2)
	B: 4.1

	15
	B40001014
	Retractor,Width 8mm
	B: 8

	16
	B40001015
	Retractor,Width 15mm
	B: 15

	17
	B40001016
	Bending Templates, for LC-DCP
	B: 11

	18
	B40001017
	Bending Templates, for Straight Reconstruction Plates 3.5
	B: 10

	19
	B40001018
	Bending Templates, for Curved Reconstruction Plates 3.5
	B: 10

	20
	B40001019
	Periosteal Elevator, Width 6mm
	B: 6

	21
	B40001020
	Bending lron, for Reconstruction Plates 3.5, left
	B: 4.5

	22
	B40001021
	Bending lron, for Reconstruction Plates 3.5, right
	B: 4.5

	23
	B40001022
	Reduction Forceps with Points
	L: 135~280

	24
	B40001023
	Self-centering Bone Holding Forceps
	L: 135~280

	25
	B40001024
	Sterilizing Tray, for 3.5mm/4.0mm Screws
	d: 3.5/4.0

	26
	B40002017
	Screw Forceps, Self-holding
	d: 2

	27
	B40001025
	Small Fragment Standard Plates Instrument Case
	N/A

	28
	B40001026
	Small Fragment Standard Plates Instrument Set
	N/A

	
	
	
	

	(3) 2.0手外器械包 (2.0mm Hand & Foot Locking Plates Instrument Set)
	

	序号
No.
	产品编号
Product No.
	产品描述
Product Description (In English)
	关键尺寸
Key Size

	1
	B40205001
	Drill Guide, 1.5mm dia.
	d: 1.6

	2
	B40000009
	Double Drill Sleeve, 1.5mm/2.0mm dia.
	d1: 1.5; d2: 2.0

	3
	B40000002
	Drill Bit, 1.5mm dia.
	d: 1.5

	4
	B40201015
	Drill Bit, 2.0mm dia.
	d: 2.0

	5
	B40205002
	Depth Gauge
	L: 2～500

	6
	B40000014
	Handle with Quick Coupling, AO Type
	d: 4.5

	7
	B40205003
	T6 Shaft
	T: 1.75

	8
	B40205005
	Torque-Limiting Screwdriver, 0.4N.M
	0.4 NM

	9
	B50101007
	T6 Self-holding Screwdriver, Stardrive
	T: 1.7

	10
	B40205006
	Bending/Cutting Pliers, Left
	B: 0-10

	11
	B40205007
	Bending/Cutting Pliers, Right
	B: 0-10

	12
	B40205008
	Reduction Forceps with Points
	L: 85~185

	13
	B40205009
	Plate Holder
	L: 154

	14
	B40205010
	Sterilizing Tray, for 2.0mm Screws
	d: 2.0

	15
	B40205011
	2.0mm Hand & Foot Locking Plates Instrument Case
	N/A

	16
	B40205012
	2.0mm Hand & Foot Locking Plates Instrument Set
	N/A

	
	
	
	

	(4) 3.0无头空心钉手术器械包 (3.0mm Headless Compression Cannulated Screws Instrument Set)

	序号
No.
	产品编号
Product No.
	产品描述
Product Description (In English)
	关键尺寸
Key Size

	1
	B40108008
	Guide Wire, 1.1mm dia.
	d: 1.1

	2
	B40100001
	Cannulated Drill Bit, 2.0mm/1.1mm dia.
	d: 2.0

	3
	B40101004
	Handle with Quick Coupling
	d: 4.5

	4
	B40104001
	Compression Sleeve
	d: 3.0

	5
	B40100006
	Double Drill Sleeve, 1.1mm/2.0mm dia.
	d1: 1.2; d2: 2.1

	6
	B40002017
	Screw Forceps, Self-holding
	d: 2

	7
	B40104002
	Compression Sleeve Handle
	B: SW5

	8
	B40100005
	Depth Gauge
	L: 150

	9
	B40104003
	T8 Shaft
	T: 2.4

	10
	B40104004
	T8 Shaft, Cannulated
	T: 2.4

	11
	B40100009
	Cleaning Stylet
	d: 1.1

	12
	B40104005
	Sterilizing Tray, for 3.0mm Headless Compression Cannulated Screws
	d: 3.0

	13
	B40104006
	3.0mm Headless Compression Cannulated Screws Instrument Case
	N/A

	14
	B40104007
	3.0mm Headless Compression Cannulated Screws Instrument Set
	N/A

	
	
	
	

	(5) 4.5无头空心钉手术器械包 (4.5mm Headless Compression Cannulated Screws Instrument Set)

	序号
No.
	产品编号
Product No.
	产品描述
Product Description (In English)
	关键尺寸
Key Size

	1
	B40102010
	Guide Wire, 1.6*150mm
	d: 1.6

	2
	B40102001
	Cannulated Drill Bit, 3.2mm/1.6mm dia.
	d: 3.2

	3
	B40105001
	Cannulated Countersink
	d: 4.2

	4
	B40101004
	Handle with Quick Coupling
	d: 4.5

	5
	B40105002
	Compression Sleeve
	d: 4.1

	6
	B40002017
	Screw Forceps, Self-holding
	d: 1.0～6.4

	7
	B40105003
	Compression Sleeve Handle
	B: 5

	8
	B40102006
	Protection Sleeve
	d: 1.0～7; 7～16

	9
	B40102007
	Depth Gauge
	L: 150

	10
	B40105004
	T15 Shaft
	T: 3.3

	11
	B40105005
	T15 Shaft, Cannulated
	T: 3.3

	12
	B40102009
	Cleaning Stylet
	d: 1.6

	13
	B40105006
	Sterilizing Tray, for 4.5mm Headless Compression Cannulated Screws
	d: 4.5

	14
	B40105007
	4.5mm Headless Compression Cannulated Screws Instrument Case
	N/A

	15
	B40105009
	4.5mm Headless Compression Cannulated Screws Instrument Set
	N/A

	
	Optional
	
	

	17
	B40102014
	Cannulated Drill Bit, 3.2mm/1.6mm dia. (for export)
	d: 3.2

	
	
	
	

	(6) 3.5空心钉手术器械包 (3.5mm Cannulated Screws Instrument Set)

	序号
No.
	产品编号
Product No.
	产品描述
Product Description (In English)
	关键尺寸
Key Size

	1
	B40101001
	Drill Bit, 2.7mm/1.25mm dia.
	d: 1.5

	2
	B40101002
	Countersink, for 3.5mm Cannulated Screws
	d: 5.8

	3
	B40101003
	Tap, for 3.5mm Cannulated Screws
	d: 3.5

	4
	B40101004
	Handle with Quick Coupling
	d: 4.5

	5
	B40101005
	Double Drill Sleeve, 2.7mm/1.25mm dia.
	d: 2.7/1.25

	6
	B40101006
	Screwdriver, for 3.5mm Cannulated Screws
	B: 2.5

	7
	B40102007
	Depth Gauge
	L: 0-80

	8
	B40101007
	Cleaning Stylet
	d: 1.25

	9
	B40101008
	Sterilizing Tray, for 3.5mm Cannulated Screws
	d: 3.5

	10
	B40101009
	Guide Wire, Φ1.25*150mm
	d: 1.25

	11
	B40101010
	3.5mm Cannulated Screws Instrument Case
	N/A

	12
	B40101011
	3.5mm Cannulated Screws Instrument Set
	N/A

	
	
	
	

	(7) 4.5空心钉手术器械包 (4.5mm Cannulated Screws Instrument Set)

	序号
No.
	产品编号
Product No.
	产品描述
Product Description (In English)
	关键尺寸
Key Size

	1
	B40102001
	Cannulated Drill Bit, 3.2mm/1.6mm dia.
	d: 3.2

	2
	B40102002
	Countersink, for 4.5mm Cannulated Screws
	d: 7.0

	3
	B40102003
	Tap, for 4.5mm Cannulated Screws
	d: 4.1

	4
	B40102004
	T-Handle with Quick Coupling
	d: 4.5

	5
	B40102005
	Parallel Wire Guide
	d: 1.8

	6
	B40102006
	Protection Sleeve
	d: 7.3, 3.3, 1.8

	7
	B40102007
	Depth Gauge
	L: 0～80

	8
	B40102008
	Screwdriver, for 4.5mm Cannulated Screws
	B: 3.5

	9
	B40102009
	Cleaning Stylet
	d: 1.6

	10
	B40102010
	Guide Wire, 1.6*150mm
	d: 1.6

	11
	B40102011
	Sterilizing Tray, for 4.5mm Cannulated Screws
	d: 4.5

	12
	B40102012
	4.5mm Cannulated Screws Instrument Case
	N/A

	13
	B40102013
	4.5mm Cannulated Screws Instrument Set
	N/A

	
	Optional
	
	

	14
	B40102014
	Cannulated Drill Bit, 3.2mm/1.6mm dia. (for export)
	d: 3.2

	
	
	
	

	(8) 手外手术器械包 (Hand & Foot Standard Plates Instrument Set)

	序号
No.
	产品编号
Product No.
	产品描述
Product Description (In English)
	关键尺寸
Key Size

	1
	B40000001
	Drill Bit, 1.1mm dia.
	d: 1.1

	2
	B40000002
	Drill Bit, 1.5mm dia.
	d: 1.5

	3
	B40201015
	Drill Bit, 2.0mm dia.
	d: 2.0

	4
	B40000003
	Drill Bit, 2.7mm dia.
	d: 2.7

	5
	B40000004
	Countersink Shaft, 1.5mm/2.0mm dia.
	d: 4.5

	6
	B40000005
	Countersink Shaft, 2.7mm dia.
	d: 5.5

	7
	B40000006
	Tap, for 1.5mm Cortical Screws
	d: 1.5

	8
	B40000007
	Tap, for 2.0mm Cortical Screws
	d: 2.0

	9
	B40201016
	Tap, for 2.7mm Cortical Screws
	d: 2.7

	10
	B40000008
	Double Drill Sleeve, 1.1mm/1.5mm dia.
	d: 1.2, 1.6

	11
	B40000009
	Double Drill Sleeve, 1.5mm/2.0mm dia.
	d: 1.6, 2.0

	12
	B40000010
	Double Drill Sleeve, 2.0mm/2.7mm dia.
	d: 2.1, 2.8

	13
	B40000011
	Screwdriver, for Removing Screws, 1.5mm/2.0mm
	B: 0.5

	14
	B40000012
	Screwdriver Shaft, Cruciform, 1.5mm/2.0mm, with Holding Sleeve
	B: 0.5

	15
	B40002005
	T-Handle with Quick Coupling
	B: 4.5

	16
	B40000013
	Handle with Quick Coupling, 1.5mm/2.0mm
	d: 2.3

	17
	B40000014
	Handle with Quick Coupling, AO Type
	B: 4.5

	18
	B40000015
	Depth Gauges, for 1.5mm/2.0mm Cortical Screws
	L: 1～55

	19
	B40000016
	Bender, Kirschner Wire
	0.8mm, 1.25mm

	20
	B40000017
	Periosteal Elevator, Width 3mm
	B: 3mm

	21
	B40000018
	Bending lron, for Plates 1.5mm/2.0mm
	B: 1.5, 2.0

	22
	B40000019
	Bending Pliers, for Plates 1.5mm/2.7mm
	d: 0-10

	23
	B40000020
	Reduction Forceps with Points
	L: 85～185

	24
	B40000021
	Plate Holder
	L: 135～280

	25
	B40001008
	Screwdriver, Hexagonal, with Groove
	B: 2.5

	26
	B40001009
	Holding Sleeve, for Screwdriver
	d: 6.5

	27
	B40001010
	Depth Gauge
	L: 1～85

	28
	B40002017
	Screw Forceps, Self-holding
	d: 1.0～8.0

	29
	B40000022
	Sterilizing Tray, for 1.5mm/2.7mm Cortical Screws
	d: 1.5/2.7

	30
	B40000023
	Hand & Foot Standard Plates Instrument Case
	N/A

	31
	B40000026
	Hand & Foot Standard Plates Instrument Set
	N/A

	
	
	
	

	(9) 断钉取出器械包 (Bolt Extractor Basic Instrument Set)

	序号
No.
	产品编号
Product No.
	产品描述
Product Description (In English)
	关键尺寸
Key Size

	1
	B40204014
	Sharp Hook
	L: 50～300

	2
	B40204015
	Forceps, for Screw Removal
	L: 1.0～6.4

	3
	B40204016
	Drill Bit, 4mm dia., Left
	d: 1～7.0; d: 7.0～14

	4
	B40204017
	Drill Bit, 6mm dia., Left
	d: 1～7.0; d: 7.0～14

	5
	B40204018
	Remover of Damaged Screw
	d: 1.5~7.3

	6
	B40204025
	Extraction Bolt, 3.5mm dia.
	d: 3.7

	7
	B40204026
	Extraction Bolt, 4.5mm dia.
	d: 4.7

	8
	B40204027
	Extraction Bolt, 6.5mm dia.
	d: 6.8

	9
	B40204029
	Centering Pin, 4.5mm dia.
	d: 4.5

	10
	B40204030
	Centering Pin, 6.5mm dia.
	d: 6.5

	11
	B40204031
	Centering Pin, 3.5mm dia.
	d: 3.5

	12
	B40204038
	Connecting End, 3.5mm dia.
	AO Connect

	13
	B40204032
	Connecting End, 4.5mm dia.
	AO Connect

	14
	B40204033
	Connecting End, 6.5mm dia.
	AO Connect

	15
	B40204034
	SW3.5mm Hex Screwdriver Shaft
	B: 3.5

	16
	B40204035
	SW2.5mm Hex Screwdriver Shaft
	B: 2.5

	17
	B40204028
	Reamers Tube, for φ6.5mm Screws
	d: 7.3

	18
	B40204036
	Reamers Tube, for φ4.5mm Screws
	d: 5.1

	19
	B40204037
	Reamers Tube, for φ3.5mm Screws
	d: 4.6

	20
	B40204039
	Conical Extraction Screw, for SW2.5
	d: 4.5

	21
	B40204040
	Conical Extraction Screw, for SW2.5, Long Thread
	d: 4.5

	22
	B40204046
	Conical Extraction Screw, for SW3.5
	d: 4.5

	23
	B40204041
	Sharp Awl
	L: 50～300

	24
	B40204042
	Quick Connect Handle
	2.0～8.0

	25
	B40204043
	T-Handle with Quick Coupling
	2.0～8.0

	26
	B40204044
	T-Handle with Universal Connector
	2.0～8.0

	27
	B40204045
	Chisel
	L: 50-300

	28
	B40204048
	Bolt Extractor Basic Instrument Mini Case
	N/A

	29
	B40204021
	Bolt Extractor Basic Instrument Case
	N/A

	30
	B40204022
	Bolt Extractor Basic Instrument Set
	N/A

	
	
	
	

	(10) 无头加压螺钉标准型手术器械包 (Headless Compression Cannulated Screws Instrument Set, Standard)

	序号
No.
	产品编号
Product No.
	产品描述
Product Description (In English)
	关键尺寸
Key Size

	1
	B40108014
	Guide Wire, 1.4mm dia.
	d: 1.4

	2
	B40108015
	Wire Guide, 1.4mm dia.
	d: 1.4

	3
	B40108016
	Profile Drill Bit, 2.5mm dia.
	d: 2.5

	4
	B40108017
	Long Drill Bit, 2.5mm dia.
	d: 2.5

	5
	B40108018
	Screwdriver, Hexagonal, Cannulated, for 2.5mm Cannulated Screws
	B: 2.5

	6
	B40108033
	Sterilizing Tray, Standard
	d: 4.0

	7
	B40108021
	Handle with Quick Coupling
	L: 134.8

	8
	B40108022
	Depth Gauge
	Max. L: 60

	9
	B40108023
	Screw Forceps
	D: 1.0～8.0

	10
	B40108026
	Headless Compression Cannulated Screws Instrument Case, Standard
	N/A

	11
	B40108031
	Headless Compression Cannulated Screws Instrument Set, Standard
	N/A

	
	Optional
	
	

	12
	B40108032
	Handle with Quick Coupling
	L: 134

	
	
	
	

	(11) 无头加压螺钉迷你型手术器械包 (Headless Compression Cannulated Screws Instrument Set, Mini)

	序号
No.
	产品编号
Product No.
	产品描述
Product Description (In English)
	关键尺寸
Key Size

	1
	B40108008
	Guide wire, 1.1mm dia.
	d: 1.1

	2
	B40108009
	Wire Guide, 1.1mm dia.
	d: 1.1

	3
	B40108010
	Profile Drill Bit, 2.0mm dia.
	d: 2.0

	4
	B40108011
	Long Drill Bit, 2.0mm dia.
	d: 2.0

	5
	B40108012
	T8 Cannulated Shaft
	T: 2.4

	6
	B40108013
	Sterilizing Tray, Mini
	d: 3.5

	7
	B40108021
	Handle with Quick Coupling
	L: 134.8

	8
	B40108022
	Depth Gauge
	Max. L: 60

	9
	B40108023
	Screw Forceps
	d: 1.0～8.0

	10
	B40108027
	Headless Compression Cannulated Screws Instrument Case, Mini
	N/A

	11
	B40108030
	Headless Compression Cannulated Screws Instrument Set, Mini
	N/A

	
	Optional
	
	

	12
	B40108032
	Handle with Quick Coupling
	L: 134

	
	
	
	

	(12) 无头加压螺钉微型手术器械包 (Headless Compression Cannulated Screws Instrument Set, Micro)

	序号
No.
	产品编号
Product No.
	产品描述
Product Description (In English)
	关键尺寸
Key Size

	1
	B40108001
	Guide Wire, 0.88mm dia.
	d: 0.88

	2
	B40108002
	Wire Guide, 0.88mm dia.
	d: 0.88

	3
	B40108003
	Profile Drill Bit, 1.5mm dia.
	d: 1.5

	4
	B40108004
	Long Drill Bit, 1.5mm dia.
	d: 1.5

	5
	B40108005
	Screwdriver, Hexagonal, for 1.5mm Cannulated Screws
	B: 1.5

	6
	B40108006
	Forceps
	L: 125.1

	7
	B40108007
	Sterilizing Tray, Micro
	d: 2.5

	8
	B40108021
	Handle with Quick Coupling
	L: 134.8

	9
	B40108022
	Depth Gauge
	Max. L: 60

	10
	B40108023
	Screw Forceps
	d: 1.0～8.0

	11
	B40108028
	Headless Compression Cannulated Screws Instrument Case, Micro
	N/A

	12
	B40108029
	Headless Compression Cannulated Screws Instrument Set, Micro
	N/A

	
	Optional
	
	

	13
	B40108032
	Handle with Quick Coupling
	L: 134

	
	
	
	

	(13) 骨针钢丝器械包 (Pin & Wire Instrument Set)

	序号
No.
	产品编号
Product No.
	产品描述
Product Description (In English)
	关键尺寸
Key Size

	1
	B40800001
	Medium Cable Passer, Curved
	L: 50～300

	2
	B40800002
	Lage Cable Passer, Curved
	L: 50～300

	3
	B40800003
	Medium Cable Passer, Curved
	L: 50～300

	4
	B40800004
	Lage Cable Passer
	L: 50～300

	5
	B40800005
	Attachment Bit
	L: 50～300

	6
	B40800006
	Provisional Tensioning Device
	L: 50～300

	7
	B40800015
	Cable Tensioner-Ⅲ
	0~50Kg

	8
	B40800008
	Cable Crimper
	d: 1～14

	9
	B40800009
	Cable Cutter, Standard
	B: 2～6

	10
	B40800010
	Cable Cutter, Large
	B: 2～6

	11
	B40800011
	Pin & Wire Instrument Case
	N/A

	12
	B40800012
	Pin & Wire Instrument Set
	N/A

	
	Optional
	
	

	13
	B40800007
	Cable Tensioner
	0~50Kg

	
	
	
	

	(14) 上肢外固定架器械包 (Upper Limb External Fixator System Instrument Set)

	序号
No.
	产品编号
Product No.
	产品描述
Product Description (In English)
	关键尺寸
Key Size

	1
	B40700001
	Drill Bit, 2.5mm dia., 2 Grooves
	d: 2.5

	2
	B40700003
	Double Drill Sleeve, 2.0mm/2.5mm dia.
	d: 2.0, 2.5

	3
	B40700004
	Drill Sleeve
	d: 2.7

	4
	B40701003
	Simple T-Handle
	B: 7

	5
	B40700005
	Upper Limb External Fixator System Instrument Set
	N/A

	
	Optional
	
	

	6
	B00800008
	Combination Wrench, 7mm
	B: 7

	7
	B40700002
	Drill Bit, 2.5mm dia., 3 Grooves
	d: 2.5

	
	
	
	

	(15) 上肢外固定架Ⅱ型器械包 (Upper Limb External Fixator-Ⅱ System Instrument Set)

	序号
No.
	产品编号
Product No.
	产品描述
Product Description (In English)
	关键尺寸
Key Size

	1
	B40702001
	Drill Bit, 2.7mm dia.
	d: 2.7

	2
	B40702002
	Drill Sleeve with Handle
	d: 4.1

	3
	B40702003
	Drill Sleeve
	d: 2.8

	4
	B40702005
	Wrench, T-handle
	B: 3.4

	5
	B40706001
	Distractor
	L: 15～200mm

	6
	B40702004
	L-wrench, 4.0mm dia.
	B: 4

	7
	B40706002
	Double Drill Sleeve
	d: 4.1

	8
	B40702006
	Upper Limb External Fixator -ⅡSystem Instrument Case
	N/A

	9
	B40702007
	Upper Limb External Fixator -ⅡSystem Instrument Set
	N/A

	
	
	
	

	(16) 1.5/2.0钢板螺钉手足工具器械包 (1.5/2.0mm Hand & Foot Locking Plates Instrument Set)

	序号
No.
	产品编号
Product No.
	产品描述
Product Description (In English)
	关键尺寸
Key Size

	1
	B40206003
	Drill Guide, 1.1mm dia.
	d: 1.2

	2
	B40206004
	Drill Guide, 1.5mm dia.
	d: 1.6

	3
	B40000008
	Double Drill Sleeve, 1.1mm/1.5mm dia.
	d: 1.2, 1.6

	4
	B40000009
	Double Drill Sleeve, 1.5mm/2.0mm dia.
	d: 1.6, 2.1

	5
	B40206001
	Drill Bit, 1.1mm dia.
	d: 1.1

	6
	B40206002
	Drill Bit, 1.5mm dia.
	d: 1.5

	7
	B40201015
	Drill Bit, 2.0mm dia.
	d: 2.0

	8
	B40205002
	Depth Gauge
	L: 2～500

	9
	B40000014
	Handle with Quick Coupling, AO Type
	d: 4.5

	10
	B40206005
	T6 Shaft
	T: 1.75

	11
	B50101007
	T6 Self-holding Screwdriver, Stardrive
	T: 1.75

	12
	B40205006
	Bending/Cutting Pliers, Left
	B: 0-10mm

	13
	B40205007
	Bending/Cutting Pliers, Right
	B: 0-10mm

	14
	B40205008
	Reduction Forceps with Points
	L: 85~185

	15
	B40205009
	Plate Holder
	L: 154

	16
	B40206006
	Sterilizing Tray, for 1.5/2.0mm Screws
	d: 1.5/2.0

	17
	B40206007
	1.5/2.0mm Hand & Foot Locking Plates Instrument Case
	N/A

	18
	B40206008
	1.5/2.0mm Hand & Foot Locking Plates Instrument Set
	N/A

	
	Optional
	
	

	19
	B40205005
	Torque-Limiting Screwdriver, 0.4N.M
	0.4 NM

	20
	B40206009
	Retractor,width 6mm
	B: 6

	21
	B40206010
	Retractor,width 8mm
	B: 8

	22
	B40206011
	Sharp Hook
	L: 160

	23
	B40206012
	Periosteal Elevator, width 5mm
	L: 160

	24
	B40206013
	Reduction Forceps with Four Points
	L: 85-185

	
	
	
	




3. 产品名称 (Products): 脊柱内固定手术器械包 (Spinal Fixation Instrument Sets)
备案号 (Certificate No.): 京昌械备20220037号

	(1) ZZFEE颈椎前路手术器械包 (ZZFEE Anterior Cervical Plate System Instrument Set)

	序号
No.
	产品编号
Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B50000001
	Retainer Screw
	d: 3.5

	2
	B50000002
	Driver for Retainer Screw
	d: 4.0

	3
	B50000003
	Distractor
	L: 0～140

	4
	B50000004
	Plate Holder
	W: 0-30

	5
	B50000005
	Temporary Fixation Pin
	d: 1.14

	6
	B50301009
	Holder, for Pedicle Marker
	d: 3.0

	7
	B50000006
	Fixed Angle Drill Guide
	d: 2.6

	8
	B50000007
	Variable Angle Drill Guide
	d: 2.6

	9
	B50000008
	Drill Bit, 2.4mm dia.
	d: 2.4

	10
	B50000009
	Screwdriver, Hexagonal
	B: 2.3

	11
	B50000010
	Screwdriver, Hexagonal
	B: 0.7

	12
	B50000011
	French Bender
	d: 25

	13
	B50000012
	Implants Tray
	N/A

	14
	B50000013
	ZZFEE Anterior Cervical Plate System Instrument Case
	N/A

	15
	B40000014
	Handle with Quick Coupling
	d: 4.5

	16
	B50000014
	Anterior Cervival Awl
	d: 2.5

	17
	B50000015
	ZZFEE Anterior Cervical Plate System Instrument Set
	N/A

	
	Optional
	
	

	18
	B50000021
	Distractor II
	L: 0～140

	
	
	
	

	(2) Soprano颈椎后路手术器械包 (Soprano Posterior Cervical Screw-rod System Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B50100001
	Awl
	d: 2.2

	2
	B50100002
	Drill Guide, for 2.4mm dia.
	d: 6

	3
	B50100003
	Drill Bit, 2.4mm/12mm dia.
	D: 2.4

	4
	B50100004
	Drill Bit, 2.4mm/14mm dia.
	D: 2.4

	5
	B50100005
	Drill Bit, 2.4mm/16mm dia.
	D: 2.4

	6
	B50100006
	Drill Bit, Adjustable
	D: 2.4

	7
	B50100007
	Straight Probe
	d: 4.9

	8
	B50100008
	Sounding/Feeler Probe
	d: 1.6

	9
	B50100009
	Tap, 3.5mm dia.
	L: 6.2

	10
	B50100010
	Depth Gauge
	L: 0～50

	11
	B50100011
	Multiaxial Screwdriver, Inserter
	d: 5.9

	12
	B50100012
	Multiaxial Screwdriver, Remover
	B: 2

	13
	B50100013
	Rod Template
	D: 3.0

	14
	B50100014
	Rod Clamp
	d: 3

	15
	B50100015
	Rod Cutter
	d: 3

	16
	B50100016
	Rod Bender, 3.0mm
	d: 3

	17
	B50100017
	Bending Iron(set), Left
	B: 3.1

	18
	B50100018
	Bending Iron(set), Right
	B: 3.1

	19
	B50100019
	Rod Holder, 3.0～6.0mm dia.
	d: 3.0～6.0

	20
	B50100020
	Self-Retaining Set Driver
	B: 3

	21
	B50100022
	Screwdriver, Final Fastening
	B: 3

	22
	B50100023
	Counter Torque
	D: 14.3

	23
	B50100024
	Lamilar Hooks Probe
	d: 4.9

	24
	B50100025
	Lamilar Hooks Holder
	L: 6.6

	25
	B50100026
	Distractor
	L: 0～52

	26
	B50100027
	Compressor
	L: 12～36

	27
	B50100028
	Reduction Forceps, with Pistol Grip
	L: 12

	28
	B50100029
	Pedicle Marker, Spherical
	d: 2

	29
	B50100030
	Pedicle Marker, Cylindrical
	d: 2

	30
	B50301009
	Holder, for Pedicle Marker
	d: 3

	31
	B50100031
	Multi Axial Screwdriver
	B: 3

	32
	B40002005
	T-Handle with Quick Coupling
	d: 4.5

	33
	B40000014
	Handle with Quick Coupling
	d: 4.5

	34
	B50100032
	Drill Bit, 3.0mm dia.
	d: 3

	35
	B50100033
	Tap, 4.0mm dia.
	d: 4

	36
	B50100034
	Guide Sleeve, for Drill/Tap, 6mm/8mm
	6mm-L:34; 8mm-L:32

	37
	B50100035
	Guide Sleeve, for Drill/Tap, 10mm/12mm
	10mm-L:30; 12mm-L:28

	38
	B50100036
	Rod Pusher
	d: 6.56

	39
	B50100038
	Screw Tray
	N/A

	40
	B50100039
	Soprano Posterior Cervical Screw-rod System Instrument Case
	N/A

	41
	B50100040
	Soprano Posterior Cervical Screw-rod System Instrument Set
	N/A

	
	Optional
	
	

	45
	B50100053
	3N·M Torque Driver, Final Fastening
	d: 3

	46
	B50100054
	Counter Torque (Sleeve type)
	d: 12.4

	47
	B50100059
	Rod Clamp
	B: 3

	48
	B50100060
	Flex Shaft Drill
	d: 3

	49
	B59000032
	Plate Bender
	d: 3

	50
	B59000033
	Side Plate Bender
	B: 1.5

	
	
	
	

	(3) 椎板成形术工具器械包 (Soprano Posterior Cervical Mini-plates Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B50101001
	Trail Spacer, 4mm
	L: 4

	2
	B50101002
	Trail Spacer, 6mm
	L: 6

	3
	B50101003
	Trail Spacer, 8mm
	L: 8

	4
	B50101004
	Trail Spacer, 10mm
	L: 10

	5
	B50101005
	Trail Spacer, 12mm
	L: 12

	6
	B50101006
	Curette
	L: 8.5

	7
	B50101007
	T6 Self-holding Screwdriver, Stardrive
	T: 1.75

	8
	B50101008
	Plate Holder
	D: 0～15

	9
	B50101009
	Mini Quick Connect Handle
	D: 1.8

	10
	B50101010
	Drill Bit, φ1.5mm*4mm
	L: 4

	11
	B50101011
	Drill Bit, φ1.5mm*6mm
	L: 6

	12
	B50101012
	Drill Bit, φ1.5mm*8mm
	L: 8

	13
	B50101013
	Drill Bit, φ1.5mm*10mm
	L: 10

	14
	B50101014
	Drill Bit, φ1.5mm*12mm
	L: 12

	15
	B50101015
	Lamina Elevator
	L: 0～75

	16
	B50101016
	Rongeur
	L: 0～30

	17
	B50101017
	Combination Bending/Cutting Plier, Right
	L: 0～10

	18
	B50101022
	Combination Bending/Cutting Plier, Left
	L: 0～10

	19
	B50101021
	Screw Guide
	D: 2.5

	20
	B50101018
	Implant Tray
	N/A

	21
	B50101019
	Soprano Posterior Cervical Mini-plates Instrument Case
	N/A

	22
	B50101020
	Soprano Posterior Cervical Mini-plates Instrument Set
	N/A

	
	
	
	

	(4) Uspine胸腰椎后路手术器械包 (Uspine Posterior Thoracolumbar Screw-Rod System Instrument Set)

	序号
No.
	产品编号
Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B50301001
	In-Line Round Awl
	B: 2.6

	2
	B50301002
	Dual End Probe
	d: 2.1

	3
	B50301003
	Sounding/Feeler Probe
	d: 2.1

	4
	B50308009
	Thoracic Ball Handle Probe, Straight
	W: 2～4

	5
	B50399008
	Lumbar Ball Handle Probe, Straight
	W: 2～5

	6
	B50401008
	T-handle, Square Connector
	B: 6.35

	7
	B50399005
	Quick Connect Straight Handle, Ratchet
	B: 6.35

	8
	B50301007
	Pedicle Marker, Spherical
	d: 2.5

	9
	B50301008
	Pedicle Marker, Cylindrical
	d: 2.5

	10
	B50301009
	Holder, for Pedicle Marker
	d: 3.0

	11
	B50301010
	Tap, 5.0mm dia.
	d: 4.8

	12
	B50301011
	Tap, 5.5mm dia.
	d: 5.3

	13
	B50301012
	Tap, 6.0mm dia.
	d: 5.8

	14
	B50301013
	Tap, 6.5mm dia.
	d: 6.3

	15
	B50300051
	Screwdriver, for Monoaxial Pedicle Screws
	W: 5.7

	16
	B50300052
	Screwdriver, for Multiaxial Pedicle Screws
	W: 5.7

	17
	B50300053
	Screwdriver, for Multiaxial Reduction Pedicle Screws
	W: 5.7

	18
	B50300054
	Screwdriver, for Monoaxial Reduction Pedicle Screws
	W: 5.7

	19
	B50301018
	Rod Template, 5.5mm dia.
	d: 5.5

	20
	B50307019
	Rod Bender
	d: 4.5～6.5

	21
	B50309001
	Rod Holding Forceps, 6.0mm dia.
	d: 4.0～8.0

	22
	B50300018
	Rod Holder, 3.0～6.0mm dia.
	d: 3.0～6.0

	23
	B50300058
	Rod Pusher, 6.0mm dia.
	W: 6.2

	24
	B50300055
	Nuts Screwdriver, Pre-screwing
	B: 4.55

	25
	B50300056
	M9 Screwdriver, Final Fastening
	B: 4.5

	26
	B50300057
	Counter Torque
	B: 6.2

	27
	B50300023
	Rod Rotation Wrench
	d: 5

	28
	B50308010
	Curved Compressor
	L: 285

	29
	B50308011
	Curved Distractor
	L: 265

	30
	B50300026
	Bending Iron, Left
	W: 6.05

	31
	B50300027
	Bending Iron, Right
	W: 6.05

	32
	B50300028
	Break-off Iron, for Reduction Screw
	W: 0～13

	33
	B50300029
	Reduction Forceps, with Pistol Grip
	d: 18.3

	34
	B50300030
	Crosslink Holder
	W: 9～50

	35
	B50301031
	3.5mm Hex. Screwdriver Shaft, Square Connector
	B: 3.5

	36
	B50300060
	Uspine Posterior Thoracolumbar Screw-Rod System Instrument Case
	N/A

	37
	B50300062
	Uspine Posterior Thoracolumbar Screw-Rod System Instrument Set
	N/A

	
	Optional
	
	

	38
	B50300036
	Distracter
	L: 140

	39
	B50300037
	Screwdriver, for Monoaxial Pedicle Screws, T-handle
	W: 5.7

	40
	B50300038
	Screwdriver, for Monoaxial Reduction Pedicle Screws, T-handle
	W: 5.7

	41
	B50300039
	Screwdriver, for Multiaxial Pedicle Screws, T-handle
	W: 5.7

	42
	B50300040
	Screwdriver, for Multiaxial Reduction Pedicle Screws, T-handle
	W: 5.7

	43
	B50300041
	Nuts Sleeve
	D: 12.6

	44
	B50300043
	Funnel, 5mm dia.
	d: 5

	45
	B50300044
	Funnel, 6mm dia.
	d: 6

	46
	B50300045
	Funnel, 7mm dia.
	d: 7

	47
	B50300046
	In-Line Round Awl, for 4.0～5.0mm Screws
	B: 2.03

	48
	B50300047
	Rod Cutter
	d: 5.0; 5.75; 6.25

	49
	B50300032
	Socket Wrench
	B: 7.5

	50
	B50300033
	Screws Holder
	M5

	51
	B50300061
	Counter Torque
	B: 6.2

	52
	B50300035
	Screws Holder
	M5

	53
	B50300020
	Nuts Screwdriver, Pre-screwing
	B: 4.55

	54
	B50300021
	M9 Screwdriver, Final Fastening
	B: 4.5

	55
	B50300048
	Sterilizing Case, for Impants of Uspine/Rekha/SCS
	N/A

	56
	B50300001
	In-Line Round Awl (for 5.5-7.0 screw)
	B: 2.6

	57
	B50300002
	Ball Handle Probe, Straight, Large (for 5.5-7.0 screw)
	W: 2～5

	58
	B50300003
	Ball Handle Probe, Straight, Small (for 4.0-4.5 screw)
	W: 2～5

	59
	B50300006
	Pedicle Marker, Spherical
	d: 2

	60
	B50300007
	Pedicle Marker, Cylindrical
	d: 2

	61
	B50300008
	Handle with Quick Coupling
	D: 12

	62
	B50300009
	Tap, 5.0mm dia.
	d: 4.8

	63
	B50300010
	Tap, 6.0mm dia.
	d: 5.8

	64
	B50300034
	Rekha/SCS (locking) Counter Torque
	B: 3.5

	65
	B50300051
	Screwdriver, for Monoaxial Pedicle Screws
	W: 5.7

	66
	B50300052
	Screwdriver, for Multiaxial Pedicle Screws
	W: 5.7

	67
	B50300053
	Screwdriver, for Multiaxial Reduction Pedicle Screws
	W: 5.7

	68
	B50300054
	Screwdriver, for Monoaxial Reduction Pedicle Screws
	W: 5.7

	69
	B50301005
	Thoracic Ball Handle Probe, Straight
	d: 2

	70
	B50301004
	Lumbar Ball Handle Probe, Straight
	d: 2

	71
	B50301006
	Quick Connect Straight Handle
	B: 6.35

	72
	B50300016
	Rod Bender, 6.0mm dia.
	d: 4.5～6.5

	73
	B50300017
	Rod Holding Forceps, 6.0mm dia.
	d: 4.0～8.0

	74
	B50301022
	Parallel Compressor, Medium
	W: 20～60

	75
	B50301023
	Parallel Distractor
	W: 0～44

	
	
	
	

	(5) UspineⅡ胸腰椎后路手术器械包 (Uspine Ⅱ Posterior Thoracolumbar Screw-Rod System Instrument Set)

	序号
No.
	产品编号
Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B50301001
	In-Line Round Awl
	B: 2.6

	2
	B50301002
	Dual End Probe
	d: 2.1

	3
	B50301003
	Sounding/Feeler Probe
	d: 2.1

	4
	B50308009
	Thoracic Ball Handle Probe, Straight
	W: 2～4

	5
	B50399008
	Lumbar Ball Handle Probe, Straight
	W: 2～5

	6
	B50399009
	Lumbar Ball Handle Probe, Curved
	W: 2～5

	7
	B50399005
	Quick Connect Straight Handle, Ratchet
	B: 6.35

	8
	B50401008
	T-handle, Square Connector
	B: 6.35

	9
	B50301007
	Pedicle Marker, Spherical
	d: 2.5

	10
	B50301008
	Pedicle Marker, Cylindrical
	d: 2.5

	11
	B50301009
	Holder, for Pedicle Marker
	d: 3.0

	12
	B50301010
	Tap, 5.0mm dia.
	d: 4.8

	13
	B50301011
	Tap, 5.5mm dia.
	d: 5.3

	14
	B50301012
	Tap, 6.0mm dia.
	d: 5.8

	15
	B50301013
	Tap, 6.5mm dia.
	d: 6.3

	16
	B50301049
	Screwdriver, for Monoaxial Pedicle Screws
	W: 5.4

	17
	B50301050
	Screwdriver, for Multiaxial Pedicle Screws
	W: 5.4

	18
	B50301051
	Screwdriver, for Monoaxial Reduction Pedicle Screws
	W: 5.4

	19
	B50301052
	Screwdriver, for Multiaxial Reduction Pedicle Screws
	W: 5.4

	20
	B50301018
	Rod Template, 5.5mm dia.
	d: 5.5

	21
	B50307019
	Rod Bender
	d: 4.5～6.5

	22
	B50301019
	Rod Pusher, 5.5mm dia.
	W: 5.7

	23
	B50300018
	Rod Holder, 3.0～6.0mm dia.
	d: 3.0～6.0

	24
	B50301020
	Forceps Rocker, 5.5mm dia.
	W: 9.5～15

	25
	B50301021
	Reduction Forceps, with Pistol Grip, 5.5mm
	d: 18.3

	26
	B50308012
	Rod Holding Forceps
	d: 4.0～8.0

	27
	B50308010
	Curved Compressor
	L: 285

	28
	B50308011
	Curved Distractor
	L: 265

	29
	B50301024
	T27 Nuts Screwdriver, Pre-screwing
	d: 5.1

	30
	B50301061
	Counter Torque
	B: 5.9

	31
	B50301027
	T27 Shaft
	T27, Stardrive

	32
	B50301053
	Torque-Limiting Driver, 10N·m
	B: 6.35

	33
	B50301029
	Rod Rotation Wrench
	d: 3.125

	34
	B50399006
	Reduction Screw Tab Breaker
	d: 14

	35
	B50301031
	3.5mm Hex. Screwdriver Shaft, Square Connector
	B: 3.5

	36
	B50301036
	Uspine Ⅱ Posterior Thoracolumbar Screw-Rod System Instrument Case
	N/A

	37
	B50301037
	Uspine Ⅱ Posterior Thoracolumbar Screw-Rod System Instrument Set
	N/A

	
	Optional
	
	

	38
	B50301032
	Screwdriver, for Multiaxial Pedicle Screws, T-handle
	W: 5.4

	39
	B50301033
	Screwdriver, for Monoaxial Pedicle Screws, T-handle
	W: 5.4

	40
	B50301034
	Screwdriver, for Multiaxial Reduction Pedicle Screws, T-handle
	W: 5.4

	41
	B50301035
	Screwdriver, for Monoaxial Reduction Pedicle Screws, T-handle
	W: 5.4

	42
	B50399010
	Straight Rod Pusher
	d: 4.5～6.5

	43
	B50301026
	Ring Counter Torque
	B: 5.7

	44
	B50301030
	Reduction Screw Tab Breaker
	d: 14

	45
	B50301014
	Screwdriver, for Multiaxial Pedicle Screws
	W: 5.4

	46
	B50301015
	Screwdriver, for Monoaxial Pedicle Screws
	W: 5.4

	47
	B50301016
	Screwdriver, for Multiaxial Reduction Pedicle Screws
	W: 5.4

	48
	B50301017
	Screwdriver, for Monoaxial Reduction Pedicle Screws
	W: 5.4

	49
	B50301056
	Screwdriver, for Monoaxial Pedicle Screws
	W: 5.4

	50
	B50301057
	Screwdriver, for Multiaxial Pedicle Screws
	W: 5.4

	51
	B50301058
	Screwdriver, for Monoaxial Reduction Pedicle Screws
	W: 5.4

	52
	B50301059
	Screwdriver, for Multiaxial Reduction Pedicle Screws
	W: 5.4

	53
	B50399007
	Thoracic Ball Handle Probe, Straight
	W: 2～4

	54
	B50301004
	Lumbar Ball Handle Probe, Straight
	W: 2～5

	55
	B50301006
	Quick Connect Straight Handle
	B: 6.35

	56
	B50302001
	Tap, 4.0mm dia.
	d: 3.8

	57
	B50302002
	Tap, 4.5mm dia.
	d: 4.3

	58
	B50302004
	Bending Iron, Left
	W: 5.6

	59
	B50302005
	Bending Iron, Right
	W: 5.6

	60
	B50302006
	Bending Iron, Left
	W: 5.6

	61
	B50302007
	Bending Iron, Right
	W: 5.6

	62
	B50300047
	Rod Cutter
	W: 3.7-4.4

	63
	B50301005
	Thoracic Ball Handle Probe, Straight
	d: 1.6

	64
	B50300016
	Rod Bender, 6.0mm dia.
	d: 4.0～8.0

	65
	B50300017
	Rod Holding Forceps, 6.0mm dia.
	d: 4.0～8.0

	66
	B50302012
	Rod Holder Forceps
	d: 4.0～8.0

	67
	B50301022
	Parallel Compressor, Medium
	W: 20～60

	68
	B50301023
	Parallel Distractor
	W: 0～44

	
	
	
	

	(6) UspineⅡ胸腰椎后路（矫形）手术器械包
(Uspine Ⅱ Posterior Thoracolumbar Screw-Rod System (Deformity) Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B50401008
	T-handle, Square Connector
	B: 6.35

	2
	B50302001
	Tap, 4.0mm dia.
	d: 3.8

	3
	B50302002
	Tap, 4.5mm dia.
	d: 4.3

	4
	B50302003
	Lateral Translator
	d: 5.5

	5
	B50302004
	Bending Iron, Left
	W: 5.6

	6
	B50302005
	Bending Iron, Right
	W: 5.6

	7
	B50302006
	Bending Iron, Left
	W: 5.6

	8
	B50302007
	Bending Iron, Right
	W: 5.6

	9
	B50302008
	Wrench
	d: 11

	10
	B50302009
	Screwdriver
	T27, Stardrive

	11
	B50302010
	T27 Nuts Screwdriver, Pre-screwing
	d: 5.1

	12
	B50302015
	Counter Torque
	B: 5.7

	13
	B50308012
	Rod Holding Forceps
	d: 2.0～8.0

	14
	B50302013
	Beale Rod Reducer
	d: 19

	15
	B50302011
	Uspine Ⅱ Posterior Thoracolumbar Screw-Rod System (Deformity) Instrument Case
	N/A

	16
	B50302014
	Uspine Ⅱ Posterior Thoracolumbar Screw-Rod System (Deformity) Instrument Set
	N/A

	
	Optional
	
	

	17
	B50302012
	Rod Holder Forceps
	d: 4.0～8.0

	
	
	
	

	

	(7) Ospine胸腰椎后路手术器械包 (Ospine Posterior Thoracolumbar Screw-Rod System Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B50301001
	In-Line Round Awl
	B: 2.6

	2
	B50301002
	Dual End Probe
	d: 2.1

	3
	B50301003
	Sounding/Feeler Probe
	d: 2.1

	4
	B50308009
	Thoracic Ball Handle Probe, Straight
	W: 2～4

	5
	B50399008
	Lumbar Ball Handle Probe, Straight
	W: 2～5

	6
	B50399005
	Quick Connect Straight Handle, Ratchet
	B: 6.35

	7
	B50301007
	Pedicle Marker, Spherical
	d: 2.5

	8
	B50301008
	Pedicle Marker, Cylindrical
	d: 2.5

	9
	B50301009
	Holder for Marker
	d: 3.0

	10
	B50301010
	Tap, 5.0mm dia.
	d: 4.8

	11
	B50301011
	Tap, 5.5mm dia.
	d: 5.3

	12
	B50301012
	Tap, 6.0mm dia.
	d: 5.8

	13
	B50301013
	Tap, 6.5mm dia.
	d: 6.3

	14
	B50303022
	Screwdriver, for Monoaxial Pedicle Screws
	W: 5.7

	15
	B50303023
	Screwdriver, for Multiaxial Pedicle Screws
	W: 5.7

	16
	B50303024
	Screwdriver, for Monoaxial Reduction Pedicle Screws
	W: 5.7

	17
	B50303025
	Screwdriver, for Multiaxial Reduction Pedicle Screws
	W: 5.7

	18
	B50301018
	Rod Template, 5.5mm dia.
	d: 5.5

	19
	B50307019
	Rod Bender
	d: 4.5～6.5

	20
	B50309001
	Rod Holding Forceps, 6.0mm dia.
	d: 4.0～8.0

	21
	B50300058
	Rod Pusher, 6.0mm dia.
	W: 6.2

	22
	B50300018
	Rod Holder, 3.0～6.0mm dia.
	d: 3.0～6.0

	23
	B50301020
	Forceps Rocker, 5.5mm dia.
	W: 9.5～15

	24
	B50303009
	Reduction Forceps, with Pistol Grip, Ospine
	d: 18.3

	25
	B50308010
	Curved Compressor
	L: 285

	26
	B50308011
	Curved Distractor
	L: 265

	27
	B50303010
	T27 Nuts Screwdriver, Pre-screwing
	d: 5.1

	28
	B50303011
	Counter Torque
	B: 6.4

	29
	B50301027
	T27 Shaft
	T27, Stardrive

	30
	B50301053
	Torque-Limiting Driver, 10N•m
	B: 6.35

	31
	B50300023
	Rod Rotation Wrench
	d: 5

	32
	B50303012
	Reduction Screw Tab Breaker
	B: 14

	33
	B50306031
	Nuts Screwdriver, Pre-screwing
	B: 7

	34
	B50306045
	T30 Shaft Driver, Final Tightening
	d: 8.8

	35
	B50301031
	3.5mm Hex. Screwdriver Shaft, Square Connector
	B: 3.5

	36
	B50303013
	Ospine Posterior Thoracolumbar Screw-Rod System Instrument Case 
	N/A

	37
	B50303014
	Ospine Posterior Thoracolumbar Screw-Rod System Instrument Set
	N/A

	
	Optional
	
	

	38
	B50303005
	Screwdriver, for Multiaxial Pedicle Screws, T-handle
	W: 5.7

	39
	B50303006
	Screwdriver, for Monoaxial Pedicle Screws, T-handle
	W: 5.7

	40
	B50303007
	Screwdriver, for Multiaxial Reduction Pedicle Screws, T-handle
	W: 5.7

	41
	B50303008
	Screwdriver, for Monoaxial Reduction Pedicle Screws, T-handle
	W: 5.7

	42
	B50300047
	Rod Cutter
	d: 5.0; 5.75; 6.25

	43
	B50301028
	Torque-Limiting Driver
	B: 6.35

	44
	B50303026
	Screwdriver, for Monoaxial Pedicle Screws
	W: 5.7

	45
	B50303027
	Screwdriver, for Multiaxial Pedicle Screws
	W: 5.7

	46
	B50303028
	Screwdriver, for Monoaxial Reduction Pedicle Screws
	W: 5.7

	47
	B50303029
	Screwdriver, for Multiaxial Reduction Pedicle Screws
	W: 5.7

	48
	B50303001
	Screwdriver, for Multiaxial Pedicle Screws
	W: 5.7

	49
	B50303002
	Screwdriver, for Monoaxial Pedicle Screws
	W: 5.7

	50
	B50303003
	Screwdriver, for Multiaxial Reduction Pedicle Screws
	W: 5.7

	51
	B50303004
	Screwdriver, for Monoaxial Reduction Pedicle Screws
	W: 5.7

	52
	B50301005
	Thoracic Ball Handle Probe, Straight
	W: 2～4

	53
	B50301004
	Lumbar Ball Handle Probe, Straight
	W: 2～5

	54
	B50301006
	Quick Connect Straight Handle
	B: 6.35

	55
	B50300016
	Rod Bender, 6.0mm dia.
	d: 4.5～6.5

	56
	B50300017
	Rod Holding Forceps, 6.0mm dia.
	d: 4.0～8.0

	57
	B50301022
	Parallel Compressor, Medium
	W: 20～60

	58
	B50301023
	Parallel Distractor
	W: 0～44

	
	
	
	

	(8) Uspine Ⅲ (空心)胸腰椎后路手术 (Uspine Ⅲ Minimally Invasive Spinal System Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B50307001
	Positioning Slice
	T: 1.5

	2
	B50307002
	Puncturer
	D: 3.3

	3
	B50307003
	Guide Wire, 1.4mm dia.
	D: 1.4

	4
	B50307004
	Hammer
	L: 210

	5
	B50307005
	Dilator I
	D: 7.0

	6
	B50307006
	Dilator II
	D: 13.4

	7
	B50307007
	Dilator III
	D: 15.5

	8
	B50307008
	Hollow Awl
	D: 3.3

	9
	B50307009
	Reamer
	D: 7.0

	10
	B50399005
	Quick Connect Straight Handle，Ratchet
	B: 6.35

	11
	B50307011
	Tap, 5.0mm dia.
	D: 5.0

	12
	B50307012
	Tap, 5.5mm dia.
	D: 5.5

	13
	B50307013
	Tap, 6.0mm dia.
	D: 6.0

	14
	B50307014
	Tap, 6.5mm dia.
	D: 6.5

	15
	B50307016
	Screwdriver, for Monoaxial and Multiaxial Pedicle Screws
	D: 8.8

	16
	B50307017
	Adjusting Screwdriver
	D: 9.3

	17
	B50307018
	Rod Measuring device
	D: 7.5

	18
	B50307019
	Rod Bender
	d: 4.5～6.5

	19
	B50307020
	Rod Holder Ⅰ
	D: 6

	20
	B50307021
	Rod Holder Ⅱ
	D: 6

	21
	B50307022
	Rod Holder Bolt
	D: 5.5

	22
	B50307023
	Rod Holder Screwdriver
	D: 8.8

	23
	B50307024
	Nuts Screwdriver, Pre-screwing
	D: 8.8

	24
	B50307025
	Hinged Retractor Frame
	D: 16

	25
	B50307026
	Retractor Sleeve
	D: 14

	26
	B50307036
	Retractor Extend Sleeve
	D: 16

	27
	B50307034
	Vertebral Distractor
	B: 5.7

	28
	B50307035
	Vertebral Compressor
	B: 5.7

	29
	B50307028
	Shaft Driver, Final Fastening (Long)
	D: 8.8

	30
	B50307029
	Shaft Driver, Final Fastening
	D: 8.8

	31
	B50301053
	Torque-Limiting Driver, 10N•m
	D: 6.35

	32
	B50307030
	Counter Torque
	L: 130

	33
	B50307031
	Break-off Wrench
	W: 14

	34
	B50401008
	T-handle, Square Connector
	B: 6.35

	35
	B50307032
	Uspine Ⅲ Minimally Invasive Spinal System Instrument Set Case
	N/A

	36
	B50307033
	Uspine Ⅲ Minimally Invasive Spinal System Instrument Set
	N/A

	
	Optional
	
	

	37
	B50307010
	Tap, 4.5mm dia.
	D: 4.5

	38
	B50307015
	Tap, 7.0mm dia.
	D: 7.0

	
	
	
	

	(9) Uspine Ⅲ Midline标准手术 (MIDLINE-LBE™ Cortical Bone Fixation System Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B50306001
	Speculum
	W: 0～34

	2
	B50306002
	Midline Blade Left 7cm
	L: 73.5

	3
	B50306003
	Midline Blade Left 8cm
	L: 83.5

	4
	B50306006
	Midline Blade Right 7cm
	L: 73.5

	5
	B50306007
	Midline Blade Right 8cm
	L: 83.5

	6
	B50306010
	Weitlaner Retractor
	W: 0～40

	7
	B50306011
	Retractor
	W: 0～40

	8
	B50306012
	In-Line Round Awl
	W: 2～5

	9
	B50306013
	2.4mm Drill Bit
	d: 2.4

	10
	B50306037
	Drill Guider
	d: 6

	11
	B50306038
	Depth Adjuster
	D: 10.6

	12
	B50306014
	Quick Connect Handle
	d: 4

	13
	B50306015
	Dual Ended Feeler Probe
	d: 2.1

	14
	B50306016
	Lumbar Ball Handle Probe, Straight
	W: 2.5

	15
	B50306017
	Quick Connect Ratch Handle
	B: 6.35

	16
	B50401008
	T-handle, Square Connector
	B: 6.35

	17
	B50306019
	Pedicle Marker, Spherical
	d: 2.5

	18
	B50306020
	Pedicle Marker, Cylindrical 
	d: 2.5

	19
	B50306021
	Holder, for Pedicle Marker
	d: 3.0

	20
	B50306022
	Midline Tap 4.0mm
	d: 3.8

	21
	B50306023
	Midline Tap 4.5mm
	d: 4.3

	22
	B50306024
	Midline Tap 5.0mm
	d: 4.8

	23
	B50306025
	Midline Tap 5.5mm
	d: 5.3

	24
	B50306039
	Screwdriver, for Multiaxial Pedicle Screws
	B: 3.5

	25
	B50306028
	Rod Bender
	d: 4.5～6.5

	26
	B50306029
	Rod Holder
	d: 3.0～6.0

	27
	B50306030
	Curved Compressor
	W: 10～60

	28
	B50306031
	Nuts Screwdriver, Pre-screwing
	B: 7

	29
	B50306032
	Counter Torque
	B: 17

	30
	B50306045
	T30 Shaft Driver, Final Tightening
	B: 8

	31
	B50301053
	Torque-Limiting Driver, 10N•m
	B: 6.35

	32
	B50306035
	MIDLINE-LBE™ Cortical Bone Fixation System Instrument Case
	N/A

	33
	B50306036
	MIDLINE-LBE™ Cortical Bone Fixation System Instrument Set
	N/A

	
	Optional
	
	

	34
	B50306004
	Midline Blade Left 9cm
	L: 93.5

	35
	B50306005
	Midline Blade Left 10cm
	L: 103.5

	36
	B50306008
	Midline Blade Right 9cm
	L: 93.5

	37
	B50306009
	Midline Blade Right 10cm
	L: 103.5

	
	
	
	

	(10) Uspine Ⅲ 胸腰椎后路手术器械包 (Uspine Ⅲ Posterior Thoracolumbar Screw-Rod System Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B50301001
	In-Line Round Awl
	B: 2.6

	2
	B50301002
	Dual End Probe
	d: 2.1

	3
	B50301003
	Sounding/Feeler Probe
	d: 2.1

	4
	B50308009
	Thoracic Ball Handle Probe, Straight
	W: 2～4

	5
	B50399008
	Lumbar Ball Handle Probe, Straight
	W: 2～5

	6
	B50399009
	Lumbar Ball Handle Probe, Curved
	W: 2～5

	7
	B50399005
	Quick Connect Straight Handle, Ratchet
	B: 6.35

	8
	B50401008
	T-handle, Square Connector
	B: 6.35

	9
	B50301007
	Pedicle Marker, Spherical
	d: 2.5

	10
	B50301008
	Pedicle Marker, Cylindrical
	d: 2.5

	11
	B50301009
	Holder for marker
	d: 3.0

	12
	B50308003
	Tap, 5.0mm dia.
	d: 4.8

	13
	B50308004
	Tap, 5.5mm dia.
	d: 5.3

	14
	B50308005
	Tap, 6.0mm dia.
	d: 5.8

	15
	B50308006
	Tap, 6.5mm dia.
	d: 6.3

	16
	B50308007
	Screwdriver, for Monoaxial and Multiaxial Pedicle Screws
	L: 269

	17
	B50301018
	Rod Template, 5.5mm dia.
	d: 5.5

	18
	B50307019
	Rod Bender
	d: 4.5～6.5

	19
	B50301019
	Rod Pusher, 5.5mm dia.
	W: 5.7

	20
	B50300018
	Rod Holder, 3.0～6.0mm dia.
	d: 3.0～6.0

	21
	B50301020
	Forceps Rocker, 5.5mm dia.
	W: 9.5～15

	22
	B50301021
	Reduction Forceps, with Pistol Grip, 5.5mm
	d: 18.3

	23
	B50308012
	Rod Holding Forceps
	d: 4.0～8.0

	24
	B50308010
	Curved Compressor
	L: 285

	25
	B50308011
	Curved Distractor
	L: 265

	26
	B50306031
	Nuts Screwdriver, Pre-screwing
	B: 7

	27
	B50301061
	Counter Torque
	B: 5.7

	28
	B50308008
	T30 Extended Quick Connect Shaft Driver
	T30, Stardrive

	29
	B50306045
	T30 Shaft Driver, Final Tightening
	d: 8.8

	30
	B50301029
	Rod Rotation Wrench
	d: 3.125

	31
	B50399006
	Reduction Screw Tab Breaker
	d: 14

	32
	B50301031
	3.5mm Hex. Screwdriver Shaft, Square Connector
	B: 3.5

	33
	B50308013
	Uspine Ⅲ Posterior Thoracolumbar Screw-Rod System Instrument Set Case
	N/A

	34
	B50308014
	Uspine Ⅲ Posterior Thoracolumbar Screw-Rod System Instrument Set
	N/A

	
	Optional
	
	

	35
	B50399010
	Straight Rod Pusher
	W: 6.2

	36
	B50308001
	Tap, 4.0mm dia.
	d: 3.8

	37
	B50308002
	Tap, 4.5mm dia.
	d: 4.5

	38
	B50301022
	Parallel Compressor, Medium
	W: 20～60

	39
	B50301023
	Parallel Distractor
	W: 0～44

	40
	B50302004
	Bending Iron, Left
	W: 5.6

	41
	B50302005
	Bending Iron, Right
	W: 5.6

	42
	B50302006
	Bending Iron, Left
	W: 5.6

	43
	B50302007
	Bending Iron, Right
	W: 5.6

	44
	B50300047
	Rod Cutter
	d: 5.0; 5.75; 6.25

	
	
	
	

	(11) CARGO颈椎前路CAGE手术器械包 (Cargo Cervical Cage Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B50400001
	Implant Inserter Ⅱ, Main Part
	M: 2.5

	2
	B50400002
	Implant Inserter Ⅱ
	B: 11

	3
	B50400003
	Implant Inserter, Adjustable
	B: 10

	4
	B50400004
	Trail Spacer, 5*12*14mm
	H: 5

	5
	B50400005
	Trail Spacer, 6*12*14mm
	H: 6

	6
	B50400006
	Trail Spacer, 7*12*14mm
	H: 7

	7
	B50400007
	Trail Spacer, 8*12*14mm
	H: 8

	8
	B50400008
	Trail Spacer, 9*12*14mm
	H: 9

	9
	B50400009
	Trail Spacer, 5*14*16mm
	H: 5

	10
	B50400010
	Trail Spacer, 6*14*16mm
	H: 6

	11
	B50400011
	Trail Spacer, 7*14*16mm
	H: 7

	12
	B50400012
	Trail Spacer, 8*14*16mm
	H: 8

	13
	B50400013
	Trail Spacer, 9*14*16mm
	H: 9

	14
	B50400014
	Packing Block, for Cargo
	L: 0～11.5

	15
	B50400016
	Protection Sleeve
	D: 8.3

	16
	B50400017
	Trocar, for Hollow Drill
	D: 6.4

	17
	B50400018
	Inner Stylet, for Hollow Drill
	D: 6

	18
	B50400019
	Awl
	d: 8.1

	19
	B50400015
	Implant Tray
	N/A

	20
	B50400020
	Cargo Cervical Cage Instrument Case
	N/A

	21
	B50400021
	Cargo Cervical Cage Instrument Set
	N/A

	
	
	
	

	(12) BULLET腰椎后路CAGE手术器械包 (Bullet Lumbar Cage Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B50403046
	Curved-tip Scraper, 7mm
	B: 7

	2
	B50403047
	Curved-tip Scraper, 9mm
	B: 9

	3
	B50403048
	Curved-tip Scraper, 11mm
	B: 11

	4
	B50403049
	Curved-tip Scraper, 13mm
	B: 13

	5
	B50403050
	Rotary scraper, 7mm
	B: 7

	6
	B50403051
	Rotary scraper, 9mm
	B: 9

	7
	B50403052
	Rotary scraper, 11mm
	B: 11

	8
	B50403053
	Rotary scraper, 13mm
	B: 13

	9
	B50401008
	T-handle, Square Connector
	B: 6.35

	10
	B50403039
	Dual-edge Distractor, 7mm
	B: 7

	11
	B59000045
	Dual-edge Distractor, 8mm
	B: 8

	12
	B59000046
	Dual-edge Distractor, 9mm
	B: 9

	13
	B59000047
	Dual-edge Distractor, 10mm
	B: 10

	14
	B59000048
	Dual-edge Distractor, 11mm
	B: 11

	15
	B59000049
	Dual-edge Distractor, 12mm
	B: 12

	16
	B59000050
	Dual-edge Distractor, 13mm
	B: 13

	17
	B50403054
	Straight Curette
	B: 5.5

	18
	B50403056
	Slide Hammer Ⅱ
	L: 190

	19
	B50401017
	Bone Graft Inserter
	B: 8

	20
	B50401018
	Bone Graft Cage
	W: 0～17.5

	21
	B50401019
	Implant Holder, Pistol Grip
	B: 6.1

	22
	B50401020
	Implant Holder, Straight
	B: 6.1

	23
	B50401021
	Cage Inserter
	D: 3

	24
	B50401022
	Trail Spacer, 8mm
	B: 8

	25
	B50401023
	Trail Spacer, 9mm
	B: 9

	26
	B50401024
	Trail Spacer, 10mm
	B: 10

	27
	B50401025
	Trail Spacer, 11mm
	B: 11

	28
	B50401026
	Trail Spacer, 12mm
	B: 12

	29
	B50401027
	Trail Spacer, 13mm
	B: 13

	30
	B50401029
	Implant Sterilizing Tray
	N/A

	31
	B50401030
	Bullet Lumbar Cage Instrument Case
	N/A

	32
	B50401031
	Bullet Lumbar Cage Instrument Set
	N/A

	
	Optional
	
	

	33
	B50401009
	Curved-tip Scraper, Large
	B: 7.9

	34
	B50401010
	Curved-tip Scraper, Medium
	B: 7.9

	35
	B50401011
	Curved-tip Scraper, Small
	B: 7

	36
	B50401012
	Rotary scraper, Large
	d: 10.6

	37
	B50401013
	Rotary scraper, Medium
	d: 9.6

	38
	B50401014
	Rotary scraper, Small
	d: 6

	39
	B50401001
	Distractor, 7mm
	d: 7

	40
	B50401002
	Distractor, 8mm
	d: 8

	41
	B50401003
	Distractor, 9mm
	d: 9

	42
	B50401004
	Distractor, 10mm
	d: 10

	43
	B50401005
	Distractor, 11mm
	d: 11

	44
	B50401006
	Distractor, 12mm
	d: 12

	45
	B50401007
	Distractor, 13mm
	d: 13

	46
	B50401039
	Trail Spacer, 14mm
	B: 14

	47
	B50401038
	Trail Spacer, 15mm
	B: 15

	48
	B50401015
	Straight Curette, long
	B: 5.5

	49
	B50401016
	Slide Hammer
	L: 190

	
	
	
	

	(13) Banana胸腰椎CAGE手术器械包 (Banana Lumbar Cage Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B50403046
	Curved-tip Scraper, 7mm
	B: 7

	2
	B50403047
	Curved-tip Scraper, 9mm
	B: 9

	3
	B50403048
	Curved-tip Scraper, 11mm
	B: 11

	4
	B50403049
	Curved-tip Scraper, 13mm
	B: 13

	5
	B50403050
	Rotary scraper, 7mm
	B: 7

	6
	B50403051
	Rotary scraper, 9mm
	B: 9

	7
	B50403052
	Rotary scraper, 11mm
	B: 11

	8
	B50403053
	Rotary scraper, 13mm
	B: 13

	9
	B50403054
	Straight Curette
	B: 5.5

	10
	B50403055
	Curved Curette
	B: 5.5

	11
	B50403039
	Dual-edge Distractor, 7mm
	B: 7

	12
	B59000045
	Dual-edge Distractor, 8mm
	B: 8

	13
	B59000046
	Dual-edge Distractor, 9mm
	B: 9

	14
	B59000047
	Dual-edge Distractor, 10mm
	B: 10

	15
	B59000048
	Dual-edge Distractor, 11mm
	B: 11

	16
	B59000049
	Dual-edge Distractor, 12mm
	B: 12

	17
	B59000050
	Dual-edge Distractor, 13mm
	B: 13

	18
	B50403040
	Dual-edge Distractor, 14mm
	B: 14

	19
	B50403041
	Dual-edge Distractor, 15mm
	B: 15

	20
	B50401008
	T-handle, Square Connector
	B: 6.35

	21
	B50403002
	Trail Spacer, 7mm
	H: 7

	22
	B50403003
	Trail Spacer, 8mm
	H: 8

	23
	B50403004
	Trail Spacer, 9mm
	H: 9

	24
	B50403005
	Trail Spacer, 10mm
	H: 10

	25
	B50403006
	Trail Spacer, 11mm
	H: 11

	26
	B50403007
	Trail Spacer, 12mm
	H: 12

	27
	B50403008
	Trail Spacer, 13mm
	H: 13

	28
	B50403009
	Trail Spacer, 14mm
	H: 14

	29
	B50403010
	Trail Spacer, 15mm
	H: 15

	30
	B50403067
	Bone Graft Inserter
	B: 6

	31
	B50401018
	Bone Graft Cage
	L: 0～17.5

	32
	B50403029
	Implant Holder, Straight
	B: 12

	33
	B50403030
	Implant Holder, Pistol Grip
	B: 12

	34
	B50403031
	Straight Tamp
	B: 8

	35
	B50403032
	Angled Tamp
	B: 8

	36
	B50403056
	Slide Hammer Ⅱ
	L: 190

	37
	B50403033
	Hammer
	H: 50

	38
	B50403065
	6mm Bone Graft Funnel (Long)
	d: 6

	39
	B50403066
	6mm Bone Graft Bar
	d: 6

	40
	B50403042
	Implant Sterilizing Tray
	N/A

	41
	B50403043
	Banana Lumbar Cage Instrument Case
	N/A

	42
	B50403044
	Banana Lumbar Cage Instrument Set
	N/A

	
	Optional
	
	

	43
	B50403057
	Curved-tip Scraper, 8mm
	B: 8

	44
	B50403058
	Curved-tip Scraper, 10mm
	B: 10

	45
	B50403059
	Curved-tip Scraper, 12mm
	B: 12

	46
	B50403060
	Curved-tip Scraper, 14mm
	B: 14

	47
	B50403061
	Rotary scraper, 8mm
	B: 8

	48
	B50403062
	Rotary scraper, 10mm
	B: 10

	49
	B50403063
	Rotary scraper, 12mm
	B: 12

	50
	B50403064
	Rotary scraper, 14mm
	B: 14

	
	
	
	

	(14) Otwins腰椎CAGE手术器械包 (Otwins Lumbar Cage Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B50403046
	Curved-tip Scraper, 7mm
	B: 7

	2
	B50403047
	Curved-tip Scraper, 9mm
	B: 9

	3
	B50403048
	Curved-tip Scraper, 11mm
	B: 11

	4
	B50403049
	Curved-tip Scraper, 13mm
	B: 13

	5
	B50403050
	Rotary scraper, 7mm
	B: 7

	6
	B50403051
	Rotary scraper, 9mm
	B: 9

	7
	B50403052
	Rotary scraper, 11mm
	B: 11

	8
	B50403053
	Rotary scraper, 13mm
	B: 13

	9
	B50403054
	Straight Curette
	B: 5.5

	10
	B50403055
	Curved Curette
	B: 5.5

	11
	B59000045
	Dual-edge Distractor, 8mm
	B: 8

	12
	B59000046
	Dual-edge Distractor, 9mm
	B: 9

	13
	B59000047
	Dual-edge Distractor, 10mm
	B: 10

	14
	B59000048
	Dual-edge Distractor, 11mm
	B: 11

	15
	B59000049
	Dual-edge Distractor, 12mm
	B: 12

	16
	B59000050
	Dual-edge Distractor, 13mm
	B: 13

	17
	B50403040
	Dual-edge Distractor, 14mm
	B: 14

	18
	B50401008
	T-handle, Square Connector
	B: 6.35

	19
	B50405001
	Trail Spacer, 8*23
	B: 8

	20
	B50405002
	Trail Spacer, 8*26
	B: 8

	21
	B50405003
	Trail Spacer, 9*23
	B: 9

	22
	B50405004
	Trail Spacer, 9*26
	B: 9

	23
	B50405005
	Trail Spacer, 10*23
	B: 10

	24
	B50405006
	Trail Spacer, 10*26
	B: 10

	25
	B50405007
	Trail Spacer, 11*23
	B: 11

	26
	B50405008
	Trail Spacer, 11*26
	B: 11

	27
	B50405009
	Trail Spacer, 12*23
	B: 12

	28
	B50405010
	Trail Spacer, 12*26
	B: 12

	29
	B50405011
	Trail Spacer, 13*23
	B: 13

	30
	B50405012
	Trail Spacer, 13*26
	B: 13

	31
	B50405013
	Trail Spacer, 14*23
	B: 14

	32
	B50405014
	Trail Spacer, 14*26
	B: 14

	33
	B50401017
	Bone Graft Inserter
	B: 8

	34
	B50401018
	Bone Graft Cage
	L: 0～17.5

	35
	B50405015
	Implant Holder, Pistol Grip
	B: 9

	36
	B50402024
	Cage Inserter
	D: 2

	37
	B50403056
	Slide Hammer Ⅱ
	L: 190

	38
	B50403065
	6mm Bone Graft Funnel (Long)
	d: 6

	39
	B50403066
	6mm Bone Graft Bar
	d: 6

	40
	B50405019
	Implant Sterilizing Tray
	N/A

	41
	B50405020
	Otwins Lumbar Cage Instrument Case
	N/A

	42
	B50405021
	Otwins Lumbar Cage Instrument Set
	N/A

	
	Optional
	
	

	43
	B50403057
	Curved-tip Scraper, 8mm
	B: 8

	44
	B50403058
	Curved-tip Scraper, 10mm
	B: 10

	45
	B50403059
	Curved-tip Scraper, 12mm
	B: 12

	46
	B50403061
	Rotary scraper, 8mm
	B: 8

	47
	B50403062
	Rotary scraper, 10mm
	B: 10

	48
	B50403063
	Rotary scraper, 12mm
	B: 12

	49
	B50405017
	8mm Bone Graft Funnel
	d: 8

	50
	B50405018
	8mm Bone Graft Bar
	d: 8

	
	
	
	

	(15) 钛网手术器械 (Titanium Mesh Instruments)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B50500006
	Bone Graft Inserter
	d: 7.0

	2
	B50500001
	Cutter for Titanium Mesh
	W: 0-20

	3
	B50500009
	Holder for Titanium Mesh
	W: 5-15

	4
	B50500004
	Lumbar Titanium Mesh Inserter
	W: 13.5

	5
	B50500003
	Cervical Titanium Mesh Inserter
	W: 10

	6
	B50500005
	Bone Graft Cage
	D: 10.5; 13.5; 16.5; 19.5; 21.5; 25.5

	7
	B50500010
	Cutter for Titanium Mesh, Small
	L: 170

	
	
	
	

	(16) ROTA胸腰椎后路矫形手术器械包 (ROTA Vertebral Column Manipulation Instrument Set)

	序号
No.
	产品编号Product No.
	产品描述
Product Description
	关键尺寸
Key Size

	1
	B50305001
	Derotation sleeve
	L: 250

	2
	B50305002
	Derotator Implant Holder
	W: 9.7

	3
	B50305003
	Derotator Bridge, Small, 130mm
	L: 130

	4
	B50305004
	Derotator Bridge, Medium, 180mm
	L: 180

	5
	B50305005
	Derotator Bridge, Large, 230mm
	L: 230

	6
	B50305006
	Derotator Interlink
	D: 13

	7
	B50305007
	Derotator Bridge Handle
	B: 7.0

	8
	B50305008
	Derotator Inline Handle
	SR: 6.5

	9
	B50305009
	Derotator Bridge Nut
	B: 7.0

	10
	B50305010
	Hex Driver
	B: 7.0

	11
	B50305011
	ROTA Vertebral Column Manipulation Instrument Case
	N/A

	12
	B50305012
	ROTA Vertebral Column Manipulation Instrument Set
	N/A
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