| Cat No. | Product Name | Specification | Material |
| --- | --- | --- | --- |
| CT -ZLXGJ -HW | Tumor Knee Joint Instrument |  |  |
| Cat No. | Product Name | Specification | Material |
| G11102 | Distal Femoral Template |  | Stainless Steel |
| G11103 | Proximal Tibial Template |  | Stainless Steel |
| G11104 | Calcar Planer |  | Stainless Steel |
| G20105 | Hammer |  | Stainless Steel |
| G11107 | Canal Drill | φ11 | Stainless Steel |
| G11108 | Canal Drill | φ13 | Stainless Steel |
| G11109 | Canal Drill | φ15 | Stainless Steel |
| G11110 | Canal Drill | φ17 | Stainless Steel |
| G11111 | Canal Drill | φ19 | Stainless Steel |
| G11112 | Facing Reamer | φ11 | Stainless Steel |
| G11113 | Facing Reamer | φ13 | Stainless Steel |
| G11114 | Facing Reamer | φ15 | Stainless Steel |
| G11115 | Facing Reamer | φ17 | Stainless Steel |
| G11116 | Facing Reamer | φ19 | Stainless Steel |
| G11117 | Impaction Tube |  | Stainless Steel&POM |
| G11118 | Impactor |  | Stainless Steel&POM |
| G11119 | Joint Separator |  | Stainless Steel |
| G11120 | Angle Adjuster |  | Stainless Steel |
| G11122 | Trial of Extension Stem Type I | 30 | Stainless Steel |
| G11123 | Trial of Extension Stem Type I | 40 | Stainless Steel |
| G11124 | Trial of Extension Stem Type I | 50 | Stainless Steel |
| G11125 | Trial of Extension Stem Type I | 60 | Stainless Steel |
| G11126 | Trial of Extension Stem Type I | 70 | Stainless Steel |
| G11127 | Trial of Extension Stem Type I | 80 | Stainless Steel |
| G11128 | Trial of Extension Stem Type I | 90 | Stainless Steel |
| G11129 | Trial of Extension Stem Type I | 100 | Stainless Steel |
| G11130 | Trial of Extension Stem Type II | φ9×102 | Stainless Steel |
| G11131 | Trial of Extension Stem Type II | φ11×127 | Stainless Steel |
| G11132 | Trial of Extension Stem Type II | φ13×127 | Stainless Steel |
| G11133 | Trial of Extension Stem Type II | φ15×127 | Stainless Steel |
| G11134 | Trial of Extension Stem Type II | φ17×127 | Stainless Steel |
| G11135 | Trial of Extension Stem Type III | 4#/φ9×102×10 | Stainless Steel |
| G11136 | Trial of Extension Stem Type III | 7#/φ11×102×10 | Stainless Steel |
| G11137 | Trial of Extension Stem Type III | 10#/φ11×127×10 | Stainless Steel |
| G11138 | Trial of Extension Stem Type III | 13#/φ13×127×10 | Stainless Steel |
| G11139 | Trial of Extension Stem Type III | 16#/φ15×127×10 | Stainless Steel |
| G11140 | Trial of Extension Stem Type III | 19#/φ17×127×10 | Stainless Steel |
| G11142 | Tibial Tray Trial（ Overall Reconstructed AS Type) | 1#80 | Stainless Steel |
| G11146 | Tibial Tray Trial（ Overall Reconstructed AS Type) | 3#80 | Stainless Steel |
| G11157 | Femoral Condylar Trial（Overall Reconstructed OS Type) | 1#L | Stainless Steel |
| G11162 | Femoral Condylar Trial（Overall Reconstructed OS Type) | 1#R | Stainless Steel |
| G11169 | Hinge Post Trial OSIII Type |  | Stainless Steel |
| G11165 | POM Plug | Small | Stainless Steel |
| G11166 | POM Plug | Big | Stainless Steel |
| G11167 | Guiding Rod | Small | Stainless Steel |
| G11168 | Guiding Rod | Big | Stainless Steel |
| ZLXGJ-HW-1 | Instrument Box |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| CT-A2-HW | Instruments List for JPX Total Knee System |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| G10108 | Femoral Sizing Guide Handle |  | Stainless Steel |
| 8003-II | Femoral Sizing Guide |  | Stainless Steel&Silicone |
| 8004-II-1# | 4-in- 1 Femoral Resection Block | 1# | Stainless Steel |
| 8004-II-2# | 4-in- 1 Femoral Resection Block | 2# | Stainless Steel |
| 8004-II-2.5# | 4-in- 1 Femoral Resection Block | 2.5# | Stainless Steel |
| 8004-II-3# | 4-in- 1 Femoral Resection Block | 3# | Stainless Steel |
| 8004-II-3.5# | 4-in- 1 Femoral Resection Block | 3.5# | Stainless Steel |
| 8004-II-4# | 4-in- 1 Femoral Resection Block | 4# | Stainless Steel |
| 8004-II-5# | 4-in- 1 Femoral Resection Block | 5# | Stainless Steel |
| 8004-II-6# | 4-in- 1 Femoral Resection Block | 6# | Stainless Steel |
| 8016 | Femoral Condyle Cutting Block Adjuster |  | Stainless Steel |
| G10144 | Femur Retractor |  | Stainless Steel |
| 8009-1L | Femoral Trial | 1# | Stainless Steel |
| 8009-2L | Femoral Trial | 2# | Stainless Steel |
| 8009-2.5L | Femoral Trial | 2.5# | Stainless Steel |
| 8009-3L | Femoral Trial | 3# | Stainless Steel |
| 8009-3.5L | Femoral Trial | 3.5# | Stainless Steel |
| 8009-4L | Femoral Trial | 4# | Stainless Steel |
| 8009-5L | Femoral Trial | 5# | Stainless Steel |
| 8009-6L | Femoral Trial | 6# | Stainless Steel |
| 8009-1R | Femoral Trial | 1# | Stainless Steel |
| 8009-2R | Femoral Trial | 2# | Stainless Steel |
| 8009-2.5R | Femoral Trial | 2.5# | Stainless Steel |
| 8009-3R | Femoral Trial | 3# | Stainless Steel |
| 8009-3.5R | Femoral Trial | 3.5# | Stainless Steel |
| 8009-4R | Femoral Trial | 4# | Stainless Steel |
| 8009-5R | Femoral Trial | 5# | Stainless Steel |
| 8009-6R | Femoral Trial | 6# | Stainless Steel |
| 6866-II | Femoral Condyle Extractor |  | Stainless Steel&POM |
| HW015 | Instrument Box |  | Aluminium&PPSU |
| 8102-1# | Tibial Tray Trial | 1+# | Stainless Steel |
| 8102-1+# | Tibial Tray Trial | 2# | Stainless Steel |
| 8102-2# | Tibial Tray Trial | 2+# | Stainless Steel |
| 8102-2+# | Tibial Tray Trial | 3# | Stainless Steel |
| 8102-3# | Tibial Tray Trial | 3+# | Stainless Steel |
| 8102-3+# | Tibial Tray Trial | 4# | Stainless Steel |
| 8102-4# | Tibial Tray Trial | 10mm | Stainless Steel |
| 8107-1#10mm | Insert Trial 1# | 12mm | POM |
| 8107-1#12mm | Insert Trial 1# | 15mm | POM |
| 8107-1#15mm | Insert Trial 1# | 8mm | POM |
| 8107-1#8mm | Insert Trial 1# | 10mm | POM |
| 8108-2#10mm | Insert Trial 2# | 12mm | POM |
| 8108-2#12mm | Insert Trial 2# | 15mm | POM |
| 8108-2#15mm | Insert Trial 2# | 8mm | POM |
| 8108-2#8mm | Insert Trial 2# | 10mm | POM |
| 8109-3#10mm | Insert Trial 3# | 12mm | POM |
| 8109-3#12mm | Insert Trial 3# | 15mm | POM |
| 8109-3#15mm | Insert Trial 3# | 8mm | POM |
| 8109-3#8mm | Insert Trial 3# | 10mm | POM |
| 8110-4#10mm | Insert Trial 4# | 12mm | POM |
| 8110-4#12mm | Insert Trial 4# | 15mm | POM |
| 8110-4#15mm | Insert Trial 4# | 8mm | POM |
| 8110-4#8mm | Insert Trial 4# |  | POM |
| 8110-T | Insert Column Trial |  | POM |
| 8111 | Tibial Tray Holder |  | Stainless Steel |
| 8106 | Tibial Punching Device | 1-2 | Stainless Steel |
| 8105 | Tibial Drill |  | Stainless Steel |
| 8104 | Drill Guide |  | Stainless Steel |
| 8103 | Tibial Trial Handle |  | Stainless Steel |
| 6863 | Tibial Tray Pin |  | Stainless Steel |
| 8006-II-21.5 | Femoral Intercondyle Drill | φ21.5 | Stainless Steel |
| 8006-II-8 | Femoral Intercondyle Drill | φ8 | Stainless Steel |
| 8005-II-1#-3.5# | Femoral Intercondyle Cutting Block 1#-3.5# |  | Stainless Steel |
| 8005-II-4#-6# | Femoral Intercondyle Cutting Block 4#-6# |  | Stainless Steel |
| 8005-II-5 | Femoral Intercondylar Drill Tower | φ8 | Stainless Steel |
| 8005-II-1 | Femoral Intercondylar Drill Tower | φ21.5 | Stainless Steel |
| 6864 | 30° Bone Knife |  | Stainless Steel |
| 6850 | Tibial Tray Impactor |  | Stainless Steel |
| 8117 | Retractor |  | Stainless Steel |
| HW016 | Instrument Box |  | Aluminium&PPSU |
| 8201 | Patella Sizer |  | Stainless Steel |
| 8203 | Patella Trial（medium） | M | POM |
| 8204 | Patella Trial （ small） | S | POM |
| JPX-BOX | Instrument Box |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| CT-A3+-HW | Instrument List for A3+ Total Knee System |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| G10428-A3+ | Femur Retractor |  | Stainless Steel&Silicone |
| G10109-1#-A3+ | 4-in-1 Femoral Resection Block | 1# | Stainless Steel |
| G10109-1.5#-A3+ | 4-in-1 Femoral Resection Block | 1.5# | Stainless Steel |
| G10109-2#-A3+ | 4-in-1 Femoral Resection Block | 2# | Stainless Steel |
| G10109-2.5#-A3+ | 4-in-1 Femoral Resection Block | 2.5# | Stainless Steel |
| G10109-3#-A3+ | 4-in-1 Femoral Resection Block | 3# | Stainless Steel |
| G10109-3.5#-A3+ | 4-in-1 Femoral Resection Block | 3.5# | Stainless Steel |
| G10109-4#-A3+ | 4-in-1 Femoral Resection Block | 4# | Stainless Steel |
| G10109-5#-A3+ | 4-in-1 Femoral Resection Block | 5# | Stainless Steel |
| G10109-6#-A3+ | 4-in-1 Femoral Resection Block | 6# | Stainless Steel |
| G10111-S1#-3#-A3+ | Femoral Intercondylar Drill Tower | S1#-3# | Stainless Steel |
| G10111-3.5#-7#-A3+ | Femoral Intercondylar Drill Tower | 3.5#-7# | Stainless Steel |
| G10113-A3+ | Intercondylar Bone Knife |  | Stainless Steel |
| 6870-II-A3+ | Pin Holder |  | Stainless Steel |
| G10109-J-A3+ | 4-in-1 Femoral Resection Block Connector |  | Stainless Steel |
| G10102-III-A3+ | Distal Femoral Align Guide |  | Stainless Steel |
| G10711-A3+ | Magnetic Distal Femoral Alignment Guide Connector |  | Stainless Steel |
| G10701-A3+ | Distal Femoral Cutting Block |  | Stainless Steel |
| G10405-A3+ | Femoral Sizing Guide |  | Stainless Steel&Silicone |
| G10431-A3+ | Pin |  | Stainless Steel |
| 8012-A3+ | Pin |  | Stainless Steel |
| 8013-II-A3+ | Pin Drill |  | Stainless Steel |
| G10147-A3+ | 30 Degree Bone Knife |  | Stainless Steel |
| 4741-A3+ | Curved Retractor |  | Stainless Steel |
| A3+-GG-1-HW | Instrument Box |  | Aluminium&PPSU |
| G10115-II-A3+ | Ankle Clamp |  | Stainless Steel |
| G10116-II-A3+ | Tibial Jig Sleeve |  | Stainless Steel |
| G10117-II-A3+ | Tibial Jig Uprod |  | Stainless Steel |
| G10118-II-R-A3+ | Tibial Cutting Block (R) | R | Stainless Steel |
| G10118-II-L-A3+ | Tibial Cutting Block (L) | L | Stainless Steel |
| G10119-II-A3+ | Tibial Stylus |  | Stainless Steel |
| G10132-A3+ | Locking Clip Impactor |  | Stainless Steel |
| 6844-II-L-A3+ | Extramedullary Alignment Rod | Long | Stainless Steel |
| 6844-II-S-A3+ | Extramedullary Alignment Rod | Short | Stainless Steel |
| G10426-B-A3+ | Thickness Measure Device |  | POM |
| G10143-A3+ | Tibial Alignment Rod Handle |  | Stainless Steel |
| G10124S#-A3+ | Tibial Tray Trial | S# | Stainless Steel |
| G10124A#-A3+ | Tibial Tray Trial | A# | Stainless Steel |
| G10124B#-A3+ | Tibial Tray Trial | B# | Stainless Steel |
| G10124B+#-A3+ | Tibial Tray Trial | B+# | Stainless Steel |
| G10124C#-A3+ | Tibial Tray Trial | C# | Stainless Steel |
| G10124C+#-A3+ | Tibial Tray Trial | C+# | Stainless Steel |
| G10124D#-A3+ | Tibial Tray Trial | D# | Stainless Steel |
| G10124D+#-A3+ | Tibial Tray Trial | D+# | Stainless Steel |
| G10124E#-A3+ | Tibial Tray Trial | E# | Stainless Steel |
| G10124F#-A3+ | Tibial Tray Trial | F# | Stainless Steel |
| G10124G#-A3+ | Tibial Tray Trial | G# | Stainless Steel |
| G10125-A3+ | Tibial Drill Guide |  | Stainless Steel |
| G10127L-A3+ | Tibial Punching Device | L | Stainless Steel |
| G10127M-A3+ | Tibial Punching Device | M | Stainless Steel |
| G10127S-A3+ | Tibial Punching Device | S | Stainless Steel |
| G10709-A3+ | Tibial Tray Impactor |  | POM&Stainless Steel |
| G10134-A3+ | Feeler Gauge (Big) | Big | Stainless Steel |
| G10135-A3+ | Feeler Gauge (Small) | Small | Stainless Steel |
| G10422-A3+ | Universal Handle |  | Stainless Steel&Silicone |
| G10142-A3+ | Slide Hammer |  | Stainless Steel |
| A3+-JG-2-HW | Instrument Box |  | Aluminium&PPSU |
| G10707-1#L-A3+ | Femoral Component Trial | 1#L | Stainless Steel |
| G10707-1#R-A3+ | Femoral Component Trial | 1#R | Stainless Steel |
| G10707-1.5#L-A3+ | Femoral Component Trial | 1.5#L | Stainless Steel |
| G10707-1.5#R-A3+ | Femoral Component Trial | 1.5#R | Stainless Steel |
| G10707-2#L-A3+ | Femoral Component Trial | 2#L | Stainless Steel |
| G10707-2#R-A3+ | Femoral Component Trial | 2#R | Stainless Steel |
| G10707-2.5#L-A3+ | Femoral Component Trial | 2.5#L | Stainless Steel |
| G10707-2.5#R-A3+ | Femoral Component Trial | 2.5#R | Stainless Steel |
| G10707-3#L-A3+ | Femoral Component Trial | 3#L | Stainless Steel |
| G10707-3#R-A3+ | Femoral Component Trial | 3#R | Stainless Steel |
| G10707-3.5#L-A3+ | Femoral Component Trial | 3.5#L | Stainless Steel |
| G10707-3.5#R-A3+ | Femoral Component Trial | 3.5#R | Stainless Steel |
| G10707-4#L-A3+ | Femoral Component Trial | 4#L | Stainless Steel |
| G10707-4#R-A3+ | Femoral Component Trial | 4#R | Stainless Steel |
| G10707-5#L-A3+ | Femoral Component Trial | 5#L | Stainless Steel |
| G10707-5#R-A3+ | Femoral Component Trial | 5#R | Stainless Steel |
| G10707-6#L-A3+ | Femoral Component Trial | 6#L | Stainless Steel |
| G10707-6#R-A3+ | Femoral Component Trial | 6#R | Stainless Steel |
| G10150-II-A3+ | Femoral Component Inserter/Extractor |  | Stainless Steel&POM |
| G10423-A3+ | Femoral component Impactor |  | Stainless Steel&POM |
| G10128-II-SA10mm | Tibial Insert Trial (SA) | SA10mm | POM |
| G10128-II-SA12mm | Tibial Insert Trial (SA) | SA12mm | POM |
| G10128-II-SA14mm | Tibial Insert Trial (SA) | SA14mm | POM |
| G10128-II-SA16mm | Tibial Insert Trial (SA) | SA16mm | POM |
| G10128-II-SA8mm | Tibial Insert Trial (SA) | SA8mm | POM |
| G10128-II-BC10mm | Tibial Insert Trial (BC) | BC10mm | POM |
| G10128-II-BC12mm | Tibial Insert Trial (BC) | BC12mm | POM |
| G10128-II-BC14mm | Tibial Insert Trial (BC) | BC14mm | POM |
| G10128-II-BC16mm | Tibial Insert Trial (BC) | BC16mm | POM |
| G10128-II-BC8mm | Tibial Insert Trial (BC) | BC8mm | POM |
| G10128-II-DE10mm | Tibial Insert Trial (DE) | DE10mm | POM |
| G10128-II-DE12mm | Tibial Insert Trial (DE) | DE12mm | POM |
| G10128-II-DE14mm | Tibial Insert Trial (DE) | DE14mm | POM |
| G10128-II-DE16mm | Tibial Insert Trial (DE) | DE16mm | POM |
| G10128-II-DE8mm | Tibial Insert Trial (DE) | DE8mm | POM |
| G10128-II-FG10mm | Tibial Insert Trial (FG) | FG10mm | POM |
| G10128-II-FG12mm | Tibial Insert Trial (FG) | FG12mm | POM |
| G10128-II-FG14mm | Tibial Insert Trial (FG) | FG14mm | POM |
| G10128-II-FG16mm | Tibial Insert Trial (FG) | FG16mm | POM |
| G10128-II-FG8mm | Tibial Insert Trial (FG) | FG8mm | POM |
| G10130-A3+ | Insert Trial Handle |  | Stainless Steel&POM |
| A3+-SM-3-HW | Instrument Box |  | Aluminium&PPSU |
| 8202-A3+ | Petella File |  | Stainless Steel |
| G10153-27-A3+ | Patella Sizer | φ27 | Stainless Steel |
| G10153-31-A3+ | Patella Sizer | φ31 | Stainless Steel |
| G10153-34-A3+ | Patella Sizer | φ34 | Stainless Steel |
| 6868-A3+ | Patella Caliper |  | Stainless Steel |
| G10152-27-A3+ | Patella Trial | φ27 | PPSU |
| G10152-31-A3+ | Patella Trial | φ31 | PPSU |
| G10152-34-A3+ | Patella Trial | φ34 | PPSU |
| 6898-A3+ | Patella Drill |  | Stainless Steel |
| 6894-A3+ | Patellar Nip |  | Stainless Steel |
| 6895-A3+ | Patellar Clamp |  | Stainless Steel |
| A3+-BG-4-Box-HW | Instrument Box |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| CT-A3GT-CR-HW | A3 GT CR Instrument |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| A3GT-CR-HW | Instrument Box |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| CT-A3GT-GJBG-HW | A3 GT International Version (Patella Side) |  | Aluminium |
| Cat No. | Product Name | Specification | Material |
| G10546-II | Patella wafer |  | Stainless Steel |
| G10548 | Patella lug drill |  | Stainless Steel |
| G10544 | Patella resection guide |  | Stainless Steel |
| G10547 | Patella clamp with drill guide |  | Stainless Steel |
| A3GTGJ-16-HW | A3 GT Knee Patella Tray |  | Stainless Steel&POM |
| Cat No. | Product Name | Specification | Material |
| CT-A3GT-GJ-HW | A3 GT International Version |  | Stainless Steel&POM |
| Cat No. | Product Name | Specification | Material |
| G10517-CR1# | CR Box Modular Trial | CR1# | Stainless Steel |
| G10517-CR1.5# | CR Box Modular Trial | CR1.5# | Stainless Steel |
| G10517-CR2# | CR Box Modular Trial | CR2# | Stainless Steel |
| G10517-CR2.5# | CR Box Modular Trial | CR2.5# | Stainless Steel |
| G10517-CR3# | CR Box Modular Trial | CR3# | Stainless Steel |
| G10517-CR3.5# | CR Box Modular Trial | CR3.5# | Stainless Steel |
| G10517-CR4# | CR Box Modular Trial | CR4# | Stainless Steel |
| G10517-CR5# | CR Box Modular Trial | CR5# | Stainless Steel |
| G10517-CR6# | CR Box Modular Trial | CR6# | Stainless Steel |
| G10517-CR7# | CR Box Modular Trial | CR7# | Stainless Steel |
| G10539 | Tibial Insert Clamp |  | Stainless Steel |
| A3GTGJ-12-HW | A3 GT International Instrument Box (B) | Tibial Instrument | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| CT-A3GT-PS-HW | A3 GT PS Instrument |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| G10401 | Intra-Medullary Canal Rod |  | Stainless Steel&Silicone |
| G10405 | Femoral Sizing Guide |  | Stainless Steel&Silicone |
| G10109-1# | 4-in- 1 Femoral Resection Block | 1# | Stainless Steel |
| G10109-1.5# | 4-in- 1 Femoral Resection Block | 1.5# | Stainless Steel |
| G10109-2# | 4-in- 1 Femoral Resection Block | 2# | Stainless Steel |
| G10109-2.5# | 4-in- 1 Femoral Resection Block | 2.5# | Stainless Steel |
| G10109-3# | 4-in- 1 Femoral Resection Block | 3# | Stainless Steel |
| G10109-3.5# | 4-in- 1 Femoral Resection Block | 3.5# | Stainless Steel |
| G10109-4# | 4-in- 1 Femoral Resection Block | 4# | Stainless Steel |
| G10109-5# | 4-in- 1 Femoral Resection Block | 5# | Stainless Steel |
| G10109-6# | 4-in- 1 Femoral Resection Block | 6# | Stainless Steel |
| G10109-J | 4-in- 1 Femoral Resection Block Connector |  | Stainless Steel |
| G10406-1#/1.5# | Femoral Intercondylar Notch Guide | 1#/1.5# | PEEK |
| G10406-2#/2.5# | Femoral Intercondylar Notch Guide | 2#/2.5# | PEEK |
| G10406-3#/3.5# | Femoral Intercondylar Notch Guide | 3#/3.5# | PEEK |
| G10406-4#/5# | Femoral Intercondylar Notch Guide | 4#/5# | PEEK |
| G10406-6#/7# | Femoral Intercondylar Notch Guide | 6#/7# | PEEK |
| G10112 | Femoral Intercondylar Notch Drill |  | Stainless Steel |
| G10114-1L | Trial Femoral Component | 1L | Stainless Steel |
| G10114-1R | Trial Femoral Component | 1R | Stainless Steel |
| G10114-1.5L | Trial Femoral Component | 1.5L | Stainless Steel |
| G10114-1.5R | Trial Femoral Component | 1.5R | Stainless Steel |
| G10114-2L | Trial Femoral Component | 2L | Stainless Steel |
| G10114-2R | Trial Femoral Component | 2R | Stainless Steel |
| G10114-2.5L | Trial Femoral Component | 2.5L | Stainless Steel |
| G10114-2.5R | Trial Femoral Component | 2.5R | Stainless Steel |
| G10114-3L | Trial Femoral Component | 3L | Stainless Steel |
| G10114-3R | Trial Femoral Component | 3R | Stainless Steel |
| G10114-3.5L | Trial Femoral Component | 3.5L | Stainless Steel |
| G10114-3.5R | Trial Femoral Component | 3.5R | Stainless Steel |
| G10114-4L | Trial Femoral Component | 4L | Stainless Steel |
| G10114-4R | Trial Femoral Component | 4R | Stainless Steel |
| G10114-5L | Trial Femoral Component | 5L | Stainless Steel |
| G10114-5R | Trial Femoral Component | 5R | Stainless Steel |
| G10114-6L | Trial Femoral Component | 6L | Stainless Steel |
| G10114-6R | Trial Femoral Component | 6R | Stainless Steel |
| G10148 | Femoral Condylar Peg Drill |  | Stainless Steel |
| G10150-II | Femoral Component Inserter/Extractor |  | Stainless Steel&POM |
| G10422 | Universal Handle |  | Stainless Steel&Silicone |
| G10428 | Femeral Canal Retractor |  | Stainless Steel&Silicone |
| A3GT-BG-HW | Instrument Box |  | Aluminium&PPSU |
| A3GT-GG-HW | Instrument Box |  | Aluminium&PPSU |
| G10420 | Qucik Released Pin Holder |  | Stainless Steel |
| G10425 | GT Pin |  | Stainless Steel |
| G10426 | Thickness Measure Device |  | POM |
| G10432 | Thickness Measure Device Insert | 4mm | POM |
| G10433 | Thickness Measure Device Insert | 8mm | POM |
| G10424 | Tibial Tray Impactor |  | POM |
| G10421 | Tibial Insert Impactor |  | Stainless Steel&POM |
| 6883 | Lamina Spreader |  | Stainless Steel |
| A3GT-JG-HW | Instrument Box |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| CT-ACCK+-HW | ACCK+ Instrument List |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| G10277 | 4-in-1 Anterior Referencing Guide |  | Stainless Steel |
| G10278-1# | 4-in-1 Resection Guide | 1# | Stainless Steel |
| G10278-2# | 4-in-1 Resection Guide | 2# | Stainless Steel |
| G10278-3# | 4-in-1 Resection Guide | 3# | Stainless Steel |
| G10278-4# | 4-in-1 Resection Guide | 4# | Stainless Steel |
| G10278-5# | 4-in-1 Resection Guide | 5# | Stainless Steel |
| G10279-S-5L | 4-in-1 Resection Distal Femoral Augment Block | 1#2# | POM&Stainless Steel |
| G10279-S-5R | 4-in-1 Resection Distal Femoral Augment Block | 1#2# | POM&Stainless Steel |
| G10279-L-5L | 4-in-1 Resection Distal Femoral Augment Block | 3#-5# | POM&Stainless Steel |
| G10279-L-5R | 4-in-1 Resection Distal Femoral Augment Block | 3#-5# | POM&Stainless Steel |
| G10279-S-10L | 4-in-1 Resection Distal Femoral Augment Block | 1#2# | POM&Stainless Steel |
| G10279-S-10R | 4-in-1 Resection Distal Femoral Augment Block | 1#2# | POM&Stainless Steel |
| G10279-L-10L | 4-in-1 Resection Distal Femoral Augment Block | 3#-5# | POM&Stainless Steel |
| G10279-L-10R | 4-in-1 Resection Distal Femoral Augment Block | 3#-5# | POM&Stainless Steel |
| G10258 | External Rotation Angle Guide |  | Stainless Steel |
| G10291 | 4-in-1 Positioning Guide |  | Stainless Steel |
| G10292 | Femoral Box Resection Guide |  | Stainless Steel |
| G10265-1L | Modular Femoral Trial | 1L | Stainless Steel |
| G10265-2L | Modular Femoral Trial | 2L | Stainless Steel |
| G10265-3L | Modular Femoral Trial | 3L | Stainless Steel |
| G10265-4L | Modular Femoral Trial | 4L | Stainless Steel |
| G10265-5L | Modular Femoral Trial | 5L | Stainless Steel |
| G10265-1R | Modular Femoral Trial | 1R | Stainless Steel |
| G10265-2R | Modular Femoral Trial | 2R | Stainless Steel |
| G10265-3R | Modular Femoral Trial | 3R | Stainless Steel |
| G10265-4R | Modular Femoral Trial | 4R | Stainless Steel |
| G10265-5R | Modular Femoral Trial | 5R | Stainless Steel |
| G10293-L | Femoral Trial Positioning Guide L | L | Stainless Steel |
| G10293-R | Femoral Trial Positioning Guide R | R | Stainless Steel |
| G10283-1L | Modular Femoral Box Trial | 1L | Stainless Steel |
| G10283-2L | Modular Femoral Box Trial | 2L | Stainless Steel |
| G10283-3L | Modular Femoral Box Trial | 3L | Stainless Steel |
| G10283-4L | Modular Femoral Box Trial | 4L | Stainless Steel |
| G10283-5L | Modular Femoral Box Trial | 5L | Stainless Steel |
| G10283-1R | Modular Femoral Box Trial | 1R | Stainless Steel |
| G10283-2R | Modular Femoral Box Trial | 2R | Stainless Steel |
| G10283-3R | Modular Femoral Box Trial | 3R | Stainless Steel |
| G10283-4R | Modular Femoral Box Trial | 4R | Stainless Steel |
| G10283-5R | Modular Femoral Box Trial | 5R | Stainless Steel |
| G10284-0mm | Femoral Straight Bushing | 0mm | Stainless Steel |
| G10284-4mm | 360°Femoral Offset Bushing | 4mm | Stainless Steel |
| G10290-1#-hk-5mm | 1#-5mm Femoral Posterior Augment Trial | 1#-hk-5mm | Aluminium Alloy |
| G10290-1#-hk-10mm | 1#-5mm Femoral Posterior Augment Trial | 1#-hk-10mm | Aluminium Alloy |
| G10290-1#-yd-5mm | 1#-5mm Femoral Distal Augment Trial | 1#-yd-5mm | Aluminium Alloy |
| G10290-1#-yd-10mm | 1#-10mm Femoral Distal Augment Trial | 1#-yd-10mm | Aluminium Alloy |
| G10290-2#-hk-5mm | 2#-5mm Femoral Posterior Augment Trial | 2#-hk-5mm | Aluminium Alloy |
| G10290-2#-hk-10mm | 2#-10mm Femoral Posterior Augment Trial | 2#-hk-10mm | Aluminium Alloy |
| G10290-2#-yd-5mm | 2#-5mm Femoral Distal Augment Trial | 2#-yd-5mm | Aluminium Alloy |
| G10290-2#-yd-10mm | 2#-10mm Femoral Distal Augment Trial | 2#-yd-10mm | Aluminium Alloy |
| G10290-3#-hk-5mm | 3#-5mm Femoral Posterior Augment Trial | 3#-hk-5mm | Aluminium Alloy |
| G10290-3#-hk-10mm | 3#-10mm Femoral Posterior Augment Trial | 3#-hk-10mm | Aluminium Alloy |
| G10290-3#-yd-5mm | 3#-5mm Femoral Distal Augment Trial | 3#-yd-5mm | Aluminium Alloy |
| G10290-3#-yd-10mm | 3#-10mm Femoral Distal Augment Trial | 3#-yd-10mm | Aluminium Alloy |
| G10290-4#-hk-5mm | 4#-5mm Femoral Posterior Augment Trial | 4#-hk-5mm | Aluminium Alloy |
| G10290-4#-hk-10mm | 4#-10mm Femoral Posterior Augment Trial | 4#-hk-10mm | Aluminium Alloy |
| G10290-4#-yd-5mm | 4#-5mm Femoral Distal Augment Trial | 4#-yd-5mm | Aluminium Alloy |
| G10290-4#-yd-10mm | 4#-10mm Femoral Distal Augment Trial | 4#-yd-10mm | Aluminium Alloy |
| G10290-5#-hk-5mm | 5#-5mm Femoral Posterior Augment Trial | 5#-hk-5mm | Aluminium Alloy |
| G10290-5#-hk-10mm | 5#-10mm Femoral Posterior Augment Trial | 5#-hk-10mm | Aluminium Alloy |
| G10290-5#-yd-5mm | 5#-5mm Femoral Distal Augment Trial | 5#-yd-5mm | Aluminium Alloy |
| G10290-5#-yd-10mm | 5#-10mm Femoral Distal Augment Trial | 5#-yd-10mm | Aluminium Alloy |
| G10285-10mm | Femoral Boss Reamer Bushing | φ10 | Stainless Steel |
| G10285-12mm | Femoral Boss Reamer Bushing | φ12 | Stainless Steel |
| G10285-14mm | Femoral Boss Reamer Bushing | φ14 | Stainless Steel |
| G10285-16mm | Femoral Boss Reamer Bushing | φ16 | Stainless Steel |
| G10285-18mm | Femoral Boss Reamer Bushing | φ18 | Stainless Steel |
| G10285-20mm | Femoral Boss Reamer Bushing | φ20 | Stainless Steel |
| G10254 | Femoral Box Sizer |  | Stainless Steel |
| G10212-II-8mm | Standard Drill φ8 |  | Stainless Steel |
| G10212-II-9mm | Standard Drill φ9 |  | Stainless Steel |
| G10213-II-10mm | Distal Medullary Drilll |  | Stainless Steel |
| G10213-II-11mm | Distal Medullary Drilll |  | Stainless Steel |
| G10213-II-12mm | Distal Medullary Drilll |  | Stainless Steel |
| G10213-II-13mm | Distal Medullary Drilll |  | Stainless Steel |
| G10213-II-14mm | Distal Medullary Drilll |  | Stainless Steel |
| G10213-II-15mm | Distal Medullary Drilll |  | Stainless Steel |
| G10213-II-16mm | Distal Medullary Drilll |  | Stainless Steel |
| G10213-II-17mm | Distal Medullary Drilll |  | Stainless Steel |
| G10213-II-18mm | Distal Medullary Drilll |  | Stainless Steel |
| G10213-II-19mm | Distal Medullary Drilll |  | Stainless Steel |
| G10213-II-20mm | Distal Medullary Drilll |  | Stainless Steel |
| G10214-12mm-L60mm | Intra-medullary Canal Rod Trial | length：60mm | Stainless Steel |
| G10214-14mm-L60mm | Intra-medullary Canal Rod Trial | length：60mm | Stainless Steel |
| G10214-16mm-L60mm | Intra-medullary Canal Rod Trial | length：60mm | Stainless Steel |
| G10214-18mm-L60mm | Intra-medullary Canal Rod Trial | length：60mm | Stainless Steel |
| G10214-20mm-L60mm | Intra-medullary Canal Rod Trial | length：60mm | Stainless Steel |
| G10253 | Tibial Cutting Block |  | Aluminium |
| G11331-A | Tibial Tray Basement | A# | Stainless Steel |
| G10220-II | Tibial Drill | φ18 | Stainless Steel |
| G10222-II | Tibial Tray Positioning Drill | φ8.5 | Stainless Steel |
| G10286-4mm | 360°Tibial Offset Bushing | 4mm | Stainless Steel |
| G10286-0mm | Tibial Straight Bushing | 0mm | Stainless Steel |
| G10299-A# | Tibial Tray Trial | A# | Stainless Steel |
| G10299-B# | Tibial Tray Trial | B# | Stainless Steel |
| G10299-C# | Tibial Tray Trial | C# | Stainless Steel |
| G10299-D# | Tibial Tray Trial | D# | Stainless Steel |
| G10299-E# | Tibial Tray Trial | E# | Stainless Steel |
| G11007 | Insert Post Trial | 1 | POM&Stainless Steel |
| G11008-SA-8mm | Insert Trial | SA-8mm | POM |
| G11008-SA-10mm | Insert Trial | SA-10mm | POM |
| G11008-SA-12mm | Insert Trial | SA-12mm | POM |
| G11008-SA-14mm | Insert Trial | SA-14mm | POM |
| G11008-SA-16mm | Insert Trial | SA-16mm | POM |
| G11008-BC-8mm | Insert Trial | BC-8mm | POM |
| G11008-BC-10mm | Insert Trial | BC-10mm | POM |
| G11008-BC-12mm | Insert Trial | BC-12mm | POM |
| G11008-BC-14mm | Insert Trial | BC-14mm | POM |
| G11008-BC-16mm | Insert Trial | BC-16mm | POM |
| G11008-DE-8mm | Insert Trial | DE-8mm | POM |
| G11008-DE-10mm | Insert Trial | DE-10mm | POM |
| G11008-DE-12mm | Insert Trial | DE-12mm | POM |
| G11008-DE-14mm | Insert Trial | DE-14mm | POM |
| G11008-DE-16mm | Insert Trial | DE-16mm | POM |
| G10297 | Tibial Stylus |  | Stainless Steel |
| G10287 | SW2.5 Screwdriver | SW2.5 | Stainless Steel&silicone |
| G10273 | Femoral Distal Resection Guide |  | Stainless Steel |
| G10274 | Femoral Distal Resection Guide Revision Block |  | Stainless Steel |
| G10275 | Femoral Distal Resection Block |  | Stainless Steel |
| G10276 | Femoral Sizer |  | Stainless Steel |
| G10598 | Spacer Block |  | POM&Stainless Steel |
| G10298 | 3.5mm Screwdriver | SW3.5 | Stainless Steel&silicone |
| G10295 | Short Headed Pin |  | Stainless Steel |
| G10296 | Short Headed Pin Inserter |  | Stainless Steel |
| ACCK+-11 | ACCK+ Femoral Instrument Box |  | Aluminium&PPSU |
| ACCK+-12 | ACCK+ Tibial Instrument Box |  | Aluminium&PPSU |
| ACCK+-13 | ACCK+ Universal Instrument Box |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| CT-ACCK-HW | Instruments List for ACCK Revision Knee System |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| G10201 | Femoral Drill Guide |  | Stainless Steel |
| G10202-1#-2# | Femoral Outline Sizing Guide1#, 2# |  | Stainless Steel |
| G10202-3# | Femoral Outline Sizing Guide 3# |  | Stainless Steel |
| G10202-4#-5# | Femoral Outline Sizing Guide 4#, 5# |  | Stainless Steel |
| G10203-1# | External Rotational Location Fixing Block 1 # |  | Stainless Steel |
| G10203-2# | External Rotational Location Fixing Block 2 # |  | Stainless Steel |
| G10203-3# | External Rotational Location Fixing Block 3 # |  | Stainless Steel |
| G10203-4# | External Rotational Location Fixing Block 4# |  | Stainless Steel |
| G10203-5# | External Rotational Location Fixing Block 5 # |  | Stainless Steel |
| G10204 | Anterior Limitation Guide |  | Stainless Steel |
| G10208-1# | Femoral Intercondylar Resection Block 1# |  | Stainless Steel |
| G10208-2# | Femoral Intercondylar Resection Block 2# |  | Stainless Steel |
| G10208-3# | Femoral Intercondylar Resection Block 3# |  | Stainless Steel |
| G10208-4# | Femoral Intercondylar Resection Block 4# |  | Stainless Steel |
| G10208-5# | Femoral Intercondylar Resection Block 5# |  | Stainless Steel |
| G10209 | Valgus Angle Connector |  | Stainless Steel |
| 8010 | Femur Impactor |  | Stainless Steel&POM |
| G10210-R1# | Femoral Trial R1# |  | Stainless Steel |
| G10210-R2# | Femoral Trial R2# |  | Stainless Steel |
| G10210-R3# | Femoral Trial R3# |  | Stainless Steel |
| G10210-R4# | Femoral Trial R4# |  | Stainless Steel |
| G10210-R5# | Femoral Trial R5# |  | Stainless Steel |
| G10210-L1# | Femoral Trial L1# |  | Stainless Steel |
| G10210-L2# | Femoral Trial L2# |  | Stainless Steel |
| G10210-L3# | Femoral Trial L3# |  | Stainless Steel |
| G10210-L4# | Femoral Trial L4# |  | Stainless Steel |
| G10210-L5# | Femoral Trial L5# |  | Stainless Steel |
| HW017 | Instrument Box |  | Aluminium&PPSU |
| G10216 | Guiding Rod |  | Stainless Steel |
| G10219-A# | Tibial Tray Basement A # |  | Stainless Steel |
| G10219-B# | Tibial Tray Basement B # |  | Stainless Steel |
| G10219-C# | Tibial Tray Basement C # |  | Stainless Steel |
| G10219-D# | Tibial Tray Basement D# |  | Stainless Steel |
| G10219-E# | Tibial Tray Basement E# |  | Stainless Steel |
| G10220 | Tibial Drill | φ18 | Stainless Steel |
| G10222 | Tibial Confirming Drill | φ8.5 | Stainless Steel |
| G10223 | 360° Rotational Drill Tower | φ10 | Stainless Steel |
| G10226-A# | ACCK Tibial Tray Trial A# | A# | Stainless Steel |
| G10226-B# | ACCK Tibial Tray Trial B# | B# | Stainless Steel |
| G10226-C# | ACCK Tibial Tray Trial C# | C# | Stainless Steel |
| G10226-D# | ACCK Tibial Tray Trial D# | D# | Stainless Steel |
| G10226-E# | ACCK Tibial Tray Trial E# | E# | Stainless Steel |
| G10229-SA-10mm | ACCK Insert Trials SA | 10mm | POM |
| G10229-SA-12mm | ACCK Insert Trials SA | 12mm | POM |
| G10229-SA-14mm | ACCK Insert Trials SA | 14mm | POM |
| G10229-SA-16mm | ACCK Insert Trials SA | 16mm | POM |
| G10229-SA-18mm | ACCK Insert Trials SA | 18mm | POM |
| G10229-SA#20mm | ACCK Insert Trials SA | 20mm | POM |
| G10229-SA#22mm | ACCK Insert Trials SA | 22mm | POM |
| G10229-BC-10mm | ACCKInsert Trials BC | 10mm | POM |
| G10229-BC-12mm | ACCKInsert Trials BC | 12mm | POM |
| G10229-BC-14mm | ACCKInsert Trials BC | 14mm | POM |
| G10229-BC-16mm | ACCKInsert Trials BC | 16mm | POM |
| G10229-BC-18mm | ACCKInsert Trials BC | 18mm | POM |
| G10229-BC#20mm | ACCKInsert Trials BC | 20mm | POM |
| G10229-BC#22mm | ACCKInsert Trials BC | 22mm | POM |
| G10229-DE-10mm | ACCK Insert Trials DE | 10mm | POM |
| G10229-DE-12mm | ACCK Insert Trials DE | 12mm | POM |
| G10229-DE-14mm | ACCK Insert Trials DE | 14mm | POM |
| G10229-DE-16mm | ACCK Insert Trials DE | 16mm | POM |
| G10229-DE-18mm | ACCK Insert Trials DE | 18mm | POM |
| G10229-DE#20mm | ACCK Insert Trials DE | 20mm | POM |
| G10229-DE#22mm | ACCK Insert Trials DE | 22mm | POM |
| G10239 | Tray Trial Extractor |  | Stainless Steel |
| G10230 | Intra-medullary Trial Screw |  | Stainless Steel |
| G10231 | Screw Fixation handle |  | Stainless Steel |
| G10238 | Tibial Tray Supporting Block |  | Stainless Steel |
| G20110 | T Handle |  | Stainless Steel |
| HW019 | Instrument Box |  | Aluminium&PPSU |
| G10213-10mm | Distal Medullary Drilll | φ10 | Stainless Steel |
| G10213-11mm | Distal Medullary Drilll | φ11 | Stainless Steel |
| G10213-12mm | Distal Medullary Drilll | φ12 | Stainless Steel |
| G10213-13mm | Distal Medullary Drilll | φ13 | Stainless Steel |
| G10213-14mm | Distal Medullary Drilll | φ14 | Stainless Steel |
| G10213-15mm | Distal Medullary Drilll | φ15 | Stainless Steel |
| G10213-16mm | Distal Medullary Drilll | φ16 | Stainless Steel |
| G10213-17mm | Distal Medullary Drilll | φ17 | Stainless Steel |
| G10213-18mm | Distal Medullary Drilll | φ18 | Stainless Steel |
| G10214-10mm-L120mm | Intra-medullary Canal Rod Trial φ10mm | length : 120mm | Stainless Steel |
| G10214-10mm-L80mm | Intra-medullary Canal Rod Trial φ10mm | length : 80mm | Stainless Steel |
| G10214-12mm-L120mm | Intra-medullary Canal Rod Trial φ12mm | length : 120mm | Stainless Steel |
| G10214-12mm-L80mm | Intra-medullary Canal Rod Trial φ12mm | length : 80mm | Stainless Steel |
| G10214-14mm-L120mm | Intra-medullary Canal Rod Trial φ14mm | length : 120mm | Stainless Steel |
| G10214-14mm-L80mm | Intra-medullary Canal Rod Trial φ14mm | length : 80mm | Stainless Steel |
| G10214-16mm-L120mm | Intra-medullary Canal Rod Trial φ16mm | length : 120mm | Stainless Steel |
| G10214-16mm-L80mm | Intra-medullary Canal Rod Trial φ16mm | length : 80mm | Stainless Steel |
| G10214-18mm-L120mm | Intra-medullary Canal Rod Trial φ18mm | length : 120mm | Stainless Steel |
| G10214-18mm-L80mm | Intra-medullary Canal Rod Trial φ18mm | length : 80mm | Stainless Steel |
| G10214-8mm-L120mm | Intra-medullary Canal Rod Trial φ8mm | length : 120mm | Stainless Steel |
| G10214-8mm-L80mm | Intra-medullary Canal Rod Trial φ8mm | length : 80mm | Stainless Steel |
| G10215-10mm-L120mm | Intra-Medullary canal rod trial (offset) φ10mm | length : 120mm | Stainless Steel |
| G10215-10mm-L80mm | Intra-Medullary canal rod trial (offset) φ10mm | length : 80mm | Stainless Steel |
| G10215-12mm-L120mm | Intra-Medullary canal rod trial (offset) φ12mm | length : 120mm | Stainless Steel |
| G10215-12mm-L80mm | Intra-Medullary canal rod trial (offset) φ12mm | length : 80mm | Stainless Steel |
| G10215-14mm-L120mm | Intra-Medullary canal rod trial (offset) φ14mm | length : 120mm | Stainless Steel |
| G10215-14mm-L80mm | Intra-Medullary canal rod trial (offset) φ14mm | length : 80mm | Stainless Steel |
| G10215-16mm-L120mm | Intra-Medullary canal rod trial (offset) φ16mm | length : 120mm | Stainless Steel |
| G10215-16mm-L80mm | Intra-Medullary canal rod trial (offset) φ16mm | length : 80mm | Stainless Steel |
| G10215-18mm-L120mm | Intra-Medullary canal rod trial (offset) φ18mm | length : 120mm | Stainless Steel |
| G10215-18mm-L80mm | Intra-Medullary canal rod trial (offset) φ18mm | length : 80mm | Stainless Steel |
| G10215-8mm-L120mm | Intra-Medullary canal rod trial (offset) φ8mm | length : 120mm | Stainless Steel |
| G10215-8mm-L80mm | Intra-Medullary canal rod trial (offset) φ8mm | length : 80mm | Stainless Steel |
| G10232-A | Bone Knife ( narrow) |  | Stainless Steel |
| G10232-B | Bone Knife (wide) |  | Stainless Steel |
| G10142 | Slide Hammer (A3) |  | Stainless Steel |
| 6845-II-S | Extramedullary Alignment Rod (short) | Short | Stainless Steel&POM |
| G10228-A#-10mm-L | Augment Trials A# | 10MM L | Stainless Steel |
| G10228-A#-10mm-R | Augment Trials A# | 10MM R | Stainless Steel |
| G10228-A#-5mm-L | Augment Trials A# | 5MM L | Stainless Steel |
| G10228-A#-5mm-R | Augment Trials A# | 5MM R | Stainless Steel |
| G10228-B#-10mm-L | Augment Trials B# | 10MM L | Stainless Steel |
| G10228-B#-10mm-R | Augment Trials B# | 10MM R | Stainless Steel |
| G10228-B#-5mm-L | Augment Trials B# | 5MM L | Stainless Steel |
| G10228-B#-5mm-R | Augment Trials B# | 5MM R | Stainless Steel |
| G10228-C#-10mm-L | Augment Trials C# | 10MM L | Stainless Steel |
| G10228-C#-10mm-R | Augment Trials C# | 10MM R | Stainless Steel |
| G10228-C#-5mm-L | Augment Trials C# | 5MM L | Stainless Steel |
| G10228-C#-5mm-R | Augment Trials C# | 5MM R | Stainless Steel |
| G10228-D#-10mm-L | Augment Trials D# | 10MM L | Stainless Steel |
| G10228-D#-10mm-R | Augment Trials D# | 10MM R | Stainless Steel |
| G10228-D#-5mm-L | Augment Trials D# | 5MM L | Stainless Steel |
| G10228-D#-5mm-R | Augment Trials D# | 5MM R | Stainless Steel |
| G10228-E#-10mm-L | Augment Trials E# | 10MM L | Stainless Steel |
| G10228-E#-10mm-R | Augment Trials E# | 10MM R | Stainless Steel |
| G10228-E#-5mm-L | Augment Trials E# | 5MM L | Stainless Steel |
| G10228-E#-5mm-R | Augment Trials E# | 5MM R | Stainless Steel |
| G10211-A1#10mm | Augment Trials(distal: 1#) | 10MM | Stainless Steel |
| G10211-A1#5mm | Augment Trials(distal: 1#) | 5MM | Stainless Steel |
| G10211-A2#10mm | Augment Trials(distal: 2#) | 10MM | Stainless Steel |
| G10211-A2#5mm | Augment Trials(distal: 2#) | 5MM | Stainless Steel |
| G10211-A3#10mm | Augment Trials(distal: 3#) | 10MM | Stainless Steel |
| G10211-A3#5mm | Augment Trials(distal: 3#) | 5MM | Stainless Steel |
| G10211-A4#10mm | Augment Trials(distal: 4#) | 10MM | Stainless Steel |
| G10211-A4#5mm | Augment Trials(distal: 4#) | 5MM | Stainless Steel |
| G10211-A5#10mm | Augment Trials(distal: 5#) | 10MM | Stainless Steel |
| G10211-A5#5mm | Augment Trials(distal: 5#) | 5MM | Stainless Steel |
| G10211-B1#10mm | Augment Trials(posterior: 1#) | 10MM | Stainless Steel |
| G10211-B1#5mm | Augment Trials(posterior: 1#) | 5MM | Stainless Steel |
| G10211-B2#10mm | Augment Trials(posterior: 2#) | 10MM | Stainless Steel |
| G10211-B2#5mm | Augment Trials(posterior: 2#) | 5MM | Stainless Steel |
| G10211-B3#10mm | Augment Trials(posterior: 3#) | 10MM | Stainless Steel |
| G10211-B3#5mm | Augment Trials(posterior: 3#) | 5MM | Stainless Steel |
| G10211-B4#10mm | Augment Trials(posterior: 4#) | 10MM | Stainless Steel |
| G10211-B4#5mm | Augment Trials(posterior: 4#) | 5MM | Stainless Steel |
| G10211-B5#10mm | Augment Trials(posterior: 5#) | 10MM | Stainless Steel |
| G10211-B5#5mm | Augment Trials(posterior: 5#) | 5MM | Stainless Steel |
| HW018 | Instrument Box |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| CT-ACCK-Large-HW | Instruments List for ACCK Revision Knee System（Large-Size） |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| G10202-6#-7# | Femoral Outline Sizing Guide1#, 2# |  | Stainless Steel&POM |
| G10203-6# | External Rotational Location Fixing Block 6# |  | Stainless Steel&POM |
| G10203-7# | External Rotational Location Fixing Block 7 # |  | Stainless Steel&POM |
| G10208-6# | Femoral Intercondylar Resection Block 6# |  | Stainless Steel&POM |
| G10208-7# | Femoral Intercondylar Resection Block 7# |  | Stainless Steel&POM |
| G10210-R6# | Femoral Trial R6# |  | Stainless Steel&POM |
| G10210-R7# | Femoral Trial R7# |  | Stainless Steel&POM |
| G10210-L6# | Femoral Trial L6# |  | Stainless Steel&POM |
| G10210-L7# | Femoral Trial L7# |  | Stainless Steel&POM |
| G10219-F# | Tibial Tray Basement F # |  | Stainless Steel&POM |
| G10219-G# | Tibial Tray Basement G # |  | Stainless Steel&POM |
| G10226-F# | ACCK Tibial Tray Trial F# | F# | Stainless Steel&POM |
| G10226-G# | ACCK Tibial Tray Trial G# | G# | Stainless Steel&POM |
| G10229-FG-10mm | ACCK Insert Trials FG | 10mm | Stainless Steel&POM |
| G10229-FG-12mm | ACCK Insert Trials FG | 12mm | Stainless Steel&POM |
| G10229-FG-14mm | ACCK Insert Trials FG | 14mm | Stainless Steel&POM |
| G10229-FG-16mm | ACCK Insert Trials FG | 16mm | Stainless Steel&POM |
| G10229-FG-18mm | ACCK Insert Trials FG | 18mm | Stainless Steel&POM |
| G10229-FG-20mm | ACCK Insert Trials FG | 20mm | Stainless Steel&POM |
| G10229-FG-22mm | ACCK Insert Trials FG | 22mm | Stainless Steel&POM |
| G10228-F#-10mm-L | Augment Trials F# | 10MM L | Stainless Steel&POM |
| G10228-F#-10mm-R | Augment Trials F# | 10MM R | Stainless Steel&POM |
| G10228-F#-5mm-L | Augment Trials F# | 5MM L | Stainless Steel&POM |
| G10228-F#-5mm-R | Augment Trials F# | 5MM R | Stainless Steel&POM |
| G10228-G#-10mm-L | Augment Trials G# | 10MM L | Stainless Steel&POM |
| G10228-G#-10mm-R | Augment Trials G# | 10MM R | Stainless Steel&POM |
| G10228-G#-5mm-L | Augment Trials G# | 5MM L | Stainless Steel&POM |
| G10228-G#-5mm-R | Augment Trials G# | 5MM R | Stainless Steel&POM |
| G10211-A6#10mm | Augment Trials(distal: 6#) | 10MM | Stainless Steel&POM |
| G10211-A6#5mm | Augment Trials(distal: 6#) | 5MM | Stainless Steel&POM |
| G10211-A7#10mm | Augment Trials(distal: 7#) | 10MM | Stainless Steel&POM |
| G10211-A7#5mm | Augment Trials(distal: 7#) | 5MM | Stainless Steel&POM |
| G10211-B6#10mm | Augment Trials(posterior: 6#) | 10MM | Stainless Steel&POM |
| G10211-B6#5mm | Augment Trials(posterior: 6#) | 5MM | Stainless Steel&POM |
| G10211-B7#10mm | Augment Trials(posterior: 7#) | 10MM | Stainless Steel&POM |
| G10211-B7#5mm | Augment Trials(posterior: 7#) | 5MM | Stainless Steel&POM |
| Cat No. | Product Name | Specification | Material |
| CT-ACCK-II-HW | ACCK-II Instrument List |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| G10244-A5L | Augment Trial A5L | 2#/8mm | POM&Stainless Steel |
| G10244-A5R | Augment Trial A5R | 2#/10mm | POM&Stainless Steel |
| G10244-A10L | Augment Trial A10L | 2#/12mm | POM&Stainless Steel |
| G10244-A10R | Augment Trial A10R | 2#/15mm | POM&Stainless Steel |
| G10244-B5L | Augment Trial B5L | 2#/18mm | POM&Stainless Steel |
| G10244-B5R | Augment Trial B5R | 3#/8mm | POM&Stainless Steel |
| G10244-B10L | Augment Trial B10L | 3#/10mm | POM&Stainless Steel |
| G10244-B10R | Augment Trial B10R | 3#/12mm | POM&Stainless Steel |
| G10244-C5L | Augment Trial C5L | 3#/15mm | POM&Stainless Steel |
| G10244-C5R | Augment Trial C5R | 3#/18mm | POM&Stainless Steel |
| G10244-C10L | Augment Trial C10L | 3#/21mm | POM&Stainless Steel |
| G10244-C10R | Augment Trial C10R | 3#/24mm | POM&Stainless Steel |
| G10244-D5L | Augment Trial D5L | 3#/27mm | POM&Stainless Steel |
| G10244-D5R | Augment Trial D5R | 3#/30mm | POM&Stainless Steel |
| G10244-D10L | Augment Trial D10L | 3#/33mm | POM&Stainless Steel |
| G10244-D10R | Augment Trial D10R | 4#/8mm | POM&Stainless Steel |
| G10244-E5L | Augment Trial E5L | 4#/10mm | POM&Stainless Steel |
| G10244-E5R | Augment Trial E5R | 4#/12mm | POM&Stainless Steel |
| G10244-E10L | Augment Trial E10L | 4#/15mm | POM&Stainless Steel |
| G10244-E10R | Augment Trial E10R | 4#/18mm | POM&Stainless Steel |
| ACCK-II-11 | ACCK-II Instrument Box |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| CT-AHK-HW | Instrument List of AHK (AK Hinge Knee Joint) |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| G10301 | AHK Intercondylar Resection Block | 0# | Stainless Steel |
| G10302 | AHK Intercondylar Resection Block | 1# | Stainless Steel |
| G10303 | AHK Intercondylar Resection Block | 2# | Stainless Steel |
| G10304 | AHK Intercondylar Resection Block | 3# | Stainless Steel |
| G10305 | AHK Valgus Angle connector |  | Stainless Steel |
| G10306 | AHK Femur bone drill |  | Stainless Steel |
| G10307 | AHK Femoral Condylar Sizer |  | Stainless Steel&Silicone |
| G10308 | AHK Screwdriver |  | Stainless Steel |
| G10309-10 | AHK Femoral Drill | φ10 | Stainless Steel |
| G10309-11 | AHK Femoral Drill | φ11 | Stainless Steel |
| G10309-12 | AHK Femoral Drill | φ12 | Stainless Steel |
| G10309-13 | AHK Femoral Drill | φ13 | Stainless Steel |
| G10309-14 | AHK Femoral Drill | φ14 | Stainless Steel |
| G10309-15 | AHK Femoral Drill | φ15 | Stainless Steel |
| G10309-16 | AHK Femoral Drill | φ16 | Stainless Steel |
| G10309-17 | AHK Femoral Drill | φ17 | Stainless Steel |
| G10309-18 | AHK Femoral Drill | φ18 | Stainless Steel |
| G10310 | AHK Tapered six-edge Drill |  | Stainless Steel |
| G10311 | AHK Femoral Outline Sizing Guide | 0-1# | Stainless Steel |
| G10312 | AHK Femoral Outline Sizing Guide | 2# | Stainless Steel |
| G10313 | AHK Femoral Outline Sizing Guide | 3# | Stainless Steel |
| G10317 | AHK 12N.m Torque Handle |  | Stainless Steel |
| 5033 | Wrench |  | Stainless Steel |
| G21120 | T handle |  | Stainless Steel |
| G10320 | AHK External Rotational Location Fixing Block | 0# | Stainless Steel |
| G10321 | AHK External Rotational Location Fixing Block | 1# | Stainless Steel |
| G10322 | AHK External Rotational Location Fixing Block | 2# | Stainless Steel |
| G10323 | AHK External Rotational Location Fixing Block | 3# | Stainless Steel |
| G10326 | AHK intramedullary Rod Trial Forcep |  | Stainless Steel |
| G10331-0#L | AHK-Femoral Condylar Trial - Reconstruction RS Type | 0#L | Stainless Steel |
| G10331-1#L | AHK-Femoral Condylar Trial - Reconstruction RS Type | 1#L | Stainless Steel |
| G10331-2#L | AHK-Femoral Condylar Trial - Reconstruction RS Type | 2#L | Stainless Steel |
| G10331-3#L | AHK-Femoral Condylar Trial - Reconstruction RS Type | 3#L | Stainless Steel |
| G10331-0#R | AHK-Femoral Condylar Trial - Reconstruction RS Type | 0#R | Stainless Steel |
| G10331-1#R | AHK-Femoral Condylar Trial - Reconstruction RS Type | 1#R | Stainless Steel |
| G10331-2#R | AHK-Femoral Condylar Trial - Reconstruction RS Type | 2#R | Stainless Steel |
| G10331-3#R | AHK-Femoral Condylar Trial - Reconstruction RS Type | 3#R | Stainless Steel |
| G10332-1# | AHK Tibial Tray Trial- Reconstruction AS Type | 1# | Stainless Steel |
| G10332-2# | AHK Tibial Tray Trial- Reconstruction AS Type | 2# | Stainless Steel |
| G10332-3# | AHK Tibial Tray Trial- Reconstruction AS Type | 3# | Stainless Steel |
| G10332-4# | AHK Tibial Tray Trial- Reconstruction AS Type | 4# | Stainless Steel |
| G10332-5# | AHK Tibial Tray Trial- Reconstruction AS Type | 5# | Stainless Steel |
| G10333 | AHK Hinge Post Trial OSII Type |  | Stainless Steel |
| G10334 | AHK Hinge Post Trial OSIII Type |  | Stainless Steel |
| G10335 | AHK Screw Trial-Universal Type |  | Stainless Steel |
| G10336-0#8mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 8mm | Stainless Steel |
| G10336-0#10mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 10mm | Stainless Steel |
| G10336-0#12mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 12mm | Stainless Steel |
| G10336-0#14mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 14mm | Stainless Steel |
| G10336-0#16mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 16mm | Stainless Steel |
| G10336-0#18mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 18mm | Stainless Steel |
| G10336-1#8mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 8mm | Stainless Steel |
| G10336-1#10mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 10mm | Stainless Steel |
| G10336-1#12mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 12mm | Stainless Steel |
| G10336-1#14mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 14mm | Stainless Steel |
| G10336-1#16mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 16mm | Stainless Steel |
| G10336-1#18mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 18mm | Stainless Steel |
| G10336-2#8mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 8mm | Stainless Steel |
| G10336-2#10mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 10mm | Stainless Steel |
| G10336-2#12mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 12mm | Stainless Steel |
| G10336-2#14mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 14mm | Stainless Steel |
| G10336-2#16mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 16mm | Stainless Steel |
| G10336-2#18mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 18mm | Stainless Steel |
| G10336-3#8mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 8mm | Stainless Steel |
| G10336-3#10mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 10mm | Stainless Steel |
| G10336-3#12mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 12mm | Stainless Steel |
| G10336-3#14mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 14mm | Stainless Steel |
| G10336-3#16mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 16mm | Stainless Steel |
| G10336-3#18mm | AHK Tibial Inset Trial-Reconstruction OSII Type | 18mm | Stainless Steel |
| G10337 | AHK Tibial Tray Extractor |  | Stainless Steel |
| G10338-1 | AHK Intramedully Rod Trial | φ10*30 | Stainless Steel |
| G10338-2 | AHK Intramedully Rod Trial | φ8*60 | Stainless Steel |
| G10338-3 | AHK Intramedully Rod Trial | φ10*60 | Stainless Steel |
| G10338-4 | AHK Intramedully Rod Trial | φ12*60 | Stainless Steel |
| G10338-5 | AHK Intramedully Rod Trial | φ14*60 | Stainless Steel |
| G10338-6 | AHK Intramedully Rod Trial | φ16*60 | Stainless Steel |
| G10338-7 | AHK Intramedully Rod Trial | φ18*60 | Stainless Steel |
| G10338-8 | AHK Intramedully Rod Trial | φ8*80 | Stainless Steel |
| G10338-9 | AHK Intramedully Rod Trial | φ10*80 | Stainless Steel |
| G10338-10 | AHK Intramedully Rod Trial | φ12*80 | Stainless Steel |
| G10338-11 | AHK Intramedully Rod Trial | φ14*80 | Stainless Steel |
| G10338-12 | AHK Intramedully Rod Trial | φ16*80 | Stainless Steel |
| G10338-13 | AHK Intramedully Rod Trial | φ18*80 | Stainless Steel |
| G10340-1# | AHK Tibial Tray Base | 1# | Stainless Steel |
| G10340-2# | AHK Tibial Tray Base | 2# | Stainless Steel |
| G10340-3# | AHK Tibial Tray Base | 3# | Stainless Steel |
| G10340-4# | AHK Tibial Tray Base | 4# | Stainless Steel |
| G10340-5# | AHK Tibial Tray Base | 5# | Stainless Steel |
| G10341 | AHK Tibial Hinge Post Assembler |  | Stainless Steel |
| G10342-A0#10mm | AHK Femoral Condylar Augment Trial-Distal Femoral Augment Trial | 0#10mm | POM |
| G10342-A0#5mm | AHK Femoral Condylar Augment Trial-Distal Femoral Augment Trial | 0#5mm | POM |
| G10342-A1#10mm | AHK Femoral Condylar Augment Trial-Distal Femoral Augment Trial | 1#10mm | POM |
| G10342-A1#5mm | AHK Femoral Condylar Augment Trial-Distal Femoral Augment Trial | 1#5mm | POM |
| G10342-A2#10mm | AHK Femoral Condylar Augment Trial-Distal Femoral Augment Trial | 2#10mm | POM |
| G10342-A2#5mm | AHK Femoral Condylar Augment Trial-Distal Femoral Augment Trial | 2#5mm | POM |
| G10342-A3#10mm | AHK Femoral Condylar Augment Trial-Distal Femoral Augment Trial | 3#10mm | POM |
| G10342-A3#5mm | AHK Femoral Condylar Augment Trial-Distal Femoral Augment Trial | 3#5mm | POM |
| G10342-B0#10mm | AHK Femoral Condylar Augment Trial-Distal Femoral Augment Trial | 0#10mm | POM |
| G10342-B0#5mm | AHK Femoral Condylar Augment Trial-Distal Femoral Augment Trial | 0#5mm | POM |
| G10342-B1#10mm | AHK Femoral Condylar Augment Trial-Distal Femoral Augment Trial | 1#10mm | POM |
| G10342-B1#5mm | AHK Femoral Condylar Augment Trial-Distal Femoral Augment Trial | 1#5mm | POM |
| G10342-B2#10mm | AHK Femoral Condylar Augment Trial-Distal Femoral Augment Trial | 2#10mm | POM |
| G10342-B2#5mm | AHK Femoral Condylar Augment Trial-Distal Femoral Augment Trial | 2#5mm | POM |
| G10342-B3#10mm | AHK Femoral Condylar Augment Trial-Distal Femoral Augment Trial | 3#10mm | POM |
| G10342-B3#5mm | AHK Femoral Condylar Augment Trial-Distal Femoral Augment Trial | 3#5mm | POM |
| G10343-1#-L10mm | AHK Tibial Tray Augment Trial | 1#10mmL | POM |
| G10343-1#-L5mm | AHK Tibial Tray Augment Trial | 1#5mmL | POM |
| G10343-2#-L10mm | AHK Tibial Tray Augment Trial | 2#10mmL | POM |
| G10343-2#-L5mm | AHK Tibial Tray Augment Trial | 2#5mmL | POM |
| G10343-3#-L10mm | AHK Tibial Tray Augment Trial | 3#10mmL | POM |
| G10343-3#-L5mm | AHK Tibial Tray Augment Trial | 3#5mmL | POM |
| G10343-4#-L10mm | AHK Tibial Tray Augment Trial | 4#10mmL | POM |
| G10343-4#-L5mm | AHK Tibial Tray Augment Trial | 4#5mmL | POM |
| G10343-5#-L10mm | AHK Tibial Tray Augment Trial | 5#10mmL | POM |
| G10343-5#-L5mm | AHK Tibial Tray Augment Trial | 5#5mmL | POM |
| G10343-1#-R10mm | AHK Tibial Tray Augment Trial | 1#10mmR | POM |
| G10343-1#-R5mm | AHK Tibial Tray Augment Trial | 1#5mmR | POM |
| G10343-2#-R10mm | AHK Tibial Tray Augment Trial | 2#10mmR | POM |
| G10343-2#-R5mm | AHK Tibial Tray Augment Trial | 2#5mmR | POM |
| G10343-3#-R10mm | AHK Tibial Tray Augment Trial | 3#10mmR | POM |
| G10343-3#-R5mm | AHK Tibial Tray Augment Trial | 3#5mmR | POM |
| G10343-4#-R10mm | AHK Tibial Tray Augment Trial | 4#10mmR | POM |
| G10343-4#-R5mm | AHK Tibial Tray Augment Trial | 4#5mmR | POM |
| G10343-5#-R10mm | AHK Tibial Tray Augment Trial | 5#10mmR | POM |
| G10343-5#-R5mm | AHK Tibial Tray Augment Trial | 5#5mmR | POM |
| AHK-1-HW | Instrument Box |  | Aluminium&PPSU |
| AHK-2-HW | Instrument Box |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| CT-AHK-SJ-HW | A3 Primary Total Knee System Components for AHK |  | Stainless Steel&POM |
| Cat No. | Product Name | Specification | Material |
| G10101 | Femoral Drill |  | Stainless Steel |
| 6812 | Intra-Medullary Canal Rod |  | Stainless Steel |
| G10102-II | Distal Femoral Align Guide |  | Stainless Steel |
| G10103 | Magnetic Distal Femoral Alignment Guide Connector |  | Stainless Steel |
| G10104 | Distal Femoral Cutting Block |  | Stainless Steel |
| 6870-II | Pin Holder |  | Stainless Steel |
| G10140 | Pin Extractor |  | Stainless Steel |
| G20118 | Monoaxial Screwdriver |  | Stainless Steel |
| G10427 | Femoral Awl |  | Stainless Steel&silicone |
| G10141 | Universal Handle |  | Stainless Steel |
| G10205 | External Rotation Angle Guide |  | Stainless Steel |
| G10206-10mm | Valgus Angle Drill Tower 10 mm |  | Stainless Steel |
| G10206-18mm | Valgus Angle Drill Tower 18mm |  | Stainless Steel |
| G10207 | 360° Rotational Drill Tower |  | Stainless Steel |
| G10217 | 0° Rod |  | Stainless Steel |
| G10218 | Tibial Cutting Block |  | Stainless Steel |
| G10224 | Straight Drill Tower | φ10 | Stainless Steel |
| G10225 | Tibial Punching Device |  | Stainless Steel |
| G10236 | Tibial Tray Resection Measuring Block |  | Stainless Steel |
| G10233 | Valgus Angel Connection Impactor |  | Stainless Steel |
| G10237 | 90° Inside Hexagon Wrench |  | Stainless Steel |
| G10212-8 | Standard Drill φ8 | φ8 | Stainless Steel |
| G10212-9 | Standard Drill φ9 | φ9 | Stainless Steel |
| G10221 | Tibial Drill Tower |  | Stainless Steel |
| AHK-SJ-HW-1 | Instrument Box |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| CT-DK-GDX-HW | lnstruments List for Unicompartmental Knee (AFK) |  | Stainless Steel&POM |
| Cat No. | Product Name | Specification | Material |
| G10602 | Femoral Fixation Bolt |  | Stainless Steel |
| G10603 | Femoral Drill | φ6mm | Stainless Steel |
| G10609- 1 | Femoral Resection Block | LM/RL 1# | Stainless Steel |
| G10609-2 | Femoral Resection Block | LM/RL 2# | Stainless Steel |
| G10609-3 | Femoral Resection Block | LM/RL 3# | Stainless Steel |
| G10609-4 | Femoral Resection Block | LM/RL 4# | Stainless Steel |
| G10609-5 | Femoral Resection Block | LM/RL 5# | Stainless Steel |
| G10609-6 | Femoral Resection Block | LM/RL 6# | Stainless Steel |
| G10610- 1 | Femoral Resection Block | LL/RM 1# | Stainless Steel |
| G10610-2 | Femoral Resection Block | LL/RM 2# | Stainless Steel |
| G10610-3 | Femoral Resection Block | LL/RM 3# | Stainless Steel |
| G10610-4 | Femoral Resection Block | LL/RM 4# | Stainless Steel |
| G10610-5 | Femoral Resection Block | LL/RM 5# | Stainless Steel |
| G10610-6 | Femoral Resection Block | LL/RM 6# | Stainless Steel |
| G10611 | Quick Released Handle |  | Stainless Steel |
| G10612-5 | Cap Screw- 17mm | 17mm | Stainless Steel |
| G10612-4 | Cap Screw-37mm | 37mm | Stainless Steel |
| G10612-6 | Cap Screw-57mm | 57mm | Stainless Steel |
| G10614- 1 | Femoral Component Trial | LM/RL 1# | Stainless Steel |
| G10614-2 | Femoral Component Trial | LM/RL 2# | Stainless Steel |
| G10614-3 | Femoral Component Trial | LM/RL 3# | Stainless Steel |
| G10614-4 | Femoral Component Trial | LM/RL 4# | Stainless Steel |
| G10614-5 | Femoral Component Trial | LM/RL 5# | Stainless Steel |
| G10614-6 | Femoral Component Trial | LM/RL 6# | Stainless Steel |
| G10615- 1 | Femoral Component Trial | LL/RM 1# | Stainless Steel |
| G10615-2 | Femoral Component Trial | LL/RM 2# | Stainless Steel |
| G10615-3 | Femoral Component Trial | LL/RM 3# | Stainless Steel |
| G10615-4 | Femoral Component Trial | LL/RM 4# | Stainless Steel |
| G10615-5 | Femoral Component Trial | LL/RM 5# | Stainless Steel |
| G10615-6 | Femoral Component Trial | LL/RM 6# | Stainless Steel |
| G10616 | Femoral Component Impactor |  | POM&Stainless Steel |
| G10601 | Tibial Insert Mounting Pliers |  | Stainless Steel&silicone |
| G10617-06 | Spacer Augment | 6mm | Stainless Steel |
| G10617-07 | Spacer Augment | 7mm | Stainless Steel |
| G10617-08 | Spacer Augment | 8mm | Stainless Steel |
| G10617-09 | Spacer Augment | 9mm | Stainless Steel |
| G10617- 10 | Spacer Augment | 10mm | Stainless Steel |
| G10617- 11 | Spacer Augment | 11mm | Stainless Steel |
| G10618 | Calibration Tower |  | Stainless Steel |
| G10619 | Distal Femoral Planing Knife |  | Stainless Steel |
| G10608-2 | 17mm-Short Head Retaining Pin | 17mm | Stainless Steel |
| G10608-3 | 37mm-Short Head Retaining Pin | 37mm | Stainless Steel |
| G10608-4 | 57mm-Short Head Retaining Pin | 57mm | Stainless Steel |
| G10621 | Block Retractor |  | Stainless Steel |
| G10622 | Slide Hammer |  | Stainless Steel |
| G10640-06 | Tibial Component Measure Block | 6mm | POM&Stainless Steel |
| G10640-07 | Tibial Component Measure Block | 7mm | POM&Stainless Steel |
| G10640-08 | Tibial Component Measure Block | 8mm | POM&Stainless Steel |
| G10640-09 | Tibial Component Measure Block | 9mm | POM&Stainless Steel |
| G10640- 10 | Tibial Component Measure Block | 10mm | POM&Stainless Steel |
| G10640- 11 | Tibial Component Measure Block | 11mm | POM&Stainless Steel |
| G10646 | Pin Holder |  | Stainless Steel |
| G10623 | Tibial Jig Sleeve |  | Stainless Steel |
| G10624-L | Tibial Cutting Guide Handle | L | Stainless Steel |
| G10624-S | Tibial Cutting Guide Handle | S | Stainless Steel |
| G10625 | Tibial Cutting Guide Base | LM/RL | Stainless Steel |
| G10626 | Tibial Cutting Guide Base | LL/RM | Stainless Steel |
| G10627 | Tibial Tray Cutting Block | LM/RL | Stainless Steel |
| G10628 | Tibial Tray Cutting Block | LL/RM | Stainless Steel |
| G10629-II | Tibial Stylus |  | Stainless Steel |
| G10630-06 | Thickness Measure Block | 6mm | POM |
| G10630-07 | Thickness Measure Block | 7mm | POM |
| G10630-08 | Thickness Measure Block | 8mm | POM |
| G10630-09 | Thickness Measure Block | 9mm | POM |
| G10630- 10 | Thickness Measure Block | 10mm | POM |
| G10630- 11 | Thickness Measure Block | 11mm | POM |
| G10631-01 | Tibial sizer | A# | Stainless Steel |
| G10631-02 | Tibial sizer | B# | Stainless Steel |
| G10631-03 | Tibial sizer | C# | Stainless Steel |
| G10631-04 | Tibial sizer | D# | Stainless Steel |
| G10631-05 | Tibial sizer | E# | Stainless Steel |
| G10631-06 | Tibial sizer | F# | Stainless Steel |
| G10632 | Measuring Ruler |  | Stainless Steel |
| G10633- 1 | Tibial Trial | LM/RL A# | Stainless Steel |
| G10633-2 | Tibial Trial | LM/RL B# | Stainless Steel |
| G10633-3 | Tibial Trial | LM/RL C# | Stainless Steel |
| G10633-4 | Tibial Trial | LM/RL D# | Stainless Steel |
| G10633-5 | Tibial Trial | LM/RL E# | Stainless Steel |
| G10633-6 | Tibial Trial | LM/RL F# | Stainless Steel |
| G10634- 1 | Tibial Trial | RM/LL A# | Stainless Steel |
| G10634-2 | Tibial Trial | RM/LL B# | Stainless Steel |
| G10634-3 | Tibial Trial | RM/LL C# | Stainless Steel |
| G10634-4 | Tibial Trial | RM/LL D# | Stainless Steel |
| G10634-5 | Tibial Trial | RM/LL E# | Stainless Steel |
| G10634-6 | Tibial Trial | RM/LL F# | Stainless Steel |
| G10635 | Tibial Tray Impactor |  | Stainless Steel |
| G10636 | Tibial Drill |  | Stainless Steel |
| G10637-A06 | Tibial Insert Trial | A#6mm | POM |
| G10637-A07 | Tibial Insert Trial | A#7mm | POM |
| G10637-A08 | Tibial Insert Trial | A#8mm | POM |
| G10637-A09 | Tibial Insert Trial | A#9mm | POM |
| G10637-A10 | Tibial Insert Trial | A#10mm | POM |
| G10637-A11 | Tibial Insert Trial | A#11mm | POM |
| G10637-B06 | Tibial Insert Trial | B#6mm | POM |
| G10637-B07 | Tibial Insert Trial | B#7mm | POM |
| G10637-B08 | Tibial Insert Trial | B#8mm | POM |
| G10637-B09 | Tibial Insert Trial | B#9mm | POM |
| G10637-B10 | Tibial Insert Trial | B#10mm | POM |
| G10637-B11 | Tibial Insert Trial | B#11mm | POM |
| G10637-C06 | Tibial Insert Trial | C#6mm | POM |
| G10637-C07 | Tibial Insert Trial | C#7mm | POM |
| G10637-C08 | Tibial Insert Trial | C#8mm | POM |
| G10637-C09 | Tibial Insert Trial | C#9mm | POM |
| G10637-C10 | Tibial Insert Trial | C#10mm | POM |
| G10637-C11 | Tibial Insert Trial | C#11mm | POM |
| G10637-D06 | Tibial Insert Trial | D#6mm | POM |
| G10637-D07 | Tibial Insert Trial | D#7mm | POM |
| G10637-D08 | Tibial Insert Trial | D#8mm | POM |
| G10637-D09 | Tibial Insert Trial | D#9mm | POM |
| G10637-D10 | Tibial Insert Trial | D#10mm | POM |
| G10637-D11 | Tibial Insert Trial | D#11mm | POM |
| G10637-E06 | Tibial Insert Trial | E#6mm | POM |
| G10637-E07 | Tibial Insert Trial | E#7mm | POM |
| G10637-E08 | Tibial Insert Trial | E#8mm | POM |
| G10637-E09 | Tibial Insert Trial | E#9mm | POM |
| G10637-E10 | Tibial Insert Trial | E#10mm | POM |
| G10637-E11 | Tibial Insert Trial | E#11mm | POM |
| G10637-F06 | Tibial Insert Trial | F#6mm | POM |
| G10637-F07 | Tibial Insert Trial | F#7mm | POM |
| G10637-F08 | Tibial Insert Trial | F#8mm | POM |
| G10637-F09 | Tibial Insert Trial | F#9mm | POM |
| G10637-F10 | Tibial Insert Trial | F#10mm | POM |
| G10637-F11 | Tibial Insert Trial | F#11mm | POM |
| G10638 | MCL Retractor |  | Stainless Steel |
| G10641 | Gap Gauge | 2mm | POM |
| Cat No. | Product Name | Specification | Material |
| CT-DK-HDX-HW | Instruments List for Unicompartmental Knee (AMK) |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| G10906- 1 | Tibial Cutting Block LM | A | Stainless Steel |
| G10906-2 | Tibial Cutting Block LM | B | Stainless Steel |
| G10906-3 | Tibial Cutting Block LM | C | Stainless Steel |
| G10906-4 | Tibial Cutting Block LM | D | Stainless Steel |
| G10906-5 | Tibial Cutting Block LM | E | Stainless Steel |
| G10906-6 | Tibial Cutting Block LM | F | Stainless Steel |
| G10906-7 | Tibial Cutting Block LM | G | Stainless Steel |
| G10907- 1 | Tibial Cutting Block RM | A | Stainless Steel |
| G10907-2 | Tibial Cutting Block RM | B | Stainless Steel |
| G10907-3 | Tibial Cutting Block RM | C | Stainless Steel |
| G10907-4 | Tibial Cutting Block RM | D | Stainless Steel |
| G10907-5 | Tibial Cutting Block RM | E | Stainless Steel |
| G10907-6 | Tibial Cutting Block RM | F | Stainless Steel |
| G10907-7 | Tibial Cutting Block RM | G | Stainless Steel |
| 8013 | Quick Release Drill |  | Stainless Steel |
| G10608- 1 | 50mm Retaining Pin | 50mm | Stainless Steel |
| G10908 | Tibial Tray Fixing Pin |  | Stainless Steel |
| G10909- 1 | Tibial Tray Trial LM | A | Stainless Steel |
| G10909-2 | Tibial Tray Trial LM | B | Stainless Steel |
| G10909-3 | Tibial Tray Trial LM | C | Stainless Steel |
| G10909-4 | Tibial Tray Trial LM | D | Stainless Steel |
| G10909-5 | Tibial Tray Trial LM | E | Stainless Steel |
| G10909-6 | Tibial Tray Trial LM | F | Stainless Steel |
| G10909-7 | Tibial Tray Trial LM | G | Stainless Steel |
| G10910- 1 | Tibial Tray Trial RM | A | Stainless Steel |
| G10910-2 | Tibial Tray Trial RM | B | Stainless Steel |
| G10910-3 | Tibial Tray Trial RM | C | Stainless Steel |
| G10910-4 | Tibial Tray Trial RM | D | Stainless Steel |
| G10910-5 | Tibial Tray Trial RM | E | Stainless Steel |
| G10910-6 | Tibial Tray Trial RM | F | Stainless Steel |
| G10910-7 | Tibial Tray Trial RM | G | Stainless Steel |
| G10911 | Unicondylar Slide Hammer |  | Stainless Steel |
| G10912 | Tibial Groove Cutting Device |  | Stainless Steel |
| G10913 | Bone Cement Spatula |  | Stainless Steel |
| G10635-II | Tibial Tray Impactor |  | Stainless Steel |
| G10914 | Bone Cement Chisel |  | POM |
| G10915 | Intramedullary Rod Removal Hook |  | Stainless Steel |
| G10916 | Tibial Insert Trial Holder |  | Stainless Steel |
| 8012 | Pin | φ3.2 | Stainless Steel |
| G10948 | Support Leg |  | Stainless Steel |
| G10918 | MCL Retractor |  | Stainless Steel |
| G10919-1 | Tibial Cutting Spacer | RM 0mm | Stainless Steel |
| G10919-2 | Tibial Cutting Spacer | RM 2mm | Stainless Steel |
| G10921-1 | Tibial Cutting Spacer | LM 0mm | Stainless Steel |
| G10921-2 | Tibial Cutting Spacer | LM 2mm | Stainless Steel |
| G10920-1 | Tibial Cutting Spacer With Groove | RM 0mm | Stainless Steel |
| G10920-2 | Tibial Cutting Spacer With Groove | RM 2mm | Stainless Steel |
| G10922-1 | Tibial Cutting Spacer With Groove | LM 0mm | Stainless Steel |
| G10922-2 | Tibial Cutting Spacer With Groove | LM 2mm | Stainless Steel |
| G10905 | Connecting Sleeve |  | Stainless Steel |
| G10923-1 | Tibial Cutting Platform | RM | Stainless Steel |
| G10923-2 | Tibial Cutting Platform | LM | Stainless Steel |
| G10924 | Silicone Ankle Strap |  | silicone |
| G10925- 10 | Femur Sizer | 1# 1mm | Stainless Steel |
| G10925-25 | Femur Sizer | 2.5# 1mm | Stainless Steel |
| G10925-35 | Femur Sizer | 3.5# 1mm | Stainless Steel |
| G10925-50 | Femur Sizer | 5# 1mm | Stainless Steel |
| G10925-2 | Femur Sizer | 2mm | Stainless Steel |
| G10925-3 | Femur Sizer | 3mm | Stainless Steel |
| G10926 | Intramedullary Rod Handle |  | POM |
| G10927 | Fixer |  | Stainless Steel |
| G10928 | Intramedullary Rod Connector |  | Stainless Steel |
| G10929-3 | Tibial Cutting Probe | 3mm | Stainless Steel |
| G10929-4 | Tibial Cutting Probe | 4mm | Stainless Steel |
| G10930 | Anterior Cutting Bar (Outer) |  | Stainless Steel |
| G10931-2 | Intramedullary Rod | 200mm | Stainless Steel |
| G10931-3 | Intramedullary Rod | 300mm | Stainless Steel |
| G10932 | Femoral Impactor |  | POM&Stainless Steel |
| G10933 | Anterior Cutting Bar (Inner) |  | Stainless Steel |
| G10934 | Tibial Drill |  | Stainless Steel |
| G10935 | Hammer |  | Stainless Steel&silicone |
| G10904 | Flange Cutting Device |  | Stainless Steel |
| G10936-0 | Mill Limitation Guide | 0mm | Stainless Steel |
| G10936-1 | Mill Limitation Guide | 1mm | Stainless Steel |
| G10936-2 | Mill Limitation Guide | 2mm | Stainless Steel |
| G10936-3 | Mill Limitation Guide | 3mm | Stainless Steel |
| G10936-4 | Mill Limitation Guide | 4mm | Stainless Steel |
| G10936-5 | Mill Limitation Guide | 5mm | Stainless Steel |
| G10936-6 | Mill Limitation Guide | 6mm | Stainless Steel |
| G10936-7 | Mill Limitation Guide | 7mm | Stainless Steel |
| G10937-1 | Metal Thickness Gauge | 1mm | Stainless Steel |
| G10937-2 | Metal Thickness Gauge | 2mm | Stainless Steel |
| G10937-3 | Metal Thickness Gauge | 3mm | Stainless Steel |
| G10903 | Bone Cement Drill |  | Stainless Steel |
| G10902 | 4mm Quick Connect Femoral Drill | 4mm | Stainless Steel |
| G10901 | 6.5mm Quick Connect Femoral Drill | 6.5mm | Stainless Steel |
| G10938-10 | Single Peg Femoral Trial | 1# | Stainless Steel |
| G10939-10 | Femoral Drilling Guide | 1# | Stainless Steel |
| G10940-10 | Anterior Bone Mill | 1# | Stainless Steel |
| G10941-10 | Spherical Mill | 1# | Stainless Steel |
| G10942-10 | Double Pegs Femoral Trial | 1# | Stainless Steel |
| G10943-10 | Anti-impingement Guide | 1# | Stainless Steel |
| G10944-10 | Posterior Resection Guide | 1# | Stainless Steel |
| G10946-1012 | Thickness Measure Block | 1# 1/2mm | POM |
| G10946-1034 | Thickness Measure Block | 1# 3/4mm | POM |
| G10946-1056 | Thickness Measure Block | 1# 5/6mm | POM |
| G10946-1078 | Thickness Measure Block | 1# 7/8mm | POM |
| G10947-103 | Tibial Insert Trial | 1# 3mm | POM |
| G10947-104 | Tibial Insert Trial | 1# 4mm | POM |
| G10947-105 | Tibial Insert Trial | 1# 5mm | POM |
| G10947-106 | Tibial Insert Trial | 1# 6mm | POM |
| G10947-107 | Tibial Insert Trial | 1# 7mm | POM |
| G10945-10 | Posterior Condylar Osteophyte Remover | 1# | Stainless Steel |
| G10938-25 | Single Peg Femoral Trial | 2.5# | Stainless Steel |
| G10939-25 | Femoral Drilling Guide | 2.5# | Stainless Steel |
| G10940-25 | Anterior Bone Mill | 2.5# | Stainless Steel |
| G10941-25 | Spherical Mill | 2.5# | Stainless Steel |
| G10942-25 | Double Pegs Femoral Trial | 2.5# | Stainless Steel |
| G10943-25 | Anti-impingement Guide | 2.5# | Stainless Steel |
| G10944-25 | Posterior Resection Guide | 2.5# | Stainless Steel |
| G10946-2512 | Thickness Measure Block | 2.5# 1/2mm | POM |
| G10946-2534 | Thickness Measure Block | 2.5# 3/4mm | POM |
| G10946-2556 | Thickness Measure Block | 2.5# 5/6mm | POM |
| G10946-2578 | Thickness Measure Block | 2.5# 7/8mm | POM |
| G10947-253 | Tibial Insert Trial | 2.5# 3mm | POM |
| G10947-254 | Tibial Insert Trial | 2.5# 4mm | POM |
| G10947-255 | Tibial Insert Trial | 2.5# 5mm | POM |
| G10947-256 | Tibial Insert Trial | 2.5# 6mm | POM |
| G10947-257 | Tibial Insert Trial | 2.5# 7mm | POM |
| G10947-258 | Tibial Insert Trial | 2.5# 8mm | POM |
| G10947-259 | Tibial Insert Trial | 2.5# 9mm | POM |
| G10945-25 | Posterior Condylar Osteophyte Remover | 2.5# | Stainless Steel |
| G10938-35 | Single Peg Femoral Trial | 3.5# | Stainless Steel |
| G10939-35 | Femoral Drilling Guide | 3.5# | Stainless Steel |
| G10940-35 | Anterior Bone Mill | 3.5# | Stainless Steel |
| G10941-35 | Spherical Mill | 3.5# | Stainless Steel |
| G10942-35 | Double Pegs Femoral Trial | 3.5# | Stainless Steel |
| G10943-35 | Anti-impingement Guide | 3.5# | Stainless Steel |
| G10944-35 | Posterior Resection Guide | 3.5# | Stainless Steel |
| G10946-3512 | Thickness Measure Block | 3.5# 1/2mm | POM |
| G10946-3534 | Thickness Measure Block | 3.5#3/4mm | POM |
| G10946-3556 | Thickness Measure Block | 3.5#5/6mm | POM |
| G10946-3578 | Thickness Measure Block | 3.5#7/8mm | POM |
| G10947-353 | Tibial Insert Trial | 3.5# 3mm | POM |
| G10947-354 | Tibial Insert Trial | 3.5# 4mm | POM |
| G10947-355 | Tibial Insert Trial | 3.5# 5mm | POM |
| G10947-356 | Tibial Insert Trial | 3.5# 6mm | POM |
| G10947-357 | Tibial Insert Trial | 3.5# 7mm | POM |
| G10947-358 | Tibial Insert Trial | 3.5# 8mm | POM |
| G10947-359 | Tibial Insert Trial | 3.5# 9mm | POM |
| G10945-35 | Posterior Condylar Osteophyte Remover | 3.5# | Stainless Steel |
| G10938-50 | Single Peg Femoral Trial | 5# | Stainless Steel |
| G10939-50 | Femoral Drilling Guide | 5# | Stainless Steel |
| G10940-50 | Anterior Bone Mill | 5# | Stainless Steel |
| G10941-50 | Spherical Mill | 5# | Stainless Steel |
| G10942-50 | Double Pegs Femoral Trial | 5# | Stainless Steel |
| G10943-50 | Anti-impingement Guide | 5# | Stainless Steel |
| G10944-50 | Posterior Resection Guide | 5# | Stainless Steel |
| G10946-5012 | Thickness Measure Block | 5# 1/2mm | POM |
| G10946-5034 | Thickness Measure Block | 5# 3/4mm | POM |
| G10946-5056 | Thickness Measure Block | 5# 5/6mm | POM |
| G10946-5078 | Thickness Measure Block | 5# 7/8mm | POM |
| G10947-503 | Tibial Insert Trial | 5# 3mm | POM |
| G10947-504 | Tibial Insert Trial | 5# 4mm | POM |
| G10947-505 | Tibial Insert Trial | 5# 5mm | POM |
| G10947-506 | Tibial Insert Trial | 5# 6mm | POM |
| G10947-507 | Tibial Insert Trial | 5# 7mm | POM |
| G10947-508 | Tibial Insert Trial | 5# 8mm | POM |
| G10947-509 | Tibial Insert Trial | 5# 9mm | POM |
| G10945-50 | Posterior Condylar Osteophyte Remover | 5# | Stainless Steel |
| G10938-70 | Single Peg Femoral Trial | 7# | Stainless Steel |
| G10939-70 | Femoral Drilling Guide | 7# | Stainless Steel |
| G10940-70 | Anterior Bone Mill | 7# | Stainless Steel |
| G10941-70 | Spherical Mill | 7# | Stainless Steel |
| G10942-70 | Double Pegs Femoral Trial | 7# | Stainless Steel |
| G10943-70 | Anti-impingement Guide | 7# | Stainless Steel |
| G10944-70 | Posterior Resection Guide | 7# | Stainless Steel |
| G10946-7012 | Thickness Measure Block | 7# 1/2mm | POM |
| G10946-7034 | Thickness Measure Block | 7# 3/4mm | POM |
| G10946-7056 | Thickness Measure Block | 7# 5/6mm | POM |
| G10946-7078 | Thickness Measure Block | 7# 7/8mm | POM |
| G10947-703 | Tibial Insert Trial | 7# 3mm | POM |
| G10947-704 | Tibial Insert Trial | 7# 4mm | POM |
| G10947-705 | Tibial Insert Trial | 7# 5mm | POM |
| G10947-706 | Tibial Insert Trial | 7# 6mm | POM |
| G10947-707 | Tibial Insert Trial | 7# 7mm | POM |
| G10947-708 | Tibial Insert Trial | 7# 8mm | POM |
| G10947-709 | Tibial Insert Trial | 7# 9mm | POM |
| G10945-70 | Posterior Condylar Osteophyte Remover | 7# | Stainless Steel |
| Cat No. | Product Name | Specification | Material |
| CT-Sleeve-HW | Sleeve Instrument List |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| G10269-1L | Modular Femoral Box Trial | 1L | Stainless Steel |
| G10269-2L | Modular Femoral Box Trial | 2L | Stainless Steel |
| G10269-3L | Modular Femoral Box Trial | 3L | Stainless Steel |
| G10269-4L | Modular Femoral Box Trial | 4L | Stainless Steel |
| G10269-5L | Modular Femoral Box Trial | 5L | Stainless Steel |
| G10269-1R | Modular Femoral Box Trial | 1R | Stainless Steel |
| G10269-2R | Modular Femoral Box Trial | 2R | Stainless Steel |
| G10269-3R | Modular Femoral Box Trial | 3R | Stainless Steel |
| G10269-4R | Modular Femoral Box Trial | 4R | Stainless Steel |
| G10269-5R | Modular Femoral Box Trial | 5R | Stainless Steel |
| G10288 | Box Trial Locking Screw |  | Stainless Steel |
| G10246 | Tibial Sleeve Reamer | 2030 | Stainless Steel |
| G10247 | Tibial Sleeve Reamer | 2340 | Stainless Steel |
| G10248 | Tibial Sleeve Reamer | 2640 | Stainless Steel |
| G10251 | Tibial Sleeve Reamer | 3040 | Stainless Steel |
| G10245-3640 | Tibial Sleeve Broach | 3640 | Stainless Steel |
| G10245-4040 | Tibial Sleeve Broach | 4040 | Stainless Steel |
| G10245-4540 | Tibial Sleeve Broach | 4540 | Stainless Steel |
| G10245-5040 | Tibial Sleeve Broach | 5040 | Stainless Steel |
| G10245-5540 | Tibial Sleeve Broach | 5540 | Stainless Steel |
| G10245-6040 | Tibial Sleeve Broach | 6040 | Stainless Steel |
| G10259 | Sleeve Broach Handle |  | Stainless Steel |
| G11012 | Tibial Tray Positioning Guide |  | Stainless Steel |
| G10270 | Tibial Resection Guide Tower |  | Stainless Steel |
| G10242-2030A | Tibial Sleeve Trial | 2030 | Stainless Steel |
| G10242-2340A | Tibial Sleeve Trial | 2340 | Stainless Steel |
| G10242-2640A | Tibial Sleeve Trial | 2640 | Stainless Steel |
| G10242-3040A | Tibial Sleeve Trial | 3040 | Stainless Steel |
| G10242-3640A | Tibial Sleeve Trial | 3640 | Stainless Steel |
| G10242-4040A | Tibial Sleeve Trial | 4040 | Stainless Steel |
| G10242-4540A | Tibial Sleeve Trial | 4540 | Stainless Steel |
| G10242-5040A | Tibial Sleeve Trial | 5040 | Stainless Steel |
| G10242-5540A | Tibial Sleeve Trial | 5540 | Stainless Steel |
| G10242-6040A | Tibial Sleeve Trial | 6040 | Stainless Steel |
| G10255-21 | Femoral Sleeve Broach | 21 | Stainless Steel |
| G10255-25 | Femoral Sleeve Broach | 25 | Stainless Steel |
| G10255-30 | Femoral Sleeve Broach | 30 | Stainless Steel |
| G10255-35 | Femoral Sleeve Broach | 35 | Stainless Steel |
| G10255-40 | Femoral Sleeve Broach | 40 | Stainless Steel |
| G10255-45 | Femoral Sleeve Broach | 45 | Stainless Steel |
| G10264 | Broach Stop Shim |  | Stainless Steel |
| G10262 | Femoral Condyle Positioning Guide |  | Stainless Steel |
| G10250-0mm | Stem Adaptor Trial | 0mm | Stainless Steel |
| G10250-4mm | Offset Stem Adaptor Trial | 4mm | Stainless Steel |
| G10243-A# | Tibial Tray Trial-A# | A# | Stainless Steel |
| G10243-B# | Tibial Tray Trial-B# | B# | Stainless Steel |
| G10243-C# | Tibial Tray Trial-C# | C# | Stainless Steel |
| G10243-D# | Tibial Tray Trial-D# | D# | Stainless Steel |
| G10243-E# | Tibial Tray Trial-E# | E# | Stainless Steel |
| G10249-0830 | Stem Trial | 830 | Stainless Steel |
| G10249-0860 | Stem Trial | 860 | Stainless Steel |
| G10249-0890 | Stem Trial | 890 | Stainless Steel |
| G10249-1030 | Stem Trial | 1030 | Stainless Steel |
| G10249-1060 | Stem Trial | 1060 | Stainless Steel |
| G10249-1090 | Stem Trial | 1090 | Stainless Steel |
| G10249-1230 | Stem Trial | 1230 | Stainless Steel |
| G10249-1260 | Stem Trial | 1260 | Stainless Steel |
| G10249-1290 | Stem Trial | 1290 | Stainless Steel |
| G10249-1430 | Stem Trial | 1430 | Stainless Steel |
| G10249-1460 | Stem Trial | 1460 | Stainless Steel |
| G10249-1490 | Stem Trial | 1490 | Stainless Steel |
| G10249-1630 | Stem Trial | 1630 | Stainless Steel |
| G10249-1660 | Stem Trial | 1660 | Stainless Steel |
| G10249-1690 | Stem Trial | 1690 | Stainless Steel |
| G10249-1830 | Stem Trial | 1830 | Stainless Steel |
| G10249-1860 | Stem Trial | 1860 | Stainless Steel |
| G10249-1890 | Stem Trial | 1890 | Stainless Steel |
| G10266 | Stem Wrench 8#10# | 8-10 | Stainless Steel |
| G10267 | Stem Wrench 12#14# | 12-14 | Stainless Steel |
| G10268 | Stem Wrench 16#18# | 16-18 | Stainless Steel |
| G10294 | Stem Adaptor Wrench |  | Stainless Steel |
| DZ-G00358 | Sleeve Impactor |  | Stainless Steel |
| G10289 | Femoral Sleeve Initiator |  | Stainless Steel&POM |
| Sleeve-11 | Sleeve Instrument Box |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| CT-A3GTpro-PS-HW | A3GTpro-PS Instrument List |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| G10431 | Pin |  | Stainless Steel |
| G11409-1#1.5# | Femoral Intercondylar Notch Guide | 1#1.5# | Stainless Steel&POM |
| G11409-2#2.5# | Femoral Intercondylar Notch Guide | 2#2.5# | Stainless Steel&POM |
| G11409-3#3.5# | Femoral Intercondylar Notch Guide | 3#3.5# | Stainless Steel&POM |
| G11409-4#5# | Femoral Intercondylar Notch Guide | 4#5# | Stainless Steel&POM |
| G11409-6#7# | Femoral Intercondylar Notch Guide | 6#7# | Stainless Steel&POM |
| G10723 | Tibial Insert Impactor |  | PPSU |
| G10528-AL | Tibial Tray Trial | L-A# | Stainless Steel |
| G10528-AR | Tibial Tray Trial | L-B# | Stainless Steel |
| G10528-BL | Tibial Tray Trial | L-B+# | Stainless Steel |
| G10528-BR | Tibial Tray Trial | L-C# | Stainless Steel |
| G10528-B+L | Tibial Tray Trial | L-C+# | Stainless Steel |
| G10528-B+R | Tibial Tray Trial | L-D# | Stainless Steel |
| G10528-CL | Tibial Tray Trial | L-D+# | Stainless Steel |
| G10528-CR | Tibial Tray Trial | L-E# | Stainless Steel |
| G10528-C+L | Tibial Tray Trial | L-F# | Stainless Steel |
| G10528-C+R | Tibial Tray Trial | L-G# | Stainless Steel |
| G10528-DL | Tibial Tray Trial | R-A# | Stainless Steel |
| G10528-DR | Tibial Tray Trial | R-B# | Stainless Steel |
| G10528-D+L | Tibial Tray Trial | R-B+# | Stainless Steel |
| G10528-D+R | Tibial Tray Trial | R-C# | Stainless Steel |
| G10528-EL | Tibial Tray Trial | R-C+# | Stainless Steel |
| G10528-ER | Tibial Tray Trial | R-D# | Stainless Steel |
| G10528-FL | Tibial Tray Trial | R-D+# | Stainless Steel |
| G10528-FR | Tibial Tray Trial | R-E# | Stainless Steel |
| G10528-GL | Tibial Tray Trial | R-F# | Stainless Steel |
| G10528-GR | Tibial Tray Trial | R-G# | Stainless Steel |
| G10555 | Tibial Tray Trial Handle |  | Stainless Steel |
| G10534 | Tibial Drill |  | Stainless Steel |
| G10536-S | Tibial Punching Device | S | Stainless Steel |
| G10536-M | Tibial Punching Device | M | Stainless Steel |
| G10536-L | Tibial Punching Device | L | Stainless Steel |
| G10530-SA10mm | PS Trial Tibial Insert (SA) | 10mm | POM |
| G10530-SA8mm | PS Trial Tibial Insert (SA) | 8mm | POM |
| G10530-BC10mm | PS Trial Tibial Insert (BC) | 10mm | POM |
| G10530-BC8mm | PS Trial Tibial Insert (BC) | 8mm | POM |
| G10530-DE10mm | PS Trial Tibial Insert (DE) | 10mm | POM |
| G10530-DE8mm | PS Trial Tibial Insert (DE) | 8mm | POM |
| G10530-FG10mm | PS Trial Tibial Insert (FG) | 10mm | POM |
| G10530-FG8mm | PS Trial Tibial Insert (FG) | 8mm | POM |
| G10532-SA4mm | Tibial Insert Augment (SA) | 4mm | POM |
| G10532-SA8mm | Tibial Insert Augment (SA) | 8mm | POM |
| G10532-BC4mm | Tibial Insert Augment (BC) | 4mm | POM |
| G10532-BC8mm | Tibial Insert Augment (BC) | 8mm | POM |
| G10532-DE4mm | Tibial Insert Augment (DE) | 4mm | POM |
| G10532-DE8mm | Tibial Insert Augment (DE) | 8mm | POM |
| G10532-FG4mm | Tibial Insert Augment (FG) | 4mm | POM |
| G10532-FG8mm | Tibial Insert Augment (FG) | 8mm | POM |
| G10533-L | Tibial Punching Device Guide | S | Stainless Steel |
| G10533-M | Tibial Punching Device Guide | M | Stainless Steel |
| G10533-S | Tibial Punching Device Guide | L | Stainless Steel |
| G10429 | Bone Graft Impactor |  | Stainless Steel&Silicone |
| GT Pro HW-11 | Tibial Instruments Box (GT Pro) |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| CT-A3pro-PS-HW | A3 pro PS Instrument List |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| G10101-A3+ | Femoral Drill |  | Stainless Steel |
| G10402 | Distal Femoral Align Guide |  | Stainless Steel |
| G10403 | Femoral Alignment Guide Connector |  | Stainless Steel |
| G11407 | 4-in- 1 Femoral Resection Block Connector |  | Stainless Steel |
| G20118-A3+ | Monoaxial Screwdriver |  | Stainless Steel&Silicone |
| G11409-1#/1.5# | Femoral Intercondylar Notch Guide | 1#/1.5# | Stainless Steel |
| G11409-2#/2.5# | Femoral Intercondylar Notch Guide | 2#/2.5# | Stainless Steel |
| G11409-3#/3.5# | Femoral Intercondylar Notch Guide | 3#/3.5# | Stainless Steel |
| G11409-4#/5# | Femoral Intercondylar Notch Guide | 4#/5# | Stainless Steel |
| G11409-6#/7# | Femoral Intercondylar Notch Guide | 6#/7# | Stainless Steel |
| G10724-1L | Trial Femoral Component | 1L | Stainless Steel |
| G10724-1R | Trial Femoral Component | 1R | Stainless Steel |
| G10724-1.5L | Trial Femoral Component | 1.5L | Stainless Steel |
| G10724-1.5R | Trial Femoral Component | 1.5R | Stainless Steel |
| G10724-2L | Trial Femoral Component | 2L | Stainless Steel |
| G10724-2R | Trial Femoral Component | 2R | Stainless Steel |
| G10724-2.5L | Trial Femoral Component | 2.5L | Stainless Steel |
| G10724-2.5R | Trial Femoral Component | 2.5R | Stainless Steel |
| G10724-3L | Trial Femoral Component | 3L | Stainless Steel |
| G10724-3R | Trial Femoral Component | 3R | Stainless Steel |
| G10724-3.5L | Trial Femoral Component | 3.5L | Stainless Steel |
| G10724-3.5R | Trial Femoral Component | 3.5R | Stainless Steel |
| G10724-4L | Trial Femoral Component | 4L | Stainless Steel |
| G10724-4R | Trial Femoral Component | 4R | Stainless Steel |
| G10724-5L | Trial Femoral Component | 5L | Stainless Steel |
| G10724-5R | Trial Femoral Component | 5R | Stainless Steel |
| G10724-6L | Trial Femoral Component | 6L | Stainless Steel |
| G10724-6R | Trial Femoral Component | 6R | Stainless Steel |
| 8115-II | Thickness Measure Device |  | Stainless Steel&POM |
| G10115 | Ankle Clamp |  | Stainless Steel |
| G10116 | Tibial Jig Sleeve |  | Stainless Steel |
| G10117 | Tibial Jig Uprod |  | Stainless Steel |
| G10142-II | Slide Hammer |  | Stainless Steel |
| G10147 | 30 Degree Bone Knife |  | Stainless Steel |
| G10150 | Femoral Component Inserter/Extractor |  | Stainless Steel |
| G10401-A3+ | Intra-Medullary Canal Rod |  | Stainless Steel&Silicone |
| G10111-S1#-3# | Femoral Intercondylar Drill Tower | S1#-3# | Stainless Steel |
| G10111-3.5#-7# | Femoral Intercondylar Drill Tower | 3.5#-7# | Stainless Steel |
| G10118-R | Tibial Cutting Block (R) | R | Stainless Steel |
| G10118-L | Tibial Cutting Block (L) | L | Stainless Steel |
| G10119-II | Tibial Stylus |  | Stainless Steel |
| G10140-II | Pin Extractor |  | Stainless Steel&Silicone |
| G10140-III-A3+ | Pin Extractor |  | Stainless Steel |
| G10708-A3+ | Lamina Spreader |  | Stainless Steel |
| G10423 | Femoral component Impactor |  | POM |
| 8112 | Tibial Tray Impactor |  | Stainless Steel&POM |
| G10112-A3+ | Femoral Intercondylar Notch Drill |  | Stainless Steel |
| G10113 | Intercondylar Bone Knife |  | Stainless Steel |
| G10148-A3+ | Femoral Condylar Peg Drill |  | Stainless Steel |
| G10427-A3+ | Femoral Awl |  | Stainless Steel&Silicone |
| Pro PS-11 | Femoral Instruments Box（A3/GT PS Pro） |  | Aluminium&PPSU |
| Pro PS-12 | Universal Instruments Box（A3/GT PS Pro） |  | Aluminium&PPSU |
| A3 Pro-11 | Tibial Instruments (A3 Pro) |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| CT-NBS-HW | NBS Knee Joint Instrument Set |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| G11301-L-S30 | Augment Trial (Femoral Metaphysis A) | L-S30 | POM |
| G11301-R-S30 | Augment Trial (Femoral Metaphysis A) | R-S30 | POM |
| G11301-L-S40 | Augment Trial (Femoral Metaphysis A) | L-S40 | POM |
| G11301-R-S40 | Augment Trial (Femoral Metaphysis A) | R-S40 | POM |
| G11301-L-S+30 | Augment Trial (Femoral Metaphysis A) | L-S+30 | POM |
| G11301-R-S+30 | Augment Trial (Femoral Metaphysis A) | R-S+30 | POM |
| G11301-L-S+40 | Augment Trial (Femoral Metaphysis A) | L-S+40 | POM |
| G11301-R-S+40 | Augment Trial (Femoral Metaphysis A) | R-S+40 | POM |
| G11301-L-M30 | Augment Trial (Femoral Metaphysis A) | L-M30 | POM |
| G11301-R-M30 | Augment Trial (Femoral Metaphysis A) | R-M30 | POM |
| G11301-L-M40 | Augment Trial (Femoral Metaphysis A) | L-M40 | POM |
| G11301-R-M40 | Augment Trial (Femoral Metaphysis A) | R-M40 | POM |
| G11313-L-S30 | Augment Trial (Femoral Cavity) | L-S30 | POM |
| G11313-R-S30 | Augment Trial (Femoral Cavity) | R-S30 | POM |
| G11313-L-M30 | Augment Trial (Femoral Cavity) | L-M30 | POM |
| G11313-R-M30 | Augment Trial (Femoral Cavity) | R-M30 | POM |
| G11313-L-L30 | Augment Trial (Femoral Cavity) | L-L30 | POM |
| G11313-R-L30 | Augment Trial (Femoral Cavity) | R-L30 | POM |
| G11319-L-S30 | Augment (Femoral Cavity) RASP | L-S30 | Stainless Steel |
| G11319-R-S30 | Augment (Femoral Cavity) RASP | R-S30 | Stainless Steel |
| G11319-L-M30 | Augment (Femoral Cavity) RASP | L-M30 | Stainless Steel |
| G11319-R-M30 | Augment (Femoral Cavity) RASP | R-M30 | Stainless Steel |
| G11319-L-L30 | Augment (Femoral Cavity) RASP | L-L30 | Stainless Steel |
| G11319-R-L30 | Augment (Femoral Cavity) RASP | R-L30 | Stainless Steel |
| G11325-S30 | Augment Trial (Tibial Cavity) | S30 | POM |
| G11325-M30 | Augment Trial (Tibial Cavity) | M30 | POM |
| G11325-L30 | Augment Trial (Tibial Cavity) | L30 | POM |
| G11325-XL30 | Augment Trial (Tibial Cavity) | XL30 | POM |
| G11325-L40 | Augment Trial (Tibial Cavity) | L40 | POM |
| G11325-XL40 | Augment Trial (Tibial Cavity) | XL40 | POM |
| G11331-B | Tibial Tray Baseplate | B | Stainless Steel |
| G11331-C | Tibial Tray Baseplate | C | Stainless Steel |
| G11331-D | Tibial Tray Baseplate | D | Stainless Steel |
| G11331-E | Tibial Tray Baseplate | E | Stainless Steel |
| G11335-S30 | Augment (Tibial Cavity) RASP | S30 | Stainless Steel |
| G11335-M30 | Augment (Tibial Cavity) RASP | M30 | Stainless Steel |
| G11335-L30 | Augment (Tibial Cavity) RASP | L30 | Stainless Steel |
| G11335-XL30 | Augment (Tibial Cavity) RASP | XL30 | Stainless Steel |
| G11335-L40 | Augment (Tibial Cavity) RASP | L40 | Stainless Steel |
| G11335-XL40 | Augment (Tibial Cavity) RASP | XL40 | Stainless Steel |
| G11341 | Expanding Drill |  | Stainless Steel |
| G11342 | Limiting Ring |  | Stainless Steel |
| G11343 | Straight Positioning Sleeve |  | Stainless Steel |
| G11344 | Limiting Drill Sleeve |  | Stainless Steel |
| G11345 | Airfoil Osteotome Sleeve |  | Stainless Steel |
| G11346 | Offset Positioning Sleeve |  | Stainless Steel |
| NBS-11 | NBS Knee Joint Instrument Box |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| CT-A3-BG-HW | A3+ PS Instrument Set (Patella Side) |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| G10153-27 | Patella Sizer | φ27 | Stainless Steel |
| G10153-31 | Patella Sizer | φ31 | Stainless Steel |
| G10153-34 | Patella Sizer | φ34 | Stainless Steel |
| 6868 | Patella caliper |  | Stainless Steel |
| G10152-27 | Patella Trial | φ27 | POM |
| G10152-31 | Patella Trial | φ31 | POM |
| G10152-34 | Patella Trial | φ34 | POM |
| 6898 | Patella Drill |  | Stainless Steel |
| 6894 | Patellar Nip |  | Stainless Steel |
| 6895 | Patellar Clamp |  | Stainless Steel |
| A3-BG-BOX-HW | A3PS Instrument Box (Patella Side) |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| CT-A3-GJ-HW | A3 International Version |  | Stainless Steel&POM |
| Cat No. | Product Name | Specification | Material |
| G10596 | Femoral Awl |  | Stainless Steel&Silicone |
| G10501 | Step Drill |  | Stainless Steel |
| G10502 | Femoral IM Rod |  | Stainless Steel |
| G10503 | Femoral Valgus Guide |  | Stainless Steel |
| G10504 | Femoral Distal Resection Tower |  | Stainless Steel |
| G10506 | Femoral Distal Resection Guide |  | Stainless Steel |
| G10445 | Femoral Sizer |  | Stainless Steel |
| G20118-II | Hex Driver 3.5mm |  | Stainless Steel&Silicone |
| G10594 | Shift Block |  | Stainless Steel |
| G11402-1# | Formal 4-in-1 Resection Block | 1# | Stainless Steel |
| G11402-1.5# | Formal 4-in-1 Resection Block | 1.5# | Stainless Steel |
| G11402-2# | Formal 4-in-1 Resection Block | 2# | Stainless Steel |
| G11402-2.5# | Formal 4-in-1 Resection Block | 2.5# | Stainless Steel |
| G11402-3# | Formal 4-in-1 Resection Block | 3# | Stainless Steel |
| G11402-3.5# | Formal 4-in-1 Resection Block | 3.5# | Stainless Steel |
| G11402-4# | Formal 4-in-1 Resection Block | 4# | Stainless Steel |
| G11402-5# | Formal 4-in-1 Resection Block | 5# | Stainless Steel |
| G11402-6# | Formal 4-in-1 Resection Block | 6# | Stainless Steel |
| G11402-7# | Formal 4-in-1 Resection Block | 7# | Stainless Steel |
| G10577 | Formal 4-in-1 Driver |  | Stainless Steel |
| G10516-1# | Femoral Modular Trial | 1# | Stainless Steel |
| G10516-1.5# | Femoral Modular Trial | 1.5# | Stainless Steel |
| G10516-2# | Femoral Modular Trial | 2# | Stainless Steel |
| G10516-2.5# | Femoral Modular Trial | 2.5# | Stainless Steel |
| G10516-3# | Femoral Modular Trial | 3# | Stainless Steel |
| G10516-3.5# | Femoral Modular Trial | 3.5# | Stainless Steel |
| G10516-4# | Femoral Modular Trial | 4# | Stainless Steel |
| G10516-5# | Femoral Modular Trial | 5# | Stainless Steel |
| G10516-6# | Femoral Modular Trial | 6# | Stainless Steel |
| G10516-7# | Femoral Modular Trial | 7# | Stainless Steel |
| G10517-PS1# | PS Box Modular Trial | PS1# | Stainless Steel |
| G10517-PS1.5# | PS Box Modular Trial | PS1.5# | Stainless Steel |
| G10517-PS2# | PS Box Modular Trial | PS2# | Stainless Steel |
| G10517-PS2.5# | PS Box Modular Trial | PS2.5# | Stainless Steel |
| G10517-PS3# | PS Box Modular Trial | PS3# | Stainless Steel |
| G10517-PS3.5# | PS Box Modular Trial | PS3.5# | Stainless Steel |
| G10517-PS4# | PS Box Modular Trial | PS4# | Stainless Steel |
| G10517-PS5# | PS Box Modular Trial | PS5# | Stainless Steel |
| G10517-PS6# | PS Box Modular Trial | PS6# | Stainless Steel |
| G10517-PS7# | PS Box Modular Trial | PS7# | Stainless Steel |
| G10518 | Femoral Lug Drill |  | Stainless Steel |
| G10519 | PS Box Cutter Guide |  | Stainless Steel |
| G10520 | PS Box Cutter |  | Stainless Steel |
| G10522 | Femoral Impactor |  | Stainless Steel&POM |
| A3GTGJ-11-HW | A3 GT International Instrument Box(A) | Femoral Instrument | Aluminium&PPSU |
| G10523 | Tibial Tower |  | Aluminium |
| G10524 | Ankle Clamp |  | Stainless Steel |
| G10525-L | Tibial Resection Block 3°(L) | L | Stainless Steel |
| G10525-R | Tibial Resection Block 3°(R) | R | Stainless Steel |
| G10591 | Tibial Resection Block 3° Symmetry |  | Stainless Steel |
| G10526 | Adjustable Tibial Stylus |  | Stainless Steel |
| G10527 | Tibial Stylus 2/9 mm |  | Stainless Steel |
| G10124-S# | Tibial Tray Trial | S# | Stainless Steel&POM |
| G10124-A# | Tibial Tray Trial | A# | Stainless Steel&POM |
| G10124-B# | Tibial Tray Trial | B# | Stainless Steel&POM |
| G10124-B+# | Tibial Tray Trial | B+# | Stainless Steel&POM |
| G10124-C# | Tibial Tray Trial | C# | Stainless Steel&POM |
| G10124-C+# | Tibial Tray Trial | C+# | Stainless Steel&POM |
| G10124-D# | Tibial Tray Trial | D# | Stainless Steel&POM |
| G10124-D+# | Tibial Tray Trial | D+# | Stainless Steel&POM |
| G10124-E# | Tibial Tray Trial | E# | Stainless Steel&POM |
| G10124-F# | Tibial Tray Trial | F# | Stainless Steel&POM |
| G10124-G# | Tibial Tray Trial | G# | Stainless Steel&POM |
| G10125 | Tibial Drill Guide | Big | Stainless Steel |
| G10126-A3+ | Tibial Drill |  | Stainless Steel |
| G10127-S | Tibial Punching Device | Small | Stainless Steel&POM |
| G10127-M | Tibial Punching Device | Middle | Stainless Steel&POM |
| G10127-L | Tibial Punching Device | Big | Stainless Steel&POM |
| G10128-BC8mm | Tibial Insert Trial | BC 8mm | Stainless Steel&POM |
| G10128-BC10mm | Tibial Insert Trial | BC 10mm | Stainless Steel&POM |
| G10128-BC12mm | Tibial Insert Trial | BC 12mm | Stainless Steel&POM |
| G10128-BC14mm | Tibial Insert Trial | BC 14mm | Stainless Steel&POM |
| G10128-BC16mm | Tibial Insert Trial | BC 16mm | Stainless Steel&POM |
| G10128-DE8mm | Tibial Insert Trial | DE 8mm | Stainless Steel&POM |
| G10128-DE10mm | Tibial Insert Trial | DE 10mm | Stainless Steel&POM |
| G10128-DE12mm | Tibial Insert Trial | DE 12mm | Stainless Steel&POM |
| G10128-DE14mm | Tibial Insert Trial | DE 14mm | Stainless Steel&POM |
| G10128-DE16mm | Tibial Insert Trial | DE 16mm | Stainless Steel&POM |
| G10128-FG8mm | Tibial Insert Trial | FG 8mm | Stainless Steel&POM |
| G10128-FG10mm | Tibial Insert Trial | FG 10mm | Stainless Steel&POM |
| G10128-FG12mm | Tibial Insert Trial | FG 12mm | Stainless Steel&POM |
| G10128-FG14mm | Tibial Insert Trial | FG 14mm | Stainless Steel&POM |
| G10128-FG16mm | Tibial Insert Trial | FG 16mm | Stainless Steel&POM |
| G10128-SA8mm | Tibial Insert Trial | SA 8mm | Stainless Steel&POM |
| G10128-SA10mm | Tibial Insert Trial | SA 10mm | Stainless Steel&POM |
| G10128-SA12mm | Tibial Insert Trial | SA 12mm | Stainless Steel&POM |
| G10128-SA14mm | Tibial Insert Trial | SA 14mm | Stainless Steel&POM |
| G10128-SA16mm | Tibial Insert Trial | SA 16mm | Stainless Steel&POM |
| G10129 | PS Tibial Insert PostTrial |  | POM&Stainless Steel |
| G10129-PLUS | PS PLUS Tibial Insert PostTrial |  | POM&Stainless Steel |
| G10538 | Tibial Impactor |  | Stainless Steel&POM |
| G10386 | Universal Handle |  | Stainless Steel&silicone |
| G10143 | Tibial Alignment Rod Handle |  | Stainless Steel |
| G10130 | Tibial Insert Trial Handle |  | POM |
| G10132 | Locking Clip Impactor |  | Stainless Steel |
| A3-GJ-11-HW | A3 International Instrument Box (A) |  | Aluminium&PPSU |
| G10550 | Modular Handle |  | Stainless Steel&Silicone |
| G10554 | Alignment Guide |  | Stainless Steel |
| G10559 | EM Alignment Rod Clip |  | Stainless Steel |
| G10561 | Spacer Block |  | POM |
| G10562-1 | Spacer Shim | 4mm | POM |
| G10562-2 | Spacer Shim | 8mm | POM |
| G10562-3 | Spacer Shim | 12mm | POM |
| G10563 | Short Headed Pin |  | Stainless Steel |
| G10564 | Short Threaded Headed Pin |  | Stainless Steel |
| G10565 | Long Pin |  | Stainless Steel |
| G10566 | Long Threaded Pin |  | Stainless Steel |
| G10567 | Long Threaded Headed Pin |  | Stainless Steel |
| G10568 | 3.2mm Drill |  | Stainless Steel |
| G10570 | Power Driver |  | Stainless Steel |
| G10573 | Pin Inserter |  | Stainless Steel |
| G10574 | Angel Wing |  | Stainless Steel |
| G10134 | Angel Wing - Large | Large | Stainless Steel |
| G10135 | Angel wing - Small | Small | Stainless Steel |
| G10578 | Curved Osteotome |  | Stainless Steel |
| G10587 | Hidden Slap Hammer |  | Stainless Steel |
| G10590 | Headed Pin Inserter |  | Stainless Steel |
| 4741 | Retractor |  | Stainless Steel |
| 8202 | Bone File |  | Stainless Steel |
| 6844-II-L | Alignment Rod | Long | Stainless Steel |
| 6844-II-S | Alignment Rod | Short | Stainless Steel |
| G10140-III | Pin Jack |  | Stainless Steel |
| G10595 | Pin Puller/Impactor |  | Stainless Steel&Silicone |
| G10521 | Femoral Driver |  | Stainless Steel&POM |
| G10708 | Sprader |  | Stainless Steel |
| A3GTGJ-15-HW | A3 GT International Instrument Box (C) | Universal Instrument | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| CT-A3GTGJ-CR-HW | A3 GT CR Instrument |  | Aluminium&PPSU |
| Cat No. | Product Name | Specification | Material |
| G10407-CR-1L | Trial Femoral Component | 1L | Stainless Steel |
| G10407-CR-1.5L | Trial Femoral Component | 1.5L | Stainless Steel |
| G10407-CR-2L | Trial Femoral Component | 2L | Stainless Steel |
| G10407-CR-2.5L | Trial Femoral Component | 2.5L | Stainless Steel |
| G10407-CR-3L | Trial Femoral Component | 3L | Stainless Steel |
| G10407-CR-3.5L | Trial Femoral Component | 3.5L | Stainless Steel |
| G10407-CR-4L | Trial Femoral Component | 4L | Stainless Steel |
| G10407-CR-1R | Trial Femoral Component | 1R | Stainless Steel |
| G10407-CR-1.5R | Trial Femoral Component | 1.5R | Stainless Steel |
| G10407-CR-2R | Trial Femoral Component | 2R | Stainless Steel |
| G10407-CR-2.5R | Trial Femoral Component | 2.5R | Stainless Steel |
| G10407-CR-3R | Trial Femoral Component | 3R | Stainless Steel |
| G10407-CR-3.5R | Trial Femoral Component | 3.5R | Stainless Steel |
| G10407-CR-4R | Trial Femoral Component | 4R | Stainless Steel |
| G10407-CR-5L | Trial Femoral Component | 5R | Stainless Steel |
| G10529-SA8mm | Tibial Insert Trial | SA8mm | POM |
| G10529-SA10mm | Tibial Insert Trial | SA10mm | POM |
| G10529-BC8mm | Tibial Insert Trial | BC8mm | POM |
| G10529-BC10mm | Tibial Insert Trial | BC10mm | POM |
| G10529-DE8mm | Tibial Insert Trial | DE8mm | POM |
| G10529-DE10mm | Tibial Insert Trial | DE10mm | POM |
| G10529-FG8mm | Tibial Insert Trial | FG8mm | POM |
| G10529-FG10mm | Tibial Insert Trial | FG10mm | POM |
| G10531-SA8mm | Tibial Insert Trial | SA8mm | POM |
| G10531-SA10mm | Tibial Insert Trial | SA10mm | POM |
| G10531-BC8mm | Tibial Insert Trial | BC8mm | POM |
| G10531-BC10mm | Tibial Insert Trial | BC10mm | POM |
| G10531-DE8mm | Tibial Insert Trial | DE8mm | POM |
| G10531-DE10mm | Tibial Insert Trial | DE10mm | POM |
| G10531-FG8mm | Tibial Insert Trial | FG8mm | POM |
| G10531-FG10mm | Tibial Insert Trial | FG10mm | POM |
| A3GTGJ-CR-11 | Instrument Box |  | Aluminium&PPSU |