	Cat No.
	Product Name
	Specification
	Material

	CT -ZLXGJ -HW
	Tumor Knee Joint Instrument
	
	

	Cat No.
	Product Name
	Specification
	Material

	G11102
	Distal Femoral Template
	
	Stainless Steel

	G11103
	Proximal Tibial Template
	
	Stainless Steel

	G11104
	Calcar Planer
	
	Stainless Steel

	G20105
	Hammer
	
	Stainless Steel

	G11107
	Canal Drill
	φ11
	Stainless Steel

	G11108
	Canal Drill
	φ13
	Stainless Steel

	G11109
	Canal Drill
	φ15
	Stainless Steel

	G11110
	Canal Drill
	φ17
	Stainless Steel

	G11111
	Canal Drill
	φ19
	Stainless Steel

	G11112
	Facing Reamer
	φ11
	Stainless Steel

	G11113
	Facing Reamer
	φ13
	Stainless Steel

	G11114
	Facing Reamer
	φ15
	Stainless Steel

	G11115
	Facing Reamer
	φ17
	Stainless Steel

	G11116
	Facing Reamer
	φ19
	Stainless Steel

	G11117
	Impaction Tube
	
	Stainless Steel&POM

	G11118
	Impactor
	
	Stainless Steel&POM

	G11119
	Joint Separator
	
	Stainless Steel

	G11120
	Angle Adjuster
	
	Stainless Steel

	G11122
	Trial of Extension Stem Type I
	30
	Stainless Steel

	G11123
	Trial of Extension Stem Type I
	40
	Stainless Steel

	G11124
	Trial of Extension Stem Type I
	50
	Stainless Steel

	G11125
	Trial of Extension Stem Type I
	60
	Stainless Steel

	G11126
	Trial of Extension Stem Type I
	70
	Stainless Steel

	G11127
	Trial of Extension Stem Type I
	80
	Stainless Steel

	G11128
	Trial of Extension Stem Type I
	90
	Stainless Steel

	G11129
	Trial of Extension Stem Type I
	100
	Stainless Steel

	G11130
	Trial of Extension Stem Type II
	φ9×102
	Stainless Steel

	G11131
	Trial of Extension Stem Type II
	φ11×127
	Stainless Steel

	G11132
	Trial of Extension Stem Type II
	φ13×127
	Stainless Steel

	G11133
	Trial of Extension Stem Type II
	φ15×127
	Stainless Steel

	G11134
	Trial of Extension Stem Type II
	φ17×127
	Stainless Steel

	G11135
	Trial of Extension Stem Type III
	4#/φ9×102×10
	Stainless Steel

	G11136
	Trial of Extension Stem Type III
	7#/φ11×102×10
	Stainless Steel

	G11137
	Trial of Extension Stem Type III
	10#/φ11×127×10
	Stainless Steel

	G11138
	Trial of Extension Stem Type III
	13#/φ13×127×10
	Stainless Steel

	G11139
	Trial of Extension Stem Type III
	16#/φ15×127×10
	Stainless Steel

	G11140
	Trial of Extension Stem Type III
	19#/φ17×127×10
	Stainless Steel

	G11142
	Tibial Tray Trial（ Overall
Reconstructed AS Type)
	1#80
	Stainless Steel

	G11146
	Tibial Tray Trial（ Overall
Reconstructed AS Type)
	3#80
	Stainless Steel

	G11157
	Femoral Condylar Trial（Overall
Reconstructed OS Type)
	1#L
	Stainless Steel

	G11162
	Femoral Condylar Trial（Overall
Reconstructed OS Type)
	1#R
	Stainless Steel

	G11169
	Hinge Post Trial OSIII Type
	
	Stainless Steel

	G11165
	POM Plug
	Small
	Stainless Steel

	G11166
	POM Plug
	Big
	Stainless Steel

	G11167
	Guiding Rod
	Small
	Stainless Steel

	G11168
	Guiding Rod
	Big
	Stainless Steel

	ZLXGJ-HW-1
	Instrument Box
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	CT-A2-HW
	Instruments List for JPX Total Knee System
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	G10108
	Femoral Sizing Guide
Handle
	
	Stainless Steel

	8003-II
	Femoral Sizing Guide
	
	Stainless Steel&Silicone

	8004-II-1#
	4-in- 1 Femoral Resection Block
	1#
	Stainless Steel

	8004-II-2#
	4-in- 1 Femoral Resection Block
	2#
	Stainless Steel

	8004-II-2.5#
	4-in- 1 Femoral Resection Block
	2.5#
	Stainless Steel

	8004-II-3#
	4-in- 1 Femoral Resection Block
	3#
	Stainless Steel

	8004-II-3.5#
	4-in- 1 Femoral Resection Block
	3.5#
	Stainless Steel

	8004-II-4#
	4-in- 1 Femoral Resection Block
	4#
	Stainless Steel

	8004-II-5#
	4-in- 1 Femoral Resection Block
	5#
	Stainless Steel

	8004-II-6#
	4-in- 1 Femoral Resection Block
	6#
	Stainless Steel

	8016
	Femoral Condyle Cutting
Block Adjuster
	
	Stainless Steel

	G10144
	Femur Retractor
	
	Stainless Steel

	8009-1L
	Femoral Trial
	1#
	Stainless Steel

	8009-2L
	Femoral Trial
	2#
	Stainless Steel

	8009-2.5L
	Femoral Trial
	2.5#
	Stainless Steel

	8009-3L
	Femoral Trial
	3#
	Stainless Steel

	8009-3.5L
	Femoral Trial
	3.5#
	Stainless Steel

	8009-4L
	Femoral Trial
	4#
	Stainless Steel

	8009-5L
	Femoral Trial
	5#
	Stainless Steel

	8009-6L
	Femoral Trial
	6#
	Stainless Steel

	8009-1R
	Femoral Trial
	1#
	Stainless Steel

	8009-2R
	Femoral Trial
	2#
	Stainless Steel

	8009-2.5R
	Femoral Trial
	2.5#
	Stainless Steel

	8009-3R
	Femoral Trial
	3#
	Stainless Steel

	8009-3.5R
	Femoral Trial
	3.5#
	Stainless Steel

	8009-4R
	Femoral Trial
	4#
	Stainless Steel

	8009-5R
	Femoral Trial
	5#
	Stainless Steel

	8009-6R
	Femoral Trial
	6#
	Stainless Steel

	6866-II
	Femoral Condyle Extractor
	
	Stainless Steel&POM

	HW015
	Instrument Box
	
	Aluminium&PPSU

	8102-1#
	Tibial Tray Trial
	1+#
	Stainless Steel

	8102-1+#
	Tibial Tray Trial
	2#
	Stainless Steel

	8102-2#
	Tibial Tray Trial
	2+#
	Stainless Steel

	8102-2+#
	Tibial Tray Trial
	3#
	Stainless Steel

	8102-3#
	Tibial Tray Trial
	3+#
	Stainless Steel

	8102-3+#
	Tibial Tray Trial
	4#
	Stainless Steel

	8102-4#
	Tibial Tray Trial
	10mm
	Stainless Steel

	8107-1#10mm
	Insert Trial 1#
	12mm
	POM

	8107-1#12mm
	Insert Trial 1#
	15mm
	POM

	8107-1#15mm
	Insert Trial 1#
	8mm
	POM

	8107-1#8mm
	Insert Trial 1#
	10mm
	POM

	8108-2#10mm
	Insert Trial 2#
	12mm
	POM

	8108-2#12mm
	Insert Trial 2#
	15mm
	POM

	8108-2#15mm
	Insert Trial 2#
	8mm
	POM

	8108-2#8mm
	Insert Trial 2#
	10mm
	POM

	8109-3#10mm
	Insert Trial 3#
	12mm
	POM

	8109-3#12mm
	Insert Trial 3#
	15mm
	POM

	8109-3#15mm
	Insert Trial 3#
	8mm
	POM

	8109-3#8mm
	Insert Trial 3#
	10mm
	POM

	8110-4#10mm
	Insert Trial 4#
	12mm
	POM

	8110-4#12mm
	Insert Trial 4#
	15mm
	POM

	8110-4#15mm
	Insert Trial 4#
	8mm
	POM

	8110-4#8mm
	Insert Trial 4#
	
	POM

	8110-T
	Insert Column Trial
	
	POM

	8111
	Tibial Tray Holder
	
	Stainless Steel

	8106
	Tibial Punching Device
	1-2
	Stainless Steel

	8105
	Tibial Drill
	
	Stainless Steel

	8104
	Drill Guide
	
	Stainless Steel

	8103
	Tibial Trial Handle
	
	Stainless Steel

	6863
	Tibial Tray Pin
	
	Stainless Steel

	8006-II-21.5
	Femoral Intercondyle Drill
	φ21.5
	Stainless Steel

	8006-II-8
	Femoral Intercondyle Drill
	φ8
	Stainless Steel

	8005-II-1#-3.5#
	Femoral Intercondyle Cutting Block 1#-3.5#
	
	Stainless Steel

	8005-II-4#-6#
	Femoral Intercondyle
Cutting Block
4#-6#
	
	Stainless Steel

	8005-II-5
	Femoral Intercondylar
Drill Tower
	φ8
	Stainless Steel

	8005-II-1
	Femoral Intercondylar
Drill Tower
	φ21.5
	Stainless Steel

	6864
	30° Bone Knife
	
	Stainless Steel

	6850
	Tibial Tray Impactor
	
	Stainless Steel

	8117
	Retractor
	
	Stainless Steel

	HW016
	Instrument Box
	
	Aluminium&PPSU

	8201
	Patella Sizer
	
	Stainless Steel

	8203
	Patella Trial（medium）
	M
	POM

	8204
	Patella Trial   （ small）
	S
	POM

	JPX-BOX
	Instrument Box
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	CT-A3+-HW
	Instrument List for A3+ Total Knee System
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	G10428-A3+
	Femur Retractor
	
	Stainless Steel&Silicone

	G10109-1#-A3+
	4-in-1 Femoral Resection Block
	1#
	Stainless Steel

	G10109-1.5#-A3+
	4-in-1 Femoral Resection Block
	1.5#
	Stainless Steel

	G10109-2#-A3+
	4-in-1 Femoral Resection Block
	2#
	Stainless Steel

	G10109-2.5#-A3+
	4-in-1 Femoral Resection Block
	2.5#
	Stainless Steel

	G10109-3#-A3+
	4-in-1 Femoral Resection Block
	3#
	Stainless Steel

	G10109-3.5#-A3+
	4-in-1 Femoral Resection Block
	3.5#
	Stainless Steel

	G10109-4#-A3+
	4-in-1 Femoral Resection Block
	4#
	Stainless Steel

	G10109-5#-A3+
	4-in-1 Femoral Resection Block
	5#
	Stainless Steel

	G10109-6#-A3+
	4-in-1 Femoral Resection Block
	6#
	Stainless Steel

	G10111-S1#-3#-A3+
	Femoral Intercondylar Drill Tower
	S1#-3#
	Stainless Steel

	G10111-3.5#-7#-A3+
	Femoral Intercondylar Drill Tower
	3.5#-7#
	Stainless Steel

	G10113-A3+
	Intercondylar Bone Knife
	
	Stainless Steel

	6870-II-A3+
	Pin Holder
	
	Stainless Steel

	G10109-J-A3+
	4-in-1 Femoral Resection
Block Connector
	
	Stainless Steel

	G10102-III-A3+
	Distal Femoral Align Guide
	
	Stainless Steel

	G10711-A3+
	Magnetic Distal Femoral
Alignment Guide Connector
	
	Stainless Steel

	G10701-A3+
	Distal Femoral Cutting Block
	
	Stainless Steel

	G10405-A3+
	Femoral Sizing Guide
	
	Stainless Steel&Silicone

	G10431-A3+
	Pin
	
	Stainless Steel

	8012-A3+
	Pin
	
	Stainless Steel

	8013-II-A3+
	Pin Drill
	
	Stainless Steel

	G10147-A3+
	30 Degree Bone Knife
	
	Stainless Steel

	4741-A3+
	Curved Retractor
	
	Stainless Steel

	A3+-GG-1-HW
	Instrument Box
	
	Aluminium&PPSU

	G10115-II-A3+
	Ankle Clamp
	
	Stainless Steel

	G10116-II-A3+
	Tibial Jig Sleeve
	
	Stainless Steel

	G10117-II-A3+
	Tibial Jig Uprod
	
	Stainless Steel

	G10118-II-R-A3+
	Tibial Cutting  Block (R)
	R
	Stainless Steel

	G10118-II-L-A3+
	Tibial Cutting  Block (L)
	L
	Stainless Steel

	G10119-II-A3+
	Tibial Stylus
	
	Stainless Steel

	G10132-A3+
	Locking  Clip  Impactor
	
	Stainless Steel

	6844-II-L-A3+
	Extramedullary  Alignment  Rod
	Long
	Stainless Steel

	6844-II-S-A3+
	Extramedullary  Alignment  Rod
	Short
	Stainless Steel

	G10426-B-A3+
	Thickness  Measure  Device
	
	POM

	G10143-A3+
	Tibial Alignment  Rod Handle
	
	Stainless Steel

	G10124S#-A3+
	Tibial Tray Trial
	S#
	Stainless Steel

	G10124A#-A3+
	Tibial Tray Trial
	A#
	Stainless Steel

	G10124B#-A3+
	Tibial Tray Trial
	B#
	Stainless Steel

	G10124B+#-A3+
	Tibial Tray Trial
	B+#
	Stainless Steel

	G10124C#-A3+
	Tibial Tray Trial
	C#
	Stainless Steel

	G10124C+#-A3+
	Tibial Tray Trial
	C+#
	Stainless Steel

	G10124D#-A3+
	Tibial Tray Trial
	D#
	Stainless Steel

	G10124D+#-A3+
	Tibial Tray Trial
	D+#
	Stainless Steel

	G10124E#-A3+
	Tibial Tray Trial
	E#
	Stainless Steel

	G10124F#-A3+
	Tibial Tray Trial
	F#
	Stainless Steel

	G10124G#-A3+
	Tibial Tray Trial
	G#
	Stainless Steel

	G10125-A3+
	Tibial Drill Guide
	
	Stainless Steel

	G10127L-A3+
	Tibial  Punching  Device
	L
	Stainless Steel

	G10127M-A3+
	Tibial  Punching  Device
	M
	Stainless Steel

	G10127S-A3+
	Tibial  Punching  Device
	S
	Stainless Steel

	G10709-A3+
	Tibial Tray Impactor
	
	POM&Stainless Steel

	G10134-A3+
	Feeler Gauge  (Big)
	Big
	Stainless Steel

	G10135-A3+
	Feeler Gauge  (Small)
	Small
	Stainless Steel

	G10422-A3+
	Universal  Handle
	
	Stainless Steel&Silicone

	G10142-A3+
	Slide  Hammer
	
	Stainless Steel

	A3+-JG-2-HW
	Instrument  Box
	
	Aluminium&PPSU

	G10707-1#L-A3+
	Femoral Component Trial
	1#L
	Stainless Steel

	G10707-1#R-A3+
	Femoral Component Trial
	1#R
	Stainless Steel

	G10707-1.5#L-A3+
	Femoral Component Trial
	1.5#L
	Stainless Steel

	G10707-1.5#R-A3+
	Femoral Component Trial
	1.5#R
	Stainless Steel

	G10707-2#L-A3+
	Femoral Component Trial
	2#L
	Stainless Steel

	G10707-2#R-A3+
	Femoral Component Trial
	2#R
	Stainless Steel

	G10707-2.5#L-A3+
	Femoral Component Trial
	2.5#L
	Stainless Steel

	G10707-2.5#R-A3+
	Femoral Component Trial
	2.5#R
	Stainless Steel

	G10707-3#L-A3+
	Femoral Component Trial
	3#L
	Stainless Steel

	G10707-3#R-A3+
	Femoral Component Trial
	3#R
	Stainless Steel

	G10707-3.5#L-A3+
	Femoral Component Trial
	3.5#L
	Stainless Steel

	G10707-3.5#R-A3+
	Femoral Component Trial
	3.5#R
	Stainless Steel

	G10707-4#L-A3+
	Femoral Component Trial
	4#L
	Stainless Steel

	G10707-4#R-A3+
	Femoral Component Trial
	4#R
	Stainless Steel

	G10707-5#L-A3+
	Femoral Component Trial
	5#L
	Stainless Steel

	G10707-5#R-A3+
	Femoral Component Trial
	5#R
	Stainless Steel

	G10707-6#L-A3+
	Femoral Component Trial
	6#L
	Stainless Steel

	G10707-6#R-A3+
	Femoral Component Trial
	6#R
	Stainless Steel

	G10150-II-A3+
	Femoral Component
Inserter/Extractor
	
	Stainless Steel&POM

	G10423-A3+
	Femoral component  Impactor
	
	Stainless Steel&POM

	G10128-II-SA10mm
	Tibial Insert Trial (SA)
	SA10mm
	POM

	G10128-II-SA12mm
	Tibial Insert Trial (SA)
	SA12mm
	POM

	G10128-II-SA14mm
	Tibial Insert Trial (SA)
	SA14mm
	POM

	G10128-II-SA16mm
	Tibial Insert Trial (SA)
	SA16mm
	POM

	G10128-II-SA8mm
	Tibial Insert Trial (SA)
	SA8mm
	POM

	G10128-II-BC10mm
	Tibial Insert Trial (BC)
	BC10mm
	POM

	G10128-II-BC12mm
	Tibial Insert Trial (BC)
	BC12mm
	POM

	G10128-II-BC14mm
	Tibial Insert Trial (BC)
	BC14mm
	POM

	G10128-II-BC16mm
	Tibial Insert Trial (BC)
	BC16mm
	POM

	G10128-II-BC8mm
	Tibial Insert Trial (BC)
	BC8mm
	POM

	G10128-II-DE10mm
	Tibial Insert Trial (DE)
	DE10mm
	POM

	G10128-II-DE12mm
	Tibial Insert Trial (DE)
	DE12mm
	POM

	G10128-II-DE14mm
	Tibial Insert Trial (DE)
	DE14mm
	POM

	G10128-II-DE16mm
	Tibial Insert Trial (DE)
	DE16mm
	POM

	G10128-II-DE8mm
	Tibial Insert Trial (DE)
	DE8mm
	POM

	G10128-II-FG10mm
	Tibial Insert Trial (FG)
	FG10mm
	POM

	G10128-II-FG12mm
	Tibial Insert Trial (FG)
	FG12mm
	POM

	G10128-II-FG14mm
	Tibial Insert Trial (FG)
	FG14mm
	POM

	G10128-II-FG16mm
	Tibial Insert Trial (FG)
	FG16mm
	POM

	G10128-II-FG8mm
	Tibial Insert Trial (FG)
	FG8mm
	POM

	G10130-A3+
	Insert Trial Handle
	
	Stainless Steel&POM

	A3+-SM-3-HW
	Instrument  Box
	
	Aluminium&PPSU

	8202-A3+
	Petella File
	
	Stainless Steel

	G10153-27-A3+
	Patella Sizer
	φ27
	Stainless Steel

	G10153-31-A3+
	Patella Sizer
	φ31
	Stainless Steel

	G10153-34-A3+
	Patella Sizer
	φ34
	Stainless Steel

	6868-A3+
	Patella Caliper
	
	Stainless Steel

	G10152-27-A3+
	Patella Trial
	φ27
	PPSU

	G10152-31-A3+
	Patella Trial
	φ31
	PPSU

	G10152-34-A3+
	Patella Trial
	φ34
	PPSU

	6898-A3+
	Patella Drill
	
	Stainless Steel

	6894-A3+
	Patellar Nip
	
	Stainless Steel

	6895-A3+
	Patellar Clamp
	
	Stainless Steel

	A3+-BG-4-Box-HW
	Instrument Box
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	CT-A3GT-CR-HW
	A3 GT CR Instrument 
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	A3GT-CR-HW
	Instrument Box
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	CT-A3GT-GJBG-HW
	A3 GT International Version (Patella Side)
	
	Aluminium

	Cat No.
	Product Name
	Specification
	Material

	G10546-II
	Patella wafer
	
	Stainless Steel

	G10548
	Patella lug drill
	
	Stainless Steel

	G10544
	Patella resection guide
	
	Stainless Steel

	G10547
	Patella clamp with drill guide
	
	Stainless Steel

	A3GTGJ-16-HW
	A3 GT Knee Patella Tray
	
	Stainless Steel&POM

	Cat No.
	Product Name
	Specification
	Material

	CT-A3GT-GJ-HW
	A3 GT International Version
	
	Stainless Steel&POM

	Cat No.
	Product Name
	Specification
	Material

	G10517-CR1#
	CR Box Modular Trial
	CR1#
	Stainless Steel

	G10517-CR1.5#
	CR Box Modular Trial
	CR1.5#
	Stainless Steel

	G10517-CR2#
	CR Box Modular Trial
	CR2#
	Stainless Steel

	G10517-CR2.5#
	CR Box Modular Trial
	CR2.5#
	Stainless Steel

	G10517-CR3#
	CR Box Modular Trial
	CR3#
	Stainless Steel

	G10517-CR3.5#
	CR Box Modular Trial
	CR3.5#
	Stainless Steel

	G10517-CR4#
	CR Box Modular Trial
	CR4#
	Stainless Steel

	G10517-CR5#
	CR Box Modular Trial
	CR5#
	Stainless Steel

	G10517-CR6#
	CR Box Modular Trial
	CR6#
	Stainless Steel

	G10517-CR7#
	CR Box Modular Trial
	CR7#
	Stainless Steel

	G10539
	Tibial Insert Clamp
	
	Stainless Steel

	A3GTGJ-12-HW
	A3 GT International Instrument Box (B)
	Tibial Instrument
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	CT-A3GT-PS-HW
	A3 GT PS Instrument
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	G10401
	Intra-Medullary Canal Rod
	
	Stainless Steel&Silicone

	G10405
	Femoral Sizing Guide
	
	Stainless Steel&Silicone

	G10109-1#
	4-in- 1 Femoral Resection Block
	1#
	Stainless Steel

	G10109-1.5#
	4-in- 1 Femoral Resection Block
	1.5#
	Stainless Steel

	G10109-2#
	4-in- 1 Femoral Resection Block
	2#
	Stainless Steel

	G10109-2.5#
	4-in- 1 Femoral Resection Block
	2.5#
	Stainless Steel

	G10109-3#
	4-in- 1 Femoral Resection Block
	3#
	Stainless Steel

	G10109-3.5#
	4-in- 1 Femoral Resection Block
	3.5#
	Stainless Steel

	G10109-4#
	4-in- 1 Femoral Resection Block
	4#
	Stainless Steel

	G10109-5#
	4-in- 1 Femoral Resection Block
	5#
	Stainless Steel

	G10109-6#
	4-in- 1 Femoral Resection Block
	6#
	Stainless Steel

	G10109-J
	4-in- 1 Femoral Resection Block Connector
	
	Stainless Steel

	G10406-1#/1.5#
	Femoral Intercondylar Notch Guide
	1#/1.5#
	PEEK

	G10406-2#/2.5#
	Femoral Intercondylar Notch Guide
	2#/2.5#
	PEEK

	G10406-3#/3.5#
	Femoral Intercondylar Notch Guide
	3#/3.5#
	PEEK

	G10406-4#/5#
	Femoral Intercondylar Notch Guide
	4#/5#
	PEEK

	G10406-6#/7#
	Femoral Intercondylar Notch Guide
	6#/7#
	PEEK

	G10112
	Femoral Intercondylar Notch Drill
	
	Stainless Steel

	G10114-1L
	Trial Femoral Component
	1L
	Stainless Steel

	G10114-1R
	Trial Femoral Component
	1R
	Stainless Steel

	G10114-1.5L
	Trial Femoral Component
	1.5L
	Stainless Steel

	G10114-1.5R
	Trial Femoral Component
	1.5R
	Stainless Steel

	G10114-2L
	Trial Femoral Component
	2L
	Stainless Steel

	G10114-2R
	Trial Femoral Component
	2R
	Stainless Steel

	G10114-2.5L
	Trial Femoral Component
	2.5L
	Stainless Steel

	G10114-2.5R
	Trial Femoral Component
	2.5R
	Stainless Steel

	G10114-3L
	Trial Femoral Component
	3L
	Stainless Steel

	G10114-3R
	Trial Femoral Component
	3R
	Stainless Steel

	G10114-3.5L
	Trial Femoral Component
	3.5L
	Stainless Steel

	G10114-3.5R
	Trial Femoral Component
	3.5R
	Stainless Steel

	G10114-4L
	Trial Femoral Component
	4L
	Stainless Steel

	G10114-4R
	Trial Femoral Component
	4R
	Stainless Steel

	G10114-5L
	Trial Femoral Component
	5L
	Stainless Steel

	G10114-5R
	Trial Femoral Component
	5R
	Stainless Steel

	G10114-6L
	Trial Femoral Component
	6L
	Stainless Steel

	G10114-6R
	Trial Femoral Component
	6R
	Stainless Steel

	G10148
	Femoral Condylar Peg Drill
	
	Stainless Steel

	G10150-II
	Femoral Component Inserter/Extractor
	
	Stainless Steel&POM

	G10422
	Universal Handle
	
	Stainless Steel&Silicone

	G10428
	Femeral Canal Retractor
	
	Stainless Steel&Silicone

	A3GT-BG-HW
	Instrument Box
	
	Aluminium&PPSU

	A3GT-GG-HW
	Instrument Box
	
	Aluminium&PPSU

	G10420
	Qucik Released Pin Holder
	
	Stainless Steel

	G10425
	GT Pin
	
	Stainless Steel

	G10426
	Thickness Measure Device
	
	POM

	G10432
	Thickness Measure Device Insert
	4mm
	POM

	G10433
	Thickness Measure Device Insert
	8mm
	POM

	G10424
	Tibial Tray Impactor
	
	POM

	G10421
	Tibial Insert Impactor
	
	Stainless Steel&POM

	6883
	Lamina Spreader
	
	Stainless Steel

	A3GT-JG-HW
	Instrument Box
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	CT-ACCK+-HW
	ACCK+ Instrument List
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	G10277
	4-in-1 Anterior Referencing Guide
	
	Stainless Steel

	G10278-1#
	4-in-1 Resection Guide
	1#
	Stainless Steel

	G10278-2#
	4-in-1 Resection Guide
	2#
	Stainless Steel

	G10278-3#
	4-in-1 Resection Guide
	3#
	Stainless Steel

	G10278-4#
	4-in-1 Resection Guide
	4#
	Stainless Steel

	G10278-5#
	4-in-1 Resection Guide
	5#
	Stainless Steel

	G10279-S-5L
	4-in-1 Resection Distal Femoral Augment Block
	1#2#
	POM&Stainless Steel

	G10279-S-5R
	4-in-1 Resection Distal Femoral Augment Block
	1#2#
	POM&Stainless Steel

	G10279-L-5L
	4-in-1 Resection Distal Femoral Augment Block
	3#-5#
	POM&Stainless Steel

	G10279-L-5R
	4-in-1 Resection Distal Femoral Augment Block
	3#-5#
	POM&Stainless Steel

	G10279-S-10L
	4-in-1 Resection Distal Femoral Augment Block
	1#2#
	POM&Stainless Steel

	G10279-S-10R
	4-in-1 Resection Distal Femoral Augment Block
	1#2#
	POM&Stainless Steel

	G10279-L-10L
	4-in-1 Resection Distal Femoral Augment Block
	3#-5#
	POM&Stainless Steel

	G10279-L-10R
	4-in-1 Resection Distal Femoral Augment Block
	3#-5#
	POM&Stainless Steel

	G10258
	External Rotation Angle Guide
	
	Stainless Steel

	G10291
	4-in-1 Positioning Guide
	
	Stainless Steel

	G10292
	Femoral Box Resection Guide
	
	Stainless Steel

	G10265-1L
	Modular Femoral Trial 
	1L
	Stainless Steel

	G10265-2L
	Modular Femoral Trial 
	2L
	Stainless Steel

	G10265-3L
	Modular Femoral Trial 
	3L
	Stainless Steel

	G10265-4L
	Modular Femoral Trial 
	4L
	Stainless Steel

	G10265-5L
	Modular Femoral Trial 
	5L
	Stainless Steel

	G10265-1R
	Modular Femoral Trial 
	1R
	Stainless Steel

	G10265-2R
	Modular Femoral Trial 
	2R
	Stainless Steel

	G10265-3R
	Modular Femoral Trial 
	3R
	Stainless Steel

	G10265-4R
	Modular Femoral Trial 
	4R
	Stainless Steel

	G10265-5R
	Modular Femoral Trial 
	5R
	Stainless Steel

	G10293-L
	Femoral Trial Positioning Guide L
	L
	Stainless Steel

	G10293-R
	Femoral Trial Positioning Guide R
	R
	Stainless Steel

	G10283-1L
	Modular Femoral Box Trial
	1L
	Stainless Steel

	G10283-2L
	Modular Femoral Box Trial
	2L
	Stainless Steel

	G10283-3L
	Modular Femoral Box Trial
	3L
	Stainless Steel

	G10283-4L
	Modular Femoral Box Trial
	4L
	Stainless Steel

	G10283-5L
	Modular Femoral Box Trial
	5L
	Stainless Steel

	G10283-1R
	Modular Femoral Box Trial
	1R
	Stainless Steel

	G10283-2R
	Modular Femoral Box Trial
	2R
	Stainless Steel

	G10283-3R
	Modular Femoral Box Trial
	3R
	Stainless Steel

	G10283-4R
	Modular Femoral Box Trial
	4R
	Stainless Steel

	G10283-5R
	Modular Femoral Box Trial
	5R
	Stainless Steel

	G10284-0mm
	Femoral Straight Bushing
	0mm
	Stainless Steel

	G10284-4mm
	360°Femoral Offset Bushing
	4mm
	Stainless Steel

	G10290-1#-hk-5mm
	1#-5mm Femoral Posterior Augment Trial
	1#-hk-5mm
	Aluminium Alloy

	G10290-1#-hk-10mm
	1#-5mm Femoral Posterior Augment Trial
	1#-hk-10mm
	Aluminium Alloy

	G10290-1#-yd-5mm
	1#-5mm Femoral Distal Augment Trial
	1#-yd-5mm
	Aluminium Alloy

	G10290-1#-yd-10mm
	1#-10mm Femoral Distal Augment Trial
	1#-yd-10mm
	Aluminium Alloy

	G10290-2#-hk-5mm
	2#-5mm Femoral Posterior Augment Trial
	2#-hk-5mm
	Aluminium Alloy

	G10290-2#-hk-10mm
	2#-10mm Femoral Posterior Augment Trial
	2#-hk-10mm
	Aluminium Alloy

	G10290-2#-yd-5mm
	2#-5mm Femoral Distal Augment Trial
	2#-yd-5mm
	Aluminium Alloy

	G10290-2#-yd-10mm
	2#-10mm Femoral Distal Augment Trial
	2#-yd-10mm
	Aluminium Alloy

	G10290-3#-hk-5mm
	3#-5mm Femoral Posterior Augment Trial
	3#-hk-5mm
	Aluminium Alloy

	G10290-3#-hk-10mm
	3#-10mm Femoral Posterior Augment Trial
	3#-hk-10mm
	Aluminium Alloy

	G10290-3#-yd-5mm
	3#-5mm Femoral Distal Augment Trial
	3#-yd-5mm
	Aluminium Alloy

	G10290-3#-yd-10mm
	3#-10mm Femoral Distal Augment Trial
	3#-yd-10mm
	Aluminium Alloy

	G10290-4#-hk-5mm
	4#-5mm Femoral Posterior Augment Trial
	4#-hk-5mm
	Aluminium Alloy

	G10290-4#-hk-10mm
	4#-10mm Femoral Posterior Augment Trial
	4#-hk-10mm
	Aluminium Alloy

	G10290-4#-yd-5mm
	4#-5mm Femoral Distal Augment Trial
	4#-yd-5mm
	Aluminium Alloy

	G10290-4#-yd-10mm
	4#-10mm Femoral Distal Augment Trial
	4#-yd-10mm
	Aluminium Alloy

	G10290-5#-hk-5mm
	5#-5mm Femoral Posterior Augment Trial
	5#-hk-5mm
	Aluminium Alloy

	G10290-5#-hk-10mm
	5#-10mm Femoral Posterior Augment Trial
	5#-hk-10mm
	Aluminium Alloy

	G10290-5#-yd-5mm
	5#-5mm Femoral Distal Augment Trial
	5#-yd-5mm
	Aluminium Alloy

	G10290-5#-yd-10mm
	5#-10mm Femoral Distal Augment Trial
	5#-yd-10mm
	Aluminium Alloy

	G10285-10mm
	Femoral Boss Reamer Bushing
	φ10
	Stainless Steel

	G10285-12mm
	Femoral Boss Reamer Bushing
	φ12
	Stainless Steel

	G10285-14mm
	Femoral Boss Reamer Bushing
	φ14
	Stainless Steel

	G10285-16mm
	Femoral Boss Reamer Bushing
	φ16
	Stainless Steel

	G10285-18mm
	Femoral Boss Reamer Bushing
	φ18
	Stainless Steel

	G10285-20mm
	Femoral Boss Reamer Bushing
	φ20
	Stainless Steel

	G10254
	Femoral Box Sizer
	
	Stainless Steel

	G10212-II-8mm
	Standard Drill φ8
	
	Stainless Steel

	G10212-II-9mm
	Standard Drill φ9
	
	Stainless Steel

	G10213-II-10mm
	Distal Medullary Drilll
	
	Stainless Steel

	G10213-II-11mm
	Distal Medullary Drilll
	
	Stainless Steel

	G10213-II-12mm
	Distal Medullary Drilll
	
	Stainless Steel

	G10213-II-13mm
	Distal Medullary Drilll
	
	Stainless Steel

	G10213-II-14mm
	Distal Medullary Drilll
	
	Stainless Steel

	G10213-II-15mm
	Distal Medullary Drilll
	
	Stainless Steel

	G10213-II-16mm
	Distal Medullary Drilll
	
	Stainless Steel

	G10213-II-17mm
	Distal Medullary Drilll
	
	Stainless Steel

	G10213-II-18mm
	Distal Medullary Drilll
	
	Stainless Steel

	G10213-II-19mm
	Distal Medullary Drilll
	
	Stainless Steel

	G10213-II-20mm
	Distal Medullary Drilll
	
	Stainless Steel

	G10214-12mm-L60mm
	Intra-medullary Canal Rod Trial
	length：60mm
	Stainless Steel

	G10214-14mm-L60mm
	Intra-medullary Canal Rod Trial
	length：60mm
	Stainless Steel

	G10214-16mm-L60mm
	Intra-medullary Canal Rod Trial
	length：60mm
	Stainless Steel

	G10214-18mm-L60mm
	Intra-medullary Canal Rod Trial
	length：60mm
	Stainless Steel

	G10214-20mm-L60mm
	Intra-medullary Canal Rod Trial
	length：60mm
	Stainless Steel

	G10253
	Tibial Cutting Block
	
	Aluminium

	G11331-A
	Tibial Tray Basement
	A#
	Stainless Steel

	G10220-II
	Tibial Drill
	φ18
	Stainless Steel

	G10222-II
	Tibial Tray Positioning Drill
	φ8.5
	Stainless Steel

	G10286-4mm
	360°Tibial Offset Bushing
	4mm
	Stainless Steel

	G10286-0mm
	Tibial Straight Bushing
	0mm
	Stainless Steel

	G10299-A#
	Tibial Tray Trial
	A#
	Stainless Steel

	G10299-B#
	Tibial Tray Trial
	B#
	Stainless Steel

	G10299-C#
	Tibial Tray Trial
	C#
	Stainless Steel

	G10299-D#
	Tibial Tray Trial
	D#
	Stainless Steel

	G10299-E#
	Tibial Tray Trial
	E#
	Stainless Steel

	G11007
	Insert Post Trial
	1
	POM&Stainless Steel

	G11008-SA-8mm
	Insert Trial
	SA-8mm
	POM

	G11008-SA-10mm
	Insert Trial
	SA-10mm
	POM

	G11008-SA-12mm
	Insert Trial
	SA-12mm
	POM

	G11008-SA-14mm
	Insert Trial
	SA-14mm
	POM

	G11008-SA-16mm
	Insert Trial
	SA-16mm
	POM

	G11008-BC-8mm
	Insert Trial
	BC-8mm
	POM

	G11008-BC-10mm
	Insert Trial
	BC-10mm
	POM

	G11008-BC-12mm
	Insert Trial
	BC-12mm
	POM

	G11008-BC-14mm
	Insert Trial
	BC-14mm
	POM

	G11008-BC-16mm
	Insert Trial
	BC-16mm
	POM

	G11008-DE-8mm
	Insert Trial
	DE-8mm
	POM

	G11008-DE-10mm
	Insert Trial
	DE-10mm
	POM

	G11008-DE-12mm
	Insert Trial
	DE-12mm
	POM

	G11008-DE-14mm
	Insert Trial
	DE-14mm
	POM

	G11008-DE-16mm
	Insert Trial
	DE-16mm
	POM

	G10297
	Tibial Stylus
	
	Stainless Steel

	G10287
	SW2.5 Screwdriver
	SW2.5
	Stainless Steel&silicone

	G10273
	Femoral Distal Resection Guide
	
	Stainless Steel

	G10274
	Femoral Distal Resection Guide Revision Block
	
	Stainless Steel

	G10275
	Femoral Distal Resection Block
	
	Stainless Steel

	G10276
	Femoral Sizer
	
	Stainless Steel

	G10598
	Spacer Block
	
	POM&Stainless Steel

	G10298
	3.5mm Screwdriver
	SW3.5
	Stainless Steel&silicone

	G10295
	Short Headed Pin
	
	Stainless Steel

	G10296
	Short Headed Pin Inserter
	
	Stainless Steel

	ACCK+-11
	ACCK+ Femoral Instrument Box
	
	Aluminium&PPSU

	ACCK+-12
	ACCK+ Tibial Instrument Box
	
	Aluminium&PPSU

	ACCK+-13
	ACCK+ Universal Instrument Box
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	CT-ACCK-HW
	 Instruments List for ACCK Revision Knee System
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	G10201
	Femoral Drill Guide
	
	Stainless Steel

	G10202-1#-2#
	Femoral Outline Sizing Guide1#, 2#
	
	Stainless Steel

	G10202-3#
	Femoral Outline Sizing Guide 3#
	
	Stainless Steel

	G10202-4#-5#
	Femoral Outline Sizing Guide 4#, 5#
	
	Stainless Steel

	G10203-1#
	External Rotational Location Fixing Block  1 #
	
	Stainless Steel

	G10203-2#
	External Rotational Location Fixing Block  2 #
	
	Stainless Steel

	G10203-3#
	External Rotational Location Fixing Block  3 #
	
	Stainless Steel

	G10203-4#
	External Rotational Location Fixing Block  4#
	
	Stainless Steel

	G10203-5#
	External Rotational Location Fixing Block  5 #
	
	Stainless Steel

	G10204
	Anterior Limitation Guide
	
	Stainless Steel

	G10208-1#
	Femoral Intercondylar Resection Block  1#
	
	Stainless Steel

	G10208-2#
	Femoral Intercondylar Resection Block  2#
	
	Stainless Steel

	G10208-3#
	Femoral Intercondylar Resection Block  3#
	
	Stainless Steel

	G10208-4#
	Femoral Intercondylar Resection Block  4#
	
	Stainless Steel

	G10208-5#
	Femoral Intercondylar Resection Block  5#
	
	Stainless Steel

	G10209
	Valgus Angle Connector
	
	Stainless Steel

	8010
	Femur Impactor
	
	Stainless Steel&POM

	G10210-R1#
	Femoral Trial R1#
	
	Stainless Steel

	G10210-R2#
	Femoral Trial R2#
	
	Stainless Steel

	G10210-R3#
	Femoral Trial R3#
	
	Stainless Steel

	G10210-R4#
	Femoral Trial R4#
	
	Stainless Steel

	G10210-R5#
	Femoral Trial R5#
	
	Stainless Steel

	G10210-L1#
	Femoral Trial L1#
	
	Stainless Steel

	G10210-L2#
	Femoral Trial L2#
	
	Stainless Steel

	G10210-L3#
	Femoral Trial L3#
	
	Stainless Steel

	G10210-L4#
	Femoral Trial L4#
	
	Stainless Steel

	G10210-L5#
	Femoral Trial L5#
	
	Stainless Steel

	HW017
	Instrument Box
	
	Aluminium&PPSU

	G10216
	Guiding Rod
	
	Stainless Steel

	G10219-A#
	Tibial Tray Basement A #
	
	Stainless Steel

	G10219-B#
	Tibial Tray Basement B #
	
	Stainless Steel

	G10219-C#
	Tibial Tray Basement C #
	
	Stainless Steel

	G10219-D#
	Tibial Tray Basement D#
	
	Stainless Steel

	G10219-E#
	Tibial Tray Basement E#
	
	Stainless Steel

	G10220
	Tibial Drill
	φ18
	Stainless Steel

	G10222
	Tibial Confirming Drill
	φ8.5
	Stainless Steel

	G10223
	360° Rotational Drill Tower
	φ10
	Stainless Steel

	G10226-A#
	ACCK Tibial Tray Trial  A#
	A#
	Stainless Steel

	G10226-B#
	ACCK Tibial Tray Trial  B#
	B#
	Stainless Steel

	G10226-C#
	ACCK Tibial Tray Trial  C#
	C#
	Stainless Steel

	G10226-D#
	ACCK Tibial Tray Trial  D#
	D#
	Stainless Steel

	G10226-E#
	ACCK Tibial Tray Trial  E#
	E#
	Stainless Steel

	G10229-SA-10mm
	ACCK Insert Trials SA
	10mm
	POM

	G10229-SA-12mm
	ACCK Insert Trials SA
	12mm
	POM

	G10229-SA-14mm
	ACCK Insert Trials SA
	14mm
	POM

	G10229-SA-16mm
	ACCK Insert Trials SA
	16mm
	POM

	G10229-SA-18mm
	ACCK Insert Trials SA
	18mm
	POM

	G10229-SA#20mm
	ACCK Insert Trials SA
	20mm
	POM

	G10229-SA#22mm
	ACCK Insert Trials SA
	22mm
	POM

	G10229-BC-10mm
	ACCKInsert Trials BC
	10mm
	POM

	G10229-BC-12mm
	ACCKInsert Trials BC
	12mm
	POM

	G10229-BC-14mm
	ACCKInsert Trials BC
	14mm
	POM

	G10229-BC-16mm
	ACCKInsert Trials BC
	16mm
	POM

	G10229-BC-18mm
	ACCKInsert Trials BC
	18mm
	POM

	G10229-BC#20mm
	ACCKInsert Trials BC
	20mm
	POM

	G10229-BC#22mm
	ACCKInsert Trials BC
	22mm
	POM

	G10229-DE-10mm
	ACCK Insert Trials DE
	10mm
	POM

	G10229-DE-12mm
	ACCK Insert Trials DE
	12mm
	POM

	G10229-DE-14mm
	ACCK Insert Trials DE
	14mm
	POM

	G10229-DE-16mm
	ACCK Insert Trials DE
	16mm
	POM

	G10229-DE-18mm
	ACCK Insert Trials DE
	18mm
	POM

	G10229-DE#20mm
	ACCK Insert Trials DE
	20mm
	POM

	G10229-DE#22mm
	ACCK Insert Trials DE
	22mm
	POM

	G10239
	Tray Trial Extractor
	
	Stainless Steel

	G10230
	Intra-medullary Trial Screw
	
	Stainless Steel

	G10231
	Screw Fixation handle
	
	Stainless Steel

	G10238
	Tibial Tray Supporting Block
	
	Stainless Steel

	G20110
	T Handle
	
	Stainless Steel

	HW019
	Instrument Box
	
	Aluminium&PPSU

	G10213-10mm
	Distal Medullary Drilll
	φ10
	Stainless Steel

	G10213-11mm
	Distal Medullary Drilll
	φ11
	Stainless Steel

	G10213-12mm
	Distal Medullary Drilll
	φ12
	Stainless Steel

	G10213-13mm
	Distal Medullary Drilll
	φ13
	Stainless Steel

	G10213-14mm
	Distal Medullary Drilll
	φ14
	Stainless Steel

	G10213-15mm
	Distal Medullary Drilll
	φ15
	Stainless Steel

	G10213-16mm
	Distal Medullary Drilll
	φ16
	Stainless Steel

	G10213-17mm
	Distal Medullary Drilll
	φ17
	Stainless Steel

	G10213-18mm
	Distal Medullary Drilll
	φ18
	Stainless Steel

	G10214-10mm-L120mm
	Intra-medullary Canal Rod Trial φ10mm
	length :  120mm
	Stainless Steel

	G10214-10mm-L80mm
	Intra-medullary Canal Rod Trial φ10mm
	length : 80mm
	Stainless Steel

	G10214-12mm-L120mm
	Intra-medullary Canal Rod Trial φ12mm
	length :  120mm
	Stainless Steel

	G10214-12mm-L80mm
	Intra-medullary Canal Rod Trial φ12mm
	length : 80mm
	Stainless Steel

	G10214-14mm-L120mm
	Intra-medullary Canal Rod Trial φ14mm
	length :  120mm
	Stainless Steel

	G10214-14mm-L80mm
	Intra-medullary Canal Rod Trial φ14mm
	length : 80mm
	Stainless Steel

	G10214-16mm-L120mm
	Intra-medullary Canal Rod Trial φ16mm
	length :  120mm
	Stainless Steel

	G10214-16mm-L80mm
	Intra-medullary Canal Rod Trial φ16mm
	length : 80mm
	Stainless Steel

	G10214-18mm-L120mm
	Intra-medullary Canal Rod Trial φ18mm
	length :  120mm
	Stainless Steel

	G10214-18mm-L80mm
	Intra-medullary Canal Rod Trial φ18mm
	length : 80mm
	Stainless Steel

	G10214-8mm-L120mm
	Intra-medullary Canal Rod Trial φ8mm
	length :  120mm
	Stainless Steel

	G10214-8mm-L80mm
	Intra-medullary Canal Rod Trial φ8mm
	length : 80mm
	Stainless Steel

	G10215-10mm-L120mm
	Intra-Medullary canal rod trial (offset) φ10mm
	length :  120mm
	Stainless Steel

	G10215-10mm-L80mm
	Intra-Medullary canal rod trial (offset) φ10mm
	length : 80mm
	Stainless Steel

	G10215-12mm-L120mm
	Intra-Medullary canal rod trial (offset) φ12mm
	length :  120mm
	Stainless Steel

	G10215-12mm-L80mm
	Intra-Medullary canal rod trial (offset) φ12mm
	length : 80mm
	Stainless Steel

	G10215-14mm-L120mm
	Intra-Medullary canal rod trial (offset) φ14mm
	length :  120mm
	Stainless Steel

	G10215-14mm-L80mm
	Intra-Medullary canal rod trial (offset) φ14mm
	length : 80mm
	Stainless Steel

	G10215-16mm-L120mm
	Intra-Medullary canal rod trial (offset) φ16mm
	length :  120mm
	Stainless Steel

	G10215-16mm-L80mm
	Intra-Medullary canal rod trial (offset) φ16mm
	length : 80mm
	Stainless Steel

	G10215-18mm-L120mm
	Intra-Medullary canal rod trial (offset) φ18mm
	length :  120mm
	Stainless Steel

	G10215-18mm-L80mm
	Intra-Medullary canal rod trial (offset) φ18mm
	length : 80mm
	Stainless Steel

	G10215-8mm-L120mm
	Intra-Medullary canal rod trial (offset) φ8mm
	length :  120mm
	Stainless Steel

	G10215-8mm-L80mm
	Intra-Medullary canal rod trial (offset) φ8mm
	length : 80mm
	Stainless Steel

	G10232-A
	Bone Knife ( narrow)
	
	Stainless Steel

	G10232-B
	Bone Knife (wide)
	
	Stainless Steel

	G10142
	Slide Hammer (A3)
	
	Stainless Steel

	6845-II-S
	Extramedullary Alignment Rod (short)
	Short
	Stainless Steel&POM

	G10228-A#-10mm-L
	Augment Trials A#
	10MM L
	Stainless Steel

	G10228-A#-10mm-R
	Augment Trials A#
	10MM R
	Stainless Steel

	G10228-A#-5mm-L
	Augment Trials A#
	5MM L
	Stainless Steel

	G10228-A#-5mm-R
	Augment Trials A#
	5MM R
	Stainless Steel

	G10228-B#-10mm-L
	Augment Trials B#
	10MM L
	Stainless Steel

	G10228-B#-10mm-R
	Augment Trials B#
	10MM R
	Stainless Steel

	G10228-B#-5mm-L
	Augment Trials B#
	5MM L
	Stainless Steel

	G10228-B#-5mm-R
	Augment Trials B#
	5MM R
	Stainless Steel

	G10228-C#-10mm-L
	Augment Trials C#
	10MM L
	Stainless Steel

	G10228-C#-10mm-R
	Augment Trials C#
	10MM R
	Stainless Steel

	G10228-C#-5mm-L
	Augment Trials C#
	5MM L
	Stainless Steel

	G10228-C#-5mm-R
	Augment Trials C#
	5MM R
	Stainless Steel

	G10228-D#-10mm-L
	Augment Trials D#
	10MM L
	Stainless Steel

	G10228-D#-10mm-R
	Augment Trials D#
	10MM R
	Stainless Steel

	G10228-D#-5mm-L
	Augment Trials D#
	5MM L
	Stainless Steel

	G10228-D#-5mm-R
	Augment Trials D#
	5MM R
	Stainless Steel

	G10228-E#-10mm-L
	Augment Trials E#
	10MM L
	Stainless Steel

	G10228-E#-10mm-R
	Augment Trials E#
	10MM R
	Stainless Steel

	G10228-E#-5mm-L
	Augment Trials E#
	5MM L
	Stainless Steel

	G10228-E#-5mm-R
	Augment Trials E#
	5MM R
	Stainless Steel

	G10211-A1#10mm
	Augment Trials(distal: 1#)
	10MM
	Stainless Steel

	G10211-A1#5mm
	Augment Trials(distal: 1#)
	5MM
	Stainless Steel

	G10211-A2#10mm
	Augment Trials(distal: 2#)
	10MM
	Stainless Steel

	G10211-A2#5mm
	Augment Trials(distal: 2#)
	5MM
	Stainless Steel

	G10211-A3#10mm
	Augment Trials(distal: 3#)
	10MM
	Stainless Steel

	G10211-A3#5mm
	Augment Trials(distal: 3#)
	5MM
	Stainless Steel

	G10211-A4#10mm
	Augment Trials(distal: 4#)
	10MM
	Stainless Steel

	G10211-A4#5mm
	Augment Trials(distal: 4#)
	5MM
	Stainless Steel

	G10211-A5#10mm
	Augment Trials(distal: 5#)
	10MM
	Stainless Steel

	G10211-A5#5mm
	Augment Trials(distal: 5#)
	5MM
	Stainless Steel

	G10211-B1#10mm
	Augment Trials(posterior: 1#)
	10MM
	Stainless Steel

	G10211-B1#5mm
	Augment Trials(posterior: 1#)
	5MM
	Stainless Steel

	G10211-B2#10mm
	Augment Trials(posterior: 2#)
	10MM
	Stainless Steel

	G10211-B2#5mm
	Augment Trials(posterior: 2#)
	5MM
	Stainless Steel

	G10211-B3#10mm
	Augment Trials(posterior: 3#)
	10MM
	Stainless Steel

	G10211-B3#5mm
	Augment Trials(posterior: 3#)
	5MM
	Stainless Steel

	G10211-B4#10mm
	Augment Trials(posterior: 4#)
	10MM
	Stainless Steel

	G10211-B4#5mm
	Augment Trials(posterior: 4#)
	5MM
	Stainless Steel

	G10211-B5#10mm
	Augment Trials(posterior: 5#)
	10MM
	Stainless Steel

	G10211-B5#5mm
	Augment Trials(posterior: 5#)
	5MM
	Stainless Steel

	HW018
	Instrument Box
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	CT-ACCK-Large-HW
	Instruments List for ACCK Revision Knee System（Large-Size）
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	G10202-6#-7#
	Femoral Outline Sizing Guide1#, 2#
	
	Stainless Steel&POM

	G10203-6#
	External Rotational Location Fixing Block  6#
	
	Stainless Steel&POM

	G10203-7#
	External Rotational Location Fixing Block  7 #
	
	Stainless Steel&POM

	G10208-6#
	Femoral Intercondylar Resection Block  6#
	
	Stainless Steel&POM

	G10208-7#
	Femoral Intercondylar Resection Block  7#
	
	Stainless Steel&POM

	G10210-R6#
	Femoral Trial R6#
	
	Stainless Steel&POM

	G10210-R7#
	Femoral Trial R7#
	
	Stainless Steel&POM

	G10210-L6#
	Femoral Trial L6#
	
	Stainless Steel&POM

	G10210-L7#
	Femoral Trial L7#
	
	Stainless Steel&POM

	G10219-F#
	Tibial Tray Basement F #
	
	Stainless Steel&POM

	G10219-G#
	Tibial Tray Basement G #
	
	Stainless Steel&POM

	G10226-F#
	ACCK Tibial Tray Trial  F#
	F#
	Stainless Steel&POM

	G10226-G#
	ACCK Tibial Tray Trial  G#
	G#
	Stainless Steel&POM

	G10229-FG-10mm
	ACCK Insert Trials FG
	10mm
	Stainless Steel&POM

	G10229-FG-12mm
	ACCK Insert Trials FG
	12mm
	Stainless Steel&POM

	G10229-FG-14mm
	ACCK Insert Trials FG
	14mm
	Stainless Steel&POM

	G10229-FG-16mm
	ACCK Insert Trials FG
	16mm
	Stainless Steel&POM

	G10229-FG-18mm
	ACCK Insert Trials FG
	18mm
	Stainless Steel&POM

	G10229-FG-20mm
	ACCK Insert Trials FG
	20mm
	Stainless Steel&POM

	G10229-FG-22mm
	ACCK Insert Trials FG
	22mm
	Stainless Steel&POM

	G10228-F#-10mm-L
	Augment Trials F#
	10MM L
	Stainless Steel&POM

	G10228-F#-10mm-R
	Augment Trials F#
	10MM R
	Stainless Steel&POM

	G10228-F#-5mm-L
	Augment Trials F#
	5MM L
	Stainless Steel&POM

	G10228-F#-5mm-R
	Augment Trials F#
	5MM R
	Stainless Steel&POM

	G10228-G#-10mm-L
	Augment Trials G#
	10MM L
	Stainless Steel&POM

	G10228-G#-10mm-R
	Augment Trials G#
	10MM R
	Stainless Steel&POM

	G10228-G#-5mm-L
	Augment Trials G#
	5MM L
	Stainless Steel&POM

	G10228-G#-5mm-R
	Augment Trials G#
	5MM R
	Stainless Steel&POM

	G10211-A6#10mm
	Augment Trials(distal: 6#)
	10MM
	Stainless Steel&POM

	G10211-A6#5mm
	Augment Trials(distal: 6#)
	5MM
	Stainless Steel&POM

	G10211-A7#10mm
	Augment Trials(distal: 7#)
	10MM
	Stainless Steel&POM

	G10211-A7#5mm
	Augment Trials(distal: 7#)
	5MM
	Stainless Steel&POM

	G10211-B6#10mm
	Augment Trials(posterior: 6#)
	10MM
	Stainless Steel&POM

	G10211-B6#5mm
	Augment Trials(posterior: 6#)
	5MM
	Stainless Steel&POM

	G10211-B7#10mm
	Augment Trials(posterior: 7#)
	10MM
	Stainless Steel&POM

	G10211-B7#5mm
	Augment Trials(posterior: 7#)
	5MM
	Stainless Steel&POM

	Cat No.
	Product Name
	Specification
	Material

	CT-ACCK-II-HW
	ACCK-II Instrument List
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	G10244-A5L
	Augment Trial A5L
	2#/8mm
	POM&Stainless Steel

	G10244-A5R
	Augment Trial A5R
	2#/10mm
	POM&Stainless Steel

	G10244-A10L
	Augment Trial A10L
	2#/12mm
	POM&Stainless Steel

	G10244-A10R
	Augment Trial A10R
	2#/15mm
	POM&Stainless Steel

	G10244-B5L
	Augment Trial B5L
	2#/18mm
	POM&Stainless Steel

	G10244-B5R
	Augment Trial B5R
	3#/8mm
	POM&Stainless Steel

	G10244-B10L
	Augment Trial B10L
	3#/10mm
	POM&Stainless Steel

	G10244-B10R
	Augment Trial B10R
	3#/12mm
	POM&Stainless Steel

	G10244-C5L
	Augment Trial C5L
	3#/15mm
	POM&Stainless Steel

	G10244-C5R
	Augment Trial C5R
	3#/18mm
	POM&Stainless Steel

	G10244-C10L
	Augment Trial C10L
	3#/21mm
	POM&Stainless Steel

	G10244-C10R
	Augment Trial C10R
	3#/24mm
	POM&Stainless Steel

	G10244-D5L
	Augment Trial D5L
	3#/27mm
	POM&Stainless Steel

	G10244-D5R
	Augment Trial D5R
	3#/30mm
	POM&Stainless Steel

	G10244-D10L
	Augment Trial D10L
	3#/33mm
	POM&Stainless Steel

	G10244-D10R
	Augment Trial D10R
	4#/8mm
	POM&Stainless Steel

	G10244-E5L
	Augment Trial E5L
	4#/10mm
	POM&Stainless Steel

	G10244-E5R
	Augment Trial E5R
	4#/12mm
	POM&Stainless Steel

	G10244-E10L
	Augment Trial E10L
	4#/15mm
	POM&Stainless Steel

	G10244-E10R
	Augment Trial E10R
	4#/18mm
	POM&Stainless Steel

	ACCK-II-11
	ACCK-II Instrument Box
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	CT-AHK-HW
	Instrument List of AHK (AK Hinge Knee Joint)
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	G10301
	AHK Intercondylar Resection Block
	0#
	Stainless Steel

	G10302
	AHK Intercondylar Resection Block
	1#
	Stainless Steel

	G10303
	AHK Intercondylar Resection Block
	2#
	Stainless Steel

	G10304
	AHK Intercondylar Resection Block
	3#
	Stainless Steel

	G10305
	AHK Valgus Angle connector
	
	Stainless Steel

	G10306
	AHK Femur bone drill
	
	Stainless Steel

	G10307
	AHK Femoral Condylar Sizer
	
	Stainless Steel&Silicone

	G10308
	AHK Screwdriver
	
	Stainless Steel

	G10309-10
	AHK Femoral Drill
	φ10
	Stainless Steel

	G10309-11
	AHK Femoral Drill
	φ11
	Stainless Steel

	G10309-12
	AHK Femoral Drill
	φ12
	Stainless Steel

	G10309-13
	AHK Femoral Drill
	φ13
	Stainless Steel

	G10309-14
	AHK Femoral Drill
	φ14
	Stainless Steel

	G10309-15
	AHK Femoral Drill
	φ15
	Stainless Steel

	G10309-16
	AHK Femoral Drill
	φ16
	Stainless Steel

	G10309-17
	AHK Femoral Drill
	φ17
	Stainless Steel

	G10309-18
	AHK Femoral Drill
	φ18
	Stainless Steel

	G10310
	AHK Tapered six-edge Drill
	
	Stainless Steel

	G10311
	AHK Femoral Outline Sizing Guide
	0-1#
	Stainless Steel

	G10312
	AHK Femoral Outline Sizing Guide
	2#
	Stainless Steel

	G10313
	AHK Femoral Outline Sizing Guide
	3#
	Stainless Steel

	G10317
	AHK 12N.m Torque Handle
	
	Stainless Steel

	5033
	Wrench
	
	Stainless Steel

	G21120
	T handle
	
	Stainless Steel

	G10320
	AHK External Rotational Location
Fixing Block
	0#
	Stainless Steel

	G10321
	AHK External Rotational Location
Fixing Block
	1#
	Stainless Steel

	G10322
	AHK External Rotational Location
Fixing Block
	2#
	Stainless Steel

	G10323
	AHK External Rotational Location
Fixing Block
	3#
	Stainless Steel

	G10326
	AHK intramedullary Rod Trial
Forcep
	
	Stainless Steel

	G10331-0#L
	AHK-Femoral Condylar Trial -
Reconstruction RS Type
	0#L
	Stainless Steel

	G10331-1#L
	AHK-Femoral Condylar Trial -
Reconstruction RS Type
	1#L
	Stainless Steel

	G10331-2#L
	AHK-Femoral Condylar Trial -
Reconstruction RS Type
	2#L
	Stainless Steel

	G10331-3#L
	AHK-Femoral Condylar Trial -
Reconstruction RS Type
	3#L
	Stainless Steel

	G10331-0#R
	AHK-Femoral Condylar Trial -
Reconstruction RS Type
	0#R
	Stainless Steel

	G10331-1#R
	AHK-Femoral Condylar Trial -
Reconstruction RS Type
	1#R
	Stainless Steel

	G10331-2#R
	AHK-Femoral Condylar Trial -
Reconstruction RS Type
	2#R
	Stainless Steel

	G10331-3#R
	AHK-Femoral Condylar Trial -
Reconstruction RS Type
	3#R
	Stainless Steel

	G10332-1#
	AHK Tibial Tray Trial-
Reconstruction AS Type
	1#
	Stainless Steel

	G10332-2#
	AHK Tibial Tray Trial-
Reconstruction AS Type
	2#
	Stainless Steel

	G10332-3#
	AHK Tibial Tray Trial-
Reconstruction AS Type
	3#
	Stainless Steel

	G10332-4#
	AHK Tibial Tray Trial-
Reconstruction AS Type
	4#
	Stainless Steel

	G10332-5#
	AHK Tibial Tray Trial-
Reconstruction AS Type
	5#
	Stainless Steel

	G10333
	AHK Hinge Post Trial OSII Type
	
	Stainless Steel

	G10334
	AHK Hinge Post Trial OSIII Type
	
	Stainless Steel

	G10335
	AHK Screw Trial-Universal Type
	
	Stainless Steel

	G10336-0#8mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	8mm
	Stainless Steel

	G10336-0#10mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	10mm
	Stainless Steel

	G10336-0#12mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	12mm
	Stainless Steel

	G10336-0#14mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	14mm
	Stainless Steel

	G10336-0#16mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	16mm
	Stainless Steel

	G10336-0#18mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	18mm
	Stainless Steel

	G10336-1#8mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	8mm
	Stainless Steel

	G10336-1#10mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	10mm
	Stainless Steel

	G10336-1#12mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	12mm
	Stainless Steel

	G10336-1#14mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	14mm
	Stainless Steel

	G10336-1#16mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	16mm
	Stainless Steel

	G10336-1#18mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	18mm
	Stainless Steel

	G10336-2#8mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	8mm
	Stainless Steel

	G10336-2#10mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	10mm
	Stainless Steel

	G10336-2#12mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	12mm
	Stainless Steel

	G10336-2#14mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	14mm
	Stainless Steel

	G10336-2#16mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	16mm
	Stainless Steel

	G10336-2#18mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	18mm
	Stainless Steel

	G10336-3#8mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	8mm
	Stainless Steel

	G10336-3#10mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	10mm
	Stainless Steel

	G10336-3#12mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	12mm
	Stainless Steel

	G10336-3#14mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	14mm
	Stainless Steel

	G10336-3#16mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	16mm
	Stainless Steel

	G10336-3#18mm
	AHK Tibial Inset Trial-Reconstruction OSII Type
	18mm
	Stainless Steel

	G10337
	AHK Tibial Tray Extractor
	
	Stainless Steel

	G10338-1
	AHK Intramedully Rod Trial
	φ10*30
	Stainless Steel

	G10338-2
	AHK Intramedully Rod Trial
	φ8*60
	Stainless Steel

	G10338-3
	AHK Intramedully Rod Trial
	φ10*60
	Stainless Steel

	G10338-4
	AHK Intramedully Rod Trial
	φ12*60
	Stainless Steel

	G10338-5
	AHK Intramedully Rod Trial
	φ14*60
	Stainless Steel

	G10338-6
	AHK Intramedully Rod Trial
	φ16*60
	Stainless Steel

	G10338-7
	AHK Intramedully Rod Trial
	φ18*60
	Stainless Steel

	G10338-8
	AHK Intramedully Rod Trial
	φ8*80
	Stainless Steel

	G10338-9
	AHK Intramedully Rod Trial
	φ10*80
	Stainless Steel

	G10338-10
	AHK Intramedully Rod Trial
	φ12*80
	Stainless Steel

	G10338-11
	AHK Intramedully Rod Trial
	φ14*80
	Stainless Steel

	G10338-12
	AHK Intramedully Rod Trial
	φ16*80
	Stainless Steel

	G10338-13
	AHK Intramedully Rod Trial
	φ18*80
	Stainless Steel

	G10340-1#
	AHK Tibial Tray Base
	1#
	Stainless Steel

	G10340-2#
	AHK Tibial Tray Base
	2#
	Stainless Steel

	G10340-3#
	AHK Tibial Tray Base
	3#
	Stainless Steel

	G10340-4#
	AHK Tibial Tray Base
	4#
	Stainless Steel

	G10340-5#
	AHK Tibial Tray Base
	5#
	Stainless Steel

	G10341
	AHK Tibial Hinge Post Assembler
	
	Stainless Steel

	G10342-A0#10mm
	AHK Femoral Condylar Augment
Trial-Distal Femoral Augment Trial
	0#10mm
	POM

	G10342-A0#5mm
	AHK Femoral Condylar Augment
Trial-Distal Femoral Augment Trial
	0#5mm
	POM

	G10342-A1#10mm
	AHK Femoral Condylar Augment
Trial-Distal Femoral Augment Trial
	1#10mm
	POM

	G10342-A1#5mm
	AHK Femoral Condylar Augment
Trial-Distal Femoral Augment Trial
	1#5mm
	POM

	G10342-A2#10mm
	AHK Femoral Condylar Augment
Trial-Distal Femoral Augment Trial
	2#10mm
	POM

	G10342-A2#5mm
	AHK Femoral Condylar Augment
Trial-Distal Femoral Augment Trial
	2#5mm
	POM

	G10342-A3#10mm
	AHK Femoral Condylar Augment
Trial-Distal Femoral Augment Trial
	3#10mm
	POM

	G10342-A3#5mm
	AHK Femoral Condylar Augment
Trial-Distal Femoral Augment Trial
	3#5mm
	POM

	G10342-B0#10mm
	AHK Femoral Condylar Augment
Trial-Distal Femoral Augment Trial
	0#10mm
	POM

	G10342-B0#5mm
	AHK Femoral Condylar Augment
Trial-Distal Femoral Augment Trial
	0#5mm
	POM

	G10342-B1#10mm
	AHK Femoral Condylar Augment
Trial-Distal Femoral Augment Trial
	1#10mm
	POM

	G10342-B1#5mm
	AHK Femoral Condylar Augment
Trial-Distal Femoral Augment Trial
	1#5mm
	POM

	G10342-B2#10mm
	AHK Femoral Condylar Augment
Trial-Distal Femoral Augment Trial
	2#10mm
	POM

	G10342-B2#5mm
	AHK Femoral Condylar Augment
Trial-Distal Femoral Augment Trial
	2#5mm
	POM

	G10342-B3#10mm
	AHK Femoral Condylar Augment
Trial-Distal Femoral Augment Trial
	3#10mm
	POM

	G10342-B3#5mm
	AHK Femoral Condylar Augment
Trial-Distal Femoral Augment Trial
	3#5mm
	POM

	G10343-1#-L10mm
	AHK Tibial Tray Augment Trial
	1#10mmL
	POM

	G10343-1#-L5mm
	AHK Tibial Tray Augment Trial
	1#5mmL
	POM

	G10343-2#-L10mm
	AHK Tibial Tray Augment Trial
	2#10mmL
	POM

	G10343-2#-L5mm
	AHK Tibial Tray Augment Trial
	2#5mmL
	POM

	G10343-3#-L10mm
	AHK Tibial Tray Augment Trial
	3#10mmL
	POM

	G10343-3#-L5mm
	AHK Tibial Tray Augment Trial
	3#5mmL
	POM

	G10343-4#-L10mm
	AHK Tibial Tray Augment Trial
	4#10mmL
	POM

	G10343-4#-L5mm
	AHK Tibial Tray Augment Trial
	4#5mmL
	POM

	G10343-5#-L10mm
	AHK Tibial Tray Augment Trial
	5#10mmL
	POM

	G10343-5#-L5mm
	AHK Tibial Tray Augment Trial
	5#5mmL
	POM

	G10343-1#-R10mm
	AHK Tibial Tray Augment Trial
	1#10mmR
	POM

	G10343-1#-R5mm
	AHK Tibial Tray Augment Trial
	1#5mmR
	POM

	G10343-2#-R10mm
	AHK Tibial Tray Augment Trial
	2#10mmR
	POM

	G10343-2#-R5mm
	AHK Tibial Tray Augment Trial
	2#5mmR
	POM

	G10343-3#-R10mm
	AHK Tibial Tray Augment Trial
	3#10mmR
	POM

	G10343-3#-R5mm
	AHK Tibial Tray Augment Trial
	3#5mmR
	POM

	G10343-4#-R10mm
	AHK Tibial Tray Augment Trial
	4#10mmR
	POM

	G10343-4#-R5mm
	AHK Tibial Tray Augment Trial
	4#5mmR
	POM

	G10343-5#-R10mm
	AHK Tibial Tray Augment Trial
	5#10mmR
	POM

	G10343-5#-R5mm
	AHK Tibial Tray Augment Trial
	5#5mmR
	POM

	AHK-1-HW
	Instrument Box
	
	Aluminium&PPSU

	AHK-2-HW
	Instrument Box
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	CT-AHK-SJ-HW
	A3 Primary Total Knee System Components for AHK
	
	Stainless Steel&POM

	Cat No.
	Product Name
	Specification
	Material

	G10101
	Femoral Drill
	
	Stainless Steel

	6812
	Intra-Medullary Canal Rod
	
	Stainless Steel

	G10102-II
	Distal Femoral Align Guide
	
	Stainless Steel

	G10103
	Magnetic Distal Femoral Alignment Guide Connector
	
	Stainless Steel

	G10104
	Distal Femoral Cutting Block
	
	Stainless Steel

	6870-II
	Pin Holder
	
	Stainless Steel

	G10140
	Pin Extractor
	
	Stainless Steel

	G20118
	Monoaxial Screwdriver
	
	Stainless Steel

	G10427
	Femoral Awl
	
	Stainless Steel&silicone

	G10141
	Universal Handle
	
	Stainless Steel

	G10205
	External Rotation Angle Guide
	
	Stainless Steel

	G10206-10mm
	Valgus Angle Drill Tower 10 mm
	
	Stainless Steel

	G10206-18mm
	Valgus Angle Drill Tower 18mm
	
	Stainless Steel

	G10207
	360° Rotational Drill Tower
	
	Stainless Steel

	G10217
	0° Rod
	
	Stainless Steel

	G10218
	Tibial Cutting Block
	
	Stainless Steel

	G10224
	Straight Drill Tower
	φ10
	Stainless Steel

	G10225
	Tibial Punching Device
	
	Stainless Steel

	G10236
	Tibial Tray Resection Measuring Block
	
	Stainless Steel

	G10233
	Valgus Angel Connection Impactor
	
	Stainless Steel

	G10237
	90° Inside Hexagon Wrench
	
	Stainless Steel

	G10212-8
	Standard Drill  φ8
	φ8
	Stainless Steel

	G10212-9
	Standard Drill   φ9
	φ9
	Stainless Steel

	G10221
	Tibial Drill Tower
	
	Stainless Steel

	AHK-SJ-HW-1
	Instrument Box
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	CT-DK-GDX-HW
	lnstruments List for Unicompartmental Knee (AFK)
	
	Stainless Steel&POM

	Cat No.
	Product Name
	Specification
	Material

	G10602
	Femoral Fixation Bolt
	
	Stainless Steel

	G10603
	Femoral Drill
	φ6mm
	Stainless Steel

	G10609- 1
	Femoral  Resection Block
	LM/RL 1#
	Stainless Steel

	G10609-2
	Femoral  Resection Block
	LM/RL 2#
	Stainless Steel

	G10609-3
	Femoral  Resection Block
	LM/RL 3#
	Stainless Steel

	G10609-4
	Femoral  Resection Block
	LM/RL 4#
	Stainless Steel

	G10609-5
	Femoral  Resection Block
	LM/RL 5#
	Stainless Steel

	G10609-6
	Femoral  Resection Block
	LM/RL 6#
	Stainless Steel

	G10610- 1
	Femoral  Resection Block
	LL/RM 1#
	Stainless Steel

	G10610-2
	Femoral  Resection Block
	LL/RM 2#
	Stainless Steel

	G10610-3
	Femoral  Resection Block
	LL/RM 3#
	Stainless Steel

	G10610-4
	Femoral  Resection Block
	LL/RM 4#
	Stainless Steel

	G10610-5
	Femoral  Resection Block
	LL/RM 5#
	Stainless Steel

	G10610-6
	Femoral  Resection Block
	LL/RM 6#
	Stainless Steel

	G10611
	Quick Released Handle
	
	Stainless Steel

	G10612-5
	Cap Screw- 17mm
	17mm
	Stainless Steel

	G10612-4
	Cap Screw-37mm
	37mm
	Stainless Steel

	G10612-6
	Cap Screw-57mm
	57mm
	Stainless Steel

	G10614- 1
	Femoral Component Trial
	LM/RL 1#
	Stainless Steel

	G10614-2
	Femoral Component Trial
	LM/RL 2#
	Stainless Steel

	G10614-3
	Femoral Component Trial
	LM/RL 3#
	Stainless Steel

	G10614-4
	Femoral Component Trial
	LM/RL 4#
	Stainless Steel

	G10614-5
	Femoral Component Trial
	LM/RL 5#
	Stainless Steel

	G10614-6
	Femoral Component Trial
	LM/RL 6#
	Stainless Steel

	G10615- 1
	Femoral Component Trial
	LL/RM 1#
	Stainless Steel

	G10615-2
	Femoral Component Trial
	LL/RM 2#
	Stainless Steel

	G10615-3
	Femoral Component Trial
	LL/RM 3#
	Stainless Steel

	G10615-4
	Femoral Component Trial
	LL/RM 4#
	Stainless Steel

	G10615-5
	Femoral Component Trial
	LL/RM 5#
	Stainless Steel

	G10615-6
	Femoral Component Trial
	LL/RM 6#
	Stainless Steel

	G10616
	Femoral Component Impactor
	
	POM&Stainless Steel

	G10601
	Tibial Insert Mounting Pliers
	
	Stainless Steel&silicone

	G10617-06
	Spacer Augment
	6mm
	Stainless Steel

	G10617-07
	Spacer Augment
	7mm
	Stainless Steel

	G10617-08
	Spacer Augment
	8mm
	Stainless Steel

	G10617-09
	Spacer Augment
	9mm
	Stainless Steel

	G10617- 10
	Spacer Augment
	10mm
	Stainless Steel

	G10617- 11
	Spacer Augment
	11mm
	Stainless Steel

	G10618
	Calibration Tower
	
	Stainless Steel

	G10619
	Distal Femoral Planing Knife
	
	Stainless Steel

	G10608-2
	17mm-Short Head Retaining Pin
	17mm
	Stainless Steel

	G10608-3
	37mm-Short Head Retaining Pin
	37mm
	Stainless Steel

	G10608-4
	57mm-Short Head Retaining Pin
	57mm
	Stainless Steel

	G10621
	Block Retractor
	
	Stainless Steel

	G10622
	Slide Hammer
	
	Stainless Steel

	G10640-06
	Tibial Component Measure Block
	6mm
	POM&Stainless Steel

	G10640-07
	Tibial Component Measure Block
	7mm
	POM&Stainless Steel

	G10640-08
	Tibial Component Measure Block
	8mm
	POM&Stainless Steel

	G10640-09
	Tibial Component Measure Block
	9mm
	POM&Stainless Steel

	G10640- 10
	Tibial Component Measure Block
	10mm
	POM&Stainless Steel

	G10640- 11
	Tibial Component Measure Block
	11mm
	POM&Stainless Steel

	G10646
	Pin Holder
	
	Stainless Steel

	G10623
	Tibial Jig Sleeve
	
	Stainless Steel

	G10624-L
	Tibial Cutting Guide Handle
	L
	Stainless Steel

	G10624-S
	Tibial Cutting Guide Handle
	S
	Stainless Steel

	G10625
	Tibial Cutting Guide Base
	LM/RL
	Stainless Steel

	G10626
	Tibial Cutting Guide Base
	LL/RM
	Stainless Steel

	G10627
	Tibial Tray Cutting Block
	LM/RL
	Stainless Steel

	G10628
	Tibial Tray Cutting Block
	LL/RM
	Stainless Steel

	G10629-II
	Tibial Stylus
	
	Stainless Steel

	G10630-06
	Thickness Measure Block
	6mm
	POM

	G10630-07
	Thickness Measure Block
	7mm
	POM

	G10630-08
	Thickness Measure Block
	8mm
	POM

	G10630-09
	Thickness Measure Block
	9mm
	POM

	G10630- 10
	Thickness Measure Block
	10mm
	POM

	G10630- 11
	Thickness Measure Block
	11mm
	POM

	G10631-01
	Tibial sizer
	A#
	Stainless Steel

	G10631-02
	Tibial sizer
	B#
	Stainless Steel

	G10631-03
	Tibial sizer
	C#
	Stainless Steel

	G10631-04
	Tibial sizer
	D#
	Stainless Steel

	G10631-05
	Tibial sizer
	E#
	Stainless Steel

	G10631-06
	Tibial sizer
	F#
	Stainless Steel

	G10632
	Measuring Ruler
	
	Stainless Steel

	G10633- 1
	Tibial Trial
	LM/RL A#
	Stainless Steel

	G10633-2
	Tibial Trial
	LM/RL B#
	Stainless Steel

	G10633-3
	Tibial Trial
	LM/RL C#
	Stainless Steel

	G10633-4
	Tibial Trial
	LM/RL D#
	Stainless Steel

	G10633-5
	Tibial Trial
	LM/RL E#
	Stainless Steel

	G10633-6
	Tibial Trial
	LM/RL F#
	Stainless Steel

	G10634- 1
	Tibial Trial
	RM/LL A#
	Stainless Steel

	G10634-2
	Tibial Trial
	RM/LL B#
	Stainless Steel

	G10634-3
	Tibial Trial
	RM/LL C#
	Stainless Steel

	G10634-4
	Tibial Trial
	RM/LL D#
	Stainless Steel

	G10634-5
	Tibial Trial
	RM/LL E#
	Stainless Steel

	G10634-6
	Tibial Trial
	RM/LL F#
	Stainless Steel

	G10635
	Tibial Tray Impactor
	
	Stainless Steel

	G10636
	Tibial Drill
	
	Stainless Steel

	G10637-A06
	Tibial Insert Trial
	A#6mm
	POM

	G10637-A07
	Tibial Insert Trial
	A#7mm
	POM

	G10637-A08
	Tibial Insert Trial
	A#8mm
	POM

	G10637-A09
	Tibial Insert Trial
	A#9mm
	POM

	G10637-A10
	Tibial Insert Trial
	A#10mm
	POM

	G10637-A11
	Tibial Insert Trial
	A#11mm
	POM

	G10637-B06
	Tibial Insert Trial
	B#6mm
	POM

	G10637-B07
	Tibial Insert Trial
	B#7mm
	POM

	G10637-B08
	Tibial Insert Trial
	B#8mm
	POM

	G10637-B09
	Tibial Insert Trial
	B#9mm
	POM

	G10637-B10
	Tibial Insert Trial
	B#10mm
	POM

	G10637-B11
	Tibial Insert Trial
	B#11mm
	POM

	G10637-C06
	Tibial Insert Trial
	C#6mm
	POM

	G10637-C07
	Tibial Insert Trial
	C#7mm
	POM

	G10637-C08
	Tibial Insert Trial
	C#8mm
	POM

	G10637-C09
	Tibial Insert Trial
	C#9mm
	POM

	G10637-C10
	Tibial Insert Trial
	C#10mm
	POM

	G10637-C11
	Tibial Insert Trial
	C#11mm
	POM

	G10637-D06
	Tibial Insert Trial
	D#6mm
	POM

	G10637-D07
	Tibial Insert Trial
	D#7mm
	POM

	G10637-D08
	Tibial Insert Trial
	D#8mm
	POM

	G10637-D09
	Tibial Insert Trial
	D#9mm
	POM

	G10637-D10
	Tibial Insert Trial
	D#10mm
	POM

	G10637-D11
	Tibial Insert Trial
	D#11mm
	POM

	G10637-E06
	Tibial Insert Trial
	E#6mm
	POM

	G10637-E07
	Tibial Insert Trial
	E#7mm
	POM

	G10637-E08
	Tibial Insert Trial
	E#8mm
	POM

	G10637-E09
	Tibial Insert Trial
	E#9mm
	POM

	G10637-E10
	Tibial Insert Trial
	E#10mm
	POM

	G10637-E11
	Tibial Insert Trial
	E#11mm
	POM

	G10637-F06
	Tibial Insert Trial
	F#6mm
	POM

	G10637-F07
	Tibial Insert Trial
	F#7mm
	POM

	G10637-F08
	Tibial Insert Trial
	F#8mm
	POM

	G10637-F09
	Tibial Insert Trial
	F#9mm
	POM

	G10637-F10
	Tibial Insert Trial
	F#10mm
	POM

	G10637-F11
	Tibial Insert Trial
	F#11mm
	POM

	G10638
	MCL Retractor
	
	Stainless Steel

	G10641
	Gap Gauge
	2mm
	POM

	Cat No.
	Product Name
	Specification
	Material

	CT-DK-HDX-HW
	Instruments List for Unicompartmental Knee (AMK)
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	G10906- 1
	Tibial Cutting Block LM
	A
	Stainless Steel

	G10906-2
	Tibial Cutting Block LM
	B
	Stainless Steel

	G10906-3
	Tibial Cutting Block LM
	C
	Stainless Steel

	G10906-4
	Tibial Cutting Block LM
	D
	Stainless Steel

	G10906-5
	Tibial Cutting Block LM
	E
	Stainless Steel

	G10906-6
	Tibial Cutting Block LM
	F
	Stainless Steel

	G10906-7
	Tibial Cutting Block LM
	G
	Stainless Steel

	G10907- 1
	Tibial Cutting Block RM
	A
	Stainless Steel

	G10907-2
	Tibial Cutting Block RM
	B
	Stainless Steel

	G10907-3
	Tibial Cutting Block RM
	C
	Stainless Steel

	G10907-4
	Tibial Cutting Block RM
	D
	Stainless Steel

	G10907-5
	Tibial Cutting Block RM
	E
	Stainless Steel

	G10907-6
	Tibial Cutting Block RM
	F
	Stainless Steel

	G10907-7
	Tibial Cutting Block RM
	G
	Stainless Steel

	8013
	Quick Release Drill
	
	Stainless Steel

	G10608- 1
	50mm Retaining Pin
	50mm
	Stainless Steel

	G10908
	Tibial Tray Fixing Pin
	
	Stainless Steel

	G10909- 1
	Tibial Tray Trial LM
	A
	Stainless Steel

	G10909-2
	Tibial Tray Trial LM
	B
	Stainless Steel

	G10909-3
	Tibial Tray Trial LM
	C
	Stainless Steel

	G10909-4
	Tibial Tray Trial LM
	D
	Stainless Steel

	G10909-5
	Tibial Tray Trial LM
	E
	Stainless Steel

	G10909-6
	Tibial Tray Trial LM
	F
	Stainless Steel

	G10909-7
	Tibial Tray Trial LM
	G
	Stainless Steel

	G10910- 1
	Tibial Tray Trial RM
	A
	Stainless Steel

	G10910-2
	Tibial Tray Trial RM
	B
	Stainless Steel

	G10910-3
	Tibial Tray Trial RM
	C
	Stainless Steel

	G10910-4
	Tibial Tray Trial RM
	D
	Stainless Steel

	G10910-5
	Tibial Tray Trial RM
	E
	Stainless Steel

	G10910-6
	Tibial Tray Trial RM
	F
	Stainless Steel

	G10910-7
	Tibial Tray Trial RM
	G
	Stainless Steel

	G10911
	Unicondylar Slide Hammer
	
	Stainless Steel

	G10912
	Tibial Groove Cutting Device
	
	Stainless Steel

	G10913
	Bone Cement Spatula
	
	Stainless Steel

	G10635-II
	Tibial Tray Impactor
	
	Stainless Steel

	G10914
	Bone Cement Chisel
	
	POM

	G10915
	Intramedullary Rod Removal Hook
	
	Stainless Steel

	G10916
	Tibial Insert Trial Holder
	
	Stainless Steel

	8012
	Pin
	φ3.2
	Stainless Steel

	G10948
	Support Leg
	
	Stainless Steel

	G10918
	MCL Retractor
	
	Stainless Steel

	G10919-1
	Tibial Cutting Spacer
	RM 0mm
	Stainless Steel

	G10919-2
	Tibial Cutting Spacer
	RM 2mm
	Stainless Steel

	G10921-1
	Tibial Cutting Spacer
	LM 0mm
	Stainless Steel

	G10921-2
	Tibial Cutting Spacer
	LM 2mm
	Stainless Steel

	G10920-1
	Tibial Cutting Spacer With Groove
	RM 0mm
	Stainless Steel

	G10920-2
	Tibial Cutting Spacer With Groove
	RM 2mm
	Stainless Steel

	G10922-1
	Tibial Cutting Spacer With Groove
	LM 0mm
	Stainless Steel

	G10922-2
	Tibial Cutting Spacer With Groove
	LM 2mm
	Stainless Steel

	G10905
	Connecting Sleeve
	
	Stainless Steel

	G10923-1
	Tibial Cutting Platform
	RM
	Stainless Steel

	G10923-2
	Tibial Cutting Platform
	LM
	Stainless Steel

	G10924
	Silicone Ankle Strap
	
	silicone

	G10925- 10
	Femur Sizer
	1# 1mm
	Stainless Steel

	G10925-25
	Femur Sizer
	2.5# 1mm
	Stainless Steel

	G10925-35
	Femur Sizer
	3.5# 1mm
	Stainless Steel

	G10925-50
	Femur Sizer
	5# 1mm
	Stainless Steel

	G10925-2
	Femur Sizer
	2mm
	Stainless Steel

	G10925-3
	Femur Sizer
	3mm
	Stainless Steel

	G10926
	Intramedullary Rod Handle
	
	POM

	G10927
	Fixer
	
	Stainless Steel

	G10928
	Intramedullary Rod Connector
	
	Stainless Steel

	G10929-3
	Tibial Cutting Probe
	3mm
	Stainless Steel

	G10929-4
	Tibial Cutting Probe
	4mm
	Stainless Steel

	G10930
	Anterior Cutting Bar (Outer)
	
	Stainless Steel

	G10931-2
	Intramedullary Rod
	200mm
	Stainless Steel

	G10931-3
	Intramedullary Rod
	300mm
	Stainless Steel

	G10932
	Femoral Impactor
	
	POM&Stainless Steel

	G10933
	Anterior Cutting Bar (Inner)
	
	Stainless Steel

	G10934
	Tibial Drill
	
	Stainless Steel

	G10935
	Hammer
	
	Stainless Steel&silicone

	G10904
	Flange Cutting Device
	
	Stainless Steel

	G10936-0
	Mill Limitation Guide
	0mm
	Stainless Steel

	G10936-1
	Mill Limitation Guide
	1mm
	Stainless Steel

	G10936-2
	Mill Limitation Guide
	2mm
	Stainless Steel

	G10936-3
	Mill Limitation Guide
	3mm
	Stainless Steel

	G10936-4
	Mill Limitation Guide
	4mm
	Stainless Steel

	G10936-5
	Mill Limitation Guide
	5mm
	Stainless Steel

	G10936-6
	Mill Limitation Guide
	6mm
	Stainless Steel

	G10936-7
	Mill Limitation Guide
	7mm
	Stainless Steel

	G10937-1
	Metal Thickness Gauge
	1mm
	Stainless Steel

	G10937-2
	Metal Thickness Gauge
	2mm
	Stainless Steel

	G10937-3
	Metal Thickness Gauge
	3mm
	Stainless Steel

	G10903
	Bone Cement Drill
	
	Stainless Steel

	G10902
	4mm Quick Connect Femoral Drill
	4mm
	Stainless Steel

	G10901
	6.5mm Quick Connect Femoral
Drill
	6.5mm
	Stainless Steel

	G10938-10
	Single Peg Femoral Trial
	1#
	Stainless Steel

	G10939-10
	Femoral Drilling Guide
	1#
	Stainless Steel

	G10940-10
	Anterior Bone Mill
	1#
	Stainless Steel

	G10941-10
	Spherical Mill
	1#
	Stainless Steel

	G10942-10
	Double Pegs Femoral Trial
	1#
	Stainless Steel

	G10943-10
	Anti-impingement Guide
	1#
	Stainless Steel

	G10944-10
	Posterior Resection Guide
	1#
	Stainless Steel

	G10946-1012
	Thickness Measure Block
	1# 1/2mm
	POM

	G10946-1034
	Thickness Measure Block
	1# 3/4mm
	POM

	G10946-1056
	Thickness Measure Block
	1# 5/6mm
	POM

	G10946-1078
	Thickness Measure Block
	1# 7/8mm
	POM

	G10947-103
	Tibial Insert Trial
	1# 3mm
	POM

	G10947-104
	Tibial Insert Trial
	1# 4mm
	POM

	G10947-105
	Tibial Insert Trial
	1# 5mm
	POM

	G10947-106
	Tibial Insert Trial
	1# 6mm
	POM

	G10947-107
	Tibial Insert Trial
	1# 7mm
	POM

	G10945-10
	Posterior Condylar Osteophyte Remover
	1#
	Stainless Steel

	G10938-25
	Single Peg Femoral Trial
	2.5#
	Stainless Steel

	G10939-25
	Femoral Drilling Guide
	2.5#
	Stainless Steel

	G10940-25
	Anterior Bone Mill
	2.5#
	Stainless Steel

	G10941-25
	Spherical Mill
	2.5#
	Stainless Steel

	G10942-25
	Double Pegs Femoral Trial
	2.5#
	Stainless Steel

	G10943-25
	Anti-impingement Guide
	2.5#
	Stainless Steel

	G10944-25
	Posterior Resection Guide
	2.5#
	Stainless Steel

	G10946-2512
	Thickness Measure Block
	2.5# 1/2mm
	POM

	G10946-2534
	Thickness Measure Block
	2.5# 3/4mm
	POM

	G10946-2556
	Thickness Measure Block
	2.5# 5/6mm
	POM

	G10946-2578
	Thickness Measure Block
	2.5# 7/8mm
	POM

	G10947-253
	Tibial Insert Trial
	2.5# 3mm
	POM

	G10947-254
	Tibial Insert Trial
	2.5# 4mm
	POM

	G10947-255
	Tibial Insert Trial
	2.5# 5mm
	POM

	G10947-256
	Tibial Insert Trial
	2.5# 6mm
	POM

	G10947-257
	Tibial Insert Trial
	2.5# 7mm
	POM

	G10947-258
	Tibial Insert Trial
	2.5# 8mm
	POM

	G10947-259
	Tibial Insert Trial
	2.5# 9mm
	POM

	G10945-25
	Posterior Condylar Osteophyte Remover
	2.5#
	Stainless Steel

	G10938-35
	Single Peg Femoral Trial
	3.5#
	Stainless Steel

	G10939-35
	Femoral Drilling Guide
	3.5#
	Stainless Steel

	G10940-35
	Anterior Bone Mill
	3.5#
	Stainless Steel

	G10941-35
	Spherical Mill
	3.5#
	Stainless Steel

	G10942-35
	Double Pegs Femoral Trial
	3.5#
	Stainless Steel

	G10943-35
	Anti-impingement Guide
	3.5#
	Stainless Steel

	G10944-35
	Posterior Resection Guide
	3.5#
	Stainless Steel

	G10946-3512
	Thickness Measure Block
	3.5# 1/2mm
	POM

	G10946-3534
	Thickness Measure Block
	3.5#3/4mm
	POM

	G10946-3556
	Thickness Measure Block
	3.5#5/6mm
	POM

	G10946-3578
	Thickness Measure Block
	3.5#7/8mm
	POM

	G10947-353
	Tibial Insert Trial
	3.5# 3mm
	POM

	G10947-354
	Tibial Insert Trial
	3.5# 4mm
	POM

	G10947-355
	Tibial Insert Trial
	3.5# 5mm
	POM

	G10947-356
	Tibial Insert Trial
	3.5# 6mm
	POM

	G10947-357
	Tibial Insert Trial
	3.5# 7mm
	POM

	G10947-358
	Tibial Insert Trial
	3.5# 8mm
	POM

	G10947-359
	Tibial Insert Trial
	3.5# 9mm
	POM

	G10945-35
	Posterior Condylar Osteophyte Remover
	3.5#
	Stainless Steel

	G10938-50
	Single Peg Femoral Trial
	5#
	Stainless Steel

	G10939-50
	Femoral Drilling Guide
	5#
	Stainless Steel

	G10940-50
	Anterior Bone Mill
	5#
	Stainless Steel

	G10941-50
	Spherical Mill
	5#
	Stainless Steel

	G10942-50
	Double Pegs Femoral Trial
	5#
	Stainless Steel

	G10943-50
	Anti-impingement Guide
	5#
	Stainless Steel

	G10944-50
	Posterior Resection Guide
	5#
	Stainless Steel

	G10946-5012
	Thickness Measure Block
	5# 1/2mm
	POM

	G10946-5034
	Thickness Measure Block
	5# 3/4mm
	POM

	G10946-5056
	Thickness Measure Block
	5# 5/6mm
	POM

	G10946-5078
	Thickness Measure Block
	5# 7/8mm
	POM

	G10947-503
	Tibial Insert Trial
	5# 3mm
	POM

	G10947-504
	Tibial Insert Trial
	5# 4mm
	POM

	G10947-505
	Tibial Insert Trial
	5# 5mm
	POM

	G10947-506
	Tibial Insert Trial
	5# 6mm
	POM

	G10947-507
	Tibial Insert Trial
	5# 7mm
	POM

	G10947-508
	Tibial Insert Trial
	5# 8mm
	POM

	G10947-509
	Tibial Insert Trial
	5# 9mm
	POM

	G10945-50
	Posterior Condylar Osteophyte Remover
	5#
	Stainless Steel

	G10938-70
	Single Peg Femoral Trial
	7#
	Stainless Steel

	G10939-70
	Femoral Drilling Guide
	7#
	Stainless Steel

	G10940-70
	Anterior Bone Mill
	7#
	Stainless Steel

	G10941-70
	Spherical Mill
	7#
	Stainless Steel

	G10942-70
	Double Pegs Femoral Trial
	7#
	Stainless Steel

	G10943-70
	Anti-impingement Guide
	7#
	Stainless Steel

	G10944-70
	Posterior Resection Guide
	7#
	Stainless Steel

	G10946-7012
	Thickness Measure Block
	7# 1/2mm
	POM

	G10946-7034
	Thickness Measure Block
	7# 3/4mm
	POM

	G10946-7056
	Thickness Measure Block
	7# 5/6mm
	POM

	G10946-7078
	Thickness Measure Block
	7# 7/8mm
	POM

	G10947-703
	Tibial Insert Trial
	7# 3mm
	POM

	G10947-704
	Tibial Insert Trial
	7# 4mm
	POM

	G10947-705
	Tibial Insert Trial
	7# 5mm
	POM

	G10947-706
	Tibial Insert Trial
	7# 6mm
	POM

	G10947-707
	Tibial Insert Trial
	7# 7mm
	POM

	G10947-708
	Tibial Insert Trial
	7# 8mm
	POM

	G10947-709
	Tibial Insert Trial
	7# 9mm
	POM

	G10945-70
	Posterior Condylar Osteophyte Remover
	7#
	Stainless Steel

	Cat No.
	Product Name
	Specification
	Material

	CT-Sleeve-HW
	Sleeve Instrument List
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	G10269-1L
	Modular Femoral Box Trial
	1L
	Stainless Steel

	G10269-2L
	Modular Femoral Box Trial
	2L
	Stainless Steel

	G10269-3L
	Modular Femoral Box Trial
	3L
	Stainless Steel

	G10269-4L
	Modular Femoral Box Trial
	4L
	Stainless Steel

	G10269-5L
	Modular Femoral Box Trial
	5L
	Stainless Steel

	G10269-1R
	Modular Femoral Box Trial
	1R
	Stainless Steel

	G10269-2R
	Modular Femoral Box Trial
	2R
	Stainless Steel

	G10269-3R
	Modular Femoral Box Trial
	3R
	Stainless Steel

	G10269-4R
	Modular Femoral Box Trial
	4R
	Stainless Steel

	G10269-5R
	Modular Femoral Box Trial
	5R
	Stainless Steel

	G10288
	Box Trial Locking Screw
	
	Stainless Steel

	G10246
	Tibial Sleeve Reamer
	2030
	Stainless Steel

	G10247
	Tibial Sleeve Reamer
	2340
	Stainless Steel

	G10248
	Tibial Sleeve Reamer
	2640
	Stainless Steel

	G10251
	Tibial Sleeve Reamer
	3040
	Stainless Steel

	G10245-3640
	Tibial Sleeve Broach
	3640
	Stainless Steel

	G10245-4040
	Tibial Sleeve Broach
	4040
	Stainless Steel

	G10245-4540
	Tibial Sleeve Broach
	4540
	Stainless Steel

	G10245-5040
	Tibial Sleeve Broach
	5040
	Stainless Steel

	G10245-5540
	Tibial Sleeve Broach
	5540
	Stainless Steel

	G10245-6040
	Tibial Sleeve Broach
	6040
	Stainless Steel

	G10259
	Sleeve Broach Handle
	
	Stainless Steel

	G11012
	Tibial Tray Positioning Guide
	
	Stainless Steel

	G10270
	Tibial Resection Guide Tower
	
	Stainless Steel

	G10242-2030A
	Tibial Sleeve Trial
	2030
	Stainless Steel

	G10242-2340A
	Tibial Sleeve Trial
	2340
	Stainless Steel

	G10242-2640A
	Tibial Sleeve Trial
	2640
	Stainless Steel

	G10242-3040A
	Tibial Sleeve Trial
	3040
	Stainless Steel

	G10242-3640A
	Tibial Sleeve Trial
	3640
	Stainless Steel

	G10242-4040A
	Tibial Sleeve Trial
	4040
	Stainless Steel

	G10242-4540A
	Tibial Sleeve Trial
	4540
	Stainless Steel

	G10242-5040A
	Tibial Sleeve Trial
	5040
	Stainless Steel

	G10242-5540A
	Tibial Sleeve Trial
	5540
	Stainless Steel

	G10242-6040A
	Tibial Sleeve Trial
	6040
	Stainless Steel

	G10255-21
	Femoral Sleeve Broach
	21
	Stainless Steel

	G10255-25
	Femoral Sleeve Broach
	25
	Stainless Steel

	G10255-30
	Femoral Sleeve Broach
	30
	Stainless Steel

	G10255-35
	Femoral Sleeve Broach
	35
	Stainless Steel

	G10255-40
	Femoral Sleeve Broach
	40
	Stainless Steel

	G10255-45
	Femoral Sleeve Broach
	45
	Stainless Steel

	G10264
	Broach Stop Shim
	
	Stainless Steel

	G10262
	Femoral Condyle Positioning Guide
	
	Stainless Steel

	G10250-0mm
	Stem Adaptor Trial
	0mm
	Stainless Steel

	G10250-4mm
	Offset Stem Adaptor Trial
	4mm
	Stainless Steel

	G10243-A#
	Tibial Tray Trial-A#
	A#
	Stainless Steel

	G10243-B#
	Tibial Tray Trial-B#
	B#
	Stainless Steel

	G10243-C#
	Tibial Tray Trial-C#
	C#
	Stainless Steel

	G10243-D#
	Tibial Tray Trial-D#
	D#
	Stainless Steel

	G10243-E#
	Tibial Tray Trial-E#
	E#
	Stainless Steel

	G10249-0830
	Stem Trial
	830
	Stainless Steel

	G10249-0860
	Stem Trial
	860
	Stainless Steel

	G10249-0890
	Stem Trial
	890
	Stainless Steel

	G10249-1030
	Stem Trial
	1030
	Stainless Steel

	G10249-1060
	Stem Trial
	1060
	Stainless Steel

	G10249-1090
	Stem Trial
	1090
	Stainless Steel

	G10249-1230
	Stem Trial
	1230
	Stainless Steel

	G10249-1260
	Stem Trial
	1260
	Stainless Steel

	G10249-1290
	Stem Trial
	1290
	Stainless Steel

	G10249-1430
	Stem Trial
	1430
	Stainless Steel

	G10249-1460
	Stem Trial
	1460
	Stainless Steel

	G10249-1490
	Stem Trial
	1490
	Stainless Steel

	G10249-1630
	Stem Trial
	1630
	Stainless Steel

	G10249-1660
	Stem Trial
	1660
	Stainless Steel

	G10249-1690
	Stem Trial
	1690
	Stainless Steel

	G10249-1830
	Stem Trial
	1830
	Stainless Steel

	G10249-1860
	Stem Trial
	1860
	Stainless Steel

	G10249-1890
	Stem Trial
	1890
	Stainless Steel

	G10266
	Stem Wrench 8#10#
	8-10
	Stainless Steel

	G10267
	Stem Wrench 12#14#
	12-14
	Stainless Steel

	G10268
	Stem Wrench 16#18#
	16-18
	Stainless Steel

	G10294
	Stem Adaptor Wrench
	
	Stainless Steel

	DZ-G00358
	Sleeve Impactor
	
	Stainless Steel

	G10289
	Femoral Sleeve Initiator
	
	Stainless Steel&POM

	Sleeve-11
	Sleeve Instrument Box
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	CT-A3GTpro-PS-HW
	A3GTpro-PS Instrument List
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	G10431
	Pin
	
	Stainless Steel

	G11409-1#1.5#
	Femoral Intercondylar Notch Guide
	1#1.5#
	Stainless Steel&POM

	G11409-2#2.5#
	Femoral Intercondylar Notch Guide
	2#2.5#
	Stainless Steel&POM

	G11409-3#3.5#
	Femoral Intercondylar Notch Guide
	3#3.5#
	Stainless Steel&POM

	G11409-4#5#
	Femoral Intercondylar Notch Guide
	4#5#
	Stainless Steel&POM

	G11409-6#7#
	Femoral Intercondylar Notch Guide
	6#7#
	Stainless Steel&POM

	G10723
	Tibial Insert Impactor
	
	PPSU

	G10528-AL
	Tibial Tray Trial
	L-A#
	Stainless Steel

	G10528-AR
	Tibial Tray Trial
	L-B#
	Stainless Steel

	G10528-BL
	Tibial Tray Trial
	L-B+#
	Stainless Steel

	G10528-BR
	Tibial Tray Trial
	L-C#
	Stainless Steel

	G10528-B+L
	Tibial Tray Trial
	L-C+#
	Stainless Steel

	G10528-B+R
	Tibial Tray Trial
	L-D#
	Stainless Steel

	G10528-CL
	Tibial Tray Trial
	L-D+#
	Stainless Steel

	G10528-CR
	Tibial Tray Trial
	L-E#
	Stainless Steel

	G10528-C+L
	Tibial Tray Trial
	L-F#
	Stainless Steel

	G10528-C+R
	Tibial Tray Trial
	L-G#
	Stainless Steel

	G10528-DL
	Tibial Tray Trial
	R-A#
	Stainless Steel

	G10528-DR
	Tibial Tray Trial
	R-B#
	Stainless Steel

	G10528-D+L
	Tibial Tray Trial
	R-B+#
	Stainless Steel

	G10528-D+R
	Tibial Tray Trial
	R-C#
	Stainless Steel

	G10528-EL
	Tibial Tray Trial
	R-C+#
	Stainless Steel

	G10528-ER
	Tibial Tray Trial
	R-D#
	Stainless Steel

	G10528-FL
	Tibial Tray Trial
	R-D+#
	Stainless Steel

	G10528-FR
	Tibial Tray Trial
	R-E#
	Stainless Steel

	G10528-GL
	Tibial Tray Trial
	R-F#
	Stainless Steel

	G10528-GR
	Tibial Tray Trial
	R-G#
	Stainless Steel

	G10555
	Tibial Tray Trial Handle
	
	Stainless Steel

	G10534
	Tibial  Drill
	
	Stainless Steel

	G10536-S
	Tibial Punching Device
	S
	Stainless Steel

	G10536-M
	Tibial Punching Device
	M
	Stainless Steel

	G10536-L
	Tibial Punching Device
	L
	Stainless Steel

	G10530-SA10mm
	PS Trial Tibial Insert (SA)
	10mm
	POM

	G10530-SA8mm
	PS Trial Tibial Insert (SA)
	8mm
	POM

	G10530-BC10mm
	PS Trial Tibial Insert (BC)
	10mm
	POM

	G10530-BC8mm
	PS Trial Tibial Insert (BC)
	8mm
	POM

	G10530-DE10mm
	PS Trial Tibial Insert (DE)
	10mm
	POM

	G10530-DE8mm
	PS Trial Tibial Insert (DE)
	8mm
	POM

	G10530-FG10mm
	PS Trial Tibial Insert (FG)
	10mm
	POM

	G10530-FG8mm
	PS Trial Tibial Insert (FG)
	8mm
	POM

	G10532-SA4mm
	Tibial Insert Augment (SA)
	4mm
	POM

	G10532-SA8mm
	Tibial Insert Augment (SA)
	8mm
	POM

	G10532-BC4mm
	Tibial Insert Augment (BC)
	4mm
	POM

	G10532-BC8mm
	Tibial Insert Augment (BC)
	8mm
	POM

	G10532-DE4mm
	Tibial Insert Augment (DE)
	4mm
	POM

	G10532-DE8mm
	Tibial Insert Augment (DE)
	8mm
	POM

	G10532-FG4mm
	Tibial Insert Augment (FG)
	4mm
	POM

	G10532-FG8mm
	Tibial Insert Augment (FG)
	8mm
	POM

	G10533-L
	Tibial Punching Device Guide
	S
	Stainless Steel

	G10533-M
	Tibial Punching Device Guide
	M
	Stainless Steel

	G10533-S
	Tibial Punching Device Guide
	L
	Stainless Steel

	G10429
	Bone Graft Impactor
	
	Stainless Steel&Silicone

	GT Pro HW-11
	Tibial Instruments Box (GT Pro)
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	CT-A3pro-PS-HW
	A3 pro PS Instrument List
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	G10101-A3+
	Femoral Drill
	
	Stainless Steel

	G10402
	Distal Femoral Align Guide
	
	Stainless Steel

	G10403
	Femoral Alignment Guide Connector
	
	Stainless Steel

	G11407
	4-in- 1 Femoral Resection Block Connector
	
	Stainless Steel

	G20118-A3+
	Monoaxial Screwdriver
	
	Stainless Steel&Silicone

	G11409-1#/1.5#
	Femoral Intercondylar Notch Guide
	1#/1.5#
	Stainless Steel

	G11409-2#/2.5#
	Femoral Intercondylar Notch Guide
	2#/2.5#
	Stainless Steel

	G11409-3#/3.5#
	Femoral Intercondylar Notch Guide
	3#/3.5#
	Stainless Steel

	G11409-4#/5#
	Femoral Intercondylar Notch Guide
	4#/5#
	Stainless Steel

	G11409-6#/7#
	Femoral Intercondylar Notch Guide
	6#/7#
	Stainless Steel

	G10724-1L
	Trial Femoral Component
	1L
	Stainless Steel

	G10724-1R
	Trial Femoral Component
	1R
	Stainless Steel

	G10724-1.5L
	Trial Femoral Component
	1.5L
	Stainless Steel

	G10724-1.5R
	Trial Femoral Component
	1.5R
	Stainless Steel

	G10724-2L
	Trial Femoral Component
	2L
	Stainless Steel

	G10724-2R
	Trial Femoral Component
	2R
	Stainless Steel

	G10724-2.5L
	Trial Femoral Component
	2.5L
	Stainless Steel

	G10724-2.5R
	Trial Femoral Component
	2.5R
	Stainless Steel

	G10724-3L
	Trial Femoral Component
	3L
	Stainless Steel

	G10724-3R
	Trial Femoral Component
	3R
	Stainless Steel

	G10724-3.5L
	Trial Femoral Component
	3.5L
	Stainless Steel

	G10724-3.5R
	Trial Femoral Component
	3.5R
	Stainless Steel

	G10724-4L
	Trial Femoral Component
	4L
	Stainless Steel

	G10724-4R
	Trial Femoral Component
	4R
	Stainless Steel

	G10724-5L
	Trial Femoral Component
	5L
	Stainless Steel

	G10724-5R
	Trial Femoral Component
	5R
	Stainless Steel

	G10724-6L
	Trial Femoral Component
	6L
	Stainless Steel

	G10724-6R
	Trial Femoral Component
	6R
	Stainless Steel

	8115-II
	Thickness  Measure  Device
	
	Stainless Steel&POM

	G10115
	Ankle Clamp
	
	Stainless Steel

	G10116
	Tibial Jig Sleeve
	
	Stainless Steel

	G10117
	Tibial Jig Uprod
	
	Stainless Steel

	G10142-II
	Slide  Hammer
	
	Stainless Steel

	G10147
	30 Degree Bone Knife
	
	Stainless Steel

	G10150
	Femoral Component
Inserter/Extractor
	
	Stainless Steel

	G10401-A3+
	Intra-Medullary Canal Rod
	
	Stainless Steel&Silicone

	G10111-S1#-3#
	Femoral Intercondylar Drill Tower
	S1#-3#
	Stainless Steel

	G10111-3.5#-7#
	Femoral Intercondylar Drill Tower
	3.5#-7#
	Stainless Steel

	G10118-R
	Tibial Cutting Block (R)
	R
	Stainless Steel

	G10118-L
	Tibial Cutting Block (L)
	L
	Stainless Steel

	G10119-II
	Tibial Stylus
	
	Stainless Steel

	G10140-II
	Pin Extractor
	
	Stainless Steel&Silicone

	G10140-III-A3+
	Pin Extractor
	
	Stainless Steel

	G10708-A3+
	Lamina Spreader
	
	Stainless Steel

	G10423
	Femoral component  Impactor
	
	POM

	8112
	Tibial Tray Impactor
	
	Stainless Steel&POM

	G10112-A3+
	Femoral Intercondylar Notch Drill
	
	Stainless Steel

	G10113
	Intercondylar Bone Knife
	
	Stainless Steel

	G10148-A3+
	Femoral Condylar Peg Drill
	
	Stainless Steel

	G10427-A3+
	Femoral Awl
	
	Stainless Steel&Silicone

	Pro PS-11
	Femoral Instruments Box（A3/GT PS Pro）
	
	Aluminium&PPSU

	Pro PS-12
	Universal Instruments Box（A3/GT PS Pro）
	
	Aluminium&PPSU

	A3 Pro-11
	Tibial Instruments (A3 Pro)
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	CT-NBS-HW
	NBS Knee Joint Instrument Set
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	G11301-L-S30
	Augment Trial (Femoral Metaphysis A)
	L-S30
	POM

	G11301-R-S30
	Augment Trial (Femoral Metaphysis A)
	R-S30
	POM

	G11301-L-S40
	Augment Trial (Femoral Metaphysis A)
	L-S40
	POM

	G11301-R-S40
	Augment Trial (Femoral Metaphysis A)
	R-S40
	POM

	G11301-L-S+30
	Augment Trial (Femoral Metaphysis A)
	L-S+30
	POM

	G11301-R-S+30
	Augment Trial (Femoral Metaphysis A)
	R-S+30
	POM

	G11301-L-S+40
	Augment Trial (Femoral Metaphysis A)
	L-S+40
	POM

	G11301-R-S+40
	Augment Trial (Femoral Metaphysis A)
	R-S+40
	POM

	G11301-L-M30
	Augment Trial (Femoral Metaphysis A)
	L-M30
	POM

	G11301-R-M30
	Augment Trial (Femoral Metaphysis A)
	R-M30
	POM

	G11301-L-M40
	Augment Trial (Femoral Metaphysis A)
	L-M40
	POM

	G11301-R-M40
	Augment Trial (Femoral Metaphysis A)
	R-M40
	POM

	G11313-L-S30
	Augment Trial (Femoral Cavity)
	L-S30
	POM

	G11313-R-S30
	Augment Trial (Femoral Cavity)
	R-S30
	POM

	G11313-L-M30
	Augment Trial (Femoral Cavity)
	L-M30
	POM

	G11313-R-M30
	Augment Trial (Femoral Cavity)
	R-M30
	POM

	G11313-L-L30
	Augment Trial (Femoral Cavity)
	L-L30
	POM

	G11313-R-L30
	Augment Trial (Femoral Cavity)
	R-L30
	POM

	G11319-L-S30
	Augment (Femoral Cavity) RASP
	L-S30
	Stainless Steel

	G11319-R-S30
	Augment (Femoral Cavity) RASP
	R-S30
	Stainless Steel

	G11319-L-M30
	Augment (Femoral Cavity) RASP
	L-M30
	Stainless Steel

	G11319-R-M30
	Augment (Femoral Cavity) RASP
	R-M30
	Stainless Steel

	G11319-L-L30
	Augment (Femoral Cavity) RASP
	L-L30
	Stainless Steel

	G11319-R-L30
	Augment (Femoral Cavity) RASP
	R-L30
	Stainless Steel

	G11325-S30
	Augment Trial (Tibial Cavity)
	S30
	POM

	G11325-M30
	Augment Trial (Tibial Cavity)
	M30
	POM

	G11325-L30
	Augment Trial (Tibial Cavity)
	L30
	POM

	G11325-XL30
	Augment Trial (Tibial Cavity)
	XL30
	POM

	G11325-L40
	Augment Trial (Tibial Cavity)
	L40
	POM

	G11325-XL40
	Augment Trial (Tibial Cavity)
	XL40
	POM

	G11331-B
	Tibial Tray Baseplate
	B
	Stainless Steel

	G11331-C
	Tibial Tray Baseplate
	C
	Stainless Steel

	G11331-D
	Tibial Tray Baseplate
	D
	Stainless Steel

	G11331-E
	Tibial Tray Baseplate
	E
	Stainless Steel

	G11335-S30
	Augment (Tibial Cavity) RASP
	S30
	Stainless Steel

	G11335-M30
	Augment (Tibial Cavity) RASP
	M30
	Stainless Steel

	G11335-L30
	Augment (Tibial Cavity) RASP
	L30
	Stainless Steel

	G11335-XL30
	Augment (Tibial Cavity) RASP
	XL30
	Stainless Steel

	G11335-L40
	Augment (Tibial Cavity) RASP
	L40
	Stainless Steel

	G11335-XL40
	Augment (Tibial Cavity) RASP
	XL40
	Stainless Steel

	G11341
	Expanding Drill
	
	Stainless Steel

	G11342
	Limiting Ring
	
	Stainless Steel

	G11343
	Straight Positioning Sleeve
	
	Stainless Steel

	G11344
	Limiting Drill Sleeve
	
	Stainless Steel

	G11345
	Airfoil Osteotome Sleeve
	
	Stainless Steel

	G11346
	Offset Positioning Sleeve
	
	Stainless Steel

	NBS-11
	NBS Knee Joint Instrument Box
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	CT-A3-BG-HW
	A3+ PS Instrument Set (Patella Side)
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	G10153-27
	Patella Sizer
	φ27
	Stainless Steel

	G10153-31
	Patella Sizer
	φ31
	Stainless Steel

	G10153-34
	Patella Sizer
	φ34
	Stainless Steel

	6868
	Patella caliper
	
	Stainless Steel

	G10152-27
	Patella Trial
	φ27
	POM

	G10152-31
	Patella Trial
	φ31
	POM

	G10152-34
	Patella Trial
	φ34
	POM

	6898
	Patella Drill
	
	Stainless Steel

	6894
	Patellar Nip
	
	Stainless Steel

	6895
	Patellar Clamp
	
	Stainless Steel

	A3-BG-BOX-HW
	A3PS Instrument Box (Patella Side)
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	CT-A3-GJ-HW
	A3 International Version
	
	Stainless Steel&POM

	Cat No.
	Product Name
	Specification
	Material

	G10596
	Femoral Awl
	
	Stainless Steel&Silicone

	G10501
	Step Drill
	
	Stainless Steel

	G10502
	Femoral IM Rod
	
	Stainless Steel

	G10503
	Femoral Valgus Guide
	
	Stainless Steel

	G10504
	Femoral Distal Resection Tower 
	
	Stainless Steel

	G10506
	Femoral Distal Resection Guide
	
	Stainless Steel

	G10445
	Femoral Sizer
	
	Stainless Steel

	G20118-II
	Hex Driver 3.5mm
	
	Stainless Steel&Silicone

	G10594
	Shift Block
	
	Stainless Steel

	G11402-1#
	Formal 4-in-1 Resection Block
	1#
	Stainless Steel

	G11402-1.5#
	Formal 4-in-1 Resection Block
	1.5#
	Stainless Steel

	G11402-2#
	Formal 4-in-1 Resection Block
	2#
	Stainless Steel

	G11402-2.5#
	Formal 4-in-1 Resection Block
	2.5#
	Stainless Steel

	G11402-3#
	Formal 4-in-1 Resection Block
	3#
	Stainless Steel

	G11402-3.5#
	Formal 4-in-1 Resection Block
	3.5#
	Stainless Steel

	G11402-4#
	Formal 4-in-1 Resection Block
	4#
	Stainless Steel

	G11402-5#
	Formal 4-in-1 Resection Block
	5#
	Stainless Steel

	G11402-6#
	Formal 4-in-1 Resection Block
	6#
	Stainless Steel

	G11402-7#
	Formal 4-in-1 Resection Block
	7#
	Stainless Steel

	G10577
	Formal 4-in-1 Driver
	
	Stainless Steel

	G10516-1#
	Femoral Modular Trial
	1#
	Stainless Steel

	G10516-1.5#
	Femoral Modular Trial
	1.5#
	Stainless Steel

	G10516-2#
	Femoral Modular Trial
	2#
	Stainless Steel

	G10516-2.5#
	Femoral Modular Trial
	2.5#
	Stainless Steel

	G10516-3#
	Femoral Modular Trial
	3#
	Stainless Steel

	G10516-3.5#
	Femoral Modular Trial
	3.5#
	Stainless Steel

	G10516-4#
	Femoral Modular Trial
	4#
	Stainless Steel

	G10516-5#
	Femoral Modular Trial
	5#
	Stainless Steel

	G10516-6#
	Femoral Modular Trial
	6#
	Stainless Steel

	G10516-7#
	Femoral Modular Trial
	7#
	Stainless Steel

	G10517-PS1#
	PS Box Modular Trial
	PS1#
	Stainless Steel

	G10517-PS1.5#
	PS Box Modular Trial
	PS1.5#
	Stainless Steel

	G10517-PS2#
	PS Box Modular Trial
	PS2#
	Stainless Steel

	G10517-PS2.5#
	PS Box Modular Trial
	PS2.5#
	Stainless Steel

	G10517-PS3#
	PS Box Modular Trial
	PS3#
	Stainless Steel

	G10517-PS3.5#
	PS Box Modular Trial
	PS3.5#
	Stainless Steel

	G10517-PS4#
	PS Box Modular Trial
	PS4#
	Stainless Steel

	G10517-PS5#
	PS Box Modular Trial
	PS5#
	Stainless Steel

	G10517-PS6#
	PS Box Modular Trial
	PS6#
	Stainless Steel

	G10517-PS7#
	PS Box Modular Trial
	PS7#
	Stainless Steel

	G10518
	Femoral Lug Drill
	
	Stainless Steel

	G10519
	PS Box Cutter Guide
	
	Stainless Steel

	G10520
	PS Box Cutter
	
	Stainless Steel

	G10522
	Femoral Impactor
	
	Stainless Steel&POM

	A3GTGJ-11-HW
	A3 GT International Instrument Box(A)
	Femoral Instrument
	Aluminium&PPSU

	G10523
	Tibial Tower 
	
	Aluminium

	G10524
	Ankle Clamp
	
	Stainless Steel

	G10525-L
	Tibial Resection Block 3°(L) 
	L
	Stainless Steel

	G10525-R
	Tibial Resection Block 3°(R) 
	R
	Stainless Steel

	G10591
	Tibial Resection Block 3° Symmetry
	
	Stainless Steel

	G10526
	Adjustable Tibial Stylus 
	
	Stainless Steel

	G10527
	Tibial Stylus 2/9 mm
	
	Stainless Steel

	G10124-S#
	Tibial Tray Trial
	S#
	Stainless Steel&POM

	G10124-A#
	Tibial Tray Trial
	A#
	Stainless Steel&POM

	G10124-B#
	Tibial Tray Trial
	B#
	Stainless Steel&POM

	G10124-B+#
	Tibial Tray Trial
	B+#
	Stainless Steel&POM

	G10124-C#
	Tibial Tray Trial
	C#
	Stainless Steel&POM

	G10124-C+#
	Tibial Tray Trial
	C+#
	Stainless Steel&POM

	G10124-D#
	Tibial Tray Trial
	D#
	Stainless Steel&POM

	G10124-D+#
	Tibial Tray Trial
	D+#
	Stainless Steel&POM

	G10124-E#
	Tibial Tray Trial
	E#
	Stainless Steel&POM

	G10124-F#
	Tibial Tray Trial
	F#
	Stainless Steel&POM

	G10124-G#
	Tibial Tray Trial
	G#
	Stainless Steel&POM

	G10125
	Tibial Drill Guide
	Big
	Stainless Steel

	G10126-A3+
	Tibial Drill
	
	Stainless Steel

	G10127-S
	Tibial  Punching  Device
	Small
	Stainless Steel&POM

	G10127-M
	Tibial  Punching  Device
	Middle
	Stainless Steel&POM

	G10127-L
	Tibial  Punching  Device
	Big
	Stainless Steel&POM

	G10128-BC8mm
	Tibial Insert Trial 
	BC 8mm
	Stainless Steel&POM

	G10128-BC10mm
	Tibial Insert Trial 
	BC 10mm
	Stainless Steel&POM

	G10128-BC12mm
	Tibial Insert Trial 
	BC 12mm
	Stainless Steel&POM

	G10128-BC14mm
	Tibial Insert Trial 
	BC 14mm
	Stainless Steel&POM

	G10128-BC16mm
	Tibial Insert Trial 
	BC 16mm
	Stainless Steel&POM

	G10128-DE8mm
	Tibial Insert Trial 
	DE 8mm
	Stainless Steel&POM

	G10128-DE10mm
	Tibial Insert Trial 
	DE 10mm
	Stainless Steel&POM

	G10128-DE12mm
	Tibial Insert Trial 
	DE 12mm
	Stainless Steel&POM

	G10128-DE14mm
	Tibial Insert Trial 
	DE 14mm
	Stainless Steel&POM

	G10128-DE16mm
	Tibial Insert Trial 
	DE 16mm
	Stainless Steel&POM

	G10128-FG8mm
	Tibial Insert Trial 
	FG 8mm
	Stainless Steel&POM

	G10128-FG10mm
	Tibial Insert Trial 
	FG 10mm
	Stainless Steel&POM

	G10128-FG12mm
	Tibial Insert Trial 
	FG 12mm
	Stainless Steel&POM

	G10128-FG14mm
	Tibial Insert Trial 
	FG 14mm
	Stainless Steel&POM

	G10128-FG16mm
	Tibial Insert Trial 
	FG 16mm
	Stainless Steel&POM

	G10128-SA8mm
	Tibial Insert Trial 
	SA 8mm
	Stainless Steel&POM

	G10128-SA10mm
	Tibial Insert Trial 
	SA 10mm
	Stainless Steel&POM

	G10128-SA12mm
	Tibial Insert Trial 
	SA 12mm
	Stainless Steel&POM

	G10128-SA14mm
	Tibial Insert Trial 
	SA 14mm
	Stainless Steel&POM

	G10128-SA16mm
	Tibial Insert Trial 
	SA 16mm
	Stainless Steel&POM

	G10129
	PS Tibial Insert PostTrial
	
	POM&Stainless Steel

	G10129-PLUS
	PS PLUS Tibial Insert PostTrial
	
	POM&Stainless Steel

	G10538
	Tibial Impactor
	
	Stainless Steel&POM

	G10386
	Universal  Handle
	
	Stainless Steel&silicone

	G10143
	Tibial Alignment  Rod Handle
	
	Stainless Steel

	G10130
	Tibial Insert Trial Handle
	
	POM

	G10132
	Locking  Clip  Impactor
	
	Stainless Steel

	A3-GJ-11-HW
	A3  International Instrument Box (A)
	
	Aluminium&PPSU

	G10550
	Modular Handle
	
	Stainless Steel&Silicone

	G10554
	Alignment Guide
	
	Stainless Steel

	G10559
	EM Alignment Rod Clip
	
	Stainless Steel

	G10561
	Spacer Block
	
	POM

	G10562-1
	Spacer Shim
	4mm
	POM

	G10562-2
	Spacer Shim
	8mm
	POM

	G10562-3
	Spacer Shim
	12mm
	POM

	G10563
	Short Headed Pin
	
	Stainless Steel

	G10564
	Short Threaded Headed Pin
	
	Stainless Steel

	G10565
	Long Pin
	
	Stainless Steel

	G10566
	Long Threaded Pin
	
	Stainless Steel

	G10567
	Long Threaded Headed Pin
	
	Stainless Steel

	G10568
	3.2mm Drill 
	
	Stainless Steel

	G10570
	Power Driver
	
	Stainless Steel

	G10573
	Pin Inserter
	
	Stainless Steel

	G10574
	Angel Wing
	
	Stainless Steel

	G10134
	Angel Wing - Large
	Large
	Stainless Steel

	G10135
	Angel wing - Small
	Small
	Stainless Steel

	G10578
	Curved Osteotome
	
	Stainless Steel

	G10587
	Hidden Slap Hammer
	
	Stainless Steel

	G10590
	Headed Pin Inserter
	
	Stainless Steel

	4741
	Retractor
	
	Stainless Steel

	8202
	Bone File
	
	Stainless Steel

	6844-II-L
	Alignment Rod
	Long
	Stainless Steel

	6844-II-S
	Alignment Rod
	Short
	Stainless Steel

	G10140-III
	Pin Jack
	
	Stainless Steel

	G10595
	Pin Puller/Impactor
	
	Stainless Steel&Silicone

	G10521
	Femoral Driver
	
	Stainless Steel&POM

	G10708
	Sprader
	
	Stainless Steel

	A3GTGJ-15-HW
	A3 GT International Instrument Box (C)
	Universal Instrument
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	CT-A3GTGJ-CR-HW
	A3 GT CR Instrument 
	
	Aluminium&PPSU

	Cat No.
	Product Name
	Specification
	Material

	G10407-CR-1L
	Trial Femoral Component
	1L
	Stainless Steel

	G10407-CR-1.5L
	Trial Femoral Component
	1.5L
	Stainless Steel

	G10407-CR-2L
	Trial Femoral Component
	2L
	Stainless Steel

	G10407-CR-2.5L
	Trial Femoral Component
	2.5L
	Stainless Steel

	G10407-CR-3L
	Trial Femoral Component
	3L
	Stainless Steel

	G10407-CR-3.5L
	Trial Femoral Component
	3.5L
	Stainless Steel

	G10407-CR-4L
	Trial Femoral Component
	4L
	Stainless Steel

	G10407-CR-1R
	Trial Femoral Component
	1R
	Stainless Steel

	G10407-CR-1.5R
	Trial Femoral Component
	1.5R
	Stainless Steel

	G10407-CR-2R
	Trial Femoral Component
	2R
	Stainless Steel

	G10407-CR-2.5R
	Trial Femoral Component
	2.5R
	Stainless Steel

	G10407-CR-3R
	Trial Femoral Component
	3R
	Stainless Steel

	G10407-CR-3.5R
	Trial Femoral Component
	3.5R
	Stainless Steel

	G10407-CR-4R
	Trial Femoral Component
	4R
	Stainless Steel

	G10407-CR-5L
	Trial Femoral Component
	5R
	Stainless Steel

	G10529-SA8mm
	Tibial Insert Trial 
	SA8mm
	POM

	G10529-SA10mm
	Tibial Insert Trial 
	SA10mm
	POM

	G10529-BC8mm
	Tibial Insert Trial 
	BC8mm
	POM

	G10529-BC10mm
	Tibial Insert Trial 
	BC10mm
	POM

	G10529-DE8mm
	Tibial Insert Trial 
	DE8mm
	POM

	G10529-DE10mm
	Tibial Insert Trial 
	DE10mm
	POM

	G10529-FG8mm
	Tibial Insert Trial 
	FG8mm
	POM

	G10529-FG10mm
	Tibial Insert Trial 
	FG10mm
	POM

	G10531-SA8mm
	Tibial Insert Trial 
	SA8mm
	POM

	G10531-SA10mm
	Tibial Insert Trial 
	SA10mm
	POM

	G10531-BC8mm
	Tibial Insert Trial 
	BC8mm
	POM

	G10531-BC10mm
	Tibial Insert Trial 
	BC10mm
	POM

	G10531-DE8mm
	Tibial Insert Trial 
	DE8mm
	POM

	G10531-DE10mm
	Tibial Insert Trial 
	DE10mm
	POM

	G10531-FG8mm
	Tibial Insert Trial 
	FG8mm
	POM

	G10531-FG10mm
	Tibial Insert Trial 
	FG10mm
	POM

	A3GTGJ-CR-11
	Instrument Box
	
	Aluminium&PPSU
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